TO:		Bradley Reynolds, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:		July 14, 2023

RE:	Docket No. 53445 – Application of Undine Texas LLC to Amend Its Certificate of Convenience and Necessity in Fort Bend County

- Application

On April 1, 2022, Undine Texas, LLC (Undine) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 13260 in Fort Bend County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Undine is seeking to amend its water CCN for the service area containing 0 customer connections and approximately 96 acres, comprised of uncertificated area.

The application proposes the addition of approximately 96 acres to CCN No. 13260.

- Notice

The deadline to intervene was June 13, 2022; there were no motions to intervene, protests, or opt-out requests received.

On June 16, 2023, an affidavit was provided affirming that that there are no landowners in the requested area who own 25 acres or more.  Therefore, no additional notice was provided.

- Capital Improvement Plan

An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

Undine is building a new water treatment plant to provide service to the requested area.  Estimated costs to build a new water system is expected to exceed $100,000, therefore the need for firm capital commitment under 16 TAC § 24.11(e)(5) is required.

Undine provided a budget, an estimated timeline for construction (year 1), and a keyed map showing where facilities will be located.

The Rate Regulation Division will be addressing the need for firm capital commitment criterion in a separate memo.

- Recommendation

Based on the mapping review by Dave Babicki, Infrastructure Division, and my technical and managerial review, I recommend that Undine meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to amend its water CCN No. 13260 is necessary for the service, accommodation, convenience and safety of the public.

Undine consented to the attached map, tariff, and certificate on July 20, 2022.