TO:		Anthony Kanalas, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		June 6, 2022

RE:	Docket No. 53472 – Application of Monarch Utilities I L.P.  to Amend Its Certificate of Convenience and Necessity and to Decertify Portions of Johnson County Special Utility District and Mountain Peak Special Utility District in Johnson County

On April 8, 2022, Monarch Utilities I L.P.  (Monarch) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12983 with area decertified from portions of Johnson County Special Utility District (Johnson County SUD), CCN No. 10081, and Mountain Peak Special Utility District (Mountain Peak SUD), CCN No. 10908 in Johnson County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237 and § 24.245(d)(1)(E).

The utility’s information in the Secretary of State website indicates that Monarch’s name was changed to Texas Water Utilities, L.P. as of April 22, 2022.  The Commission approved certificate was issued to “Monarch Utilities I L.P.” most recently in Docket No. 52035 approved on February 22, 2022.  Monarch has submitted a request to officially change their name to Texas Water Utilities, L.P. in Docket No. 53636 until that docket is complete the legal utility name the Commission has on record is Monarch Utilities I L.P.

Based on the mapping review by Tracy Montes, Infrastructure Division, the revised maps and digital data submitted with Item 5 on April 27, 2022 are sufficient.

- The requested area includes 0 customer connections and approximately 160 acres, comprised of:

154 acres of decertified area from Johnson County SUD (CCN No. 10081); and

_6_ acres of decertified area from Mountain Peak SUD (CCN No. 10908).

- The application proposes the subtraction of approximately 154 acres from Johnson County SUD (CCN No. 10081) and the addition of approximately 154 acres to Monarch Utilities I LP (CCN No. 12983).

- The application proposes the subtraction of approximately 6 acres from Mountain Peak SUD (CCN No. 10908) and the addition of approximately 6 acres to Monarch (CCN No. 12983).

Based on the mapping review and my technical and managerial review of the information filed by Monarch, I recommend that the application be deemed administratively complete.  I further recommend that Monarch be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Bethesda Water Supply Corporation (WSC) (CCN No. 10089)

- James A Dyche dba Crest Water Company (CCN No. 12037)

- Johnson County Fresh Water Supply District (CCN No. 13111)

- Johnson County Special Utility District (SUD) (CCN No. 10081)

- Mansfield

- Mauka Water LTD (CCN No. 12917)

- Mountain Peak SUD (CCN No. 10908)

  - The county judge of each county that is wholly or partially included in the requested area:

- Johnson County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Prairielands Groundwater Conservation District

  - Each landowner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area.  Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch.  District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in the county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date.  The affidavit must state with specificity each county in which the newspaper is of general circulation.  Within 30 days of the date the notice was mailed, Monarch must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice forms.

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket a copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Monarch.  Monarch will have 20 days from the receipt of the RFI to respond.