TO:		Anthony Kanalas, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		October 5, 2022

RE:	Docket No. 53472 – Application of Monarch Utilities I L.P.  to Amend Its Certificate of Convenience and Necessity and to Decertify Portions of Johnson County Special Utility District and Mountain Peak Special Utility District in Johnson County

- Application

On April 8, 2022, Monarch Utilities I L.P.  (Monarch) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12983 with area decertified from portions of Johnson County Special Utility District (Johnson County SUD), CCN No. 10081, and Mountain Peak Special Utility District (Mountain Peak SUD), CCN No. 10908 in Johnson County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237 and § 24.245(d)(1)(E).

The utility’s information in the Secretary of State website indicates that Monarch’s name was changed to Texas Water Utilities, L.P. as of April 22, 2022.  The Commission approved certificate was issued to “Monarch Utilities I L.P.” most recently in Docket No. 52035 approved on February 22, 2022.  Monarch has submitted a request to officially change their name to Texas Water Utilities, L.P. in Docket No. 53636 until that docket is complete the legal utility name the Commission has on record is Monarch Utilities I L.P.

Based on the mapping review by Tracy Montes, Infrastructure Division:

- The requested area includes approximately 65 customer connections and approximately 160 acres, comprised of:

154 acres of decertified area from Johnson County SUD (CCN No. 10081); and

_6_ acres of decertified area from Mountain Peak SUD (CCN No. 10908).

- The application proposes the subtraction of approximately 154 acres from Johnson County SUD (CCN No. 10081) and the addition of approximately 154 acres to Monarch Utilities I LP (CCN No. 12983).

- The application proposes the subtraction of approximately 6 acres from Mountain Peak SUD (CCN No. 10908) and the addition of approximately 6 acres to Monarch Utilities I LP (CCN No. 12983.

- Notice

The deadline to intervene was August 10, 2022; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Customers in the requested area currently receive service from Monarch’s Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as Metroplex Homesteads Water Supply, PWS ID No. 1260074.  Monarch does not have any violations listed in the TCEQ database.

No additional construction is necessary for Monarch to serve the requested area.  The Commission’s complaint records, which go back to 2017, show 400 complaints against Monarch.  Monarch has a total of 30,236 customers among 116 PWS.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are 65 existing customers and potential new customers in the requested areas.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Monarch will be the certificated entity for the requested areas and will be required to provide continuous and adequate service to the requested areas.

The landowners in the areas will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate areas.  All retail public utilities in the proximate areas were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Monarch has approximately 116 TCEQ approved PWS.

Customers in the requested area currently receive service from Monarch’s TCEQ approved PWS registered as Metroplex Homesteads Water Supply, PWS ID No. 1260074.  Monarch does not have any violations listed in the TCEQ database for this water system.

No additional construction is necessary for Monarch to serve the requested area.  The Commission’s complaint records, which go back to 2017, show 400 complaints against Monarch.  Monarch has a total of 30,236 customers among 116 PWS.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Monarch currently provides service to the requested area.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Monarch is currently serving customers in the requested area, has facilities in the requested area to serve any future customers, and has sufficient capacity. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as new facilities are constructed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Monarch will continue to provide water service to the existing customers in the area.  There will be no change in the quality or cost of service to customers.

- Recommendation

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review, I recommend that Monarch meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to amend its water CCN No. 12983 and for dual certification with portions of Johnson County SUD’s water CCN No. 10081 and Mountain Peak SUD’s water CCN No. 10908 is necessary for the service, accommodation, convenience and safety of the public.

Monarch consented to the attached map and certificate on September 19, 2022.

A tariff was not issued in this docket because the requested area’s associated subdivision is already included in the tariff issued in Docket No. 52201.

Johnson County SUD consented to the attached map and certificate on October 11, 2022.

Mountain Peak SUD consented to the attached map and certificate on October 11, 2022.

Response filed August 1, 2022.