TO:		Bradley Reynolds, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		May 5, 2022

RE:	Docket No. 53476 – Application of Undine Texas LLC to Amend Its Certificate of Convenience and Necessity in Jackson County

On April 8, 2022, Undine Texas, LLC (Undine) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 13260 in Jackson County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the information filed by Undine, I recommend that the application be deemed administratively incomplete and not accepted for filing.

Application Content:

For all CCN amendment or obtain applications, the applicant must show that they have complied with requirements in the rules under § 24.233(a)(14) and (15).  Question 11.A. asks if construction of facilities will be necessary to provide service to the requested area.  The response is yes, however the only item submitted were plans for the requested area. Please provide the following:

- The approval letter from the Texas Commission on Environmental Quality (TCEQ) for the water system treatment plant(s) and distribution system that provide water service to the requested area, and

- The public water system name and identification number.

Mapping Content:

The application and maps submitted with Item 1 on April 8, 2022 are deficient.

Undine must submit the following items to resolve the application and mapping deficiencies:

- State if Undine intends to serve any customers off the easement along Cape Shores Drive.

  - If yes, provide the following revised mapping information that includes the properties they intend to serve:

    - A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town;

    - A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads; and

    - Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

  - If no, provide the following revised mapping information that removes the easement along Cape Shores Drive from the requested area:

    - A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town;

    - A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads; and

    - Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff will need at least 30 days to review the documentation, maps, and digital data provided by Undine and draft a recommendation.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).