TO:		John Harrison, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		February 16, 2023

RE:	Docket No. 53485 – Application of Gideon Water, LLC For a Certificate of Convenience and Necessity in Montgomery County

- Application

On April 12, 2022, Gideon Water, LLC (Gideon) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water certificate of convenience and necessity (CCN) in Montgomery County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Based on the mapping review by Dave Babicki, Infrastructure Division,

- The requested area includes 0 customer connections and approximately 79 acres, comprised of uncertificated area.

- The application proposes the addition of approximately 79 acres to Gideon’s CCN No. 13304.

- The application indicates that the total acreage being requested is approximately 80 acres, however, the mapping review determined the requested area is approximately 79 acres.

- Notice

The deadline to intervene was June 24, 2022; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are potential new customers in the requested area(s).

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Gideon will be the certificated entity for the requested area and will be required to provide continuous and adequate service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

The applicant is a new entrant to the utility service industry.  However, the applicant will hire utility professional to help operate the system and to assist in regulatory compliance.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Service was requested from neighboring utilities and none of them were able to provide service.  TCEQ has approved plans for Gideon to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Gideon is a developer who is requesting the CCN for itself.  Service was requested from neighboring utilities and none of them were able to provide service.  Gideon has approved TCEQ plans to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

The water plant and distribution lines have all been installed. They are currently waiting on power, which should be installed in the next 30 days.

3.8.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

  - Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.10.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as facilities are constructed to provide service to the requested area.

3.11.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned development will have water service.

During the Commission’s January 27, 2022, open meeting, the tap fee for Docket No. 50944 was discussed.  The resulting ruling was to not use the standard residential tap fees agreed to in the settlement and instead include a provision in the tariff to charge for the actual cost of each individual tap.  Docket No. 50944 is for the Monarch I LP (Monarch) multi-county rate case. Monarch is a Class A utility with more than 30,000 customers. Currently there are only five Class A utilities regulated in Texas.  There are many more Class D utilities such as Gideon, that are not as large and do not cover more than one county.  Therefore, there is usually little difference between residential tap installations as the type of ground formations in their service areas and the parts, labor and equipment rental costs do not vary significantly. In the case of Gideon, water service will be provided to approximately 50 customers in Montgomery County.  The proposed a tap fee for Gideon’s customers is $1200.00.  I recommend that the proposed tap fee is reasonable.  In order to true-up the proposed tap fees and rates, I recommend that Gideon file a rate application with actual financial information with the Commission within 18 months from the date service begins per 16 TAC § 24.25(b)(1)(C).

- Recommendation

Based on the mapping review by Dave Babicki, Infrastructure Division, and my technical and managerial review, I recommend that Gideon meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to obtain a water CCN No. 13304 is necessary for the service, accommodation, convenience and safety of the public.

Gideon consented to the attached map, tariff, and certificate on December 14, 2022.

Road bores are an exception to a standard tap fee. This additional construction is addressed in a utility’s tariff, such as the one included in the settlement in this docket, by a provision that allows the actual cost of the road bore and the tap fee. If the utility’s main water line is across a public road, it is likely that a road bore is necessary to install a tap for a new customer.