TO:		John Harrison, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		May 12, 2022

RE:	Docket No. 53485 – Application of Gideon Water, LLC to Obtain a Certificate(s) of Convenience and Necessity in Montgomery County

On April 12, 2022, Gideon Water, LLC (Gideon) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water certificate of convenience and necessity (CCN) in Montgomery County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Based on the mapping review by Dave Babicki, Infrastructure Division, the maps submitted with Item 4 on May 4, 2022 are sufficient.

- The requested area includes 0 customer connections and approximately 79 acres, comprised of uncertificated area.

- The application proposes the addition of approximately 79 acres to Gideon Water, LLC’s New CCN Number.

- The application indicates that the total acreage being requested is approximately 80 acres, however, the mapping review determined the requested area is approximately 79 acres.

Based on my technical and managerial review of the information filed by Gideon,  I recommend that the application be deemed administratively complete.  I further recommend that Gideon be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- The City of Magnolia

- Clovercreek Municipal Utility District (MUD)

- Grand Oaks MUD

- San Jacinto River Authority

- City of Magnolia (CCN No. 11466)

- G & W Water Supply Corporation (WSC) (CCN No. 12391)

- Johnston Water Utility LLC (CCN No. 12788)

- Quadvest LP (CCN No. 11612)

- Undine Texas LLC (CCN No. 13260)

- Utilities Investment Company Inc. (CCN No. 12671)

  - The county judge of each county that is wholly or partially included in the requested area:

- Montgomery County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Lone Star Groundwater Conservation District (GCD

  - Each landowner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area.  Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch.  District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in the county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date.  The affidavit must state with specificity each county in which the newspaper is of general circulation.  Within 30 days of the date the notice was mailed, Gideon must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice forms.

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket a copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

- Supplement the application with a copy of the approval letter(s) for the water treatment plant, facilities, and distribution system that will provide water service for the requested area from TCEQ once they are received. Gideon must file the approval letter prior to Staff making a final recommendation on the application.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Gideon.  Gideon will have 20 days from the receipt of the RFI to respond.