TO:		Forrest Smith, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	May 31, 2022

RE:	Docket No. 53538 – Application of Amberwood Utility and CSWR-Texas Utility Operating Company, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Harris County

On May 28, 2022, CSWR-Texas Utility Operating Company, LLC (CSWR-TUOC) and Amberwood Utility Co (Amberwood) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Harris County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, CSWR-TUOC, water Certificate of Convenience and Necessity (CCN) No. 13290, seeks approval to acquire facilities and to transfer all of the water service area from Amberwood under water CCN No. 12163.

Based on the mapping review by Hank Journeay, Infrastructure Division, the maps submitted with Item 9 on May 9, 2022 are sufficient.

- The requested area includes 54 customer connections and approximately 78 acres of transferred area from Amberwood Utility Co. (CCN No. 12163) to CSWR-Texas (CCN No. 13290).

- The application proposes the subtraction of approximately 78 acres from CCN No. 12163 and the addition of approximately 78 acres to CCN No. 13290.

- The application indicates that the total acreage being requested is approximately 80 acres, however, the mapping review determined the requested area is approximately 78 acres.

Based on my technical and managerial review of the information filed, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- City of Houston

- City of Humble

- Coastal Water Authority

- Gulf Coast Authority

- Harris County Flood Control District

- Harris County Municipal Utility District (MUD) 26

- Harris Montgomery Counties Management District

- Hunter's Glen MUD

- North Harris County Regional Water Authority

- Oak Hill Estates Water Company (CCN No. 12861)

- Port of Houston Authority

- Quadvest LP (CCN No. 11612)

- San Jacinto River Authority

- Serenity Estate Utilities LLC (CCN No. 13113)

- Tattor Road Municipal District

  - The county judge of each county that is wholly or partially included in the requested area:

- Harris County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Harris Galveston Subsidence District

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, and the date that the notice was provided.