TO:		Phillip Lehmann and Mildred Anaele, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	July 19, 2022

RE:	Docket No. 53559 – Petition of VPTM Cross Creek LB, LLC to Amend Marilee Special Utility District’s Certificate of Convenience and Necessity in Collin County by Streamlined Expedited Release

On May 4, 2022, VPTM Cross Creek LB, LLC (VPTM Cross Creek LB) filed a petition for streamlined expedited release from Marilee Special Utility District's (Marilee) water Certificate of Convenience and Necessity (CCN) No. 10150 in Collin County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). VPTM Cross Creek LB asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Collin County, which is a qualifying county.

VPTM Cross Creek LB provided a warranty deed confirming ownership of the tract of land within Marilee’s certificated service area.  In addition, VPTM Cross Creek LB submitted a sworn affidavit attesting that the tract of land was not receiving water service from the CCN holder.  Marilee requested to intervene and filed a response indicating there are three waterlines that run through the tract of land, but no active meters.

Based on the mapping review by Dave Babicki, Infrastructure Division, it was determined the landowner’s total property is approximately 111.8 acres. The tract of land in the petition for streamlined expedited release is approximately 111.8 acres, of which approximately 111.8 acres overlap Marilee (CCN No. 10150) and would be decertified from CCN No. 10150.

Marilee provided documentation stating it has 4-inch, 6-inch, and 8-inch waterlines within or in direct proximity to the boundaries of the tract of land, however, based on provided mapping data all meters and associated waterlines are showing outside or surrounding the tract of land. Marilee has documented other planning efforts to ensure its water systems continue to meet the needs of its service area.

In accordance with TWC § 13.2541 and 16 TAC § 24.245(h), VPTM Cross Creek LB has met the Commission’s requirements to allow for the release of the tract of land from Marilee’s CCN No. 10150. Therefore, I recommend approval of the petition.  Enclosed is a final map and certificate for Commission approval.

Additionally, I recommend that a final map and certificate be provided to the CCN holder.