TO:		Forrest Smith and Ian Groetsch, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	June 13, 2022

RE:	Docket No. 53607 – Application of Chaparral Water System and CSWR-Texas Utility Operating Company, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Gillespie County

On May 13, 2022, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas) and Chaparral Water System (Chaparral Water) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Gillespie County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, CSWR-Texas, water Certificate of Convenience and Necessity (CCN) No. 13290, seeks approval to acquire facilities and to transfer all of the water service area from Chaparral Water under water CCN No. 13290.

Based on the mapping review by Hank Journeay, Infrastructure Division, the maps submitted with Item 1 on May 13, 2022 are sufficient.

- The requested area includes 51 customer connections and approximately 91 acres of transferred area from Chaparral Water System (CCN No. 10959) to CSWR-Texas (CCN No. 13290).

- The application proposes the subtraction of approximately 91 acres from CCN No. 10959 and the addition of approximately 91 acres to CCN No. 13290.

- The application indicates that the total acreage being requested is approximately 93 acres, however, the mapping review determined the requested area is approximately 91 acres.

Based on my technical and managerial review of the information filed, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Gillespie County Water Control & Improvement District (WCID) 1

- Lower Colorado River Authority

  - The county judge of each county that is wholly or partially included in the requested area:

- Gillespie County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Hill County Underground Water Conservation District

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, and the date that the notice was provided.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to CSWR-Texas and Chaparral Water.  CSWR-Texas and Chaparral Water will have 20 days from the receipt of the RFI to respond.