TO:		Forrest Smith, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:	April 21, 2023

RE:	Docket No. 53630 – Application of Orbit Systems, Inc. and Undine Texas Environmental, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Brazoria County

1.	Application

On May 20, 2022, Undine Texas Environmental, LLC (Undine Texas Environmental) and Orbit Systems, Inc. (Orbit) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Brazoria County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Undine Texas Environmental, sewer Certificate of Convenience and Necessity (CCN) No. 20816, seeks approval to amend uncertificated area to CCN No. 20816, to acquire facilities, and to transfer all of the sewer service area from Orbit under sewer CCN No. 20682.

Based on the mapping review by Dave Babicki, Infrastructure Division:

- The requested area includes 195 customer connections and approximately 152 acres, comprised of:

6 acres of uncertificated area;

146 acres of transferred area from Orbit Systems, Inc. (CCN No. 20682) to Undine Texas Environmental (CCN No. 20816).

- The application proposes the subtraction of approximately 146 acres from CCN No. 20682 and the addition of approximately 152 acres to CCN No. 20816.

2.	Notice

Undine Texas Environmental provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was August 27, 2022; there was an intervention request submitted by a customer concerned about the proposed change in the rates.

On December 28, 2022, in Order No. 12, the ALJ withdrew the finding that notice was sufficient and required revised notice to be sent to customers.  Undine Texas provided revised notice on February 21, 2023.  The intervention deadline date was March 23, 2023.  There were several ratepayers who submitted comments regarding concerns about the rate increase.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Orbit has a Texas Commission on Environmental Quality (TCEQ) approved wastewater treatment plant (WWTP) registered as Grasslands WWTP, Wastewater Discharge Permit No. WQ0012672001.  The last TCEQ compliance investigation of the Grassland WWTP was on January 31, 2022.  Orbit does not have any violations listed in the TCEQ database for the Grassland WWTP.  The Commission’s complaint records, which date back five years, show no complaints against Orbit.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer the Grassland WWTP to Undine Texas Environmental.  The customers are currently receiving sewer service from Orbit’s sewer system.

There are currently 195 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Undine Texas Environmental will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Undine Texas Environmental will have qualified TCEQ licensed operators licensed in wastewater treatment to run the acquired systems.

Undine Texas Environmental will have qualified TCEQ licensed operators licensed in wastewater treatment to run the acquired systems.  Specific information about the operators was provided in the docket confidentially as Item No. 3.

Undine Texas Environmental has the ability to provide adequate service in the requested area.  Undine Texas Environmental has several TCEQ approved WWTPs.  Undine Texas Environmental has violations listed in the TCEQ database and is actively working to resolve all violations. The Commission’s complaint records, which date back five years, show 133 informal complaints against Undine Texas Environmental.  The Commission’s Customer Protection Division has evaluated and closed 130 complaints at this time.  The three open complaints were received in April 2023.  The complaints include complaints for Undine Development, LLC and Undine Texas, LLC.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Undine Texas Environmental to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Orbit is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7. 	An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

Undine Texas Environmental is proposing to make improvements to the Orbit’s sewer system, see Attachment 1 (confidential).  The proposed capital improvements are expected to exceed $100,000, therefore the need for firm capital commitment under 16 TAC § 24.11(e)(5) is required.

The Rate Regulation Division will be addressing the need for firm capital commitment criterion in a separate memo.

3.8.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.10.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.11.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

If the transaction occurs, I expect that service will improve and costs to customers (consumers) will be lower compared to service and costs if the transaction does not occur.  Undine Texas Environmental is a large and growing utility.  This scale gives them the ability to operate their systems and comply with regulatory requirements more efficiently than smaller utilities.

As shown in Attachment 1 (confidential) of my memorandum, Undine Texas’s evaluation shows that the Grasslands WWTP needs capital upgrades.  As a result, if Orbit is not acquired, the current owner will need to make upgrades and those upgrades would support a substantial increase of Orbit’s rates if it remains a standalone utility.

Attachment 2 of my memorandum includes excerpts from the tariff of Undine Texas Environmental that was in force when the application in this docket was filed on September 2, 2021.  Attachment 3 of my memorandum is a comparison of the rates of Orbit and Undine Texas Environmental.  The current rates for the Orbit customers are $34.73 per month plus $3.48 per 1,000 gallons using a winter’s month average water usage for the customer.  The proposed rates are flat rates meaning there are no gallonage charges.  The rates will be starting at phase 3 of Undine Texas Environmental’s currently approved rates.

4. 	Recommendation

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are deposits held by Orbit for some of the customers being served by the Grassland WWTP.  I further recommend that a public hearing is not necessary.

Since the filing of the application in the current docket, Undine Texas filed an application for a pass-through rate change for three subdivisions it serves.  Application of Undine Texas, LLC for a Pass Through Rate Change, Tariff Control No. 53209 (pending).