## Attachment EDE-6
OFFICE OF PUBLIC UTILITY COUNSEL
Development of
Proposed Distribution Demand Allocators
[8 empty] | Primary | Secondary | Line
|  | Class | CLASS | Demand | Class | CLASS |  | Lines | Lines | Transformer
|  | MDD | NCP | Loss | MDD | NCP | Substations | Demand | Demand | Demand
Line |  | @Meter | @Meter | Factor | @Source | @Source | (MDD) | (MDD) | (MDD+NCP)/2 | (MDD+NCP)/2
No. | Class of Service | kW | kW | % | kW | kW | kW | kW | kW | kW
Residential Service
1 | Secondary | 1687852 | 2882452 | 7.832% | 1820045 | 3108206 | 1820045 | 1820045 | 2464125.5 | 2464125.5
Small General Service
2 | Secondary | 114762 | 187817 | 7.832% | 123750 | 202527 | 123750 | 123750 | 163138.5 | 163138.5
3 | Primary | 0 | 0 | 5.722% | 0 | 0 | 0 | 0 | 0 | 0
4 | Total Small General Service | 114762 | 187817 |  | 123750 | 202527 | 123750 | 123750 | 163138.5 | 163138.5
General Service
5 | Secondary | 665590.7032 | 891941.1789 | 7.832% | 717720 | 961798 | 717720 | 717720 | 839759 | 839759
6 | Primary | 25938 | 34757 | 5.722% | 27422 | 36746 | 27422 | 27422 | N/A | N/A
7 | Transmission Below 230 kV | 5854 | 8987.5 | 1.098% | 5918 | 9086 | N/A | N/A | N/A | N/A
8 | Transmission Above 230 kV | 0 | 0 | 0.2464% | 0 | 0 | N/A | N/A | N/A | N/A
9 | Total General Service | 697382.7032 | 935685.6789 |  | 751060 | 1007630 | 745142 | 745142 | 839759 | 839759
Large General Service
10 | Secondary | 154199.4505 | 181542.6421 | 7.832% | 166276 | 195761 | 166276 | 166276 | 181018.5 | 181018.5
11 | Primary | 48016.2443 | 56531.1958 | 5.722% | 50764 | 59766 | 50764 | 50764 | N/A | N/A
12 | Transmission Below 230 kV | 3580 | 5645.9 | 1.098% | 3619 | 5708 | N/A | N/A | N/A | N/A
13 | Total Large General Service | 205795.6949 | 243719.738 |  | 220659 | 261235 | 217040 | 217040 | 181018.5 | 181018.5
Large Industrial Power Service
14 | Primary | 82242.43 | 110315.3925 | 5.722% | 86948 | 116628 | 86948 | 86948 | N/A | N/A
15 | Transmission Below 230 kV | 626899.2369 | 758335.7269 | 1.098% | 633783 | 766662 | N/A | N/A | N/A | N/A
16 | Transmission 230 kV And Above | 384960.952 | 479486.9478 | 0.2464% | 385909 | 480668 | N/A | N/A | N/A | N/A
17 | Total Large Industrial Power Service | 1094102.6189 | 1348138.0672 |  | 1106640 | 1363958 | 86948 | 86948 | 0 | 0
Roadway Lighting
18 | Secondary | 8459 | 8459 | 7.832% | 9122 | 9122 | 9122 | 9122 | 9122 | 9122
Non-Roadway Lighting
19 | Secondary | 14260 | 14260 | 7.832% | 15377 | 15377 | 15377 | 15377 | 15377 | 15377
20 | Total Texas Retail | 3822614.017 | 5620531.484 |  | 4046653 | 5968055 | 3017424 | 3017424 | 3672540.5 | 3672540.5
OFFICE OF PUBLIC UTILITY COUNSEL
Development of
Proposed Distribution Demand Allocators
|  |  | Primary | Secondary | Line
|  |  | Lines | Lines | Transformer
Line |  | Substations | Demand | Demand | Demand
No. | Class of Service | % | % | % | %
Residential Service
1 | Secondary | 60.32% | 60.32% | 67.1% | 67.1%
Small General Service
2 | Secondary | 4.101% | 4.101% | 4.442% | 4.442%
3 | Primary | 0% | 0% | 0% | 0%
4 | Total Small General Service | 4.101% | 4.101% | 4.442% | 4.442%
General Service
5 | Secondary | 23.79% | 23.79% | 22.87% | 22.87%
6 | Primary | 0.9088% | 0.9088% | N/A | N/A
7 | Transmission Below 230 kV | N/A | N/A | N/A | N/A
8 | Transmission Above 230 kV | N/A | N/A | N/A | N/A
9 | Total General Service | 24.69% | 24.69% | 22.87% | 22.87%
Large General Service
10 | Secondary | 5.511% | 5.511% | 4.929% | 4.929%
11 | Primary | 1.682% | 1.682% | N/A | N/A
12 | Transmission Below 230 kV | N/A | N/A | N/A | N/A
13 | Total Large General Service | 7.193% | 7.193% | 4.929% | 4.929%
Large Industrial Power Service
14 | Primary | 2.882% | 2.882% | N/A | N/A
15 | Transmission Below 230 kV | N/A | N/A | N/A | N/A
16 | Transmission 230 kV And Above | N/A | N/A | N/A | N/A
17 | Total Large Industrial Power Service | 2.882% | 2.882% | 0% | 0%
Roadway Lighting
18 | Secondary | 0.3023% | 0.3023% | 0.2484% | 0.2484%
Non-Roadway Lighting
19 | Secondary | 0.5096% | 0.5096% | 0.4187% | 0.4187%
20 | Total Texas Retail | 100% | 100% | 100% | 100%

## Attachment EDE-7
OFFICE OF PUBLIC UTILITY COUNSEL
Development of
Alternative Proposed Distribution Demand Allocators
[8 empty] | Primary | Secondary | Line
|  | Class | CLASS | Demand | Class | CLASS |  | Lines | Lines | Transformer
|  | MDD | NCP | Loss | MDD | NCP | Substations | Demand | Demand | Demand
Line |  | @Meter | @Meter | Factor | @Source | @Source | (MDD) | (MDD) | (MDD+NCP)/2 | (MDD+NCP)/2
No. | Class of Service | kW | kW | % | kW | kW | kW | kW | kW | kW
Residential Service
1 | Secondary | 1687852 | 3208479 | 7.832% | 1820045 | 3459767 | 1820045 | 1820045 | 2639906 | 2639906
Small General Service
2 | Secondary | 114762 | 214548 | 7.832% | 123750 | 231351 | 123750 | 123750 | 177550.5 | 177550.5
3 | Primary | 0 | 0 | 5.722% | 0 | 0 | 0 | 0 | 0 | 0
4 | Total Small General Service | 114762 | 214548 |  | 123750 | 231351 | 123750 | 123750 | 177550.5 | 177550.5
General Service
5 | Secondary | 665590.7032 | 891941.1789 | 7.832% | 717720 | 961798 | 717720 | 717720 | 839759 | 839759
6 | Primary | 25938 | 34885.2125 | 5.722% | 27422 | 36881 | 27422 | 27422 | N/A | N/A
7 | Transmission Below 230 kV | 5854 | 9067 | 1.098% | 5918 | 9167 | N/A | N/A | N/A | N/A
8 | Transmission Above 230 kV | 0 | 0 | 0.2464% | 0 | 0 | N/A | N/A | N/A | N/A
9 | Total General Service | 697382.7032 | 935893.3914 |  | 751060 | 1007846 | 745142 | 745142 | 839759 | 839759
Large General Service
10 | Secondary | 154199.4505 | 181542.6421 | 7.832% | 166276 | 195761 | 166276 | 166276 | 181018.5 | 181018.5
11 | Primary | 48016.2443 | 56531.1958 | 5.722% | 50764 | 59766 | 50764 | 50764 | N/A | N/A
12 | Transmission Below 230 kV | 3580 | 5808.9 | 1.098% | 3619 | 5873 | N/A | N/A | N/A | N/A
13 | Total Large General Service | 205795.6949 | 243882.738 |  | 220659 | 261400 | 217040 | 217040 | 181018.5 | 181018.5
Large Industrial Power Service
14 | Primary | 85465.93 | 110315.3925 | 5.722% | 90356 | 116628 | 90356 | 90356 | N/A | N/A
15 | Transmission Below 230 kV | 626899.2369 | 800177.524 | 1.098% | 633783 | 808963 | N/A | N/A | N/A | N/A
16 | Transmission 230 kV And Above | 413064.217 | 492572.699 | 0.2464% | 414082 | 493786 | N/A | N/A | N/A | N/A
17 | Total Large Industrial Power Service | 1125429.3839 | 1403065.6155 |  | 1138221 | 1419377 | 90356 | 90356 | 0 | 0
Roadway Lighting
18 | Secondary | 8512 | 8512 | 7.832% | 9179 | 9179 | 9179 | 9179 | 9179 | 9179
Non-Roadway Lighting
19 | Secondary | 14419 | 14419 | 7.832% | 15548 | 15548 | 15548 | 15548 | 15548 | 15548
20 | Total Texas Retail | 3854152.782 | 6028799.7449 |  | 4078462 | 6404468 | 3021060 | 3021060 | 3862961 | 3862961
OFFICE OF PUBLIC UTILITY COUNSEL
Development of
Alternative Proposed Distribution Demand Allocators
|  |  | Primary | Secondary | Line
|  |  | Lines | Lines | Transformer
Line |  | Substations | Demand | Demand | Demand
No. | Class of Service | % | % | % | %
Residential Service
1 | Secondary | 60.25% | 60.25% | 68.34% | 68.34%
Small General Service
2 | Secondary | 4.096% | 4.096% | 4.596% | 4.596%
3 | Primary | 0% | 0% | 0% | 0%
4 | Total Small General Service | 4.096% | 4.096% | 4.596% | 4.596%
General Service
5 | Secondary | 23.76% | 23.76% | 21.74% | 21.74%
6 | Primary | 0.9077% | 0.9077% | N/A | N/A
7 | Transmission Below 230 kV | N/A | N/A | N/A | N/A
8 | Transmission Above 230 kV | N/A | N/A | N/A | N/A
9 | Total General Service | 24.66% | 24.66% | 21.74% | 21.74%
Large General Service
10 | Secondary | 5.504% | 5.504% | 4.686% | 4.686%
11 | Primary | 1.68% | 1.68% | N/A | N/A
12 | Transmission Below 230 kV | N/A | N/A | N/A | N/A
13 | Total Large General Service | 7.184% | 7.184% | 4.686% | 4.686%
Large Industrial Power Service
14 | Primary | 2.991% | 2.991% | N/A | N/A
15 | Transmission Below 230 kV | N/A | N/A | N/A | N/A
16 | Transmission 230 kV And Above | N/A | N/A | N/A | N/A
17 | Total Large Industrial Power Service | 2.991% | 2.991% | 0% | 0%
Roadway Lighting
18 | Secondary | 0.3038% | 0.3038% | 0.2376% | 0.2376%
Non-Roadway Lighting
19 | Secondary | 0.5147% | 0.5147% | 0.4025% | 0.4025%
20 | Total Texas Retail | 100% | 100% | 100% | 100%

## Annual MDD
OFFICE OF PUBLIC UTILITY COUNSEL
MAXIMUM DIVERSIFIED PEAK DEMANDS AFTER WEATHER AND YEAR END ADJUSTMENTS
#REF!
DEMAND IN KW
Line |  | Annual | Summer | Annual w/o February
No. | Class | MDD | MDD | MDD | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01
Residential
1 | Secondary Unadjusted | 1745147 | 1627101 | 1627101 | 1493346 | 1745147 | 770311 | 1021571 | 1281221 | 1627101 | 1622284 | 1583235 | 1583437 | 1220527 | 728512 | 952311
2 | Weather Adjustment |  |  |  | 21271 | -275680 | 5761 | -193543 | 151034 | -142092 | 46878 | 69288 | -102325 | -3598 | -78425 | 143026
3 | Customer Adjustment |  |  |  | 28843 | 25577 | 10287 | 11600 | 15321 | 13587 | 18690 | 16977 | 8171 | 4270 | 1498 | 0
4 | Secondary Adjusted | 1687852 | 1687852 | 1687852 | 1543460 | 1495044 | 786359 | 839628 | 1447576 | 1498596 | 1687852 | 1669500 | 1489283 | 1221199 | 651585 | 1095337
Small General Service
5 | Secondary Unadjusted | 106292 | 106292 | 106292 | 98192 | 103257 | 70437 | 76596 | 86699 | 105370 | 100440 | 105592 | 106292 | 86967 | 78432 | 80713
6 | Weather Adjustment |  |  |  | 4948 | -20529 | -8935 | -6674 | 4921 | 7919 | 2687 | 1535 | 231 | -1246 | -8082 | 11075
7 | Customer Adjustment |  |  |  | 2848 | 2088 | 1225 | 1204 | 1268 | 1473 | 1370 | 1239 | 707 | 285 | 70 | 0
8 | Secondary Adjusted | 114762 | 114762 | 114762 | 105988 | 84816 | 62727 | 71126 | 92888 | 114762 | 104497 | 108366 | 107230 | 86006 | 70420 | 91788
General Service
9 | Secondary Unadjusted | 654552.7032 | 654552.7032 | 654552.7032 | 497822.8274 | 513569.4673 | 463740.0355 | 489403.0622 | 539022.538 | 590507.1913 | 588709.3922 | 654552.7032 | 614218 | 562367 | 494706 | 509153
10 | Weather Adjustment |  |  |  | 0 | 0 | -35240 | -15744 | 1230 | -11630 | 5752 | 12200 | 3992 | -12667 | 6784 | -72844
11 | Customer Adjustment |  |  |  | 2934 | 3964 | 2804 | 3146 | 1980 | 889 | -498 | -1162 | -1405 | -836 | -619 | 0
12 | Secondary Adjusted | 665590.7032 | 665590.7032 | 665590.7032 | 500756.8274 | 517533.4673 | 431304.0355 | 476805.0622 | 542232.538 | 579766.1913 | 593963.3922 | 665590.7032 | 616805 | 548864 | 500871 | 436309
13 | Primary Unadjusted | 24923 | 24923 | 24923 | 19629.4489 | 19871.5492 | 15908.8268 | 19085.9661 | 20184.7137 | 22463.9015 | 23207.9027 | 24923 | 21110 | 19619 | 19145 | 19311
14 | Weather Adjustment |  |  |  | 0 | 0 | -1209 | -614 | 46 | -442 | 227 | 465 | 137 | -442 | 263 | -2763
15 | Customer Adjustment |  |  |  | 1492 | 1549 | 1314 | 1544 | 1099 | 814 | 650 | 550 | 537 | 163 | -36 | 0
16 | Primary Adjusted | 25938 | 25938 | 25938 | 21121.4489 | 21420.5492 | 16013.8268 | 20015.9661 | 21329.7137 | 22835.9015 | 24084.9027 | 25938 | 21784 | 19340 | 19372 | 16548
17 | Transmission <230 kV Unadjusted | 6110 | 5773 | 6110 | 3713 | 4797 | 6110 | 5283 | 4638 | 4617 | 5773 | 5747 | 4171 | 4213 | 3661 | 3621
18 | Weather Adjustment |  |  |  | 0 | 0 | -464 | -170 | 11 | -91 | 56 | 107 | 27 | -95 | 50 | -518
19 | Customer Adjustment |  |  |  | 218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Transmission <230 kV Adjusted | 5854 | 5854 | 5854 | 3931 | 4797 | 5646 | 5113 | 4649 | 4526 | 5829 | 5854 | 4198 | 4118 | 3711 | 3103
21 | Transmission >230 kV Unadjusted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Customer Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Transmission >230 kV Adjusted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | General Service Unadjusted Total | 685222.7032 | 685222.7032 | 685222.7032 | 521165.2763 | 538238.0165 | 485758.8623 | 513772.0283 | 563845.2516 | 617588.0928 | 617690.2948 | 685222.7032 | 639499 | 586199 | 517512 | 532085
26 | Weather Adjustment Total |  |  |  | 0 | 0 | -36913 | -16528 | 1287 | -12163 | 6035 | 12772 | 4156 | -13204 | 7097 | -76125
27 | Customer Adjustment Total |  |  |  | 4644 | 5513 | 4118 | 4690 | 3079 | 1703 | 152 | -612 | -868 | -673 | -655 | 0
28 | General Service Adjusted Total | 697382.7032 | 697382.7032 | 697382.7032 | 525809.2763 | 543751.0165 | 452963.8623 | 501934.0283 | 568211.2516 | 607128.0928 | 623877.2948 | 697382.7032 | 642787 | 572322 | 523954 | 455960
Large General Service
29 | Secondary Unadjusted | 155116.4505 | 155116.4505 | 155116.4505 | 124990.976 | 118634.2678 | 129164.2065 | 127937.4602 | 134320.2051 | 143740.3739 | 142036.8361 | 152514.1426 | 155116.4505 | 135633.5547 | 126080 | 133815
30 | Weather Adjustment |  |  |  | -6496 | -3120 | -3835 | -2872 | 1859 | 2394 | 938 | -1104 | -917 | -1897 | 1078 | -18044
31 | Customer Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Secondary Adjusted | 154199.4505 | 154199.4505 | 154199.4505 | 118494.976 | 115514.2678 | 125329.2065 | 125065.4602 | 136179.2051 | 146134.3739 | 142974.8361 | 151410.1426 | 154199.4505 | 133736.5547 | 127158 | 115771
33 | Primary Unadjusted | 48302.2443 | 48302.2443 | 48302.2443 | 40391.9488 | 37231.4623 | 41920.5272 | 45211.5929 | 45198.0609 | 45646.0626 | 45758.9945 | 48173.7127 | 48302.2443 | 44131.8879 | 42897.2194 | 46998.9102
34 | Weather Adjustment |  |  |  | -2099 | -979 | -1245 | -1015 | 626 | 760 | 302 | -349 | -286 | -617 | 367 | -6338
35 | Customer Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Primary Adjusted | 48016.2443 | 48016.2443 | 48016.2443 | 38292.9488 | 36252.4623 | 40675.5272 | 44196.5929 | 45824.0609 | 46406.0626 | 46060.9945 | 47824.7127 | 48016.2443 | 43514.8879 | 43264.2194 | 40660.9102
Large General Service (cont.)
1 | Transmission <230 kV Unadjusted | 3839 | 3521 | 3839 | 3490 | 3342 | 3145 | 3534 | 3276 | 3521 | 3080 | 3245 | 3106 | 3265 | 3437 | 3839
2 | Weather Adjustment |  |  |  | -181 | -88 | -93 | -79 | 45 | 59 | 20 | -23 | -18 | -46 | 29 | -518
3 | Customer Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Transmission <230 kV Adjusted | 3580 | 3580 | 3580 | 3309 | 3254 | 3052 | 3455 | 3321 | 3580 | 3100 | 3222 | 3088 | 3219 | 3466 | 3321
5 | Large General Service Unadjusted Total | 206524.6949 | 206524.6949 | 206524.6949 | 168872.9248 | 159207.7301 | 174229.7337 | 176683.0531 | 182794.266 | 192907.4365 | 190875.8306 | 203932.8553 | 206524.6949 | 183030.4426 | 172414.2194 | 184652.9102
6 | Weather Adjustment Total |  |  |  | -8776 | -4187 | -5173 | -3966 | 2530 | 3213 | 1260 | -1476 | -1221 | -2560 | 1474 | -24900
7 | Customer Adjustment Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Large General Service Adjusted Total | 205303.6949 | 205303.6949 | 205303.6949 | 160096.9248 | 155020.7301 | 169056.7337 | 172717.0531 | 185324.266 | 196120.4365 | 192135.8306 | 202456.8553 | 205303.6949 | 180470.4426 | 173888.2194 | 159752.9102
Large Industrial Power
9 | Primary | 85465.93 | 82242.43 | 85465.93 | 77092.93 | 74689.93 | 85465.93 | 80366.93 | 76857.93 | 69025.93 | 79205.93 | 82242.43 | 69878.43 | 78466.43 | 78843.43 | 81617.6667
10 | Transmission <230 kV | 626899.2369 | 626899.2369 | 626899.2369 | 560321.4445 | 536662.0818 | 617678.2792 | 569043.2423 | 591750.7681 | 613837.7601 | 626899.2369 | 592711.1054 | 589408.5083 | 560879.7871 | 529228.205 | 594240.5635
11 | Transmission >230 kV | 413064.217 | 384960.952 | 413064.217 | 332738.3688 | 292194.4525 | 325917.6188 | 362135.7358 | 354177.3857 | 340090.0859 | 342229.552 | 384960.952 | 342098.1687 | 344829.2514 | 413064.217 | 408150.5504
12 | Primary (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Transmission <230 kV (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Transmission >230 kV (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Large Industrial Power Total | 1084008.7806 | 1059914.4873 | 1084008.7806 | 970152.7433 | 903546.4642 | 1029061.828 | 1011545.9081 | 1022786.0838 | 1022953.776 | 1048334.7189 | 1059914.4873 | 1001385.107 | 984175.4685 | 1021135.852 | 1084008.7806
Roadway Lighting
16 | Secondary | 8528 | 8459 | 8512 | 8512 | 8528 | 8510 | 8496 | 8458 | 8459 | 8446 | 8456 | 8445 | 8450 | 8452 | 8446
Non-Roadway Lighting
17 | Secondary | 14419 | 14260 | 14419 | 14419 | 14364 | 14359 | 14315 | 14288 | 14260 | 14238 | 14183 | 14201 | 14140 | 14123 | 14106
18 | Total Adjusted Retail | 3812256.1787 | 3787933.8854 | 3812240.1787 | 3328437.9444 | 3205070.2107 | 2523037.4239 | 2619761.9895 | 3339531.6014 | 3462279.3054 | 3679380.8444 | 3760259.0458 | 3468634.8019 | 3066762.9111 | 2463558.0714 | 2909398.6908

## Annual NCP
OFFICE OF PUBLIC UTILITY COUNSEL
NON-COINCIDENT PEAK DEMANDS AFTER WEATHER AND YEAR END ADJUSTMENTS
#REF!
DEMAND IN KW
Line |  | Annual | Summer | Annual w/o February
No. | Class | NCP | NCP | NCP | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01
Residential
1 | Secondary Unadjusted | 3776582 | 2850534 | 3148521 | 3148521 | 3776582 | 2545048 | 2712591 | 2675217 | 2819406 | 2850534 | 2773834 | 2566865 | 2520822 | 2301827 | 2883181
2 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Customer Adjustment |  |  |  | 59958 | 65735 | 33736 | 38000 | 28618 | 25797 | 31918 | 28497 | 14161 | 8845 | 5305 | 0
4 | Secondary Adjusted | 3842317 | 2882452 | 3208479 | 3208479 | 3842317 | 2578784 | 2750591 | 2703835 | 2845203 | 2882452 | 2802331 | 2581026 | 2529667 | 2307132 | 2883181
Small General Service
5 | Secondary Unadjusted | 214548 | 185406 | 214548 | 207038 | 207888 | 163952 | 166255 | 166647 | 185406 | 171984 | 182816 | 176517 | 168390 | 211632 | 214548
6 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Customer Adjustment |  |  |  | 5716 | 5246 | 3267 | 2862 | 2306 | 2411 | 2285 | 2115 | 1171 | 560 | 211 | 0
8 | Secondary Adjusted | 214548 | 187817 | 214548 | 212754 | 213134 | 167219 | 169117 | 168953 | 187817 | 174269 | 184931 | 177688 | 168950 | 211843 | 214548
General Service
9 | Secondary Unadjusted | 903399.1708 | 893498.1789 | 893498.1789 | 822217.5697 | 903399.1708 | 726175.3356 | 682526.2965 | 753647.3783 | 788380.3581 | 789420.7653 | 893498.1789 | 869847 | 768191 | 746137 | 768927
10 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Customer Adjustment |  |  |  | 4846 | 6973 | 4751 | 4533 | 2763 | 1211 | -661 | -1557 | -1978 | -1168 | -922 | 0
12 | Secondary Adjusted | 910372.1708 | 891941.1789 | 891941.1789 | 827063.5697 | 910372.1708 | 730926.3356 | 687059.2965 | 756410.3783 | 789591.3581 | 788759.7653 | 891941.1789 | 867869 | 767023 | 745215 | 768927
13 | Primary Unadjusted | 34953.9045 | 34021 | 34021 | 32420.2125 | 34953.9045 | 24912.1628 | 26616.9306 | 28221.8244 | 29990.6916 | 31120.8262 | 34021 | 29896 | 26800 | 28875 | 29164
14 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Customer Adjustment |  |  |  | 2465 | 2724 | 2227 | 2224 | 1533 | 1109 | 863 | 736 | 755 | 228 | -53 | 0
16 | Primary Adjusted | 37677.9045 | 34757 | 34885.2125 | 34885.2125 | 37677.9045 | 27139.1628 | 28840.9306 | 29754.8244 | 31099.6916 | 31983.8262 | 34757 | 30651 | 27028 | 28822 | 29164
17 | Transmission <230 kV Unadjusted | 8129.6 | 8987.5 | 9067 | 5978.98 | 8129.6 | 9067 | 8418.38 | 8309.5 | 7988.5 | 8765.5 | 8283.5 | 8987.5 | 8627.5 | 7824.5 | 7550
18 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Customer Adjustment |  |  |  | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Transmission <230 kV Adjusted | 8129.6 | 8987.5 | 9067 | 6330.98 | 8129.6 | 9067 | 8418.38 | 8309.5 | 7988.5 | 8765.5 | 8283.5 | 8987.5 | 8627.5 | 7824.5 | 7550
21 | Transmission >230 kV Unadjusted | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Customer Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Transmission >230 kV Adjusted | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | General Service Unadjusted Total | 946482.6753 | 935802.6789 | 935802.6789 | 860616.7622 | 946482.6753 | 760154.4984 | 717561.6071 | 790178.7026 | 826359.5497 | 829307.0915 | 935802.6789 | 908730.5 | 803618.5 | 782836.5 | 805641
26 | Weather Adjustment Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | Customer Adjustment Total |  |  |  | 7663 | -7710 | -8519 | -8950 | -13536 | -14219 | -15287 | -15789 | -12519 | -8666 | -7256 | 0
28 | General Service Adjusted Total | 938772.6753 | 920013.6789 | 920013.6789 | 868279.7622 | 938772.6753 | 751635.4984 | 708611.6071 | 776642.7026 | 812140.5497 | 814020.0915 | 920013.6789 | 896211.5 | 794952.5 | 775580.5 | 805641
Large General Service
29 | Secondary Unadjusted | 181542.6421 | 181542.6421 | 181542.6421 | 155519.3942 | 160255.3134 | 155210.6302 | 145735.7005 | 161849.7823 | 172168.0996 | 170239.3995 | 175489.7707 | 181542.6421 | 159145.8343 | 147271 | 155981
30 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Customer Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Secondary Adjusted | 181542.6421 | 181542.6421 | 181542.6421 | 155519.3942 | 160255.3134 | 155210.6302 | 145735.7005 | 161849.7823 | 172168.0996 | 170239.3995 | 175489.7707 | 181542.6421 | 159145.8343 | 147271 | 155981
33 | Primary Unadjusted | 56531.1958 | 56531.1958 | 56531.1958 | 50257.0702 | 50293.3894 | 50374.0722 | 51500.943 | 54460.7409 | 54674.2386 | 54844.1367 | 55431.1275 | 56531.1958 | 51782.0852 | 50107.2619 | 54783.9834
34 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | Customer Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Primary Adjusted | 56531.1958 | 56531.1958 | 56531.1958 | 50257.0702 | 50293.3894 | 50374.0722 | 51500.943 | 54460.7409 | 54674.2386 | 54844.1367 | 55431.1275 | 56531.1958 | 51782.0852 | 50107.2619 | 54783.9834
Large General Service (cont.)
1 | Transmission <230 kV Unadjusted | 5199.5 | 5645.9 | 5808.9 | 5116.4 | 5213.4 | 5163 | 5439.7 | 5024.4 | 5645.9 | 5334.3 | 5170.2 | 5199.5 | 5538.3 | 5808.9 | 5028
2 | Weather Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Customer Adjustment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Transmission <230 kV Adjusted | 5199.5 | 5645.9 | 5808.9 | 5116.4 | 5213.4 | 5163 | 5439.7 | 5024.4 | 5645.9 | 5334.3 | 5170.2 | 5199.5 | 5538.3 | 5808.9 | 5028
5 | Large General Service Unadjusted Total | 243273.338 | 243273.338 | 243273.338 | 210892.8644 | 215762.1028 | 210747.7024 | 202676.3435 | 221334.9233 | 232488.2382 | 230417.8362 | 236091.0982 | 243273.338 | 216466.2194 | 203187.1619 | 215792.9834
6 | Weather Adjustment Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Customer Adjustment Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Large General Service Adjusted Total | 243273.338 | 243273.338 | 243273.338 | 210892.8644 | 215762.1028 | 210747.7024 | 202676.3435 | 221334.9233 | 232488.2382 | 230417.8362 | 236091.0982 | 243273.338 | 216466.2194 | 203187.1619 | 215792.9834
Large Industrial Power Service
9 | Primary | 107878.6825 | 110315.3925 | 110315.3925 | 90394.9525 | 91630.1125 | 89107.7625 | 107878.6825 | 106504.1425 | 110315.3925 | 107138.3025 | 101412.4325 | 98457.2 | 100445.2 | 91573.2 | 96858.8333
10 | Transmission <230 kV | 761750.3212 | 758335.7269 | 800177.524 | 742916.6178 | 728617.7909 | 800177.524 | 761750.3212 | 745454.1471 | 758335.7269 | 749855.912 | 747397.8664 | 750031.4234 | 758927.0467 | 766489.9726 | 752321.717
11 | Transmission >230 kV | 492572.699 | 479486.9478 | 492572.699 | 489852.944 | 425924.9304 | 461424.4724 | 492572.699 | 487828.4502 | 479486.9478 | 444350.9922 | 467942.215 | 473344.3895 | 399250.055 | 476290.7261 | 466542.0974
12 | Primary (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Transmission <230 kV (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Transmission >230 kV (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Large Industrial Power Service Total | 1362201.7027 | 1348138.0672 | 1362201.7027 | 1323164.5143 | 1246172.8338 | 1350709.7589 | 1362201.7027 | 1339786.7398 | 1348138.0672 | 1301345.2067 | 1316752.5139 | 1321833.0129 | 1258622.3017 | 1334353.8987 | 1315722.6477
Roadway Lighting
16 | Secondary | 8528 | 8459 | 8512 | 8512 | 8528 | 8510 | 8496 | 8458 | 8459 | 8446 | 8456 | 8445 | 8450 | 8452 | 8446
Non-Roadway Lighting
17 | Secondary | 14419 | 14260 | 14419 | 14419 | 14364 | 14359 | 14315 | 14288 | 14260 | 14238 | 14183 | 14201 | 14140 | 14123 | 14106
18 | Total Adjusted Retail | 6624059.716 | 5604413.084 | 5971446.7196 | 5846501.1409 | 6479050.612 | 5081964.9597 | 5216008.6534 | 5233298.3657 | 5448505.855 | 5425188.1344 | 5482758.291 | 5242677.8508 | 4991248.0211 | 4854671.5606 | 5457437.6311