## Exhibit JP-4
ENTERGY TEXAS, INC.
TIEC's Recommended Demand Allocation Factors Using the 4CP Loss Factors
For the Twelve Months Ending December 31, 2021
|  | Production |  | Transmission
|  | Demand | Interruptible | Demand (AED-4CP)
Line | Customer Class | (AED-4CP) | (AED-4CP) | >=230 kV |  | <230 kV
|  | -1 | -2 | -3 | -1 | -4
1 | Residential | 48.1% | 48.47% | 48.1% |  | 53.43%
2 | Small General Service | 2.884% | 2.907% | 2.884% |  | 3.204%
3 | General Service | 16.99% | 17.13% | 16.99% |  | 18.87%
4 | Large General Service | 5.544% | 5.591% | 5.544% |  | 6.159%
5 | Large Industrial Power Service | 26.18% | 25.59% | 26.18% |  | 17.99%
6 | Lighting | 0.3042% | 0.3069% | 0.3042% |  | 0.338%
7 | Total Texas Retail | 100% | 100% | 100% |  | 100%
|  | PG / DD | PG / DD / IS | TH / DD |  | TL / DD

## Analysis
| Production Demand (AED4CP) |  |  | Interruptible (AED4CP) |  |  | Transmission Demand >=230 kV(AED4CP) |  |  | Transmission Demand <230 kV(AED4CP)
Class of Service | 12CP | 4CP | % Change | 12CP | 4CP | % Change | 12CP | 4CP | % Change | 12CP | 4CP | % Change
Residential | 48.04% | 48.1% | 0.1232% | 48.41% | 48.47% | 0.1202% | 48.04% | 48.1% | 0.1232% | 53.38% | 53.43% | 0.09076%
Small General Service | 2.88% | 2.884% | 0.125% | 2.904% | 2.907% | 0.124% | 2.88% | 2.884% | 0.125% | 3.201% | 3.204% | 0.09251%
General Service | 16.97% | 16.99% | 0.1273% | 17.11% | 17.13% | 0.1233% | 16.97% | 16.99% | 0.1273% | 18.86% | 18.87% | 0.09482%
Large General Service | 5.536% | 5.544% | 0.1517% | 5.582% | 5.591% | 0.1487% | 5.536% | 5.544% | 0.1517% | 6.152% | 6.159% | 0.1193%
Large Industrial Power Service | 26.28% | 26.18% | -0.3486% | 25.68% | 25.59% | -0.35% | 26.28% | 26.18% | -0.3486% | 18.07% | 17.99% | -0.4162%
Lighting | 0.3054% | 0.3042% | -0.3929% | 0.3082% | 0.3069% | -0.4218% | 0.3054% | 0.3042% | -0.3929% | 0.3394% | 0.338% | -0.4252%
Total Texas Retail | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0%

## Summary
ENTERGY TEXAS, INC.
SUMMARY OF ALLOCATION FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
TRANSMISSION
|  | PRODUCTION |  |  | DEMAND (A&E4CP)
|  |  | DEMAND | INTERRUPTIBLE | 230KV AND | BELOW
LINE |  | ENERGY | (A&E4CP) | (A&E4CP) | ABOVE | 230KV
NO. | CLASS OF SERVICE | MWH | KW | KW | KW | KW
(a) | (b) | (c) | (d) | (e) | (f) | (g)
1 | RESIDENTIAL | 33.32% | 48.1% | 48.47% | 48.1% | 53.43%
2 | SMALL GENERAL SERVICE | 2.611% | 2.884% | 2.907% | 2.884% | 3.204%
3 | GENERAL SERVICE | 16.84% | 16.99% | 17.13% | 16.99% | 18.87%
4 | LARGE GENERAL SERVICE | 6.845% | 5.544% | 5.591% | 5.544% | 6.159%
5 | LARGE INDUSTRIAL POWER SERVICE | 39.9% | 26.18% | 25.59% | 26.18% | 17.99%
6 | LIGHTING | 0.4832% | 0.3042% | 0.3069% | 0.3042% | 0.338%
7 | TOTAL TEXAS RETAIL | 100% | 100% | 100% | 100% | 100%
8 | TOTAL WHOLESALE & WHEELING | 0% | 0% | 0% | 0% | 0%
9 | TOTAL COMPANY | 100% | 100% | 100% | 100% | 100%
|  | PG / EE | PG / DD | PG / DD / IS | TH / DD | TL / DD

## Alloc Factor SUMM
ENTERGY TEXAS, INC.
SUMMARY OF ALLOCATION FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
TRANSMISSION
|  | PRODUCTION |  |  | DEMAND (A&E4CP)
|  |  | DEMAND | INTERRUPTIBLE | 230KV AND | BELOW
LINE |  | ENERGY | (A&E4CP) | (A&E4CP) | ABOVE | 230KV
NO. | CLASS OF SERVICE | MWH | KW | KW | KW | KW
(a) | (b) | (c) | (d) | (e) | (f) | (g)
1 | RESIDENTIAL | 6749208 | 48.1% | 48.47% | 48.1% | 53.43%
2 | SMALL GENERAL SERVICE | 528876 | 2.884% | 2.907% | 2.884% | 3.204%
3 | GENERAL SERVICE | 3410706 | 16.99% | 17.13% | 16.99% | 18.87%
4 | LARGE GENERAL SERVICE | 1386342 | 5.544% | 5.591% | 5.544% | 6.159%
5 | LARGE INDUSTRIAL POWER SERVICE | 8080261 | 26.18% | 25.59% | 26.18% | 17.99%
6 | LIGHTING | 97865 | 0.3042% | 0.3069% | 0.3042% | 0.338%
7 | TOTAL TEXAS RETAIL | 20253258 | 100% | 100% | 100% | 100%
8 | TOTAL WHOLESALE & WHEELING | 0% | 0% | 0% | 0% | 0%
9 | TOTAL COMPANY | 20253258 | 100% | 100% | 100% | 100%
|  | PG / EE | PG / DD | PG / DD / IS | TH / DD | TL / DD

## Demand Allocators
ENTERGY TEXAS, INC.
DEVELOPMENT OF ALLOCATION FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
[5 empty] | TRANSMISSION |  |  | PRIMARY | SECONDARY | LINE
|  | PRODUCTION |  |  | DEMAND (A&E4CP) |  | SUB- | LINES | LINES | TRANSFORMER
|  |  | DEMAND | INTERRUPTIBLE | 230KV AND | BELOW | STATIONS | DEMAND | DEMAND | DEMAND
LINE |  | ENERGY | (A&E4CP) | (A&E4CP) | ABOVE | 230KV | (MDD) | (MDD) | (MDD+NCP)/2 | (MDD+NCP)/2
NO. | CLASS OF SERVICE | MWH | KW | KW | KW | KW | KW | KW | KW | KW
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
Residential
1 | Secondary | 6749208 | 48.1% | 48.47% | 48.1% | 48.1% | 1828428 | 1828428 | 2995380 | 2995380
Small General Service
2 | Secondary | 528876 | 2.884% | 2.907% | 2.884% | 2.884% | 124320 | 124320 | 178369 | 178369
3 | Primary | 0 | 0% | 0% | 0% | 0% | 0 | 0 | N/A | N/A
4 | Total Small General Service | 528876 | 2.884% | 2.907% | 2.884% | 2.884% | 124320 | 124320 | 178369 | 178369
General Service
5 | Secondary | 3249939 | 16.25% | 16.39% | 16.25% | 16.25% | 721026 | 721026 | 853610 | 853610
6 | Primary | 124161 | 0.6173% | 0.6223% | 0.6173% | 0.6173% | 27587 | 27587 | N/A | N/A
7 | Transmission Below 230 kV | 36606 | 0.1172% | 0.1182% | 0.1172% | 0.1172% | N/A | N/A | N/A | N/A
8 | Transmission Above 230 kV | 0 | 0% | 0% | 0% | N/A | N/A | N/A | N/A | N/A
9 | Total General Service | 3410706 | 16.99% | 17.13% | 16.99% | 16.99% | 748613 | 748613 | 853610 | 853610
Large General Service
10 | Secondary | 1026099 | 4.173% | 4.208% | 4.173% | 4.173% | 167042 | 167042 | 181853 | 181853
11 | Primary | 335165 | 1.293% | 1.304% | 1.293% | 1.293% | 51069 | 51069 | N/A | N/A
12 | Transmission Below 230 kV | 25078 | 0.0779% | 0.0786% | 0.0779% | 0.0779% | N/A | N/A | N/A | N/A
13 | Total Large General Service | 1386342 | 5.544% | 5.591% | 5.544% | 5.544% | 218111 | 218111 | 181853 | 181853
Large Industrial Power Service
14 | Primary | 694799 | 2.159% | 2.178% | 2.159% | 2.159% | 86806 | 86806 | N/A | N/A
15 | Transmission Below 230 kV | 4515631 | 14.03% | 13.76% | 14.03% | 14.03% | N/A | N/A | N/A | N/A
16 | Transmission 230 kV And Above | 2869831 | 9.989% | 9.655% | 9.989% | N/A | N/A | N/A | N/A | N/A
17 | Total Large Industrial Power Service | 8080261 | 26.18% | 25.59% | 26.18% | 16.19% | 86806 | 86806 | 0 | 0
Roadway Lighting
1 | Secondary | 34328 | 0.1067% | 0.1077% | 0.1067% | 0.1067% | 9238 | 9238 | 9238 | 9238
Non-Roadway Lighting
2 | Secondary | 63537 | 0.1975% | 0.1992% | 0.1975% | 0.1975% | 15620 | 15620 | 15620 | 15620
3 | Total Texas Retail | 20253258 | 100% | 100% | 100% | 90.01% | 3031136 | 3031136 | 4234070 | 4234070
Wholesale For Resale
4 | Primary | 0 | 0% | N/A | 0% | 0% | 0 | 0 | N/A | N/A
5 | Transmission Below 230 kV | 0 | 0% | N/A | 0% | 0% | N/A | N/A | N/A | N/A
6 | Transmission 230 kV And Above | 0 | 0% | N/A | 0% | 0% | N/A | N/A | N/A | N/A
7 | Primary ETR Tran | 0 | 0% | N/A | N/A | N/A | 0 | 0 | N/A | N/A
8 | Transmission Below 230 kV ETR Tran | 0 | 0% | N/A | N/A | N/A | N/A | N/A | N/A | N/A
9 | Transmission 230 kV And Above ETR Tran | 0 | 0% | N/A | N/A | N/A | N/A | N/A | N/A | N/A
10 | Total Wholesale For Resale | 0 | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0
Wheeling
11 | Primary | N/A | N/A | N/A | 0% | 0% | 0 | 0 | N/A | N/A
12 | Transmission Below 230 kV | N/A | N/A | N/A | 0% | 0% | N/A | N/A | N/A | N/A
13 | Transmission 230 kV And Above | N/A | N/A | N/A | 0% | N/A | N/A | N/A | N/A | N/A
14 | Total Wheeling | 0 | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0
15 | Total Texas Wholesale | 0 | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0

## A&E4CP PROD
ENTERGY TEXAS, INC.
DEVELOPMENT OF ALLOCATION FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
PRODUCTION ALLOCATION
|  |  | AVERAGE |  | LOAD | CLASS |  |  | LOAD | AVERAGE
|  | ENERGY | DEMAND |  | FACTOR | 4CP | EXCESS |  | FACTOR | AND
LINE |  | @PLANT | 8,760 HRS |  | WEIGHTING (3) | @PLANT | DEMAND |  | WEIGHTING | EXCESS
NO. | CLASS OF SERVICE | MWH (1) | KW | RATIO | 62.95% | KW (2) | KW | RATIO | 37.05% | FACTOR
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
Residential
1 | Secondary | 6749208 | 770458 | 33.32% | 20.98% | 1673046 | 902588 | 73.19% | 27.12% | 48.1%
Small General Service
2 | Secondary | 528876 | 60374 | 2.611% | 1.644% | 101650 | 41276 | 3.347% | 1.24% | 2.884%
3 | Primary | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
4 | Total Small General Service | 528876 | 60374 | 2.611% | 1.644% | 101650 | 41276 | 3.347% | 1.24% | 2.884%
General Service
5 | Secondary | 3249939 | 370998 | 16.05% | 10.1% | 575807 | 204809 | 16.61% | 6.154% | 16.25%
6 | Primary | 124161 | 14174 | 0.6131% | 0.3859% | 21875 | 7701 | 0.6245% | 0.2314% | 0.6173%
7 | Transmission Below 230 kV | 36606 | 4179 | 0.1808% | 0.1138% | 4291 | 112 | 0.0091% | 0.0034% | 0.1172%
8 | Transmission Above 230 kV | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
9 | Total General Service | 3410706 | 389351 | 16.84% | 10.6% | 601973 | 212622 | 17.24% | 6.388% | 16.99%
Large General Service
10 | Secondary | 1026099 | 117135 | 5.066% | 3.189% | 149890 | 32755 | 2.656% | 0.9841% | 4.173%
11 | Primary | 335165 | 38261 | 1.655% | 1.042% | 46618 | 8357 | 0.6777% | 0.2511% | 1.293%
12 | Transmission Below 230 kV | 25078 | 2863 | 0.1238% | 0.0779% | 2608 | 0 | 0% | 0% | 0.0779%
13 | Total Large General Service | 1386342 | 158259 | 6.845% | 4.309% | 199116 | 41112 | 3.334% | 1.235% | 5.544%
Large Industrial Power Service
14 | Primary | 694799 | 79315 | 3.431% | 2.159% | 75734 | 0 | 0% | 0% | 2.159%
15 | Transmission Below 230 kV | 4515631 | 515483 | 22.3% | 14.03% | 514248 | 0 | 0% | 0% | 14.03%
16 | Transmission 230 kV And Above | 2869831 | 327606 | 14.17% | 8.92% | 363218 | 35612 | 2.888% | 1.07% | 9.989%
17 | Total Large Industrial Power Service | 8080261 | 922404 | 39.9% | 25.11% | 953200 | 35612 | 2.888% | 1.07% | 26.18%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 20
Roadway Lighting
1 | Secondary | 34328 | 3919 | 0.1695% | 0.1067% | 0 | 0 | 0% | 0% | 0.1067%
Non-Roadway Lighting
2 | Secondary | 63537 | 7253 | 0.3136% | 0.1975% | 0 | 0 | 0% | 0% | 0.1975%
3 | Total Texas Retail | 20253258 | 2312018 | 100% | 62.95% | 3528985 | 1233210 | 100% | 37.05% | 100%
Wholesale For Resale
4 | Primary | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
5 | Transmission Below 230 kV | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
6 | Transmission 230 kV And Above | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
7 | Primary ETR Tran | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
8 | Transmission Below 230 kV ETR Tran | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
9 | Transmission 230 kV And Above ETR Tran | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
10 | Total Wholesale For Resale | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 20
Wheeling
1 | Primary | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
2 | Transmission Below 230 kV | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
3 | Transmission 230 kV And Above | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
4 | Total Wheeling | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
5 | Total Texas Wholesale | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
6 | TOTAL COMPANY | 20253258 | 2312018 | 100% | 62.95% | 3528985 | 1233210 | 100% | 37.05% | 100%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 20

## A&E4CP IS
ENTERGY TEXAS, INC.
DEVELOPMENT OF ALLOCATION FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
INTERRUPTIBLE CREDIT ALLOCATION
|  |  | AVERAGE |  | LOAD | CLASS | CLASS |  |  | LOAD | AVERAGE
|  | ENERGY | DEMAND |  | FACTOR | 1CP | 4CP | EXCESS |  | FACTOR | AND
LINE |  | @PLANT | 8,760 HRS |  | WEIGHTING (3) | @PLANT | @PLANT | DEMAND |  | WEIGHTING | EXCESS
NO. | CLASS OF SERVICE | MWH (1) | KW | RATIO | 62.35% | KW (2) | KW (2) | KW | RATIO | 37.65% | FACTOR
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
Residential
1 | Secondary | 6749208 | 770458 | 33.94% | 21.16% | 1697046 | 1673046 | 902588 | 72.53% | 27.31% | 48.47%
Small General Service
2 | Secondary | 528876 | 60374 | 2.66% | 1.658% | 108432 | 101650 | 41276 | 3.317% | 1.249% | 2.907%
3 | Primary | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0% | 0% | 0%
4 | Total Small General Service | 528876 | 60374 | 2.66% | 1.658% | 108432 | 101650 | 41276 | 3.317% | 1.249% | 2.907%
General Service
5 | Secondary | 3249939 | 370998 | 16.34% | 10.19% | 675494 | 575807 | 204809 | 16.46% | 6.197% | 16.39%
6 | Primary | 124161 | 14174 | 0.6244% | 0.3893% | 25845 | 21875 | 7701 | 0.6188% | 0.233% | 0.6223%
7 | Transmission Below 230 kV | 36606 | 4179 | 0.1841% | 0.1148% | 3141 | 4291 | 112 | 0.009% | 0.0034% | 0.1182%
8 | Transmission Above 230 kV | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0% | 0% | 0%
9 | Total General Service | 3410706 | 389351 | 17.15% | 10.69% | 704480 | 601973 | 212622 | 17.09% | 6.434% | 17.13%
Large General Service
10 | Secondary | 1026099 | 117135 | 5.16% | 3.217% | 157708 | 149890 | 32755 | 2.632% | 0.9911% | 4.208%
11 | Primary | 335165 | 38261 | 1.686% | 1.051% | 48908 | 46618 | 8357 | 0.6716% | 0.2529% | 1.304%
12 | Transmission Below 230 kV | 25078 | 2863 | 0.1261% | 0.0786% | 2680 | 2608 | 0 | 0% | 0% | 0.0786%
13 | Total Large General Service | 1386342 | 158259 | 6.972% | 4.347% | 209296 | 199116 | 41112 | 3.304% | 1.244% | 5.591%
Large Industrial Power Service (Removes IS)
14 | Primary | 694662 | 79299 | 3.494% | 2.178% | 78013 | 75734 | 0 | 0% | 0% | 2.178%
15 | Transmission Below 230 kV | 4388689 | 500992 | 22.07% | 13.76% | 488517 | 489437 | 0 | 0% | 0% | 13.76%
16 | Transmission 230 kV And Above | 2627653 | 299960 | 13.21% | 8.239% | 355009 | 346773 | 46813 | 3.762% | 1.417% | 9.655%
17 | Total Large Industrial Power Service | 7711004 | 880251 | 38.78% | 24.18% | 921539 | 911944 | 46813 | 3.762% | 1.417% | 25.59%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 13, (Col. (c) * 1000) / (Col. (h) * 8760)
Roadway Lighting
1 | Secondary | 34328 | 3919 | 0.1727% | 0.1077% | 0 | 0 | 0 | 0% | 0% | 0.1077%
Non-Roadway Lighting
2 | Secondary | 63537 | 7253 | 0.3195% | 0.1992% | 0 | 0 | 0 | 0% | 0% | 0.1992%
3 | Total Texas Retail | 19884001 | 2269865 | 100% | 62.35% | 3640793 | 3487729 | 1244411 | 100% | 37.65% | 100%
Wholesale For Resale
4 | Primary | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A
5 | Transmission Below 230 kV | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A
6 | Transmission 230 kV And Above | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A
7 | Primary ETR Tran | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A
8 | Transmission Below 230 kV ETR Tran | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A
9 | Transmission 230 kV And Above ETR Tran | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A
10 | Total Wholesale For Resale | 0 | 0 | 0% | 0% |  | 0 | 0 | 0% | 0% | 0%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 13, (Col. (c) * 1000) / (Col. (h) * 8760)
Wheeling
1 | Primary | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0% | 0% | 0%
2 | Transmission Below 230 kV | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0% | 0% | 0%
3 | Transmission 230 kV And Above | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0% | 0% | 0%
4 | Total Wheeling | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0% | 0% | 0%
5 | Total Texas Wholesale | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0% | 0% | 0%
6 | TOTAL COMPANY | 19884001 | 2269865 | 100% | 62.35% | 3640793 | 3487729 | 1244411 | 100% | 37.65% | 100%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 13, (Col. (c) * 1000) / (Col. (h) * 8760)

## A&E4CP TRANS
ENTERGY TEXAS, INC.
DEVELOPMENT OF ALLOCATION FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
TRANSMISSION ALLOCATION
|  |  | AVERAGE |  | LOAD | CLASS |  |  | LOAD | AVERAGE
|  | ENERGY | DEMAND |  | FACTOR | 4CP | EXCESS |  | FACTOR | AND
LINE |  | @PLANT | 8,760 HRS |  | WEIGHTING (3) | @PLANT | DEMAND |  | WEIGHTING | EXCESS
NO. | CLASS OF SERVICE | MWH (1) | KW | RATIO | 62.95% | KW (2) | KW | RATIO | 37.05% | KW
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
Residential
1 | Secondary | 6749208 | 770458 | 33.32% | 20.98% | 1673046 | 902588 | 73.19% | 27.12% | 48.1%
Small General Service
2 | Secondary | 528876 | 60374 | 2.611% | 1.644% | 101650 | 41276 | 3.347% | 1.24% | 2.884%
3 | Primary | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
4 | Total Small General Service | 528876 | 60374 | 2.611% | 1.644% | 101650 | 41276 | 3.347% | 1.24% | 2.884%
General Service
5 | Secondary | 3249939 | 370998 | 16.05% | 10.1% | 575807 | 204809 | 16.61% | 6.154% | 16.25%
6 | Primary | 124161 | 14174 | 0.6131% | 0.3859% | 21875 | 7701 | 0.6245% | 0.2314% | 0.6173%
7 | Transmission Below 230 kV | 36606 | 4179 | 0.1808% | 0.1138% | 4291 | 112 | 0.0091% | 0.0034% | 0.1172%
8 | Transmission Above 230 kV | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
9 | Total General Service | 3410706 | 389351 | 16.84% | 10.6% | 601973 | 212622 | 17.24% | 6.388% | 16.99%
Large General Service
10 | Secondary | 1026099 | 117135 | 5.066% | 3.189% | 149890 | 32755 | 2.656% | 0.9841% | 4.173%
11 | Primary | 335165 | 38261 | 1.655% | 1.042% | 46618 | 8357 | 0.6777% | 0.2511% | 1.293%
12 | Transmission Below 230 kV | 25078 | 2863 | 0.1238% | 0.0779% | 2608 | 0 | 0% | 0% | 0.0779%
13 | Total Large General Service | 1386342 | 158259 | 6.845% | 4.309% | 199116 | 41112 | 3.334% | 1.235% | 5.544%
Large Industrial Power Service
14 | Primary | 694799 | 79315 | 3.431% | 2.159% | 75734 | 0 | 0% | 0% | 2.159%
15 | Transmission Below 230 kV | 4515631 | 515483 | 22.3% | 14.03% | 514248 | 0 | 0% | 0% | 14.03%
16 | Transmission 230 kV And Above | 2869831 | 327606 | 14.17% | 8.92% | 363218 | 35612 | 2.888% | 1.07% | 9.989%
17 | Total Large Industrial Power Service | 8080261 | 922404 | 39.9% | 25.11% | 953200 | 35612 | 2.888% | 1.07% | 26.18%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 20
1 | Roadway Lighting
| Secondary | 34328 | 3919 | 0.1695% | 0.1067% | 0 | 0 | 0% | 0% | 0.1067%
2 | Non-Roadway Lighting
| Secondary | 63537 | 7253 | 0.3136% | 0.1975% | 0 | 0 | 0% | 0% | 0.1975%
3
| Total Texas Retail | 20253258 | 2312018 | 100% | 62.95% | 3528985 | 1233210 | 100% | 37.05% | 100%
4 | Wholesale For Resale
5 | Primary | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
6 | Transmission Below 230 kV | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
7 | Transmission 230 kV And Above | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
8 | Primary ETR Tran | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
9 | Transmission Below 230 kV ETR Tran | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
10 | Transmission 230 kV And Above ETR Tran | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Total Wholesale For Resale | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 20
1 | Wheeling
2 | Primary | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
3 | Transmission Below 230 kV | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
4 | Transmission 230 kV And Above | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
| Total Wheeling | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
5
| Total Texas Wholesale | 0 | 0 | 0% | 0% | 0 | 0 | 0% | 0% | 0%
6
| TOTAL COMPANY | 20253258 | 2312018 | 100% | 62.95% | 3528985 | 1233210 | 100% | 37.05% | 100%
(1) Schedule P-7.2, Page 18-20, Col. (n)
(2) Schedule P-7.2, Page 18-20, Col. (i)
(3) Schedule P-7.2, Page 20

## Energy & Demand at Plant
ENTERGY TEXAS, INC.
DEVELOPMENT OF ALLOCATION FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
|  | CLASS | CLASS | CLASS | CLASS | DEMAND | CLASS | CLASS | CLASS | CLASS |  | ENERGY
|  | 1CP | 4CP | MDD | NCP | LOSS | 1CP | 4CP | MDD | NCP | ENERGY | LOSS | ENERGY
LINE |  | @METER | @METER | @METER | @METER | FACTOR | @PLANT | @PLANT | @PLANT | @PLANT | @METER | FACTOR | @PLANT
NO. | CLASS OF SERVICE | KW (2) | KW (2) | KW (3) | KW (4) | % (1) | KW | KW | KW | KW | MWH (5) | % (6) | MWH
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n)
Residential
1 | Secondary | 1566571 | 1544416 | 1687852 | 3842317 | 8.329% | 1697046 | 1673046 | 1828428 | 4162332 | 6267850 | 7.68% | 6749208
Small General Service
2 | Secondary | 100095 | 93835 | 114762 | 214548 | 8.329% | 108432 | 101650 | 124320 | 232417 | 491156 | 7.68% | 528876
3 | Primary | 0 | 0 | 0 | 0 | 6.357% | 0 | 0 | 0 | 0 | 0 | 4.799% | 0
4 | Total Small General Service | 100095 | 93835 | 114762 | 214548 |  | 108432 | 101650 | 124320 | 232417 | 491156 |  | 528876
General Service
5 | Secondary | 623559.6048 | 531537 | 665590.7032 | 910372.1708 | 8.329% | 675494 | 575807 | 721026 | 986194 | 3018151 | 7.68% | 3249939
6 | Primary | 24300 | 20568 | 25938 | 37677.9045 | 6.357% | 25845 | 21875 | 27587 | 40073 | 118475 | 4.799% | 124161
7 | Transmission Below 230 kV | 3102 | 4238 | 5854 | 8129.6 | 1.255% | 3141 | 4291 | 5927 | 8232 | 36015 | 1.64% | 36606
8 | Transmission Above 230 kV | 0 | 0 | 0 | 0 | 0.3271% | 0 | 0 | 0 | 0 | 0 | 0.4137% | 0
9 | Total General Service | 650961.6048 | 556343 | 697382.7032 | 956179.6753 |  | 704480 | 601973 | 754540 | 1034499 | 3172641 |  | 3410706
Large General Service
10 | Secondary | 145582.975 | 138366 | 154199.4505 | 181542.6421 | 8.329% | 157708 | 149890 | 167042 | 196663 | 952917 | 7.68% | 1026099
11 | Primary | 45984.6342 | 43832 | 48016.2443 | 56531.1958 | 6.357% | 48908 | 46618 | 51069 | 60125 | 319816 | 4.799% | 335165
12 | Transmission Below 230 kV | 2646.6 | 2576 | 3088 | 5199.5 | 1.255% | 2680 | 2608 | 3127 | 5265 | 24673 | 1.64% | 25078
13 | Total Large General Service | 194214.2092 | 184774 | 205303.6949 | 243273.338 |  | 209296 | 199116 | 221238 | 262053 | 1297406 |  | 1386342
| (1) Schedule P-7.2, Page 49, Col. (c) |  |  | (3) Schedule P-7.2, Pages 23-24, Col. (c) |  |  |  |  | (5) Schedule P-7.2, Pages 27-28, Col. (g)
| (2) Schedule P-7.2, Pages 21-22, Col. (c) |  |  | (4) Schedule P-7.2, Pages 25-26, Col. (c) |  |  |  |  | (6) Schedule P-7.2, Page 49, Col. (d)
Large Industrial Power Service
1 | Primary | 73350.2225 | 71207 | 81617.6667 | 107878.6825 | 6.357% | 78013 | 75734 | 86806 | 114736 | 662849.5595 | 4.799% | 694662
2 | Transmission Below 230 kV | 482460.5321 | 483369 | 594240.5635 | 761750.3212 | 1.255% | 488517 | 489437 | 601701 | 771313 | 4317893.2353 | 1.64% | 4388689
3 | Transmission 230 kV And Above | 353851.6818 | 345642 | 408150.5504 | 492572.699 | 0.3271% | 355009 | 346773 | 409486 | 494184 | 2616826.7119 | 0.4137% | 2627653
4 | Primary (IS) (7) | 0 | 0 | 0 | 0 | 6.357% | 0 | 0 | 0 | 0 | 130.524 | 4.799% | 137
5 | Transmission Below 230 kV (IS) (7) | 21774 | 24503 | 0 | 0 | 1.255% | 22047 | 24811 | 0 | 0 | 124894 | 1.64% | 126942
6 | Transmission 230 kV And Above (IS) (7) | 10008.16 | 16391 | 0 | 0 | 0.3271% | 10041 | 16445 | 0 | 0 | 241180 | 0.4137% | 242178
7 | Total Large Industrial Power Service | 941444.5964 | 941112 | 1084008.7806 | 1362201.7027 |  | 953627 | 953200 | 1097993 | 1380233 | 7963774.0306 |  | 8080261
Roadway Lighting
8 | Secondary | 0 | 0 | 8528 | 8528 | 8.329% | 0 | 0 | 9238 | 9238 | 31880 | 7.68% | 34328
Non-Roadway Lighting
9 | Secondary | 0 | 0 | 14419 | 14419 | 8.329% | 0 | 0 | 15620 | 15620 | 59005.0763 | 7.68% | 63537
10 | Total Texas Retail | 3453286.4104 | 3320480 | 3812256.1787 | 6641466.716 |  | 3672881 | 3528985 | 4051377 | 7096392 | 19283712.1069 |  | 20253258
| (1) Schedule P-7.2, Page 49, Col. (c) |  |  | (3) Schedule P-7.2, Pages 23-24, Col. (c) |  |  |  |  | (5) Schedule P-7.2, Pages 27-28, Col. (g)
| (2) Schedule P-7.2, Pages 21-22, Col. (c) |  |  | (4) Schedule P-7.2, Pages 25-26, Col. (c) |  |  |  |  | (6) Schedule P-7.2, Page 49, Col. (d)
(7) IS Demands not seperated for MDD and NCP.
Wholesale For Resale
1 | Primary | 0 | 0 | 0 | 0 | 6.357% |  | 0 | 0 | 0 | 0 | 4.799% | 0
2 | Transmission Below 230 kV | 0 | 0 | 0 | 0 | 1.255% |  | 0 | 0 | 0 | 0 | 1.64% | 0
3 | Transmission 230 kV And Above | 0 | 0 | 0 | 0 | 0.3271% |  | 0 | 0 | 0 | 0 | 0.4137% | 0
4 | Primary ETR Tran | 0 | 0 | 0 | 0 | 6.357% |  | 0 | 0 | 0 | 0 | 4.799% | 0
5 | Transmission Below 230 kV ETR Tran | 0 | 0 | 0 | 0 | 1.255% |  | 0 | 0 | 0 | 0 | 1.64% | 0
6 | Transmission 230 kV And Above ETR Tran | 0 | 0 | 0 | 0 | 0.3271% |  | 0 | 0 | 0 | 0 | 0.4137% | 0
7 | Total Wholesale For Resale | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0
Wheeling
8 | Primary | 0 | 0 | 0 | 0 | 6.357% |  | 0 | 0 | 0 | 0 | 4.799% | 0
9 | Transmission Below 230 kV | 0 | 0 | 0 | 0 | 1.255% |  | 0 | 0 | 0 | 0 | 1.64% | 0
10 | Transmission 230 kV And Above | 0 | 0 | 0 | 0 | 0.3271% |  | 0 | 0 | 0 | 0 | 0.4137% | 0
11 | Total Wheeling | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0
12 | Total Texas Wholesale | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0
1CP
Load
Factor
13 | Total Company Excluding ETR Wholesale |  |  | 62.95% |  |  | 3672881 | 3528985 |  |  |  |  | 20253258
14 | Total Company Excluding Wheeling |  |  | 62.95% |  |  | 3672881 | 3528985 |  |  |  |  | 20253258
| (1) Schedule P-7.2, Page 49, Col. (c) |  |  | (3) Schedule P-7.2, Pages 23-24, Col. (c) |  |  |  |  | (5) Schedule P-7.2, Pages 27-28, Col. (g)
| (2) Schedule P-7.2, Pages 21-22, Col. (c) |  |  | (4) Schedule P-7.2, Pages 25-26, Col. (c) |  |  |  |  | (6) Schedule P-7.2, Page 49, Col. (d)

## Annual CP
ENTERGY TEXAS, INC.
COINCIDENT PEAK DEMANDS AFTER WEATHER AND YEAR END ADJUSTMENTS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
DEMAND IN KW
Line
No. | Class | 4 CP | 1 CP | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o) | (p)
Residential
1 | Secondary Unadjusted | 1570761 |  | 1371710 | 1745147 | 749081 | 942315 | 1225918 | 1589055 | 1589142 | 1521408 | 1583437 | 1220527 | 613474 | 711046
2 | Weather Adjustment |  |  | 73438 | -278565 | -22566 | -115299 | 106739 | -104141 | 16268 | 29232 | -102403 | -9378 | -80204 | 177235
3 | Customer Adjustment |  |  | 27520 | 25527 | 9630 | 11586 | 14256 | 13587 | 17976 | 15931 | 8170 | 4250 | 1229 | 0
4 | Secondary Adjusted | 1544416 | 1566571 | 1472668 | 1492109 | 736145 | 838602 | 1346913 | 1498501 | 1623386 | 1566571 | 1489204 | 1215399 | 534499 | 888281
Small General Service
5 | Secondary Unadjusted | 94332 |  | 96773 | 86107 | 49643 | 76596 | 86699 | 98446 | 93670 | 97654 | 87557 | 81434 | 78432 | 67308
6 | Weather Adjustment |  |  | 5092 | -15640 | -2227 | -6959 | 4893 | -4273 | 630 | 1296 | -3818 | -591 | -8082 | 13550
7 | Customer Adjustment |  |  | 2812 | 1778 | 945 | 1199 | 1268 | 1225 | 1253 | 1145 | 555 | 269 | 70 | 0
8 | Secondary Adjusted | 93835 | 100095 | 104677 | 72245 | 48361 | 70836 | 92860 | 95398 | 95553 | 100095 | 84294 | 81112 | 70420 | 80858
General Service
9 | Secondary Unadjusted | 537065 |  | 497713.084 | 409709.1986 | 386948.1411 | 489403.0622 | 520479.4561 | 546347.2841 | 519022.1272 | 621402.6048 | 461489 | 530852 | 494745 | 419020
10 | Weather Adjustment |  |  | 0 | 0 | -47290 | -15924 | 11312 | -11025 | 1611 | 3246 | -14224 | -1482 | -57565 | -65115
11 | Customer Adjustment |  |  | 2933 | 3162 | 2222 | 3144 | 1949 | 822 | -436 | -1089 | -1017 | -805 | -540 | 0
12 | Secondary Adjusted | 531537 | 623559.6048 | 500646.084 | 412871.1986 | 341880.1411 | 476623.0622 | 533740.4561 | 536144.2841 | 520197.1272 | 623559.6048 | 446248 | 528565 | 436640 | 353905
13 | Primary Unadjusted | 20192 |  | 19624.4459 | 15852.9766 | 13274.021 | 19085.9661 | 19490.4209 | 20783.2533 | 20461.2077 | 23661 | 15861 | 18520 | 19146 | 15893
14 | Weather Adjustment |  |  | 0 | 0 | -1622 | -621 | 424 | -419 | 63 | 124 | -489 | -52 | -2228 | -2470
15 | Customer Adjustment |  |  | 1492 | 1236 | 1042 | 1543 | 1082 | 753 | 569 | 515 | 388 | 157 | -31 | 0
16 | Primary Adjusted | 20568 | 24300 | 21116.4459 | 17088.9766 | 12694.021 | 20007.9661 | 20996.4209 | 21117.2533 | 21093.2077 | 24300 | 15760 | 18625 | 16887 | 13423
17 | Transmission <230 kV Unadjusted | 4290 |  | 3869.7 | 3907.7 | 5040 | 5313 | 4080 | 3848 | 5081 | 3086 | 5143 | 3311 | 3648 | 4835
18 | Weather Adjustment |  |  | 0 | 0 | -616 | -173 | 89 | -78 | 16 | 16 | -159 | -9 | -424 | -751
19 | Customer Adjustment |  |  | 228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Transmission <230 kV Adjusted | 4238 | 3102 | 4097.7 | 3907.7 | 4424 | 5140 | 4169 | 3770 | 5097 | 3102 | 4984 | 3302 | 3224 | 4084
21 | Transmission >230 kV Unadjusted | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Weather Adjustment |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Customer Adjustment |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Transmission >230 kV Adjusted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | General Service Unadjusted Total | 561547 |  | 521207.2299 | 429469.8751 | 405262.1621 | 513802.0283 | 544049.877 | 570978.5374 | 544564.3348 | 648149.6048 | 482493 | 552683 | 517539 | 439748
26 | Weather Adjustment Total |  |  | 0 | 0 | -49528 | -16718 | 11825 | -11522 | 1690 | 3386 | -14872 | -1543 | -60217 | -68336
27 | Customer Adjustment Total |  |  | 4653 | 4398 | 3264 | 4687 | 3031 | 1575 | 133 | -574 | -629 | -648 | -571 | 0
28 | General Service Adjusted Total | 556343 | 650961.6048 | 525860.2299 | 433867.8751 | 358998.1621 | 501771.0283 | 558905.877 | 561031.5374 | 546387.3348 | 650961.6048 | 466992 | 550492 | 456751 | 371412
Large General Service
29 | Secondary Unadjusted | 139144 |  | 118367.4978 | 96362.1452 | 122847.2371 | 126693.5171 | 132342.5122 | 140201.1471 | 137103.9441 | 144980.975 | 134290.6759 | 131873.8779 | 122715 | 119266
30 | Weather Adjustment |  |  | 0 | 0 | -11144 | -3343 | 2191 | -2124 | 319 | 602 | -1910 | -280 | -10580 | -13892
31 | Customer Adjustment |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Secondary Adjusted | 138366 | 145582.975 | 118367.4978 | 96362.1452 | 111703.2371 | 123350.5171 | 134533.5122 | 138077.1471 | 137422.9441 | 145582.975 | 132380.6759 | 131593.8779 | 112135 | 105374
33 | Primary Unadjusted | 44076 |  | 38251.1011 | 30242.0794 | 39870.885 | 44771.6168 | 44532.2843 | 44522.1856 | 44169.4329 | 45794.6342 | 41817.1834 | 42908.3981 | 41752.8328 | 41888.9981
34 | Weather Adjustment |  |  | 0 | 0 | -3617 | -1181 | 737 | -675 | 103 | 190 | -595 | -91 | -3600 | -4879
35 | Customer Adjustment |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Primary Adjusted | 43832 | 45984.6342 | 38251.1011 | 30242.0794 | 36253.885 | 43590.6168 | 45269.2843 | 43847.1856 | 44272.4329 | 45984.6342 | 41222.1834 | 42817.3981 | 38152.8328 | 37009.9981
Large General Service (cont.)
1 | Transmission <230 kV Unadjusted | 2590 |  | 3477 | 3230.4 | 2636.2 | 3497.5 | 3099.4 | 2692.5 | 2618.9 | 2635.6 | 2414.3 | 2844.8 | 2970.9 | 3192
2 | Weather Adjustment |  |  | 0 | 0 | -239 | -92 | 51 | -41 | 6 | 11 | -34 | -6 | -256 | -372
3 | Customer Adjustment |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Transmission <230 kV Adjusted | 2576 | 2646.6 | 3477 | 3230.4 | 2397.2 | 3405.5 | 3150.4 | 2651.5 | 2624.9 | 2646.6 | 2380.3 | 2838.8 | 2714.9 | 2820
5 | Large General Unadjusted Total | 185810 |  | 160095.5988 | 129834.6246 | 165354.3221 | 174962.6338 | 179974.1965 | 187415.8327 | 183892.2769 | 193411.2092 | 178522.1593 | 177627.076 | 167438.7328 | 164346.9981
6 | Weather Adjustment Total |  |  | 0 | 0 | -15000 | -4616 | 2979 | -2840 | 428 | 803 | -2539 | -377 | -14436 | -19143
7 | Customer Adjustment Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Large General Adjusted Total | 184774 | 194214.2092 | 160095.5988 | 129834.6246 | 150354.3221 | 170346.6338 | 182953.1965 | 184575.8327 | 184320.2769 | 194214.2092 | 175983.1593 | 177250.076 | 153002.7328 | 145203.9981
Large Industrial Power
9 | Primary | 71207 | 73350.2225 | 80483.7825 | 54858.3125 | 83066.3525 | 89908.2225 | 83781.9525 | 67494.2525 | 77044.5025 | 73350.2225 | 66937.43 | 82287.43 | 79244.43 | 86235.8589
10 | Transmission <230 kV | 483369 | 482460.5321 | 497464.4166 | 457678.5117 | 530848.4004 | 525194.4122 | 478446.2301 | 461534.3127 | 494375.102 | 482460.5321 | 495107.7595 | 520714.4046 | 515543.6415 | 492301.4501
11 | Transmission >230 kV | 345642 | 353851.6818 | 216054.8091 | 209574.4054 | 317296.4107 | 337324.6381 | 359540.5731 | 305203.4132 | 336845.1985 | 353851.6818 | 386669.3457 | 317219.8449 | 344606.4366 | 359920.4211
12 | Primary (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Transmission <230 kV (IS) | 24503 | 21774 | 5256 | 5352 | 10992 | 14889 | 15960 | 26465 | 20186 | 21774 | 29588 | 19732 | 8736 | 936
14 | Transmission >230 kV (IS) | 16391 | 10008.16 | 56135.48 | 49420.02 | 50084.12 | 39956.27 | 45744.37 | 47019.46 | 3895.85 | 10008.16 | 4640.53 | 3432 | 3384 | 21492.36
15 | Large Industrial Power Total | 941112 | 941444.5964 | 855394.4882 | 776883.2495 | 992287.2837 | 1007272.5428 | 983473.1257 | 907716.4384 | 932346.653 | 941444.5964 | 982943.0653 | 943385.6795 | 951514.5081 | 960886.09
Roadway Lighting
16 | Secondary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Roadway Lighting
17 | Secondary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Total Adjusted Retail | 3320480 | 3453286.4104 | 3118695.3169 | 2904939.7492 | 2286145.7679 | 2588828.2049 | 3165105.1993 | 3247222.8085 | 3381993.2648 | 3453286.4104 | 3199416.2246 | 2967638.7554 | 2166187.2409 | 2446641.0882
Wholesale for Resale
19 | Primary | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Transmission Below 230 kV | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tran. 230 kV And Above | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Primary - ETR | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Tran. Below 230 kV-ETR | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Tran. 230 kV & Above-ETR | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | Wholesale for Resale Total | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wheeling
26 | Primary | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | Transmission Below 230 kV | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tran. 230 kV And Above | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Primary - ETR | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | Tran. Below 230 kV-ETR | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Tran. 230 kV & Above-ETR | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Wheeling Total | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | Total Wholesale and Wheeling | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | TOTAL | 3320480 | 3453286.4104 | 3118695.3169 | 2904939.7492 | 2286145.7679 | 2588828.2049 | 3165105.1993 | 3247222.8085 | 3381993.2648 | 3453286.4104 | 3199416.2246 | 2967638.7554 | 2166187.2409 | 2446641.0882

## Annual MDD
ENTERGY TEXAS, INC.
MAXIMUM DIVERSIFIED PEAK DEMANDS AFTER WEATHER AND YEAR END ADJUSTMENTS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
DEMAND IN KW
Line |  | Annual
No. | Class | MDD | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o)
Residential
1 | Secondary Unadjusted | 1745147 | 1493346 | 1745147 | 770311 | 1021571 | 1281221 | 1627101 | 1622284 | 1583235 | 1583437 | 1220527 | 728512 | 952311
2 | Weather Adjustment |  | 21271 | -275680 | 5761 | -193543 | 151034 | -142092 | 46878 | 69288 | -102325 | -3598 | -78425 | 143026
3 | Customer Adjustment |  | 28843 | 25577 | 10287 | 11600 | 15321 | 13587 | 18690 | 16977 | 8171 | 4270 | 1498 | 0
4 | Secondary Adjusted | 1687852 | 1543460 | 1495044 | 786359 | 839628 | 1447576 | 1498596 | 1687852 | 1669500 | 1489283 | 1221199 | 651585 | 1095337
Small General Service
5 | Secondary Unadjusted | 106292 | 98192 | 103257 | 70437 | 76596 | 86699 | 105370 | 100440 | 105592 | 106292 | 86967 | 78432 | 80713
6 | Weather Adjustment |  | 4948 | -20529 | -8935 | -6674 | 4921 | 7919 | 2687 | 1535 | 231 | -1246 | -8082 | 11075
7 | Customer Adjustment |  | 2848 | 2088 | 1225 | 1204 | 1268 | 1473 | 1370 | 1239 | 707 | 285 | 70 | 0
8 | Secondary Adjusted | 114762 | 105988 | 84816 | 62727 | 71126 | 92888 | 114762 | 104497 | 108366 | 107230 | 86006 | 70420 | 91788
General Service
9 | Secondary Unadjusted | 654552.7032 | 497822.8274 | 513569.4673 | 463740.0355 | 489403.0622 | 539022.538 | 590507.1913 | 588709.3922 | 654552.7032 | 614218 | 562367 | 494706 | 509153
10 | Weather Adjustment |  | 0 | 0 | -35240 | -15744 | 1230 | -11630 | 5752 | 12200 | 3992 | -12667 | 6784 | -72844
11 | Customer Adjustment |  | 2934 | 3964 | 2804 | 3146 | 1980 | 889 | -498 | -1162 | -1405 | -836 | -619 | 0
12 | Secondary Adjusted | 665590.7032 | 500756.8274 | 517533.4673 | 431304.0355 | 476805.0622 | 542232.538 | 579766.1913 | 593963.3922 | 665590.7032 | 616805 | 548864 | 500871 | 436309
13 | Primary Unadjusted | 24923 | 19629.4489 | 19871.5492 | 15908.8268 | 19085.9661 | 20184.7137 | 22463.9015 | 23207.9027 | 24923 | 21110 | 19619 | 19145 | 19311
14 | Weather Adjustment |  | 0 | 0 | -1209 | -614 | 46 | -442 | 227 | 465 | 137 | -442 | 263 | -2763
15 | Customer Adjustment |  | 1492 | 1549 | 1314 | 1544 | 1099 | 814 | 650 | 550 | 537 | 163 | -36 | 0
16 | Primary Adjusted | 25938 | 21121.4489 | 21420.5492 | 16013.8268 | 20015.9661 | 21329.7137 | 22835.9015 | 24084.9027 | 25938 | 21784 | 19340 | 19372 | 16548
17 | Transmission <230 kV Unadjusted | 5747 | 3713 | 4797 | 6110 | 5283 | 4638 | 4617 | 5773 | 5747 | 4171 | 4213 | 3661 | 3621
18 | Weather Adjustment |  | 0 | 0 | -464 | -170 | 11 | -91 | 56 | 107 | 27 | -95 | 50 | -518
19 | Customer Adjustment |  | 218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Transmission <230 kV Adjusted | 5854 | 3931 | 4797 | 5646 | 5113 | 4649 | 4526 | 5829 | 5854 | 4198 | 4118 | 3711 | 3103
21 | Transmission >230 kV Unadjusted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Customer Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Transmission >230 kV Adjusted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | General Service Unadjusted Total | 685222.7032 | 521165.2763 | 538238.0165 | 485758.8623 | 513772.0283 | 563845.2516 | 617588.0928 | 617690.2948 | 685222.7032 | 639499 | 586199 | 517512 | 532085
26 | Weather Adjustment Total |  | 0 | 0 | -36913 | -16528 | 1287 | -12163 | 6035 | 12772 | 4156 | -13204 | 7097 | -76125
27 | Customer Adjustment Total |  | 4644 | 5513 | 4118 | 4690 | 3079 | 1703 | 152 | -612 | -868 | -673 | -655 | 0
28 | General Service Adjusted Total | 697382.7032 | 525809.2763 | 543751.0165 | 452963.8623 | 501934.0283 | 568211.2516 | 607128.0928 | 623877.2948 | 697382.7032 | 642787 | 572322 | 523954 | 455960
Large General Service
29 | Secondary Unadjusted | 155116.4505 | 124990.976 | 118634.2678 | 129164.2065 | 127937.4602 | 134320.2051 | 143740.3739 | 142036.8361 | 152514.1426 | 155116.4505 | 135633.5547 | 126080 | 133815
30 | Weather Adjustment |  | -6496 | -3120 | -3835 | -2872 | 1859 | 2394 | 938 | -1104 | -917 | -1897 | 1078 | -18044
31 | Customer Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Secondary Adjusted | 154199.4505 | 118494.976 | 115514.2678 | 125329.2065 | 125065.4602 | 136179.2051 | 146134.3739 | 142974.8361 | 151410.1426 | 154199.4505 | 133736.5547 | 127158 | 115771
33 | Primary Unadjusted | 48302.2443 | 40391.9488 | 37231.4623 | 41920.5272 | 45211.5929 | 45198.0609 | 45646.0626 | 45758.9945 | 48173.7127 | 48302.2443 | 44131.8879 | 42897.2194 | 46998.9102
34 | Weather Adjustment |  | -2099 | -979 | -1245 | -1015 | 626 | 760 | 302 | -349 | -286 | -617 | 367 | -6338
35 | Customer Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Primary Adjusted | 48016.2443 | 38292.9488 | 36252.4623 | 40675.5272 | 44196.5929 | 45824.0609 | 46406.0626 | 46060.9945 | 47824.7127 | 48016.2443 | 43514.8879 | 43264.2194 | 40660.9102
Large General Service (cont.)
1 | Transmission <230 kV Unadjusted | 3106 | 3490 | 3342 | 3145 | 3534 | 3276 | 3521 | 3080 | 3245 | 3106 | 3265 | 3437 | 3839
2 | Weather Adjustment |  | -181 | -88 | -93 | -79 | 45 | 59 | 20 | -23 | -18 | -46 | 29 | -518
3 | Customer Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Transmission <230 kV Adjusted | 3088 | 3309 | 3254 | 3052 | 3455 | 3321 | 3580 | 3100 | 3222 | 3088 | 3219 | 3466 | 3321
5 | Large General Service Unadjusted Total | 206524.6949 | 168872.9248 | 159207.7301 | 174229.7337 | 176683.0531 | 182794.266 | 192907.4365 | 190875.8306 | 203932.8553 | 206524.6949 | 183030.4426 | 172414.2194 | 184652.9102
6 | Weather Adjustment Total |  | -8776 | -4187 | -5173 | -3966 | 2530 | 3213 | 1260 | -1476 | -1221 | -2560 | 1474 | -24900
7 | Customer Adjustment Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Large General Service Adjusted Total | 205303.6949 | 160096.9248 | 155020.7301 | 169056.7337 | 172717.0531 | 185324.266 | 196120.4365 | 192135.8306 | 202456.8553 | 205303.6949 | 180470.4426 | 173888.2194 | 159752.9102
Large Industrial Power
9 | Primary | 81617.6667 | 77092.93 | 74689.93 | 85465.93 | 80366.93 | 76857.93 | 69025.93 | 79205.93 | 82242.43 | 69878.43 | 78466.43 | 78843.43 | 81617.6667
10 | Transmission <230 kV | 594240.5635 | 560321.4445 | 536662.0818 | 617678.2792 | 569043.2423 | 591750.7681 | 613837.7601 | 626899.2369 | 592711.1054 | 589408.5083 | 560879.7871 | 529228.205 | 594240.5635
11 | Transmission >230 kV | 408150.5504 | 332738.3688 | 292194.4525 | 325917.6188 | 362135.7358 | 354177.3857 | 340090.0859 | 342229.552 | 384960.952 | 342098.1687 | 344829.2514 | 413064.217 | 408150.5504
12 | Primary (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Transmission <230 kV (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Transmission >230 kV (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Large Industrial Power Total | 1084008.7806 | 970152.7433 | 903546.4642 | 1029061.828 | 1011545.9081 | 1022786.0838 | 1022953.776 | 1048334.7189 | 1059914.4873 | 1001385.107 | 984175.4685 | 1021135.852 | 1084008.7806
Roadway Lighting
16 | Secondary | 8528 | 8512 | 8528 | 8510 | 8496 | 8458 | 8459 | 8446 | 8456 | 8445 | 8450 | 8452 | 8446
Non-Roadway Lighting
17 | Secondary | 14419 | 14419 | 14364 | 14359 | 14315 | 14288 | 14260 | 14238 | 14183 | 14201 | 14140 | 14123 | 14106
18 | Total Adjusted Retail | 3812256.1787 | 3328437.9444 | 3205070.2107 | 2523037.4239 | 2619761.9895 | 3339531.6014 | 3462279.3054 | 3679380.8444 | 3760259.0458 | 3468634.8019 | 3066762.9111 | 2463558.0714 | 2909398.6908
Wholesale for Resale
19 | Primary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Transmission Below 230 kV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tran. 230 kV And Above | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Primary - ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Tran. Below 230 kV-ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Tran. 230 kV & Above-ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | Wholesale for Resale Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wheeling
26 | Primary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | Transmission Below 230 kV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tran. 230 kV And Above | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Primary - ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | Tran. Below 230 kV-ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Tran. 230 kV & Above-ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Wheeling Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | Total Wholesale and Wheeling | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | TOTAL | 3812256.1787 | 3328437.9444 | 3205070.2107 | 2523037.4239 | 2619761.9895 | 3339531.6014 | 3462279.3054 | 3679380.8444 | 3760259.0458 | 3468634.8019 | 3066762.9111 | 2463558.0714 | 2909398.6908

## Annual NCP
ENTERGY TEXAS, INC.
NON-COINCIDENT PEAK DEMANDS AFTER WEATHER AND YEAR END ADJUSTMENTS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
DEMAND IN KW
Line |  | Annual
No. | Class | NCP | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o)
Residential
1 | Secondary Unadjusted | 3776582 | 3148521 | 3776582 | 2545048 | 2712591 | 2675217 | 2819406 | 2850534 | 2773834 | 2566865 | 2520822 | 2301827 | 2883181
2 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Customer Adjustment |  | 59958 | 65735 | 33736 | 38000 | 28618 | 25797 | 31918 | 28497 | 14161 | 8845 | 5305 | 0
4 | Secondary Adjusted | 3842317 | 3208479 | 3842317 | 2578784 | 2750591 | 2703835 | 2845203 | 2882452 | 2802331 | 2581026 | 2529667 | 2307132 | 2883181
Small General Service
5 | Secondary Unadjusted | 214548 | 207038 | 207888 | 163952 | 166255 | 166647 | 185406 | 171984 | 182816 | 176517 | 168390 | 211632 | 214548
6 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Customer Adjustment |  | 5716 | 5246 | 3267 | 2862 | 2306 | 2411 | 2285 | 2115 | 1171 | 560 | 211 | 0
8 | Secondary Adjusted | 214548 | 212754 | 213134 | 167219 | 169117 | 168953 | 187817 | 174269 | 184931 | 177688 | 168950 | 211843 | 214548
General Service
9 | Secondary Unadjusted | 903399.1708 | 822217.5697 | 903399.1708 | 726175.3356 | 682526.2965 | 753647.3783 | 788380.3581 | 789420.7653 | 893498.1789 | 869847 | 768191 | 746137 | 768927
10 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Customer Adjustment |  | 4846 | 6973 | 4751 | 4533 | 2763 | 1211 | -661 | -1557 | -1978 | -1168 | -922 | 0
12 | Secondary Adjusted | 910372.1708 | 827063.5697 | 910372.1708 | 730926.3356 | 687059.2965 | 756410.3783 | 789591.3581 | 788759.7653 | 891941.1789 | 867869 | 767023 | 745215 | 768927
13 | Primary Unadjusted | 34953.9045 | 32420.2125 | 34953.9045 | 24912.1628 | 26616.9306 | 28221.8244 | 29990.6916 | 31120.8262 | 34021 | 29896 | 26800 | 28875 | 29164
14 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Customer Adjustment |  | 2465 | 2724 | 2227 | 2224 | 1533 | 1109 | 863 | 736 | 755 | 228 | -53 | 0
16 | Primary Adjusted | 37677.9045 | 34885.2125 | 37677.9045 | 27139.1628 | 28840.9306 | 29754.8244 | 31099.6916 | 31983.8262 | 34757 | 30651 | 27028 | 28822 | 29164
17 | Transmission <230 kV Unadjusted | 8129.6 | 5978.98 | 8129.6 | 9067 | 8418.38 | 8309.5 | 7988.5 | 8765.5 | 8283.5 | 8987.5 | 8627.5 | 7824.5 | 7550
18 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Customer Adjustment |  | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Transmission <230 kV Adjusted | 8129.6 | 6330.98 | 8129.6 | 9067 | 8418.38 | 8309.5 | 7988.5 | 8765.5 | 8283.5 | 8987.5 | 8627.5 | 7824.5 | 7550
21 | Transmission >230 kV Unadjusted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Customer Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Transmission >230 kV Adjusted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | General Service Unadjusted Total | 946482.6753 | 860616.7622 | 946482.6753 | 760154.4984 | 717561.6071 | 790178.7026 | 826359.5497 | 829307.0915 | 935802.6789 | 908730.5 | 803618.5 | 782836.5 | 805641
26 | Weather Adjustment Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | Customer Adjustment Total |  | 7663 | -7710 | -8519 | -8950 | -13536 | -14219 | -15287 | -15789 | -12519 | -8666 | -7256 | 0
28 | General Service Adjusted Total | 956179.6753 | 868279.7622 | 956179.6753 | 767132.4984 | 724318.6071 | 794474.7026 | 828679.5497 | 829509.0915 | 934981.6789 | 907507.5 | 802678.5 | 781861.5 | 805641
Large General Service
29 | Secondary Unadjusted | 181542.6421 | 155519.3942 | 160255.3134 | 155210.6302 | 145735.7005 | 161849.7823 | 172168.0996 | 170239.3995 | 175489.7707 | 181542.6421 | 159145.8343 | 147271 | 155981
30 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Customer Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Secondary Adjusted | 181542.6421 | 155519.3942 | 160255.3134 | 155210.6302 | 145735.7005 | 161849.7823 | 172168.0996 | 170239.3995 | 175489.7707 | 181542.6421 | 159145.8343 | 147271 | 155981
33 | Primary Unadjusted | 56531.1958 | 50257.0702 | 50293.3894 | 50374.0722 | 51500.943 | 54460.7409 | 54674.2386 | 54844.1367 | 55431.1275 | 56531.1958 | 51782.0852 | 50107.2619 | 54783.9834
34 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | Customer Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Primary Adjusted | 56531.1958 | 50257.0702 | 50293.3894 | 50374.0722 | 51500.943 | 54460.7409 | 54674.2386 | 54844.1367 | 55431.1275 | 56531.1958 | 51782.0852 | 50107.2619 | 54783.9834
Large General Service (cont.)
1 | Transmission <230 kV Unadjusted | 5199.5 | 5116.4 | 5213.4 | 5163 | 5439.7 | 5024.4 | 5645.9 | 5334.3 | 5170.2 | 5199.5 | 5538.3 | 5808.9 | 5028
2 | Weather Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Customer Adjustment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Transmission <230 kV Adjusted | 5199.5 | 5116.4 | 5213.4 | 5163 | 5439.7 | 5024.4 | 5645.9 | 5334.3 | 5170.2 | 5199.5 | 5538.3 | 5808.9 | 5028
5 | Large General Service Unadjusted Total | 243273.338 | 210892.8644 | 215762.1028 | 210747.7024 | 202676.3435 | 221334.9233 | 232488.2382 | 230417.8362 | 236091.0982 | 243273.338 | 216466.2194 | 203187.1619 | 215792.9834
6 | Weather Adjustment Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Customer Adjustment Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Large General Service Adjusted Total | 243273.338 | 210892.8644 | 215762.1028 | 210747.7024 | 202676.3435 | 221334.9233 | 232488.2382 | 230417.8362 | 236091.0982 | 243273.338 | 216466.2194 | 203187.1619 | 215792.9834
Large Industrial Power Service
9 | Primary | 107878.6825 | 90394.9525 | 91630.1125 | 89107.7625 | 107878.6825 | 106504.1425 | 110315.3925 | 107138.3025 | 101412.4325 | 98457.2 | 100445.2 | 91573.2 | 96858.8333
10 | Transmission <230 kV | 761750.3212 | 742916.6178 | 728617.7909 | 800177.524 | 761750.3212 | 745454.1471 | 758335.7269 | 749855.912 | 747397.8664 | 750031.4234 | 758927.0467 | 766489.9726 | 752321.717
11 | Transmission >230 kV | 492572.699 | 489852.944 | 425924.9304 | 461424.4724 | 492572.699 | 487828.4502 | 479486.9478 | 444350.9922 | 467942.215 | 473344.3895 | 399250.055 | 476290.7261 | 466542.0974
12 | Primary (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Transmission <230 kV (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Transmission >230 kV (IS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Large Industrial Power Service Total | 1362201.7027 | 1323164.5143 | 1246172.8338 | 1350709.7589 | 1362201.7027 | 1339786.7398 | 1348138.0672 | 1301345.2067 | 1316752.5139 | 1321833.0129 | 1258622.3017 | 1334353.8987 | 1315722.6477
Roadway Lighting
16 | Secondary | 8528 | 8512 | 8528 | 8510 | 8496 | 8458 | 8459 | 8446 | 8456 | 8445 | 8450 | 8452 | 8446
Non-Roadway Lighting
17 | Secondary | 14419 | 14419 | 14364 | 14359 | 14315 | 14288 | 14260 | 14238 | 14183 | 14201 | 14140 | 14123 | 14106
18 | Total Adjusted Retail | 6641466.716 | 5846501.1409 | 6496457.612 | 5097461.9597 | 5231715.6534 | 5251130.3657 | 5465044.855 | 5440677.1344 | 5497726.291 | 5253973.8508 | 4998974.0211 | 4860952.5606 | 5457437.6311
Wholesale for Resale
19 | Primary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Transmission Below 230 kV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tran. 230 kV And Above | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Primary - ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Tran. Below 230 kV-ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Tran. 230 kV & Above-ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | Wholesale for Resale Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wheeling
26 | Primary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | Transmission Below 230 kV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tran. 230 kV And Above | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Primary - ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | Tran. Below 230 kV-ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Tran. 230 kV & Above-ETR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Wheeling Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | Total Wholesale and Wheeling | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | TOTAL | 6641466.716 | 5846501.1409 | 6496457.612 | 5097461.9597 | 5231715.6534 | 5251130.3657 | 5465044.855 | 5440677.1344 | 5497726.291 | 5253973.8508 | 4998974.0211 | 4860952.5606 | 5457437.6311

## Summary of Weather & Year End
ENTERGY TEXAS, INC.
DEVELOPMENT OF ADJUSTED MWH
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
(in MWHs)
LINE |  |  | ADJUSTMENT
NO. | CLASS OF SERVICE | ANNUAL | WEATHER (1) | CUSTOMER (2) | TOTAL
(a) | (b) | (c) | (d) | (f) | (g)
RESIDENTIAL
1 | SECONDARY | 6172928 | 34473 | 60449 | 6267850
SMALL GENERAL SERVICE
2 | SECONDARY | 484196 | 891 | 6069 | 491156
3 | PRIMARY | 0 | 0 | 0 | 0
4 | TOTAL | 484196 | 891 | 6069 | 491156
GENERAL SERVICE
5 | SECONDARY | 3007134 | 5974 | 5043 | 3018151
6 | PRIMARY | 113779 | 132 | 4564 | 118475
7 | TRANSMISSION < 230 kV | 35862 | 0 | 153 | 36015
8 | TRANSMISSION >= 230 kV | 0 | 0 | 0 | 0
9 | TOTAL | 3156775 | 6106 | 9760 | 3172641
LARGE GENERAL SERVICE
10 | SECONDARY | 951137 | 1780 | 0 | 952917
11 | PRIMARY | 319587 | 229 | 0 | 319816
12 | TRANSMISSION < 230 kV | 24656 | 17 | 0 | 24673
13 | TOTAL | 1295380 | 2026 | 0 | 1297406
LARGE INDUSTRIAL POWER SERVICE
14 | SECONDARY | 0 | 0 | 0 | 0
15 | PRIMARY | 662483.476 | 366.0835 | 0 | 662849.5595
16 | TRANSMISSION < 230 kV | 4317531 | 362.2353 | 0 | 4317893.2353
17 | TRANSMISSION >= 230 kV | 2616815 | 11.7119 | 0 | 2616826.7119
18 | PRIMARY (IS) | 130.524 | 0 | 0 | 130.524
19 | TRANSMISSION < 230 (IS) | 124894 | 0 | 0 | 124894
20 | TRANSMISSION => 230 (IS) | 241180 | 0 | 0 | 241180
21 | TOTAL | 7963034 | 740.0306 | 0 | 7963774.0306
22 | ROADWAY LIGHTING | 31880 | 0 | 0 | 31880
23 | NON-ROADWAY LIGHTING | 59005.0763 | 0 | 0 | 59005.0763
24 | TOTAL TEXAS RETAIL | 19163198.0763 | 44236.0306 | 76278 | 19283712.1069
(1) WP/SCHEDULE P-7.2, Pages 2-100, col. (e)
(2) WP/SCHEDULE P-7.2, Pages 2-100, col. (j)
ENTERGY TEXAS, INC.
DEVELOPMENT OF ADJUSTED MWH
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
(in MWHs)
LINE |  |  | ADJUSTMENT
NO. | CLASS OF SERVICE | ANNUAL | WEATHER | CUSTOMER | TOTAL
(a) | (b) | (c) | (d) | (f) | (g)
WHOLESALE FOR RESALE
1 | PRIMARY | 0 | 0 | 0 | 0
2 | TRANSMISSION < 230 | 0 | 0 | 0 | 0
3 | TRANSMISSION => 230 | 0 | 0 | 0 | 0
4 | PRIMARY ETR TRAN | 0 | 0 | 0 | 0
5 | TRANSMISSION < 230 ETR TRAN | 0 | 0 | 0 | 0
6 | TRANSMISSION => 230 ETR TRAN | 0 | 0 | 0 | 0
7 | TOTAL | 0 | 0 | 0 | 0
Wheeling
8 | Primary | 0 | 0 | 0 | 0
9 | Transmission Below 230 kV | 0 | 0 | 0 | 0
10 | Transmission 230 kV And Above | 0 | 0 | 0 | 0
11 | Total Wheeling | 0 | 0 | 0 | 0
12 | Total Texas Wholesale | 0 | 0 | 0 | 0

## Demand Weather Factors_CP
ENTERGY TEXAS, INC.
COINCIDENT PEAK (CP) WEATHER ADJUSTMENT FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
Residential |  | General Service
| % |  | %
2021-01-01 | 5.354% | 2021-01-01 | 0%
2021-02-01 | -15.96% | 2021-02-01 | 0%
2021-03-01 | -3.012% | 2021-03-01 | -12.22%
2021-04-01 | -12.24% | 2021-04-01 | -3.254%
2021-05-01 | 8.707% | 2021-05-01 | 2.173%
2021-06-01 | -6.554% | 2021-06-01 | -2.018%
2021-07-01 | 1.024% | 2021-07-01 | 0.3103%
2021-08-01 | 1.921% | 2021-08-01 | 0.5224%
2021-09-01 | -6.467% | 2021-09-01 | -3.082%
2021-10-01 | -0.7683% | 2021-10-01 | -0.2791%
2021-11-01 | -13.07% | 2021-11-01 | -11.64%
2021-12-01 | 24.93% | 2021-12-01 | -15.54%
Small General Service |  | Large General Service
| % |  | %
2021-01-01 | 5.262% | 2021-01-01 | 0%
2021-02-01 | -18.16% | 2021-02-01 | 0%
2021-03-01 | -4.486% | 2021-03-01 | -9.071%
2021-04-01 | -9.085% | 2021-04-01 | -2.639%
2021-05-01 | 5.644% | 2021-05-01 | 1.655%
2021-06-01 | -4.34% | 2021-06-01 | -1.515%
2021-07-01 | 0.6728% | 2021-07-01 | 0.2326%
2021-08-01 | 1.327% | 2021-08-01 | 0.415%
2021-09-01 | -4.36% | 2021-09-01 | -1.422%
2021-10-01 | -0.7253% | 2021-10-01 | -0.2125%
2021-11-01 | -10.3% | 2021-11-01 | -8.622%
2021-12-01 | 20.13% | 2021-12-01 | -11.65%
Source: Forecasting & Analysis

## Demand Weather Factors_MDD
ENTERGY TEXAS, INC.
MAXIMUM DIVERSIFIED DEMAND (MDD) WEATHER ADJUSTMENT FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
Residential |  | General Service
| % |  | %
2021-01-01 | 1.424% | 2021-01-01 | 0%
2021-02-01 | -15.8% | 2021-02-01 | 0%
2021-03-01 | 0.7478% | 2021-03-01 | -7.599%
2021-04-01 | -18.95% | 2021-04-01 | -3.217%
2021-05-01 | 11.79% | 2021-05-01 | 0.2282%
2021-06-01 | -8.733% | 2021-06-01 | -1.969%
2021-07-01 | 2.89% | 2021-07-01 | 0.977%
2021-08-01 | 4.376% | 2021-08-01 | 1.864%
2021-09-01 | -6.462% | 2021-09-01 | 0.6499%
2021-10-01 | -0.2948% | 2021-10-01 | -2.252%
2021-11-01 | -10.77% | 2021-11-01 | 1.371%
2021-12-01 | 15.02% | 2021-12-01 | -14.31%
Small General Service |  | Large General Service
| % |  | %
2021-01-01 | 5.039% | 2021-01-01 | -5.197%
2021-02-01 | -19.88% | 2021-02-01 | -2.63%
2021-03-01 | -12.69% | 2021-03-01 | -2.969%
2021-04-01 | -8.714% | 2021-04-01 | -2.245%
2021-05-01 | 5.676% | 2021-05-01 | 1.384%
2021-06-01 | 7.516% | 2021-06-01 | 1.665%
2021-07-01 | 2.675% | 2021-07-01 | 0.6603%
2021-08-01 | 1.454% | 2021-08-01 | -0.7238%
2021-09-01 | 0.2176% | 2021-09-01 | -0.5911%
2021-10-01 | -1.432% | 2021-10-01 | -1.399%
2021-11-01 | -10.3% | 2021-11-01 | 0.8554%
2021-12-01 | 13.72% | 2021-12-01 | -13.48%
Source: Forecasting & Analysis

## Loss Factors
ENTERGY TEXAS, INC.
SUMMARY OF DEMAND AND ENERGY LOSS FACTORS
FOR THE TWELVE MONTHS ENDING DECEMBER 31, 2021
LINE |  | LOSS FACTORS (1) |  | 4CP
NO. | VOLTAGE LEVEL | DEMAND (2) | ENERGY (2) | Demand
(a) | (b) | (c) | (d)
1 | SECONDARY | 7.832% | 7.68% | 8.329%
2 | PRIMARY | 5.722% | 4.799% | 6.357%
-100%
3 | TRANSMISSION < 230 KV | 1.098% | 1.64% | 1.255%
-100%
4 | TRANSMISSION >= 230 KV | 0.2464% | 0.4137% | 0.3271%
(1) Transmission Planning
(2) June 30, 2021 Test Year