## Exhibit JP-1
ENTERGY TEXAS, INC. Combined Cycle Gas Turbine Power Plants With 40-Year Lifespans
|  |  | Nameplate Capacity | In-Service | Retirement
Line | Plant | Utility | (MW) | Year | Year | Lifespan
|  | -1 | -2 | -3 | -4 | -5
1 | Martin Units 3 and 4 | Florida Power & Light Company | 612 | 1994 | 2034 | 40
2 | Ft. Myers Unit 2 | Florida Power & Light Company | 1721 | 2002 | 2043 | 41
3 | Sanford Unit 5 | Florida Power & Light Company | 1189 | 2002 | 2042 | 40
4 | Sanford Unit 4 | Florida Power & Light Company | 1189 | 2003 | 2043 | 40
5 | Manatee Unit 3 | Florida Power & Light Company | 1225 | 2005 | 2045 | 40
6 | Martin Unit 8 | Florida Power & Light Company | 1225 | 2005 | 2045 | 40
7 | McIntosh Unit 10 | Georgia Power Company | 688 | 2005 | 2050 | 45
8 | McIntosh Unit 11 | Georgia Power Company | 688 | 2005 | 2050 | 45
9 | Mankato Energy Center | Xcel Energy | 762 | 2006 | 2046 | 40
10 | Turkey Point Unit 5 | Florida Power & Light Company | 1225 | 2007 | 2047 | 40
11 | High Bridge | Xcel Energy | 606 | 2008 | 2048 | 40
12 | Riverside | Xcel Energy | 508 | 2009 | 2049 | 40
13 | West County Units 1 and 2 | Florida Power & Light Company | 1367 | 2009 | 2049 | 40
14 | J. Lamar Stall | Southwestern Electric Power Company | 569 | 2010 | 2050 | 40
15 | McDonough Unit 4 | Georgia Power Company | 840 | 2011 | 2057 | 46
16 | West County Unit 3 | Florida Power & Light Company | 1367 | 2011 | 2051 | 40
17 | McDonough Unit 5 | Georgia Power Company | 840 | 2012 | 2057 | 45
18 | McDonough Unit 6 | Georgia Power Company | 840 | 2012 | 2058 | 46
19 | Cape Canaveral Unit 3 | Florida Power & Light Company | 1295 | 2013 | 2053 | 40
20 | Riviera Beach Unit 5 | Florida Power & Light Company | 1295 | 2014 | 2054 | 40
21 | Port Everglades Next Generation Clean Energy Center | Florida Power & Light Company | 1338 | 2016 | 2056 | 40
Sources: | S&P Global Market Intelligence.
FPL Ten Year Power Plant Site Plan 2019-2028, Submitted to the FPSC April 2019, Schedule 1, Existing Generating Facilities; FPL 2017 Depreciation Study Submitted to the FPSC, Docket No. 160021-EI.
Xcel Energy Upper Midwest Integrated Resource Plan 2020-2034, Docket No. E002/RP-19-368, Appendix F6: Resource Options, Table 3: Existing Natural Gas and Oil Resources.
PUCT Docket No. 46449, SWEPCO Rate Filing, Schedule D-6 (Retirement Data for all Generating Units).
Georgia Power Company's 2019 Rate Case, Docket No. 42516, Workpapers, Depreciation Study Summary, Current and Proposed Generating Unit Retirement Dates.

## Exhibit JP-3
ENTERGY TEXAS, INC. Lifespans of Combined Cycle Gas Turbine Power Plants Placed In-Service After 2016
|  |  | Nameplate Capacity | In-Service | Retirement
Line | Plant | Utility | (MW) | Year | Year | Lifespan
|  | -1 | -2 | -3 | -4 | -5
30-34 Years
1 | Blue Water Energy Center | DTE Electric Company | 1146 | 2022 | 2052 | 30
2 | Lake Charles Power Station | Entergy Louisiana, LLC | 1000 | 2020 | 2050 | 30
35-39 Years
3 | Marshalltown Generating Station | Interstate Power and Light Company | 694.8 | 2017 | 2052 | 35
4 | Polk 2 Combined Cycle | Tampa Electric Company | 1120 | 2017 | 2052 | 35
5 | Greensville Power Station | Virginia Electric and Power Company | 1710 | 2018 | 2054 | 36
40 Years and Over
6 | Crystal River CC (Citrus County) | Duke Energy Florida, LLC | 1884 | 2018 | 2058 | 40
7 | Asheville CC | Duke Energy Progress, LLC | 586.8 | 2019 | 2059 | 40
8 | Okeechobee Clean Energy Center | Florida Power & Light Company | 1723.1 | 2019 | 2059 | 40
9 | Dania Beach Clean Energy Center | Florida Power & Light Company | 1251.8 | 2022 | 2062 | 40
Sources: | DTE's Application for Approval of Certificates of Necessity, Michigan Public Service Commission, Case No. U-18419, Direct Testimony of William H. Damon at 16.
Entergy's Application for Approval to Construct Lake Charles Power Station, and for Cost Recovery, Docket No. U-34283, Direct Testimony of Phong D. Nguyen at 6.
Interstate Power and Light's Application for Ratemaking Principles, Iowa Utilities Board, Docket No. RPU-2012-0003, Application at 3-2.
Tampa Electric Company's Petition for Approval of Its 2020 Depreciation and Dismantlement Study and Capital Recovery Schedules, Florida Public Service Commission, Docket No. 20200264-EI.
Virginia Electric and Power Company's Application for Approval of a Certificate of Convenience and Necessity, State Corportation Commission of Virginia, Case No. PUE-2015-00075, Direct Testimony of Steven A. Rogers at 2.
Duke Energy Florida's 2021 Rate Case Settlement Agreement, Florida Public Service Commission, Docket Nos. 20190110-EI and 20190222-EI.
Duke Energy Progress's 2022 Rate Case, Public Service Commission of South Carolina, Docket No. 2022-254-E, Spanos Exhibit 1 at 40.
Florida Power & Light's 2021 Rate Case, Florida Public Service Commission, Docket No. 160021-EI, Exhibit NWA-1 (2016 Depreciation Study).

## <2017 (2) (hidden)
Power Plant | State | Plant Operator | Operating Capacity (MW) | Year First Unit in Service | Retirement
POWER_PLANT | STATE | PLANT_OPERATOR | OPER_CAPACITY_PLANT | YR_1ST_UNIT_IN_SVC | YR_RETIREMENT
Asheville CC | NC | Duke Energy Progress, LLC | 586.8 | 2019 | 2059
Blue Water Energy Center (Belle River Combined Cycle Plant) | MI | DTE Electric Company | 1146 | 2022 | 2052
Brunswick County Power Station | VA | Virginia Electric and Power Company | 1466.2 | 2016 | X
BTE Baytown Chiller Gas Plant | TX | Calpine Corporation | 270 | 2018 | X
Carty Generating Station | OR | Portland General Electric Company | 470.5 | 2016 | X
Colorado Bend Energy Center II | TX | Constellation Energy Nuclear Group, LLC | 1210.3 | 2017 | X
Cove Point LNG Terminal (CC) | MD | Dominion Energy Cove Point LNG, LP | 171.6 | 2018 | X
Crystal River CC (Citrus County) | FL | Duke Energy Florida, LLC | 1884 | 2018 | 2058
Delta Energy Park CC | MI | Lansing Board of Water & Light | 195 | 2022
DTE Dearborn CHP Plant | MI | DTE Energy Services, Inc. | 33.7 | 2019
FPL Dania Beach Clean Energy Center | FL | Florida Power & Light Company | 1251.8 | 2022 | 2062
George M Sullivan Plant 2 Generation Replacement Project | AK | Anchorage Municipal Light & Power, Inc. | 129 | 2017
Grand River Energy Center Unit 3 (Chouteau) | OK | Grand River Dam Authority | 503 | 2017
Greensville Power Station | VA | Virginia Electric and Power Company | 1710 | 2018
J. Wayne Leonard Power Station (St. Charles) | LA | Entergy Louisiana, LLC | 1000 | 2019
Lackawanna Energy Center | PA | Invenergy LLC | 1479 | 2018
Lake Charles Power Station | LA | Entergy Louisiana, LLC | 1000 | 2020
Long Ridge Energy Generation Project (Hannibal CC Project) | OH | Long Ridge Energy Generation LLC | 485 | 2021
Marshalltown Generating Station | IA | Interstate Power and Light Company | 694.8 | 2017
Montgomery County Power Station (MCPS) | TX | Entergy Texas, Inc. | 993 | 2021
Morgan City CC Plant | LA | Louisiana Energy & Power Authority | 66 | 2016
Okeechobee Clean Energy Center Unit 1 | FL | Florida Power & Light Company | 1723.1 | 2019 | 2059
Paradise CC | KY | Tennessee Valley Authority | 1160 | 2017
Polk 2 Combined Cycle | FL | Tampa Electric Company | 1120 | 2017
Port Everglades Next Generation Clean Energy Center | FL | Florida Power & Light Company | 1338 | 2016 | 2056
PSEG Keys Energy Center (KEC) | MD | PSEG Fossil LLC | 761 | 2018
Riverton CC | KS | Empire District Electric Company | 297 | 2016
Sewaren Gas Power Plant | NJ | PSEG Fossil LLC | 538 | 2018
Thomas H Allen CC | TN | Tennessee Valley Authority | 1114.1 | 2018
W.S. Lee Combined Cycle Project | SC | Duke Energy Carolinas, LLC | 809 | 2018 | X
West Riverside Energy Center | WI | Wisconsin Power and Light Company | 723.2 | 2020
Wildcat Point Generation Facility | MD | Old Dominion Electric Cooperative | 1087.4 | 2018
Wolf Hollow II | TX | Constellation Energy Nuclear Group, LLC | 1193 | 2017
York 2 Energy Center | PA | Calpine Corporation | 858.9 | 2019