## Parameters
ENTERGY TEXAS
COMPARISON OF DEPRECIATION PARAMETERS
AT DECEMBER 31, 2021
|  | Approved |  |  | Proposed - 2022
|  |  | Iowa | Terminal Net |  | Iowa | Terminal Net
Account | Description | Life | Curve | Salvage % | Life | Curve | Salvage %
Steam Production Plant
311 | Structures & Improvements | SQ |  | -4.12% |  | SQ | -5.43%
312 | Boiler Plant Equip | SQ |  | -6.66% |  | SQ | -10.12%
314 | Turbogenerator Equip | SQ |  | -3.77% |  | SQ | -6.22%
315 | Accessory Elect Equip | SQ |  | -6.32% |  | SQ | -9.88%
316 | Misc Power Plant Equip | SQ |  | -4.27% |  | SQ | -7.13%
* See Appendix D-1 through D-3 for information regarding terminal net salvage.
Hydro Plant
334 | Accessory Elect Equip |  |  |  |  | SQ | 0%
335 | Misc Power Plant Equip |  |  |  |  | SQ | 0%
Other Production Plant
341 | Structures & Improvements |  |  |  |  | SQ | -1.06%
342 | Fuel Holders, Producers, & Accessories |  |  |  |  | SQ | -1.38%
343 | Prime Movers |  |  |  |  | SQ | -1.12%
344 | Generators |  |  |  |  | SQ | -0.95%
345 | Accessory Elect Equip |  |  |  |  | SQ | -1.05%
346 | Misc Power Plant Equip |  |  |  |  | SQ | -1.58%
Transmission Plant
350 | Land Rights | 85 | R3 | 0% | 85 | R3 | 0%
352 | Structures & Improv. | 82 | R2.5 | -20% | 81 | R3 | -30%
353 | Station Equipment | 64 | R1 | -25% | 64 | R1 | -25%
354 | Towers & Fixtures | 75 | R4 | -5% | 75 | R4 | -10%
355 | Poles & Fixtures | 65 | R1.5 | -30% | 70 | R1.5 | -45%
356 | OH Conductors & Devices | 70 | R1.5 | -30% | 82 | R1.5 | -45%
358 | UG Conductors & Devices | 50 | R2 | 0% | 50 | R2 | 0%
359 | Roads & Trails | 65 | R5 | 0% | 65 | R5 | 0%
Distribution Plant
360.2 | Land Rights | 70 | R3 | 0% | 70 | R3 | 0%
361 | Structures & Improv. | 83 | R2.5 | -10% | 80 | R1.5 | -15%
362 | Station Equipment | 65 | R1 | -20% | 65 | R1 | -25%
364 | Poles, Towers & Fixtures | 43 | R1 | -30% | 45 | R1 | -45%
365 | OH Conductors & Devices | 42 | R0.5 | -20% | 45 | R1 | -30%
366 | UG Conduit | 60 | L0.5 | -10% | 50 | R3 | -15%
367 | UG Conductors & Devices | 42 | R1 | -1% | 40 | R2.5 | -5%
368 | Line Transformers | 34 | L0 | -20% | 37 | L0.5 | -30%
369.1 | Services - Overhead | 27 | S4 | -15% | 29 | S4 | -25%
369.2 | Services - Underground | 36 | R5 | -10% | 37 | R5 | -15%
370 | Meters (Customer) | 26 | R1.5 | -5% | 17 | L0 | -5%
370.1 | Meters (Substation | 26 | R1.5 | -5% | 17 | L0 | -5%
370.15 | Smart Meter | 7 | SQ | 0% | 7 | SQ | 0%
371 | I.O.C.P | 56 | R4 | -10% | 32 | R0.5 | -15%
373 | Street Lighting & Signal Sys | 45 | R2 | -20% | 32 | R0.5 | -30%
General Depreciated Plant
390 | Structures & Improvements | 50 | R1 | -10% | 50 | R1.5 | -15%
397.2 | Microwave & Fiber Optic | 23 | S5 | 0% | 23 | S4 | 0%
General Amortized Plant
390.1 | Leasehold Improvements | Amortize over lease term |  |  | Amortize over lease term |  | 0%
391.1 | Office Furniture & Equip | 15 | SQ | 0% | 15 | SQ | 0%
391.2 | Computer Equip | 5 | SQ | 0% | 5 | SQ | 0%
391.3 | Data Handling Equip | 15 | SQ | 0% | 15 | SQ | 0%
392 | Transportation Equip | 15 | SQ | 20% | 10 | SQ | 20%
393 | Stores Equip | 15 | SQ | 0% | 15 | SQ | 0%
394 | Tools, Shop & Garage Equip | 15 | SQ | 0% | 15 | SQ | 0%
395 | Laboratory Equip | 10 | SQ | 0% | 10 | SQ | 0%
396 | Power Operated Equip | 15 | SQ | 20% | 15 | SQ | 20%
397.1 | Communication Equip | 10 | SQ | 0% | 10 | SQ | 0%
398 | Misc. Equipment | 10 | SQ | 0% | 10 | SQ | 0%