## OPUC 2-3
ENTERGY TEXAS, INC.
GENERATING UNIT DATA
JANUARY 1, 2018 - DECEMBER 31, 2020
LEWIS CREEK 1 GENERATING UNIT DATA
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION BILLION Btu |  |  |  | NET HEAT RATE (Btu/kWh)
| Gross Unit Output | Station Service | Net Unit Output | Equivalent Availability Factor | Forced Outage Rate | Scheduled Outage Factor | Net Capacity Factor | % Time on AGC | # Of Cold Starts* | # of Hot Starts* | Hours Connected to Load | Cold Start | Hot Start | Operations | Total
2018-01-01 | 100205.041 | 0 | 100205.041 | 99.66 | 0 | 0 | 52.82 | 32.26% | 0 | 0 | 744 | N/A | N/A | N/A | 1053.5974 | 10514.415
2018-02-01 | 53934 | 0 | 53934 | 73.65 | 0 | 23.28 | 31.47 | 43.24% | 1 | 0 | 428.9 | N/A | N/A | N/A | 579.6653 | 10747.6783
2018-03-01 | 110907 | 0 | 110907 | 100 | 0 | 0 | 58.54 | 82.03% | 0 | 0 | 743 | N/A | N/A | N/A | 1230.274 | 11092.8436
2018-04-01 | 128040 | 0 | 128040 | 100 | 0 | 0 | 69.74 | 69.55% | 0 | 0 | 720 | N/A | N/A | N/A | 1336.5996 | 10438.9225
2018-05-01 | 120563.138 | 0 | 120563.138 | 99 | 1 | 0 | 63.55 | 97.93% | 0 | 1 | 736.53 | N/A | N/A | N/A | 1277.3771 | 10595.0886
2018-06-01 | 114324 | 0 | 114324 | 99.38 | 0 | 0 | 62.27 | 73.51% | 0 | 0 | 720 | N/A | N/A | N/A | 1253.7247 | 10966.4176
2018-07-01 | 115152.67 | 0 | 115152.67 | 96.64 | 3.36 | 0 | 60.69 | 94.3% | 0 | 0 | 719.02 | N/A | N/A | N/A | 1271.8713 | 11045.0873
2018-08-01 | 46660 | 2 | 46658 | 38.91 | 60.13 | 0 | 24.59 | 99.06% | 1 | 0 | 296.6 | N/A | N/A | N/A | 495.1495 | 10612.317
2018-09-01 | 121743.754 | 0 | 121743.754 | 100 | 0 | 0 | 66.31 | 99.98% | 0 | 0 | 720 | N/A | N/A | N/A | 1345.6446 | 11053.0891
2018-10-01 | 51844 | 1 | 51843 | 48.51 | 0 | 51.49 | 27.33 | 59.2% | 0 | 0 | 360.9 | N/A | N/A | N/A | 543.4785 | 10483.1599
2018-11-01 | 2459 | 0 | 2459 | 23.52 | 0 | 76.48 | 1.34 | 80.67% | 2 | 0 | 38.83 | N/A | N/A | N/A | 29.2991 | 11915.0511
2018-12-01 | 48359.277 | 0 | 48359.277 | 90.86 | 9.91 | 0 | 25.49 | 34.76% | 1 | 3 | 538.37 | N/A | N/A | N/A | 586.6051 | 12130.1459
2019-01-01 | 68656.07 | 1 | 68655.07 | 80.85 | 0 | 19.15 | 36.19 | 0% | 0 | 0 | 601.5 | N/A | N/A | N/A | 772.3398 | 11249.5671
2019-02-01 | 3509 | 0 | 3509 | 4.69 | 78.09 | 78.57 | 2.05 | 0% | 1 | 0 | 31.55 | N/A | N/A | N/A | 31.9965 | 9118.4151
2019-03-01 | 99009.44 | 0 | 99009.44 | 99.68 | 0 | 0 | 52.26 | 0% | 0 | 0 | 743 | N/A | N/A | N/A | 1092.4956 | 11034.257
2019-04-01 | 138254.699 | 0 | 138254.699 | 100 | 0 | 0 | 75.3 | 99% | 0 | 0 | 720 | N/A | N/A | N/A | 1522.169 | 11009.8898
2019-05-01 | 132786.96 | 0 | 132786.96 | 100 | 0 | 0 | 70.82 | 97.97% | 0 | 0 | 744 | N/A | N/A | N/A | 1407.4764 | 10599.5075
2019-06-01 | 117331 | 0 | 117331 | 94.19 | 5.81 | 0 | 64.67 | 89.56% | 0 | 2 | 678.2 | N/A | N/A | N/A | 1274.2951 | 10860.686
2019-07-01 | 138608 | 0 | 138608 | 100 | 0 | 0 | 73.93 | 99.96% | 0 | 0 | 744 | N/A | N/A | N/A | 1486.4634 | 10724.2251
2019-08-01 | 138207 | 0 | 138207 | 99.79 | 0 | 0 | 73.72 | 99.66% | 0 | 0 | 744 | N/A | N/A | N/A | 1471.5565 | 10647.4814
2019-09-01 | 106644 | 0 | 106644 | 96.97 | 3.01 | 0 | 58.78 | 96.25% | 0 | 1 | 698.3 | N/A | N/A | N/A | 1153.9254 | 10820.3498
2019-10-01 | 70551 | 0 | 70551 | 58.3 | 0 | 41.7 | 37.63 | 56.09% | 0 | 0 | 433.77 | N/A | N/A | N/A | 755.4208 | 10707.4424
2019-11-01 | 0 | 1 | -1 | 0 | 0 | 100 | 0 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-12-01 | 35920 | 0 | 35920 | 28.8 | 0 | 41.93 | 19.16 | 47.08% | 1 | 0 | 357.32 | N/A | N/A | N/A | 374.3741 | 10422.4421
2020-01-01 | 119537 | 0 | 119537 | 94.14 | 0 | 3.9 | 63.76 | 89.83% | 0 | 1 | 676.77 | N/A | N/A | N/A | 1273.0584 | 10649.9112
2020-02-01 | 125591 | 0 | 125591 | 90.33 | 0 | 3.44 | 71.61 | 95.98% | 0 | 0 | 672.03 | N/A | N/A | N/A | 1387.6498 | 11048.9591
2020-03-01 | 108447 | 0 | 108447 | 77.39 | 0 | 22.61 | 57.92 | 75.04% | 1 | 0 | 562.65 | N/A | N/A | N/A | 1143.329 | 10542.7445
2020-04-01 | 131953.491 | 0 | 131953.491 | 94.54 | 0 | 0 | 72.72 | 99.73% | 0 | 0 | 720 | N/A | N/A | N/A | 1421.632 | 10773.7354
2020-05-01 | 3761 | 1 | 3760 | 5 | 0 | 95 | 2.03 | 4.839% | 0 | 0 | 37.23 | N/A | N/A | N/A | 42.5106 | 11305.9991
2020-06-01 | 90460 | 0 | 90460 | 61.82 | 0 | 38.18 | 50.46 | 58.08% | 1 | 0 | 445.08 | N/A | N/A | N/A | 961.8143 | 10632.4822
2020-07-01 | 144739 | 0 | 144739 | 100 | 0 | 0 | 78.13 | 99.05% | 0 | 0 | 744 | N/A | N/A | N/A | 1555.2884 | 10745.4687
2020-08-01 | 124005.311 | 0 | 124005.311 | 99.95 | 0 | 0 | 66.94 | 88.59% | 0 | 0 | 744 | N/A | N/A | N/A | 1298.6776 | 10472.7582
2020-09-01 | 125292 | 0 | 125292 | 100 | 0 | 0 | 69.89 | 90.64% | 0 | 0 | 720 | N/A | N/A | N/A | 1189.2749 | 9492.0258
2020-10-01 | 95158.713 | 0 | 95158.713 | 84.38 | 4.06 | 6.39 | 50.16 | 86.64% | 0 | 1 | 668.17 | N/A | N/A | N/A | 1184.03 | 12442.6858
2020-11-01 | 59422 | 0 | 59422 | 71.6 | 0 | 26.77 | 32.32 | 56.91% | 2 | 0 | 424.5 | N/A | N/A | N/A | 606.4263 | 10205.4166
2020-12-01 | 88183.013 | 0 | 88183.013 | 78.06 | 0 | 0 | 46.48 | 99.24% | 0 | 0 | 744 | N/A | N/A | N/A | 1104.3961 | 12523.9099
Note:
If start-up begins for a super-critical unit within 24 hours of unit coming off line, the start-up is considered to be a hot start. If start-up begins for a drum unit within 72 hours of the unit coming off line, the start-up is considered to be a hot start. Outside of these time frames, the start-up is considered to be a cold start-up. Simple cycle CTs (Hardin 1 and 2) are always hot starts. For Montgomery country, the 72 rule still applies
ENTERGY TEXAS, INC.
GENERATING UNIT DATA
JANUARY 1, 2018 - DECEMBER 31, 2020
LEWIS CREEK 2 GENERATING UNIT DATA
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION BILLION Btu |  |  |  | NET HEAT RATE (Btu/kWh)
| Gross Unit Output | Station Service | Net Unit Output | Equivalent Availability Factor | Forced Outage Rate | Scheduled Outage Factor | Net Capacity Factor | % Time on AGC | # Of Cold Starts* | # of Hot Starts* | Hours Connected to Load | Cold Start | Hot Start | Operations | Total
2018-01-01 | 101361 | 0 | 101361 | 99.66 | 0 | 0 | 53.22 | 99.9% | 0 | 0 | 744 | N/A | N/A | N/A | 1065.7516 | 10514.415
2018-02-01 | 62897 | 127 | 62770 | 66.95 | 0 | 17.75 | 36.49 | 81.7% | 0 | 0 | 552.75 | N/A | N/A | N/A | 675.9967 | 10769.4236
2018-03-01 | 0 | 262 | -262 | 1.51 | 0 | 98.49 | -0.14 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2018-04-01 | 12912 | 852 | 12060 | 24.6 | 37.11 | 39.39 | 6.54 | 14.16% | 1 | 0 | 166.28 | N/A | N/A | N/A | 134.7874 | 11176.3986
2018-05-01 | 119733.011 | 24 | 119709.011 | 100 | 0 | 0 | 62.85 | 97.52% | 1 | 0 | 738.37 | N/A | N/A | N/A | 1268.5819 | 10597.2128
2018-06-01 | 106387 | 0 | 106387 | 100 | 0 | 0 | 57.72 | 98.53% | 0 | 0 | 720 | N/A | N/A | N/A | 1166.6843 | 10966.4176
2018-07-01 | 113655.571 | 0 | 113655.571 | 100 | 0 | 0 | 59.66 | 96.47% | 0 | 0 | 744 | N/A | N/A | N/A | 1255.3357 | 11045.0873
2018-08-01 | 112276.008 | 0 | 112276.008 | 100 | 0 | 0 | 58.95 | 99.92% | 0 | 0 | 744 | N/A | N/A | N/A | 1191.4575 | 10611.8621
2018-09-01 | 100368 | 242 | 100126 | 89.1 | 0 | 10.9 | 54.32 | 88.07% | 1 | 0 | 641.5 | N/A | N/A | N/A | 1109.3764 | 11079.8039
2018-10-01 | 96776.652 | 0 | 96776.652 | 100 | 0 | 0 | 50.81 | 98.31% | 0 | 0 | 744 | N/A | N/A | N/A | 1014.5055 | 10482.9576
2018-11-01 | 92598.251 | 0 | 92598.251 | 98.73 | 0 | 0 | 50.17 | 98.98% | 0 | 0 | 721 | N/A | N/A | N/A | 1103.3129 | 11915.0511
2018-12-01 | 64695.587 | 0 | 64695.587 | 99.33 | 0 | 0 | 33.97 | 99.73% | 0 | 0 | 744 | N/A | N/A | N/A | 784.7669 | 12130.1459
2019-01-01 | 81131.431 | 0 | 81131.431 | 100 | 0 | 0 | 42.59 | 99.64% | 0 | 0 | 744 | N/A | N/A | N/A | 912.6802 | 11249.4032
2019-02-01 | 100650 | 0 | 100650 | 100 | 0 | 0 | 58.51 | 99.79% | 0 | 0 | 672 | N/A | N/A | N/A | 917.7685 | 9118.4151
2019-03-01 | 59237.01 | 227 | 59010.01 | 71.03 | 0 | 28.97 | 31.02 | 70% | 0 | 0 | 527.77 | N/A | N/A | N/A | 653.6364 | 11076.7036
2019-04-01 | 0 | 189 | -189 | 0 | 0 | 100 | -0.1 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-05-01 | 36522.51 | 456 | 36066.51 | 31.98 | 0 | 68.02 | 19.16 | 28.21% | 1 | 0 | 237.9 | N/A | N/A | N/A | 387.1206 | 10733.5204
2019-06-01 | 125918 | 0 | 125918 | 99.91 | 0 | 0 | 69.12 | 98.78% | 0 | 0 | 720 | N/A | N/A | N/A | 1367.5559 | 10860.686
2019-07-01 | 139793 | 0 | 139793 | 100 | 0 | 0 | 74.27 | 99.93% | 0 | 0 | 744 | N/A | N/A | N/A | 1499.1716 | 10724.2251
2019-08-01 | 140062 | 0 | 140062 | 100 | 0 | 0 | 74.41 | 99.99% | 0 | 0 | 744 | N/A | N/A | N/A | 1491.3075 | 10647.4814
2019-09-01 | 111658 | 0 | 111658 | 99.66 | 0 | 0 | 61.3 | 98.51% | 0 | 0 | 720 | N/A | N/A | N/A | 1208.1786 | 10820.3498
2019-10-01 | 127245.721 | 0 | 127245.721 | 100 | 0 | 0 | 67.07 | 99.63% | 0 | 0 | 744 | N/A | N/A | N/A | 1362.4762 | 10707.4424
2019-11-01 | 107292 | 0 | 107292 | 100 | 0 | 0 | 58.36 | 99.87% | 0 | 0 | 721 | N/A | N/A | N/A | 1199.256 | 11177.4969
2019-12-01 | 114051.378 | 0 | 114051.378 | 100 | 0 | 0 | 60.12 | 98.62% | 0 | 0 | 744 | N/A | N/A | N/A | 1188.6939 | 10422.4421
2020-01-01 | 138289 | 0 | 138289 | 100 | 0 | 0 | 72.89 | 99.88% | 0 | 0 | 744 | N/A | N/A | N/A | 1472.7656 | 10649.9112
2020-02-01 | 78314 | 572 | 77742 | 75.62 | 30.15 | 0 | 43.8 | 55.93% | 1 | 0 | 393.03 | N/A | N/A | N/A | 865.2882 | 11130.2537
2020-03-01 | 79542 | 658 | 78884 | 58.02 | 34.51 | 12.81 | 41.64 | 53.33% | 1 | 2 | 411.38 | N/A | N/A | N/A | 838.591 | 10630.6854
2020-04-01 | 0 | 93 | -93 | 0 | 0 | 100 | -0.05 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-05-01 | 36492.055 | 151.199 | 36340.856 | 27.56 | 0 | 69.73 | 19.23 | 27.77% | 1 | 0 | 225.23 | N/A | N/A | N/A | 412.4694 | 11350.02
2020-06-01 | 121927 | 0 | 121927 | 78.74 | 0 | 0 | 66.67 | 99.91% | 0 | 0 | 720 | N/A | N/A | N/A | 1296.3867 | 10632.4822
2020-07-01 | 89853 | 400 | 89453 | 64.05 | 0 | 32.73 | 47.34 | 59.64% | 1 | 0 | 480.72 | N/A | N/A | N/A | 965.5126 | 10793.5184
2020-08-01 | 122447.147 | 0 | 122447.147 | 100 | 0 | 0 | 64.8 | 89.01% | 0 | 0 | 744 | N/A | N/A | N/A | 1282.3594 | 10472.7582
2020-09-01 | 124138 | 0 | 124138 | 100 | 0 | 0 | 67.88 | 91.46% | 0 | 0 | 720 | N/A | N/A | N/A | 1178.3211 | 9492.0258
2020-10-01 | 106299.722 | 0 | 106299.722 | 100 | 0 | 0 | 56.03 | 99.68% | 0 | 0 | 744 | N/A | N/A | N/A | 1322.654 | 12442.6858
2020-11-01 | 100015 | 0 | 100015 | 98.98 | 0 | 0 | 54.4 | 99.42% | 0 | 0 | 721 | N/A | N/A | N/A | 1020.6947 | 10205.4166
2020-12-01 | 85576.701 | 0 | 85576.701 | 78.01 | 0 | 0 | 45.11 | 99.44% | 0 | 0 | 744 | N/A | N/A | N/A | 1071.7549 | 12523.9099
Note:
If start-up begins for a super-critical unit within 24 hours of unit coming off line, the start-up is considered to be a hot start. If start-up begins for a drum unit within 72 hours of the unit coming off line, the start-up is considered to be a hot start. Outside of these time frames, the start-up is considered to be a cold start-up. Simple cycle CTs (Hardin 1 and 2) are always hot starts. For Montgomery country, the 72 rule still applies
ENTERGY TEXAS, INC.
GENERATING UNIT DATA
JANUARY 1, 2018 - DECEMBER 31, 2020
NELSON 6 GENERATING UNIT DATA
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION BILLION Btu |  |  |  | NET HEAT RATE (Btu/kWh)
| Gross Unit Output | Station Service | Net Unit Output | Equivalent Availability Factor | Forced Outage Rate | Scheduled Outage Factor | Net Capacity Factor | % Time on AGC | # Of Cold Starts* | # of Hot Starts* | Hours Connected to Load | Cold Start | Hot Start | Operations | Total
2018-01-01 | 103903.0055 | 225.2075 | 103677.798 | 86.17 | 0 | 12.13 | 85.16 | 4.928% | 1 | 0 | 653.78 | N/A | N/A | N/A | 1112.6225 | 10731.5405
2018-02-01 | 49623.8925 | 548.8875 | 49075.005 | 45.8 | 2.23 | 42.42 | 44.63 | 2.865% | 1 | 1 | 378.3 | N/A | N/A | N/A | 549.7522 | 11202.2859
2018-03-01 | 8528.135 | 427.21 | 8100.925 | 6.99 | 0 | 90.04 | 6.66 | 0% | 0 | 0 | 74 | N/A | N/A | N/A | 89.1408 | 11003.7866
2018-04-01 | 7090.3736 | 356.201 | 6734.1726 | 6.84 | 0 | 88.61 | 5.71 | 0% | 1 | 0 | 81.98 | N/A | N/A | N/A | 87.6216 | 13011.4901
2018-05-01 | 80780.7343 | 693.7717 | 80086.9626 | 63.91 | 22.5 | 0 | 65.73 | 5.992% | 1 | 2 | 576.57 | N/A | N/A | N/A | 883.5438 | 11032.3052
2018-06-01 | 102861.5813 | 238.201 | 102623.3802 | 89.57 | 6.13 | 0 | 87.03 | 6.019% | 0 | 1 | 675.83 | N/A | N/A | N/A | 1148.9742 | 11196.0279
2018-07-01 | 116638.8101 | 0 | 116638.8101 | 99.15 | 0 | 0 | 95.72 | 6.172% | 0 | 0 | 744 | N/A | N/A | N/A | 1336.7945 | 11460.975
2018-08-01 | 115963.5242 | 0 | 115963.5242 | 97.69 | 0 | 0 | 95.17 | 6.25% | 0 | 0 | 744 | N/A | N/A | N/A | 1346.5613 | 11611.9387
2018-09-01 | 70166.7745 | 419.7036 | 69747.0709 | 75.34 | 15.47 | 0 | 59.14 | 21.68% | 1 | 0 | 608.58 | N/A | N/A | N/A | 832.6084 | 11937.5393
2018-10-01 | 56365.9306 | 557.2179 | 55808.7127 | 66.84 | 29.89 | 0 | 45.81 | 33.18% | 1 | 0 | 521.62 | N/A | N/A | N/A | 692.9733 | 12416.9374
2018-11-01 | 72279.1839 | 0 | 72279.1839 | 99.71 | 0 | 0 | 61.18 | 75.02% | 0 | 0 | 721 | N/A | N/A | N/A | 876.1493 | 12121.7378
2018-12-01 | 55622.0114 | 0 | 55622.0114 | 81.11 | 0 | 0 | 45.6 | 82.8% | 0 | 0 | 744 | N/A | N/A | N/A | 690.2238 | 12409.1845
2019-01-01 | 41393.6277 | 186.8423 | 41206.7853 | 79.09 | 5.1 | 0 | 33.77 | 78.15% | 0 | 1 | 706.07 | N/A | N/A | N/A | 546.1904 | 13254.8651
2019-02-01 | 83565.8171 | 0 | 83565.8171 | 89.7 | 0 | 0 | 75.91 | 50.98% | 0 | 0 | 672 | N/A | N/A | N/A | 977.8068 | 11701.0378
2019-03-01 | 29239.3472 | 540.2642 | 28699.0829 | 25.72 | 0 | 73.87 | 23.65 | 6.754% | 0 | 0 | 194.15 | N/A | N/A | N/A | 322.6866 | 11243.7942
2019-04-01 | 12044.0367 | 476.8517 | 11567.1851 | 15.09 | 0 | 84.71 | 9.87 | 10.9% | 1 | 0 | 110.1 | N/A | N/A | N/A | 143.6886 | 12422.0846
2019-05-01 | 54565.8435 | 1174.8946 | 53390.9489 | 59.5 | 36.76 | 0 | 43.83 | 33.28% | 2 | 0 | 470.53 | N/A | N/A | N/A | 614.0432 | 11500.8865
2019-06-01 | 68732.6396 | 0 | 68732.6396 | 95.96 | 0 | 0 | 58.25 | 78.41% | 0 | 0 | 720 | N/A | N/A | N/A | 858.8762 | 12495.9006
2019-07-01 | 80237.5928 | 0 | 80237.5928 | 95.97 | 0 | 0 | 65.82 | 66.11% | 0 | 0 | 744 | N/A | N/A | N/A | 991.248 | 12353.9104
2019-08-01 | 55274.6814 | 581.0889 | 54693.5926 | 75.94 | 17.94 | 0 | 44.87 | 52.12% | 1 | 2 | 610.55 | N/A | N/A | N/A | 651.1516 | 11905.4462
2019-09-01 | 67588.2111 | 0 | 67588.2111 | 87.57 | 0 | 0 | 57.28 | 58.3% | 0 | 0 | 720 | N/A | N/A | N/A | 821.9793 | 12161.5782
2019-10-01 | 26442.8969 | 510.5393 | 25932.3576 | 39.97 | 0 | 58.06 | 21.33 | 35.46% | 0 | 0 | 312.02 | N/A | N/A | N/A | 316.9041 | 12220.4112
2019-11-01 | 2185.6641 | 572.9127 | 1612.7513 | 3.74 | 0 | 95.77 | 1.46 | 2.662% | 1 | 0 | 30.48 | N/A | N/A | N/A | 29.8235 | 18492.2904
2019-12-01 | 16788.33 | 1493.6714 | 15294.6586 | 20.66 | 70.21 | 0 | 12.6 | 13.42% | 2 | 0 | 221.65 | N/A | N/A | N/A | 237.5589 | 15532.1462
2020-01-01 | 3508.0592 | 1482.8518 | 2025.2075 | 82.2 | 30.1 | 15.45 | 1.75 | 1.165% | 1 | 0 | 37.15 | N/A | N/A | N/A | 29.7925 | 14710.8302
2020-02-01 | 0 | 600.5373 | -600.5373 | 32.38 | 0 | 67.62 | -0.46 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-03-01 | 0 | 239.1683 | -239.1683 | 0 | 0 | 100 | -0.19 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-04-01 | 0 | 409.0625 | -409.0625 | 0 | 0 | 100 | -0.35 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-05-01 | 22666.525 | 849.3625 | 21817.1625 | 31.46 | 9 | 35.44 | 18.77 | 12.97% | 1 | 0 | 437.08 | N/A | N/A | N/A | 334.5666 | 15335.019
2020-06-01 | 47185.0632 | 546.9261 | 46638.137 | 85.33 | 0 | 12.05 | 41.65 | 36.05% | 1 | 0 | 516.3 | N/A | N/A | N/A | 540.8993 | 11597.7894
2020-07-01 | 49241.2769 | 528.408 | 48712.8689 | 52.08 | 2 | 36.62 | 42.11 | 15.34% | 0 | 0 | 447.22 | N/A | N/A | N/A | 533.0043 | 10941.7553
2020-08-01 | 77128.153 | 493.6434 | 76634.5095 | 80.67 | 21 | 0 | 65.98 | 11.95% | 1 | 0 | 525.12 | N/A | N/A | N/A | 870.448 | 11358.4344
2020-09-01 | 0 | 251.8197 | -251.8197 | 0 | 100 | 0 | -0.18 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-10-01 | 0 | 525.8661 | -525.8661 | 0 | 100 | 0 | -0.41 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-11-01 | 0 | 1020.3596 | -1020.3596 | 0 | 100 | 0 | -0.85 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-12-01 | 78689.2205 | 223.8985 | 78465.322 | 88.88 | 7.86 | 0 | 67.42 | 70.19% | 1 | 0 | 685.53 | N/A | N/A | N/A | 898.9692 | 11456.8981
Note:
If start-up begins for a super-critical unit within 24 hours of unit coming off line, the start-up is considered to be a hot start. If start-up begins for a drum unit within 72 hours of the unit coming off line, the start-up is considered to be a hot start. Outside of these time frames, the start-up is considered to be a cold start-up. Simple cycle CTs (Hardin 1 and 2) are always hot starts. For Montgomery country, the 72 rule still applies
Nelson 6 - All generation and fuel consumption data based on ETI's 29.75% share. All other data based on 100% of unit.
ENTERGY TEXAS, INC.
GENERATING UNIT DATA
JANUARY 1, 2018 - DECEMBER 31, 2020
SABINE 1 GENERATING UNIT DATA
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION BILLION Btu |  |  |  | NET HEAT RATE (Btu/kWh)
| Gross Unit Output | Station Service | Net Unit Output | Equivalent Availability Factor | Forced Outage Rate | Scheduled Outage Factor | Net Capacity Factor | % Time on AGC | # Of Cold Starts* | # of Hot Starts* | Hours Connected to Load | Cold Start | Hot Start | Operations | Total
2018-01-01 | 17986.997 | 1674.755 | 16312.242 | 91.67 | 26.27 | 0 | 10.44 | 6.586% | 3 | 0 | 138.65 | N/A | N/A | N/A | 239.4438 | 14678.7809
2018-02-01 | 2646.892 | 1388.278 | 1258.614 | 82.15 | 0 | 17.85 | 1.04 | 5.506% | 0 | 0 | 38.33 | N/A | N/A | N/A | 38.7841 | 30814.961
2018-03-01 | 0 | 991.378 | -991.378 | 49.71 | 0 | 50.29 | -0.48 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2018-04-01 | 5210.41 | 1664.882 | 3545.528 | 100 | 0 | 0 | 2.46 | 4.931% | 1 | 0 | 41.82 | N/A | N/A | N/A | 64.2915 | 18133.125
2018-05-01 | 59997.901 | 202.146 | 59795.755 | 92.35 | 6.88 | 0 | 37.55 | 78.54% | 1 | 1 | 663.2 | N/A | N/A | N/A | 731.6305 | 12235.4917
2018-06-01 | 30745.185 | 864.061 | 29881.124 | 46.22 | 24.99 | 7.96 | 19.43 | 49.64% | 3 | 2 | 409.33 | N/A | N/A | N/A | 355.5562 | 11899.0252
2018-07-01 | 62438.463 | 475.25 | 61963.213 | 88.92 | 10.45 | 0 | 38.97 | 72.21% | 2 | 0 | 577.22 | N/A | N/A | N/A | 750.2221 | 12107.5406
2018-08-01 | 74705.302 | 0 | 74705.302 | 100 | 0 | 0 | 46.93 | 98.16% | 0 | 0 | 744 | N/A | N/A | N/A | 886.8132 | 11870.8197
2018-09-01 | 15863.369 | 1458.076 | 14405.293 | 100 | 0 | 0 | 9.52 | 14.78% | 1 | 0 | 148.68 | N/A | N/A | N/A | 184.6176 | 12815.953
2018-10-01 | 9662.236 | 1594.71 | 8067.526 | 82.93 | 53.41 | 0 | 5.24 | 14.43% | 1 | 0 | 110.77 | N/A | N/A | N/A | 117.8772 | 14611.3159
2018-11-01 | 10134.225 | 1619.392 | 8514.833 | 97.15 | 15.09 | 0 | 5.71 | 14.53% | 2 | 0 | 115.73 | N/A | N/A | N/A | 124.9954 | 14679.7194
2018-12-01 | 0 | 1816.237 | -1816.237 | 100 | 0 | 0 | -0.94 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-01-01 | 3867.073 | 1725.045 | 2142.028 | 100 | 0 | 0 | 1.54 | 8.703% | 1 | 0 | 68.98 | N/A | N/A | N/A | 47.2982 | 22081.0175
2019-02-01 | 23737.584 | 589.282 | 23148.302 | 80.67 | 0 | 0 | 16.09 | 60.62% | 0 | 0 | 408.45 | N/A | N/A | N/A | 289.0858 | 12488.4231
2019-03-01 | 20668.303 | 1392.791 | 19275.512 | 99.29 | 0 | 0 | 12.27 | 29.56% | 3 | 0 | 240.12 | N/A | N/A | N/A | 276.926 | 14366.7276
2019-04-01 | 5188.17 | 1148.834 | 4039.336 | 10.63 | 93.34 | 0 | 2.84 | 4.456% | 1 | 1 | 45.78 | N/A | N/A | N/A | 65.5564 | 16229.5087
2019-05-01 | 0 | 390.882 | -390.882 | 0 | 100 | 77.43 | -0.01 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-06-01 | 24855.587 | 666.88 | 24188.707 | 34.62 | 63.76 | 0 | 15.9 | 30.58% | 1 | 0 | 252.48 | N/A | N/A | N/A | 307.5096 | 12712.9391
2019-07-01 | 40975.98 | 1068.975 | 39907.005 | 94.62 | 10.82 | 0 | 25.31 | 33.47% | 1 | 0 | 329.58 | N/A | N/A | N/A | 464.6821 | 11644.1227
2019-08-01 | 72286.668 | 587.657 | 71699.011 | 91.42 | 10.61 | 0 | 45.35 | 44.77% | 2 | 0 | 537.62 | N/A | N/A | N/A | 845.3656 | 11790.4782
2019-09-01 | 48177.441 | 411.431 | 47766.01 | 74.97 | 26.32 | 0 | 31.21 | 61.59% | 0 | 1 | 503.23 | N/A | N/A | N/A | 583.2541 | 12210.6509
2019-10-01 | 0 | 1354.689 | -1354.689 | 42.5 | 100 | 0 | -0.68 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-11-01 | 32642.082 | 969.612 | 31672.47 | 83.47 | 23.83 | 0 | 20.64 | 41.67% | 2 | 0 | 330.33 | N/A | N/A | N/A | 474.2514 | 14973.6169
2019-12-01 | 24361.854 | 1118.493 | 23243.361 | 95.44 | 11.47 | 0 | 14.72 | 31.66% | 2 | 1 | 262.17 | N/A | N/A | N/A | 292.4748 | 12583.1541
2020-01-01 | 2349.678 | 1578.314 | 771.364 | 91.97 | 52.99 | 5.25 | 0.67 | 1.949% | 1 | 0 | 18.33 | N/A | N/A | N/A | 28.7624 | 37287.7584
2020-02-01 | 14458.171 | 1377.912 | 13080.259 | 100 | 0 | 0 | 8.93 | 17.66% | 1 | 0 | 139.97 | N/A | N/A | N/A | 181.3042 | 13860.9049
2020-03-01 | 45870.56 | 502.948 | 45367.612 | 52.11 | 9.07 | 40.1 | 28.66 | 34.02% | 0 | 0 | 344.07 | N/A | N/A | N/A | 564.6194 | 12445.4293
2020-04-01 | 89840.428 | 4.955 | 89835.473 | 100 | 0 | 0 | 58.34 | 87.96% | 1 | 0 | 718.58 | N/A | N/A | N/A | 1015.9794 | 11309.3342
2020-05-01 | 92407.355 | 0 | 92407.355 | 100 | 0 | 0 | 58.34 | 81.12% | 0 | 0 | 744 | N/A | N/A | N/A | 1078.6514 | 11672.7871
2020-06-01 | 100843.225 | 37.852 | 100805.373 | 98.68 | 1.32 | 0 | 65.83 | 69.44% | 0 | 1 | 710.52 | N/A | N/A | N/A | 1084.4992 | 10758.3477
2020-07-01 | 79032.533 | 202.053 | 78830.48 | 89.86 | 0 | 10.14 | 49.78 | 66.63% | 1 | 0 | 647.57 | N/A | N/A | N/A | 900.3145 | 11420.8934
2020-08-01 | 66808.72 | 223.442 | 66585.278 | 87.25 | 12.75 | 0 | 42.04 | 73.17% | 1 | 0 | 649.12 | N/A | N/A | N/A | 864.9426 | 12989.998
2020-09-01 | 72075.609 | 111.716 | 71963.893 | 99.13 | 0 | 0 | 46.96 | 81.41% | 0 | 0 | 671.13 | N/A | N/A | N/A | 902.9446 | 12547.1894
2020-10-01 | 57503.476 | 383.452 | 57120.024 | 90.57 | 0 | 5.71 | 35.95 | 66.02% | 1 | 0 | 540.38 | N/A | N/A | N/A | 805.9989 | 14110.6194
2020-11-01 | 23399.475 | 1348.026 | 22051.449 | 97.12 | 7.99 | 0 | 14.45 | 29.5% | 2 | 1 | 230.27 | N/A | N/A | N/A | 292.0665 | 13244.7761
2020-12-01 | 25407.159 | 1117.529 | 24289.63 | 77.1 | 11.36 | 0 | 15.34 | 25.17% | 1 | 2 | 282.73 | N/A | N/A | N/A | 306.5336 | 12619.9358
Note:
If start-up begins for a super-critical unit within 24 hours of unit coming off line, the start-up is considered to be a hot start. If start-up begins for a drum unit within 72 hours of the unit coming off line, the start-up is considered to be a hot start. Outside of these time frames, the start-up is considered to be a cold start-up. Simple cycle CTs (Hardin 1 and 2) are always hot starts. For Montgomery country, the 72 rule still applies
ENTERGY TEXAS, INC.
GENERATING UNIT DATA
JANUARY 1, 2018 - DECEMBER 31, 2020
SABINE 3 GENERATING UNIT DATA
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION BILLION Btu |  |  |  | NET HEAT RATE (Btu/kWh)
| Gross Unit Output | Station Service | Net Unit Output | Equivalent Availability Factor | Forced Outage Rate | Scheduled Outage Factor | Net Capacity Factor | % Time on AGC | # Of Cold Starts* | # of Hot Starts* | Hours Connected to Load | Cold Start | Hot Start | Operations | Total
2018-01-01 | 100546.282 | 764.885 | 99781.397 | 95.84 | 4.94 | 0 | 33.45 | 75.59% | 1 | 0 | 594.43 | N/A | N/A | N/A | 1338.4773 | 13414.0962
2018-02-01 | 29342.305 | 1692.315 | 27649.99 | 40.44 | 74.17 | 0 | 10.31 | 19.59% | 1 | 0 | 139.35 | N/A | N/A | N/A | 429.9443 | 15549.5279
2018-03-01 | 57355.846 | 1719.759 | 55636.087 | 83.03 | 30.88 | 0 | 18.71 | 34.12% | 1 | 0 | 282.2 | N/A | N/A | N/A | 663.2093 | 11920.4875
2018-04-01 | 93492.056 | 1018.267 | 92473.789 | 86.6 | 18.77 | 0 | 32.07 | 50.75% | 1 | 0 | 417.4 | N/A | N/A | N/A | 1153.603 | 12474.919
2018-05-01 | 161577.518 | 0 | 161577.518 | 99.88 | 0 | 0 | 52.72 | 93.29% | 0 | 0 | 744 | N/A | N/A | N/A | 1970.3195 | 12194.2676
2018-06-01 | 58169.173 | 1472.626 | 56696.547 | 41.1 | 59.77 | 0 | 19.19 | 36.77% | 1 | 0 | 281.52 | N/A | N/A | N/A | 672.7041 | 11864.993
2018-07-01 | 148756.5 | 146.751 | 148609.749 | 91.46 | 2.28 | 0 | 48.48 | 92.03% | 0 | 2 | 721.32 | N/A | N/A | N/A | 1787.3665 | 12027.2492
2018-08-01 | 153099.172 | 0 | 153099.172 | 100 | 0 | 0 | 49.96 | 99.5% | 0 | 0 | 744 | N/A | N/A | N/A | 1817.4127 | 11870.8197
2018-09-01 | 153401.351 | 0 | 153401.351 | 76.2 | 0 | 0 | 51.72 | 97.51% | 0 | 0 | 720 | N/A | N/A | N/A | 1785.2817 | 11637.9792
2018-10-01 | 115038.135 | 321.836 | 114716.299 | 92.81 | 7.19 | 0 | 37.06 | 91.29% | 0 | 0 | 690.48 | N/A | N/A | N/A | 1403.4402 | 12234.0083
2018-11-01 | 64239.957 | 1022.946 | 63217.011 | 66.88 | 4.41 | 19.9 | 21.09 | 62.57% | 1 | 1 | 462.98 | N/A | N/A | N/A | 792.3345 | 12533.5653
2018-12-01 | 0 | 3107.807 | -3107.807 | 74.22 | 100 | 21.33 | -0.86 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-01-01 | 8792.316 | 3205.182 | 5587.134 | 95.05 | 34.06 | 0 | 1.94 | 9.005% | 1 | 0 | 71.33 | N/A | N/A | N/A | 107.5388 | 19247.5766
2019-02-01 | 96302.038 | 305.194 | 95996.844 | 78.94 | 0 | 16.53 | 34.34 | 82.56% | 0 | 0 | 560.93 | N/A | N/A | N/A | 1172.8047 | 12217.1175
2019-03-01 | 44564.596 | 2306.874 | 42257.722 | 71.66 | 31.75 | 13.14 | 13.75 | 29.01% | 1 | 1 | 232.72 | N/A | N/A | N/A | 597.1026 | 14130.0224
2019-04-01 | 71255.121 | 2116.391 | 69138.73 | 34.57 | 62.5 | 0 | 23.17 | 32.38% | 1 | 0 | 269.98 | N/A | N/A | N/A | 900.3622 | 13022.5442
2019-05-01 | 173883.8 | 0 | 173883.8 | 90.44 | 0 | 0 | 56.74 | 83.67% | 0 | 0 | 744 | N/A | N/A | N/A | 1918.1232 | 11031.0632
2019-06-01 | 162049.738 | 0 | 162049.738 | 84.47 | 0 | 0 | 54.63 | 88.58% | 0 | 0 | 720 | N/A | N/A | N/A | 2004.8548 | 12371.8486
2019-07-01 | 57105.9 | 1486.008 | 55619.892 | 27.02 | 71 | 0 | 18.21 | 18.62% | 0 | 0 | 215.77 | N/A | N/A | N/A | 647.601 | 11643.3352
2019-08-01 | 57456.872 | 1065.903 | 56390.969 | 32.3 | 66.13 | 0 | 18.46 | 25.87% | 1 | 0 | 251.97 | N/A | N/A | N/A | 671.9367 | 11915.6792
2019-09-01 | 31435.989 | 538.019 | 30897.97 | 19.29 | 0 | 79.78 | 10.5 | 16.99% | 0 | 0 | 145.58 | N/A | N/A | N/A | 380.5758 | 12317.1785
2019-10-01 | 0 | 486.691 | -486.691 | 0 | 0 | 100 | -0.06 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-11-01 | 0 | 3005.063 | -3005.063 | 0 | 100 | 4.94 | -0.91 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-12-01 | 0 | 2554.227 | -2554.227 | 0 | 100 | 0 | -0.72 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-01-01 | 10208.892 | 2768.485 | 7440.407 | 22.44 | 45.45 | 56.41 | 2.47 | 0.112% | 2 | 1 | 129.98 | N/A | N/A | N/A | 124.9672 | 16795.7425
2020-02-01 | 101772.205 | 775.456 | 100996.749 | 65.17 | 0 | 20.64 | 34.91 | 34.75% | 0 | 2 | 485.38 | N/A | N/A | N/A | 1276.2147 | 12636.1962
2020-03-01 | 0 | 1715.546 | -1715.546 | 0 | 0 | 100 | -0.49 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-04-01 | 65810.336 | 1994.495 | 63815.841 | 47.43 | 25.37 | 21.44 | 21.37 | 40.35% | 1 | 1 | 325.92 | N/A | N/A | N/A | 744.23 | 11662.152
2020-05-01 | 111244.904 | 839.856 | 110405.048 | 64.12 | 12.14 | 0 | 37.31 | 58.22% | 2 | 0 | 569.92 | N/A | N/A | N/A | 1298.5381 | 11761.5825
2020-06-01 | 100991.926 | 1028.042 | 99963.884 | 51.12 | 15.62 | 16.14 | 34.92 | 48.99% | 2 | 0 | 464.22 | N/A | N/A | N/A | 1086.0984 | 10864.9082
2020-07-01 | 130009.331 | 204.522 | 129804.809 | 53.14 | 0 | 6.23 | 43.82 | 89.82% | 0 | 0 | 697.62 | N/A | N/A | N/A | 1481.0266 | 11409.6439
2020-08-01 | 98632.658 | 588.689 | 98043.969 | 56.6 | 8.77 | 5.58 | 33.11 | 75% | 1 | 1 | 617.17 | N/A | N/A | N/A | 1276.9529 | 13024.2884
2020-09-01 | 124920.791 | 0 | 124920.791 | 52.9 | 0 | 0 | 43.58 | 69.41% | 0 | 0 | 720 | N/A | N/A | N/A | 1564.9754 | 12527.7415
2020-10-01 | 54679.579 | 291.274 | 54388.305 | 19.7 | 0 | 61.07 | 17.62 | 22.39% | 0 | 0 | 289.67 | N/A | N/A | N/A | 766.4177 | 14091.59
2020-11-01 | 8365.274 | 1060.424 | 7304.85 | 18.43 | 82.21 | 56.73 | 2.51 | 3.738% | 1 | 0 | 38.75 | N/A | N/A | N/A | 104.4133 | 14293.6949
2020-12-01 | 58248.235 | 1437.867 | 56810.368 | 70.88 | 6.85 | 0 | 18.38 | 46.09% | 0 | 0 | 433.75 | N/A | N/A | N/A | 702.7562 | 12370.211
Note:
If start-up begins for a super-critical unit within 24 hours of unit coming off line, the start-up is considered to be a hot start. If start-up begins for a drum unit within 72 hours of the unit coming off line, the start-up is considered to be a hot start. Outside of these time frames, the start-up is considered to be a cold start-up. Simple cycle CTs (Hardin 1 and 2) are always hot starts. For Montgomery country, the 72 rule still applies
ENTERGY TEXAS, INC.
GENERATING UNIT DATA
JANUARY 1, 2018 - DECEMBER 31, 2020
SABINE 4 GENERATING UNIT DATA
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION BILLION Btu |  |  |  | NET HEAT RATE (Btu/kWh)
| Gross Unit Output | Station Service | Net Unit Output | Equivalent Availability Factor | Forced Outage Rate | Scheduled Outage Factor | Net Capacity Factor | % Time on AGC | # Of Cold Starts* | # of Hot Starts* | Hours Connected to Load | Cold Start | Hot Start | Operations | Total
2018-01-01 | 108493.367 | 2372.687 | 106120.68 | 68.51 | 37.1 | 0 | 26.66 | 48.41% | 1 | 0 | 397.18 | N/A | N/A | N/A | 1444.2693 | 13609.6872
2018-02-01 | 42644.888 | 2058.937 | 40585.951 | 85.78 | 41.06 | 0 | 11.39 | 15.85% | 2 | 0 | 137.12 | N/A | N/A | N/A | 624.8632 | 15396.0464
2018-03-01 | 225540.837 | 559.195 | 224981.642 | 74.16 | 0 | 25.84 | 56.58 | 68.21% | 0 | 0 | 514.47 | N/A | N/A | N/A | 2607.943 | 11591.8035
2018-04-01 | 0 | 1587.525 | -1587.525 | 58.17 | 0 | 41.83 | -0.3 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2018-05-01 | 211582.401 | 726.931 | 210855.47 | 81.95 | 4.93 | 0 | 52.9 | 68.15% | 1 | 2 | 679.38 | N/A | N/A | N/A | 2580.0924 | 12236.3078
2018-06-01 | 201531.578 | 881.707 | 200649.871 | 79.83 | 11.01 | 0 | 52.04 | 83.07% | 1 | 0 | 610.55 | N/A | N/A | N/A | 2330.6352 | 11615.4336
2018-07-01 | 167463.803 | 1064.098 | 166399.705 | 68.68 | 30.78 | 0 | 41.79 | 61.51% | 1 | 0 | 483.15 | N/A | N/A | N/A | 2012.1419 | 12092.2204
2018-08-01 | 170994.613 | 724.27 | 170270.343 | 73.96 | 18.05 | 0 | 42.73 | 67.54% | 0 | 1 | 543.25 | N/A | N/A | N/A | 2029.8462 | 11921.314
2018-09-01 | 0 | 2133.332 | -2133.332 | 64.16 | 100 | 0 | -0.41 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2018-10-01 | 196087.478 | 301.917 | 195785.561 | 100 | 0 | 0 | 49.02 | 90.32% | 1 | 0 | 688.8 | N/A | N/A | N/A | 2392.2245 | 12218.5949
2018-11-01 | 229263.072 | 0 | 229263.072 | 100 | 0 | 0 | 59.24 | 99.65% | 0 | 0 | 721 | N/A | N/A | N/A | 2827.7268 | 12333.983
2018-12-01 | 205549.067 | 0 | 205549.067 | 100 | 0 | 0 | 51.46 | 99.37% | 0 | 0 | 744 | N/A | N/A | N/A | 2361.5465 | 11488.9671
2019-01-01 | 207471.646 | 0 | 207471.646 | 100 | 0 | 0 | 51.94 | 99.87% | 0 | 0 | 744 | N/A | N/A | N/A | 2537.5851 | 12230.9969
2019-02-01 | 40924.3 | 1861.792 | 39062.508 | 22.76 | 0 | 77.24 | 10.88 | 16.68% | 1 | 0 | 120.7 | N/A | N/A | N/A | 498.3925 | 12758.8451
2019-03-01 | 120328.999 | 1234.049 | 119094.95 | 67.12 | 0 | 32.88 | 29.88 | 57.08% | 1 | 0 | 426.55 | N/A | N/A | N/A | 1612.2384 | 13537.4204
2019-04-01 | 3960.46 | 2843.55 | 1116.91 | 6.09 | 97.92 | 0 | 0.39 | 0.8565% | 1 | 0 | 14.37 | N/A | N/A | N/A | 50.0434 | 44805.2192
2019-05-01 | 121060.753 | 1275.681 | 119785.072 | 43.48 | 8.51 | 50.15 | 30.24 | 42.24% | 1 | 0 | 339.3 | N/A | N/A | N/A | 1335.4288 | 11148.5412
2019-06-01 | 33838.933 | 2087.588 | 31751.345 | 12.77 | 57.94 | 64.94 | 8.34 | 4.444% | 2 | 0 | 106.17 | N/A | N/A | N/A | 418.6502 | 13185.2731
2019-07-01 | 197853.377 | 1359.396 | 196493.981 | 69.77 | 28.63 | 0 | 49.51 | 65.45% | 2 | 0 | 531.02 | N/A | N/A | N/A | 2243.7271 | 11418.8081
2019-08-01 | 201864.11 | 845.237 | 201018.873 | 66.75 | 27.09 | 0 | 50.65 | 70.46% | 1 | 0 | 542.42 | N/A | N/A | N/A | 2360.7255 | 11743.8003
2019-09-01 | 243067.809 | 0 | 243067.809 | 97.75 | 0 | 0 | 63.25 | 99.98% | 0 | 0 | 720 | N/A | N/A | N/A | 2942.6696 | 12106.3731
2019-10-01 | 230125.912 | 361.137 | 229764.775 | 83.4 | 10.91 | 0 | 57.54 | 83.12% | 0 | 0 | 662.82 | N/A | N/A | N/A | 2816.5179 | 12258.2667
2019-11-01 | 42988.31 | 3884.693 | 39103.617 | 28.61 | 74.43 | 0 | 10.18 | 19.86% | 1 | 0 | 165.58 | N/A | N/A | N/A | 624.5701 | 15972.1816
2019-12-01 | 185669.758 | 810.502 | 184859.256 | 66.34 | 11.55 | 0 | 46.29 | 83.5% | 1 | 0 | 632.65 | N/A | N/A | N/A | 2229.0473 | 12058.0776
2020-01-01 | 184719.373 | 1154.522 | 183564.851 | 57.21 | 0 | 15.19 | 45.98 | 66.6% | 0 | 0 | 600.6 | N/A | N/A | N/A | 2261.1519 | 12318.0003
2020-02-01 | 3211.8 | 1328.253 | 1883.547 | 18.28 | 0 | 81.72 | 0.56 | 0% | 1 | 0 | 20.1 | N/A | N/A | N/A | 40.2757 | 21382.8999
2020-03-01 | 0 | 192.666 | -192.666 | 0 | 0 | 100 | 0 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-04-01 | 78659.522 | 575.473 | 78084.049 | 32.44 | 0 | 65.78 | 20.24 | 27.37% | 1 | 1 | 246.37 | N/A | N/A | N/A | 889.5378 | 11392.0547
2020-05-01 | 201687.52 | 1152.379 | 200535.141 | 82.26 | 0 | 14.6 | 50.52 | 76.15% | 1 | 0 | 578.65 | N/A | N/A | N/A | 2354.2555 | 11739.865
2020-06-01 | 241267.824 | 0 | 241267.824 | 91.57 | 0 | 0 | 62.77 | 99.44% | 0 | 0 | 720 | N/A | N/A | N/A | 2594.6688 | 10754.3095
2020-07-01 | 255759.946 | 0 | 255759.946 | 83.27 | 0 | 0 | 64.41 | 99.66% | 0 | 0 | 744 | N/A | N/A | N/A | 2913.5393 | 11391.695
2020-08-01 | 103236.994 | 1639.716 | 101597.278 | 39.86 | 44.77 | 17.82 | 25.64 | 36.42% | 2 | 0 | 323.78 | N/A | N/A | N/A | 1336.5632 | 13155.5021
2020-09-01 | 127037.104 | 2237.07 | 124800.034 | 81.82 | 17.41 | 0 | 32.53 | 51.63% | 0 | 0 | 374.82 | N/A | N/A | N/A | 1591.488 | 12752.3042
2020-10-01 | 52.053 | 2604.128 | -2552.075 | 17.39 | 99.14 | 0 | -0.53 | 0% | 1 | 0 | 5.22 | N/A | N/A | N/A | 0.7296 | 0
2020-11-01 | 83938.724 | 1165.303 | 82773.421 | 27.21 | 65.95 | 0 | 21.46 | 31.97% | 1 | 0 | 245.47 | N/A | N/A | N/A | 1047.7026 | 12657.4756
2020-12-01 | 218124.546 | 0 | 218124.546 | 79.29 | 0 | 0 | 54.6 | 98.52% | 0 | 0 | 744 | N/A | N/A | N/A | 2631.64 | 12064.8504
Note:
If start-up begins for a super-critical unit within 24 hours of unit coming off line, the start-up is considered to be a hot start. If start-up begins for a drum unit within 72 hours of the unit coming off line, the start-up is considered to be a hot start. Outside of these time frames, the start-up is considered to be a cold start-up. Simple cycle CTs (Hardin 1 and 2) are always hot starts. For Montgomery country, the 72 rule still applies
ENTERGY TEXAS, INC.
GENERATING UNIT DATA
JANUARY 1, 2018 - DECEMBER 31, 2020
SABINE 5 GENERATING UNIT DATA
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION BILLION Btu |  |  |  | NET HEAT RATE (Btu/kWh)
| Gross Unit Output | Station Service | Net Unit Output | Equivalent Availability Factor | Forced Outage Rate | Scheduled Outage Factor | Net Capacity Factor | % Time on AGC | # Of Cold Starts* | # of Hot Starts* | Hours Connected to Load | Cold Start | Hot Start | Operations | Total
2018-01-01 | 40131.505 | 2234.267 | 37897.238 | 50.72 | 38.72 | 20.25 | 10.66 | 32.26% | 1 | 0 | 269.75 | N/A | N/A | N/A | 534.2327 | 14096.8757
2018-02-01 | 51701.315 | 1971.968 | 49729.347 | 43.28 | 15.74 | 38.64 | 15.48 | 43.24% | 1 | 0 | 300.97 | N/A | N/A | N/A | 757.5644 | 15233.7489
2018-03-01 | 69650.984 | 893.611 | 68757.373 | 87.77 | 7.39 | 0 | 19.26 | 82.03% | 1 | 0 | 611.92 | N/A | N/A | N/A | 805.3787 | 11713.3437
2018-04-01 | 114110.375 | 1545.387 | 112564.988 | 75.58 | 21.15 | 0 | 32.61 | 69.55% | 0 | 0 | 504.25 | N/A | N/A | N/A | 1408.0135 | 12508.4495
2018-05-01 | 144916.01 | 37.652 | 144878.358 | 94.94 | 0 | 0 | 40.98 | 97.93% | 1 | 0 | 742.07 | N/A | N/A | N/A | 1767.1446 | 12197.4368
2018-06-01 | 80051.979 | 1524.169 | 78527.81 | 53.06 | 0 | 21.56 | 22.97 | 73.51% | 0 | 1 | 534.87 | N/A | N/A | N/A | 925.7704 | 11789.0767
2018-07-01 | 144472.659 | 324.86 | 144147.799 | 90.44 | 0 | 1.09 | 40.79 | 94.3% | 1 | 0 | 710.93 | N/A | N/A | N/A | 1735.8945 | 12042.4627
2018-08-01 | 130909.32 | 26.088 | 130883.232 | 88.25 | 0.26 | 0 | 37.01 | 99.06% | 0 | 1 | 742.05 | N/A | N/A | N/A | 1554.0009 | 11873.1858
2018-09-01 | 141185.826 | 0 | 141185.826 | 88.61 | 0 | 0 | 41.27 | 99.98% | 0 | 0 | 720 | N/A | N/A | N/A | 1643.1177 | 11637.9792
2018-10-01 | 58350.734 | 2809.642 | 55541.092 | 69.23 | 27.23 | 0 | 15.58 | 59.2% | 1 | 0 | 448.85 | N/A | N/A | N/A | 711.8662 | 12816.9289
2018-11-01 | 65025.57 | 1171.365 | 63854.205 | 92.43 | 1.92 | 0 | 18.42 | 80.67% | 1 | 0 | 595.92 | N/A | N/A | N/A | 802.0243 | 12560.2421
2018-12-01 | 20583.185 | 3173.386 | 17409.799 | 93.95 | 0 | 0 | 4.95 | 34.76% | 1 | 0 | 264.52 | N/A | N/A | N/A | 236.4795 | 13583.1284
2019-01-01 | 0 | 799.186 | -799.186 | 12.12 | 0 | 87.1 | -0.12 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-02-01 | 0 | 222.132 | -222.132 | 0 | 0 | 100 | 0 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-03-01 | 0 | 320.065 | -320.065 | 0 | 0 | 100 | 0 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-04-01 | 0 | 682.39 | -682.39 | 0 | 0 | 100 | -0.06 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-05-01 | 0 | 756.528 | -756.528 | 0 | 0 | 100 | -0.06 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2019-06-01 | 15737.46 | 1372.863 | 14364.597 | 6.86 | 0 | 87.96 | 4.6 | 7.662% | 1 | 0 | 86.7 | N/A | N/A | N/A | 194.7015 | 13554.2592
2019-07-01 | 179567.152 | 38.963 | 179528.189 | 99 | 0.46 | 0 | 53.76 | 97.54% | 0 | 1 | 740.55 | N/A | N/A | N/A | 2036.3548 | 11342.8138
2019-08-01 | 180119.396 | 0 | 180119.396 | 91.15 | 0 | 0 | 53.93 | 98.91% | 0 | 0 | 744 | N/A | N/A | N/A | 2106.4292 | 11694.6271
2019-09-01 | 71097.473 | 2658.459 | 68439.014 | 78.74 | 28.74 | 0 | 21.22 | 51.92% | 1 | 0 | 379.57 | N/A | N/A | N/A | 860.7325 | 12576.6355
2019-10-01 | 130504.799 | 0 | 130504.799 | 95.99 | 0 | 0 | 36.52 | 95.47% | 0 | 0 | 744 | N/A | N/A | N/A | 1597.2521 | 12239.0297
2019-11-01 | 90761.405 | 817.323 | 89944.082 | 90 | 10.12 | 0 | 25.97 | 87.62% | 0 | 1 | 640.77 | N/A | N/A | N/A | 1318.6575 | 14660.8589
2019-12-01 | 11181.093 | 5802.312 | 5378.781 | 82.95 | 30.52 | 0 | 1.56 | 4.559% | 1 | 0 | 120.48 | N/A | N/A | N/A | 134.2339 | 24956.2026
2020-01-01 | 58641.848 | 4366.083 | 54275.765 | 93.49 | 0 | 2.9 | 15.25 | 31.51% | 1 | 0 | 266.27 | N/A | N/A | N/A | 717.8355 | 13225.7097
2020-02-01 | 182816.586 | 0 | 182816.586 | 98.58 | 0 | 0 | 54.74 | 98.01% | 0 | 0 | 696 | N/A | N/A | N/A | 2292.5043 | 12539.9144
2020-03-01 | 224508.573 | 0 | 224508.573 | 98.73 | 0 | 0 | 62.98 | 99.82% | 0 | 0 | 743 | N/A | N/A | N/A | 2763.4696 | 12308.9713
2020-04-01 | 189794.125 | 0 | 189794.125 | 100 | 0 | 0 | 54.93 | 98.97% | 0 | 0 | 720 | N/A | N/A | N/A | 2146.3268 | 11308.7105
2020-05-01 | 82441.755 | 2308.399 | 80133.356 | 61.86 | 0 | 38.14 | 22.72 | 47.98% | 1 | 0 | 361.55 | N/A | N/A | N/A | 962.3251 | 12009.0447
2020-06-01 | 211530.223 | 0 | 211530.223 | 99.07 | 0 | 0 | 61.88 | 99.47% | 0 | 0 | 720 | N/A | N/A | N/A | 2274.8615 | 10754.3095
2020-07-01 | 190251.807 | 0 | 190251.807 | 90.02 | 0 | 0 | 53.85 | 99.62% | 0 | 0 | 744 | N/A | N/A | N/A | 2167.2906 | 11391.695
2020-08-01 | 142750.526 | 490.247 | 142260.279 | 89.9 | 8.16 | 0 | 40.27 | 84.85% | 0 | 1 | 683.3 | N/A | N/A | N/A | 1848.1272 | 12991.1684
2020-09-01 | 159833.761 | 38.642 | 159795.119 | 99.49 | 0.51 | 0 | 46.73 | 94.09% | 0 | 2 | 716.32 | N/A | N/A | N/A | 2002.356 | 12530.771
2020-10-01 | 160216.798 | 0 | 160216.798 | 100 | 0 | 0 | 44.87 | 96.59% | 0 | 0 | 744 | N/A | N/A | N/A | 2245.6828 | 14016.5252
2020-11-01 | 128899.397 | 596.016 | 128303.381 | 86.79 | 0 | 13.21 | 37.08 | 86.56% | 0 | 0 | 625.75 | N/A | N/A | N/A | 1608.8906 | 12539.7369
2020-12-01 | 7907.365 | 3754.516 | 4152.849 | 45.15 | 0 | 47.11 | 1.26 | 5.813% | 1 | 1 | 50.98 | N/A | N/A | N/A | 95.4012 | 22972.4644
Note:
If start-up begins for a super-critical unit within 24 hours of unit coming off line, the start-up is considered to be a hot start. If start-up begins for a drum unit within 72 hours of the unit coming off line, the start-up is considered to be a hot start. Outside of these time frames, the start-up is considered to be a cold start-up. Simple cycle CTs (Hardin 1 and 2) are always hot starts. For Montgomery country, the 72 rule still applies
ENTERGY TEXAS, INC.
GENERATING UNIT DATA
JANUARY 1, 2018 - DECEMBER 31, 2020
BIG CAJUN II, UNIT 3 GENERATING UNIT DATA
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION BILLION Btu |  |  |  | NET HEAT RATE (Btu/kWh)
| Gross Unit Output | Station Service | Net Unit Output | Equivalent Availability Factor | Forced Outage Rate | Scheduled Outage Factor | Net Capacity Factor | % Time on AGC | # Of Cold Starts* | # of Hot Starts* | Hours Connected to Load | Cold Start | Hot Start | Operations | Total
2018-01-01 | 41442.8805 | 0 | 41442.8805 | 64.52 | 25.63 | 0 | 55.62 | 0.392% | 2 | 0 | 541.4 | N/A | N/A | N/A | 449.4821 | 10845.8208
2018-02-01 | 28365.6135 | 0 | 28365.6135 | 77.64 | 19.8 | 0 | 40.76 | 5.208% | 1 | 2 | 411.88 | N/A | N/A | N/A | 308.6766 | 10882.0688
2018-03-01 | 57613.374 | 0 | 57613.374 | 94.05 | 0 | 0 | 74.78 | 26.62% | 0 | 0 | 738.72 | N/A | N/A | N/A | 630.9605 | 10951.6321
2018-04-01 | 0 | 0 | 0 | 2.01 | 0 | 97.22 | 0 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2018-05-01 | 31675.539 | 0 | 31675.539 | 51.65 | 3.45 | 44.02 | 41.12 | 16.57% | 1 | 1 | 402.12 | N/A | N/A | N/A | 337.8153 | 10664.8632
2018-06-01 | 52690.701 | 0 | 52690.701 | 89.81 | 9.61 | 0 | 70.69 | 28.55% | 0 | 2 | 641.55 | N/A | N/A | N/A | 550.1334 | 10440.8056
2018-07-01 | 65855.076 | 0 | 65855.076 | 99.14 | 0 | 0 | 85.5 | 40.88% | 0 | 0 | 744 | N/A | N/A | N/A | 697.9128 | 10597.7075
2018-08-01 | 52324.419 | 0 | 52324.419 | 86.27 | 13.34 | 0 | 67.93 | 23.69% | 1 | 1 | 616.65 | N/A | N/A | N/A | 566.1487 | 10819.9705
2018-09-01 | 39379.599 | 0 | 39379.599 | 69.1 | 26.28 | 4.81 | 52.83 | 26.31% | 1 | 2 | 495.07 | N/A | N/A | N/A | 432.1408 | 10973.7233
2018-10-01 | 23474.178 | 0 | 23474.178 | 39.66 | 61.56 | 0 | 30.48 | 11.31% | 2 | 0 | 278.38 | N/A | N/A | N/A | 250.321 | 10663.6752
2018-11-01 | 58438.044 | 0 | 58438.044 | 88.17 | 10.77 | 0 | 78.41 | 9.456% | 1 | 1 | 643.35 | N/A | N/A | N/A | 633.719 | 10844.2889
2018-12-01 | 54302.913 | 0 | 54302.913 | 79.5 | 16.07 | 0 | 75.99 | 5.533% | 1 | 1 | 613.03 | N/A | N/A | N/A | 595 | 10957.0549
2019-01-01 | 44751.021 | 0 | 44751.021 | 76.65 | 19.93 | 0 | 58.17 | 43.64% | 2 | 0 | 565.08 | N/A | N/A | N/A | 504.4795 | 11273.0278
2019-02-01 | 37209.2175 | 0 | 37209.2175 | 94.01 | 0.43 | 5.06 | 53.49 | 68.24% | 0 | 2 | 600.68 | N/A | N/A | N/A | 426.8595 | 11471.8752
2019-03-01 | 60780.1425 | 0 | 60780.1425 | 98.32 | 0 | 0 | 78.93 | 80.9% | 0 | 0 | 743 | N/A | N/A | N/A | 651.4107 | 10717.4918
2019-04-01 | 20052.69 | 0 | 20052.69 | 35.47 | 0 | 58.96 | 26.9 | 19.56% | 1 | 0 | 295.47 | N/A | N/A | N/A | 212.7046 | 10607.2849
2019-05-01 | 35257.677 | 0 | 35257.677 | 92.07 | 0 | 5.37 | 45.77 | 87.61% | 0 | 1 | 699.33 | N/A | N/A | N/A | 375.2247 | 10642.3557
2019-06-01 | 4719.183 | 0 | 4719.183 | 89.58 | 29.11 | 2.31 | 6.33 | 14.95% | 2 | 0 | 142.2 | N/A | N/A | N/A | 51.398 | 10891.3005
2019-07-01 | 1547.595 | 0 | 1547.595 | 97.44 | 0 | 2.56 | 2.01 | 4.066% | 1 | 0 | 41.23 | N/A | N/A | N/A | 16.8738 | 10903.2146
2019-08-01 | 2945.964 | 0 | 2945.964 | 100 | 0 | 0 | 3.82 | 8.009% | 1 | 0 | 70.03 | N/A | N/A | N/A | 31.8938 | 10826.2673
2019-09-01 | 13381.2525 | 0 | 13381.2525 | 77.32 | 12.6 | 0 | 17.95 | 32.34% | 2 | 1 | 428.17 | N/A | N/A | N/A | 142.403 | 10641.9763
2019-10-01 | 27268.1955 | 0 | 27268.1955 | 93.68 | 0 | 0 | 35.4 | 92.57% | 0 | 1 | 699.18 | N/A | N/A | N/A | 297.5414 | 10911.6627
2019-11-01 | 25007.85 | 0 | 25007.85 | 84.73 | 11.78 | 0 | 33.55 | 84.17% | 1 | 1 | 628.23 | N/A | N/A | N/A | 263.902 | 10552.7678
2019-12-01 | 17885.343 | 0 | 17885.343 | 98.28 | 0 | 0 | 23.18 | 58.03% | 0 | 0 | 457.3 | N/A | N/A | N/A | 191.5927 | 10712.2716
2020-01-01 | 0 | 0 | 0 | 79.28 | 0 | 19.33 | 0 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-02-01 | 0 | 0 | 0 | 98.28 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-03-01 | 11284.5915 | 0 | 11284.5915 | 98.28 | 0 | 0 | 14.67 | 38.99% | 1 | 0 | 321.13 | N/A | N/A | N/A | 119.2543 | 10567.8848
2020-04-01 | 1803.564 | 0 | 1803.564 | 98.28 | 0 | 0 | 2.42 | 5.37% | 1 | 0 | 57.12 | N/A | N/A | N/A | 19.3668 | 10738.0858
2020-05-01 | 4179.9345 | 0 | 4179.9345 | 98.28 | 0 | 0 | 5.43 | 14.08% | 1 | 0 | 118.9 | N/A | N/A | N/A | 44.7375 | 10702.909
2020-06-01 | 2669.646 | 0 | 2669.646 | 99.91 | 0 | 0 | 3.71 | 2.685% | 1 | 0 | 44.47 | N/A | N/A | N/A | 27.9346 | 10463.79
2020-07-01 | 1148.2905 | 0 | 1148.2905 | 96.43 | 0 | 0 | 1.54 | 2.733% | 0 | 0 | 26.47 | N/A | N/A | N/A | 12.2772 | 10691.6821
2020-08-01 | 7015.05 | 0 | 7015.05 | 96.43 | 0 | 0 | 9.43 | 17.5% | 1 | 0 | 143.9 | N/A | N/A | N/A | 73.8569 | 10528.3533
2020-09-01 | 2499 | 0 | 2499 | 92.96 | 31.06 | 0 | 3.47 | 7.028% | 1 | 0 | 57.4 | N/A | N/A | N/A | 26.3606 | 10548.4694
2020-10-01 | 0 | 0 | 0 | 6.22 | 0 | 93.55 | 0 | 0% | 0 | 0 | 0 | N/A | N/A | N/A | 0 | 0
2020-11-01 | 1474.41 | 0 | 1474.41 | 72.31 | 47.62 | 22.41 | 2.13 | 3.194% | 2 | 0 | 41.83 | N/A | N/A | N/A | 0 | 0
2020-12-01 | 7829.367 | 0 | 7829.367 | 67.7 | 29.41 | 24.01 | 10.44 | 16.77% | 1 | 0 | 147.95 | N/A | N/A | N/A | 85.1032 | 10869.7464
Note:
If start-up begins for a super-critical unit within 24 hours of unit coming off line, the start-up is considered to be a hot start. If start-up begins for a drum unit within 72 hours of the unit coming off line, the start-up is considered to be a hot start. Outside of these time frames, the start-up is considered to be a cold start-up. Simple cycle CTs (Hardin 1 and 2) are always hot starts. For Montgomery country, the 72 rule still applies
Big Cajun II, Unit 3 - All generation and fuel consumption data based on ETI's 17.85% share. All other data is based on 100% of unit. Big Cajun II, Unit 3 data shown as in ESL's systems.