Docket No. 53758

| APPLICATION OF GRID UNITED TEXAS, LLC FOR A CERTIFICATE OF CONVENIENCE AND NECESSITY UNDER PURA §§ 37.051(c-1) AND 37.056(b)(2) | § § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

COMMission STAFF’s RESPONSE TO ORDER NO. 1

# INTRODUCTION

On July 5, 2022, Grid United Texas, LLC (Grid United) filed an application under PURA §§ 37.051(c-1) and 37.056(b)(2) for partial certificate of convenience and necessity (CCN) rights and a declaration that the public convenience and necessity require, or will require, the interconnection of high voltage direct current (HVDC) converter facilities to LCRA Transmission Services Corporation’s (LCRA TSC) Bakersfield Switching Station with an appropriate end-point station in EL Paso Electric Company’s (EPE) system that will allow the import of power into, and the export of power out of, the Electric Reliability Council of Texas (ERCOT) transmission grid by Grid United. Further, Grid Untied seeks a finding that the proposed interconnection is in the public interest. Grid United’s application includes neither specific locations for the stations that would serve as the end points of the proposed tie line nor any routes for the proposed tie line.

On July 20, 2022, the administrative law judge (ALJ) filed Order No. 1, establishing a deadline of August 3, 2022 for the Staff (Staff) of the Public Utility Commission of Texas (Commission) to review the application and file recommendations or comments on any deficiencies in the application and notice, as well as a recommendation for further processing of this docket and a proposed procedural schedule. Therefore, this pleading is timely filed.

# REQUEST FOR ORDER REQUESTING LISTS OF THRESHOLD LEGAL AND POLICY ISSUES

Staff recommends that, due to the novel issues raised by the application in this proceeding, the Commission address threshold legal and policy issues at the outset of the proceeding. Without a determination of the standards that apply to the application, Staff is unable to determine the sufficiency of the application. Legal and policy issues that should be addressed at the outset of this proceeding include, but are not limited to, whether the application should include specific locations for the stations that would serve as the end points of the proposed tie line and alternative routes for the proposed tie line and whether a study of the proposed transmission line by ERCOT should be included in the application. Staff is authorized to represent that the following parties agree with Staff’s request that the Commission address threshold legal and policy issues at the outset of the proceeding: Grid United, ERCOT, Oncor Electric Delivery Company LLC, and Texas Industrial Energy Consumers. To date, no party has opposed this request.

# RECOMMENDATION ON NOTICE

Grid United has proposed that 16 Texas Administrative Code (TAC) § 22.55, which requires reasonable notice to affected parties, should govern the processing of its application, but with consideration of the requirements in 16 TAC § 22.52, Notice in Licensing Proceedings. In light of Grid United’s application, which includes neither specific locations for the stations that would serve as the end points of the proposed tie line nor any routes for the proposed tie line, it is not possible for Grid United to comply with 16 TAC § 22.52 in its entirety.

16 TAC § 22.52(a) is applicable to this proceeding because the first sentence of that provision indicates that it applies in all electric licensing proceedings except minor boundary changes.  Given the limited scope of the application, good cause should be found for not providing all the types of notice specified by that provision. Given the lack of location information for the proposed facilities, Staff agrees with Grid United’s proposal not to require newspaper notice (16 TAC § 22.52(a)(1)) and notice to the Texas Parks and Wildlife Department (16 TAC § 22.52(a)(1)(E)), as well as notice to all affected municipalities, all neighboring utilities, all affected counties, the Department of Defense Siting Clearinghouse (16 TAC § 22.52(a)(2)), and landowners directly affected by the facilities (16 TAC § 22.52(a)(3)). Given the market and electric system impacts that the proposed transmission line would have, Staff also agrees with Grid United’s proposal to provide notice to ERCOT and for ERCOT to provide a market notice as well as to provide notice to utilities in or near the areas in which the stations that would serve as the end points of the proposed tie line would be located. Given that Grid United is seeking to connect the ERCOT grid/Interconnection with the Western Interconnection through EPE’s system, Grid United should also provide notice to the regional entity for that interconnection, the Western Electricity Coordination Council. On the other hand, given the extensive, targeted notice of the proceeding, Staff does not recommend Texas Register notice, as proposed by Grid United. If the Commission determines that Grid United’s application requires specific end points and alternative routes, Grid United should be required to comply with 16 TAC § 22.52 in its entirety.

# PROPOSED PROCEDURAL SCHEDULE

In accordance with Staff’s request for an order from the Commission requesting the parties to file lists of proposed threshold legal and policy issues, Staff proposes the following procedural schedule for further processing.

| Event: | Date: |  |
| --- | --- | --- |
| Application Filed | July 5, 2022 |  |
| Deadline for Grid United and ERCOT to complete notice | August 10, 2022 |  |
| Intervention Deadline | August 31, 2022 |  |
| Deadline for parties to file lists of proposed threshold legal and policy issues | August 31, 2022 |

# CONCLUSION

Based on the foregoing, Staff respectfully requests entry of an order consistent with Staff’s requests and recommendations.

Dated: August 3, 2022

Respectfully submitted,

PUBLIC UTILITY COMMISSION OF TEXAS

LEGAL DIVISION

Keith Rogas

Division Director

Sneha Patel

Managing Attorney

/s/ Scott Miles

Scott Miles

State Bar No. 24098103

1701 N. Congress Avenue

P.O. Box 13326

Austin, Texas 78711-3326

(512) 936-7228

(512) 936-7268 (facsimile)

Scott.Miles@puc.texas.gov

Docket No. 53758

CERTIFICATE OF SERVICE

I certify that unless otherwise ordered by the presiding officer, notice of the filing of this document was provided to all parties of record via electronic mail on August 3, 2022 in accordance with the Second Order Suspending Rules, issued in Project No. 50664.

/s/ Scott Miles

Scott Miles

Public Utility Regulatory Act, Tex. Util. Code Ann. §§ 11.001–66.016 (PURA).

See 16 Texas Administrative Code § 25.101 (a)(7) and (b)(4).

Application at bates page 7.

See https://www.nerc.com/AboutNERC/keyplayers/PublishingImages/NERC%20Interconnections.pdf and https://www.nerc.com/AboutNERC/keyplayers/Pages/default.aspx.