TO:		Ian Groetsch, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	March 8, 2023

RE:	Docket No. 53765 – Application of Crystal Systems Texas, LLC and Undine Texas, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Smith County

1.	Application

Undine Texas, LLC (Undine Texas) and the Crystal Systems Texas, Inc. (Crystal Systems) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Smith County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Undine Texas, Certificate of Convenience and Necessity (CCN) No. 13260, seeks approval to acquire facilities and to transfer all of the water service area from Crystal Systems under water CCN No. 10804.

Based on the mapping review by Tracy Montes, Infrastructure Division:

- The requested area includes 2,234 customer connections and approximately 10,528 acres, comprised of:

- acres of uncertificated area;

10,240 acres of transferred area from CCN No. 10804.

- The application proposes the subtraction of approximately 10,240 acres from CCN No. 10804 and the addition of approximately 10,528 acres to CCN No. 13260.

2.	Notice

Undine Texas provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was January 3, 2023; protests to the application regarding the proposed rate change were submitted and the Office of Public Utility Counsel requested to intervene.  Many of Crystal Systems affected customers stated the rates should remain as is considering the affected area is completely inside the City of Hideaway and therefore any rate changes must be approved by the City of Hideaway.  No protesters requested a hearing or to intervene in the docket.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11I, 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Crystal Systems has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as Crystal Systems, PWS ID No. TX2120015.  The last TCEQ compliance investigation of the Crystal Systems system was on May 29, 2020.  Crystal Systems has violations listed in the TCEQ database that have since been resolved.  The Commission’s complaint records, which date back to 2017, show 1 complaint against Crystal Systems.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 2,234 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Undine Texas will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Undine Texas will have qualified TCEQ licensed operators licensed in water treatment to run the acquired systems.

Undine Texas will have licensed operators to run the system operations.  A Class A operator will be the responsible operator for the system.

Undine Texas has the ability to provide adequate service in the requested area.  Undine Texas has several TCEQ approved public water systems

The Commission’s complaint records, which date back to 2017, show 130 complaints against Undine Texas.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Undine Texas to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Crystal Systems is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.  The 288 acres of uncertificated area being requested consists of parcels where there are current customers of Crystal Systems receiving service, intermediate parcels, and parcels that are partially inside the current Crystal Systems’ CCN service area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will not change from the current rates for the individual subdivisions being transferred as the rates are under the jurisdiction of the City of Hideaway.  Reliability and quality of water service is expected to improve under CSWR-Texas’s management.

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Crystal Systems for the customers being served by the subdivisions. I further recommend that a public hearing is not necessary.