TO:		Ian Groetsch, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	July 25, 2023

RE:	Docket No. 53765 – Application of Crystal Systems Texas, LLC and Undine Texas, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Smith County

1.	Application

Undine Texas, LLC (Undine Texas) and Crystal Systems Texas, Inc. (Crystal Systems) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Smith County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237 and § 24.239.

Specifically, Undine Texas, Certificate of Convenience and Necessity (CCN) No. 13260, seeks approval to acquire facilities and to transfer all of the water service area from Crystal Systems under water CCN No. 10804.

Based on the mapping review by Tracy Montes, Infrastructure Division:

- The requested area includes 2,234 customer connections and approximately 10,528 acres, comprised of:

- acres of uncertificated area;

10,240 acres of transferred area from CCN No. 10804.

- The application proposes the subtraction of approximately 10,240 acres from CCN No. 10804 and the addition of approximately 10,528 acres to CCN No. 13260.

- Notice

An affidavit was provided affirming that notice was submitted to 108 landowners in the requested area on  June 16, 2023.  A map indicating the location of each landowner was provided.

- Capital Improvement Plan

An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

Undine Texas is building a new water treatment plant to provide service to the requested area.  Construction began in July 1, 2022.  Estimated costs to build a new water system is expected to exceed $100,000, therefore the need for firm capital commitment under 16 TAC § 24.11(e)(5) is required.

Undine, Texas provided a budget, an estimated timeline for construction, and a keyed map showing where facilities will be located.

The Rate Regulation Division will be addressing the need for firm capital commitment criterion in a separate memo.

- Recommendation

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.