TO:		Bradley Reynolds, Attorney

Legal Division

FROM:	Jolie Mathis, Infrastructure Analyst

Infrastructure Division

DATE:	January 6, 2023

RE:	Docket No. 53935 – Application of Stonetown Royal Coach Utilities, LLC and Trinity RCT GP LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Harris County

1.	Application

On August 5, 2022, Stonetown Royal Coach Utilities, LLC (Stonetown Royal Coach) and Trinity RCT GP LLC (Trinity RCT GP) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Harris County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Stonetown Royal Coach, seeks approval to acquire facilities and to transfer all of the water and sewer service area from Trinity RCT GP under water Certificate of Convenience and Necessity (CCN) No. 13241 and sewer CCN No. 21090.  Stonetown Royal Coach also seeks to obtain CCN No. 13305 for water service and CCN No. 21133 for sewer utility service.

Based on the mapping review by Dave Babicki, Infrastructure Division:

•	The requested area includes 118 customer connections and approximately 15 acres, comprised of transferred area from Trinity RCT GP LLC (CCN Nos. 13241 and 21090) to Stonetown Royal Coach (CCN Nos. 13305 and 21133).

•	The application proposes the subtraction of approximately 15 acres from CCN Nos. 13241 & 21090 and the addition of approximately 15 acres to Stonetown Royal Coach ( CCN Nos. 13305 and 21133).

•	The application indicates that the total acreage being requested is approximately 16 acres, however, the mapping review determined the requested area is approximately 15 acres.

2.	Notice

Stonetown Royal Coach provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was November 22, 2022; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Trinity RCT GP has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) and a wastewater treatment plant (WWTP) each registered as Trinity Royal Coach Trails Mobile Home Park, under PWS ID No. 1010339 and Wastewater Discharge Permit No. WQ-0012450001, respectively.  The last TCEQ compliance investigation of the Trinity RTC GP PWS system was on July 31, 2019 and the investigation of the Trinity RTC GP WWTP was on April 30, 2022.  Trinity RTC GP has violations listed in the TCEQ database for the water system, that have since been addressed.  The Commission’s complaint records, which date back to 2017, show no complaints against Trinity RTC GP.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 118 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Stonetown Royal Coach will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Stonetown Royal Coach will have qualified TCEQ licensed operators licensed in water treatment to run the acquired systems.

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Stonetown Royal Coach will have qualified TCEQ licensed operators licensed in wastewater treatment to run the acquired systems.

Stonetown Royal Coach will have licensed operators to run the system operations.  A Class C operator will be the responsible operator for the system.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Stonetown Royal Coach to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Trinity RCT GP is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will not change from the current rates for the Trinity RCT GP.  Reliability and quality of water service is expected to improve under Stonetown Royal Coach’s management.

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Trinity RCT GP for the customers being served by Trinity Royal Coach Trails Mobile Home Park. I further recommend that a public hearing is not necessary.