TO:		Margaux Fox, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:	November 14, 2023

RE:	Docket No. 54019 – Application of CSWR-Texas Utility Operating Company, LLC and Ville D’Alsace Water Supply, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Medina County

1.	Application

On August 31, 2022, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas) and Ville D’ Alsace Water Supply Company (Ville D’ Alsace) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Medina County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, CSWR-Texas, water Certificate of Convenience and Necessity (CCN) No. 13290, seeks approval to acquire facilities and to transfer all of the water service area from Ville D’ Alsace under water CCN No. 12757.

Based on the mapping review by Hank Journeay, Infrastructure Division:

- The requested area includes 133 customer connections and approximately 266 acres, comprised of:

11.6 acres of uncertificated area;

254.4 acres of transferred area from Ville D’ Alsace (CCN No. 12757)

- The application proposes the subtraction of approximately 254.4 acres from CCN No. 12757 and the addition of approximately 266 acres to CCN No. 13290.

2.	Capital Improvements Plan

An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

CSWR-Texas is proposing to make improvements to Ville D’ Alsace’s water system. CSWR-Texas provided a capital improvement plan which included a budget, an estimated timeline for construction, and a keyed map showing where facilities will be located.

3. 	Recommendation

I recommend approval of CSWR-Texas’ capital improvement plan.