TO:		Margaux Fox, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:		January 12, 2023

RE:	Docket No. 54121 – Application of SP Utility Company Inc. for Temporary Rates for a Nonfunctioning Utility

Background:

On September 15, 2022, Harrison Williams (Mr. Williams), owner of SP Utility Company, Inc. and temporary manager of Villa Utilities, water Certificate of Convenience and Necessity (CCN) No. 12079, filed with the Public Utility Commission (Commission) a request for a temporary rate increase pursuant to Texas Water Code § 13.046 (TWC) and 16 Tex. Admin. Code § 24.363 (TAC), in Chambers County, Texas.

Analysis

Under 16 Texas Administrative Code (TAC) § 24.363(a), Applicant may charge temporary rates “to recover the reasonable costs incurred for interconnection or other costs incurred in making services available and any other reasonable costs incurred to bring the nonfunctioning system into compliance with commission rules.” The costs included in Applicant’s calculation of rates, which were included in the application filed on September 15, 2022 were primarily estimates. On November 9, 2022 and November 18, 2022, receipts and invoices for actual expenses to operate and maintain the system for approximately 4 months have been submitted. I have primarily used those expenses to verify the reasonableness of the temporary rates.

Mr. Williams provided expenses for approximately 4 months of operation of the utility.  I allowed for laboratory fees based on the sampling schedule of Villa Utilities and the costs from the Texas Commission on Environmental Quality’s (TCEQ) website at:

https://www.tceq.texas.gov/downloads/drinking-water/chemicals/lab-fees.pdf

Applicant requested a total monthly expense of $9,785.05 for the temporary rates, including $1,320 ($15 per connection) for the temporary manager’s fee and $900 in billing which is being reviewed by the Rate Regulation Division.  I excluded the temporary manager’s fee from my review because the temporary manager’s fee is assigned by order of the Commission  and is listed separately on the temporary rate tariff. I reviewed the expenses requested by Applicant totaling $8,465.05.  Documentation to show the expenses was provided confidentially.  Staff’s analysis is included in the attached confidential worksheets. The expenses submitted by Mr. Williams are at a level consistent with other similar systems that I have reviewed over the years.

Attached is a tariff for Mr. Williams that reflects the rates recommended by Staff expert David Lopez, Rate Regulation Division. The tariff is based on the pro forma tariff approved by the Commission for many utilities.

Recommendation:

I recommend the following:

- The temporary rates are reasonable.

- Approve the attached tariff.

- Order the Applicant to provide the following documentation monthly by the last day of the month following the month in question, for each month and ending the month that the term as temporary manager for Mr. Williams is completed:

- Summary of monthly revenues and expenses with a detailed list of actual costs for operating the system, such as repairs, chlorine, billing, operator costs, electricity, laboratory fees, sampling costs, etc.;

- Copies of invoices and receipts to support the actual cost of service;

- The actual number of connections at the beginning and at the end of the month; and

- A signed statement that copies of the monthly report will be provided to the TCEQ at the same time it is provided to the PUC.