TO:		Forrest Smith, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		February 6, 2023

RE:	Docket No. 54147 – Application of Rolling V Water Control and Improvement District No. 3 of Wise County for a Certificate of Convenience and Necessity and for Dual Certification with the City of Rhome in Wise County

On September 23, 2022, Rolling V Water Control and Improvement District No. 3 (Rolling V WCID) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water certificate of convenience and necessity (CCN) and for dual certification with the City of Rhome (Rhome) in Wise County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Based on the mapping review by Dave Babicki, Infrastructure Division, the maps submitted with Item 5 on November 4, 2022 are deficient. The applicant may need to revise the maps and digital mapping data for the requested area to resolve overlaps with the corporate boundaries of Aurora and City of Newark (Newark).  Rolling V WCID No. 3 must submit the following items to resolve the application and mapping deficiencies.

Application and Mapping Content:

Rolling V WCID No. 3 is seeking dual certification with Rhome (CCN No. 10989) for the entire requested area:

- Under 16 TAC § 24.233(a)(12) applicants requesting dual certification with another utility must provide a copy of an agreement with the other utility that allows the dual certification.  Please provide a written agreement for dual certification between Rolling V WCID No. 3’s requested area (to obtain new CCN) and Rhome (CCN No. 10989).

- Please specify the number of customer connections in the requested area.

Rolling V WCID No. 3 must provide clarification stating if Aurora and Newark are able to provide retail water service:

- The requested area overlaps the corporate boundaries of Aurora and City of Newark. Each City must provide documentation or signed consent from Aurora and City of Newark allowing Rolling V WCID No. 3 to provide retail water service within their corporate boundaries.

- If each city cannot provide retail water service, the applicant must provide evidence of this information.

- If each city can provide retail water service, the applicant must obtain consent from each city allowing Rolling V WCID No. 3 to provide retail water service within their corporate boundaries.

If each city can provide retail water service and Rolling V WCID No. 3 does not receive consent for the overlap:

- The applicant must submit revised maps and digital mapping data that removes the overlap from their requested area that overlap the corporate boundaries of each city.

  - A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.

  - A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

  - Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

- Digital mapping data for the current corporate boundaries of Aurora and City of Newark each provided as a single polygon record, in a shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff recommends Rolling V WCID No. 3 obtain additional mapping guidance from the PUC’s mapping staff, Dave Babicki by email at dave.babicki@puc.texas.gov to resolve the mapping deficiencies.