Public Utility Commission of Texas

Memorandum

TO:		Forrest Smith

Legal Division

FROM:	Fred Bednarski

Rate Regulation Division

DATE:  	February 6, 2023

RE:	Docket No. 54147 – Application of Rolling V Water Control and Improvement District No. 3 of Wise County to Obtain a Water Certificate of Convenience and Necessity and for Dual Certification with the City of Rhome in Wise County

On September 23, 2022, Rolling V Water Control and Improvement District No. 3 of Wise County (Rolling V WCID No. 3) filed an application to obtain a water Certificate of Convenience and Necessity and for dual certification with the City of Rhome in Wise County under Subchapter G of Texas Water Code Chapter 13.

I reviewed the answers provided to questions 28, 29, 30, and 31 of the application. I recommend the application be deemed administratively incomplete, and that Rolling V WCID No. 3 be required to provide the following information to cure the deficiencies:

- A capital improvement plan, including a budget which also indicates sources and uses amounts of funds required for all facilities that will be constructed to serve the requested area and an estimated timeline for construction of all facilities necessary to provide full service to the requested area, keyed to a map showing where such facilities and connections will be located to provide service, and

- Five year projected financial statements to provide service to the requested area, and evidence that the utility will be moving toward proper accountability and transparency during the first five years of operations. All assumptions must be clearly defined, and the utility must provide all documents supporting projected lot sales or customer growth, and

- Loan approval documents or secure firm capital commitments affirming, funds are available to install the plant and equipment necessary to serve projected customers in the first 5 years of projections