Public Utility Commission of Texas

Memorandum

TO:		Forrest Smith

Legal Division

FROM:	Fred Bednarski

Rate Regulation Division

DATE:  	November 4, 2022

RE:	Docket No. 54147 – Application of Rolling V Water Control and Improvement District No. 3 of Wise County to Obtain a Water Certificate of Convenience and Necessity and for Dual Certification with the City of Rhome in Wise County

On September 23, 2022, Rolling V Water Control and Improvement District No. 3 of Wise County (Rolling V WCID) filed an application to obtain a water Certificate of Convenience and Necessity and for dual certification with the City of Rhome in Wise County under Subchapter G of Texas Water Code Chapter 13.

I reviewed the answers provided to questions 28, 29, 30, and 31 of the application. I recommend the application be deemed administratively incomplete, and that Rolling V WCID No. 3 be required to provide the following information to cure the deficiencies:

- Leverage Test: Please file documentation demonstrating compliance with 16 Texas Administrative Code (TAC) § 24.11(e)(2) pursuant to 24.11(e)(4)(B) and (C),

- Operations Test: Please file documentation demonstrating compliance with 16 Texas Administrative Code (TAC) § 24.11(e)(3), such as Appendix B of the application pursuant to 24.11(e)(4)(B) and (C).

- Capital Improvement Plan: Please file documentation demonstrating compliance with 16 TAC § 24.11(e)(5); a capital improvement plan or detailed budget, which indicates sources and uses of funds required for all facilities that will be constructed to serve the requested area, and an estimated timeline for construction of all facilities necessary to provide full service to the requested area, keyed to a map showing where such facilities will be located to provide service