TO:		Forrest Smith, Legal Division

FROM:	Joseph Cooper, Infrastructure Division

DATE:		May 26, 2023

RE:	Docket No. 54153 – Application of Oak Bend Homeowners’ Water Supply Corporation for Authority to Change Rates

On September 27, 2022, Oak Bend Homeowners’ Water Supply Corporation, a Class D water utility with 29 owner families, filed a Class C Rate Change Application for water utility service provided under Certificate of Convenience and Necessity (CCN) No. 11633.  I have conducted a prudence review of the application, specifically operation and maintenance (O&M) expenses according to Texas Water Code (TWC) § 13.1871, § 13.1872(c)(2), and 16 Texas Administrative Code (TAC) §§ 24.25 through 24.33.

Based on a review of the O&M expenses, Staff recommends that the total O&M expenses of  $23,932 are reasonable.

1 Application, Schedule II-3 (September 27, 2022).