TO:		Forrest Smith, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	February 14, 2023

RE:	Docket No. 54159 – Application of Rosehill Utilities, Inc. and Utilities Investment Co., Inc.  for Sale, Transfer, or Merger of Facilities and Certificate Rights in Waller County

1.	Application

Utilities Investment Company, Inc (Utilities Investment) and Rosehill Utilities, Inc. (Rosehill Utilities) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Waller County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Utilities Investment, water Certificate of Convenience and Necessity (CCN) No. 12671 and sewer CCN No. 20765, seeks approval to acquire facilities and to transfer all of the water and sewer service area from Rosehill Utilities under water CCN No. 12663 and sewer CCN No. 20886.

Based on the mapping review by Hank Journeay, Infrastructure Division:

- The requested water area 1 includes 32 customer connections and approximately 95 acres of transferred area from CCN No. 12663 to CCN No. 12671.

- The requested water area 2 includes 82 customer connections and approximately 177 acres of transferred area from CCN No. 12663 to CCN No. 12671.

- The requested water area 3 includes 55 customer connections and approximately 162 acres of transferred area from CCN No. 12663 to CCN No. 12671.

- The total requested water area includes 169 customer connections and approximately 434 acres of transferred area from CCN No. 12663 to CCN No. 12671.

- The requested sewer area 1 includes 55 customer connections and approximately 162 acres of transferred area from CCN No. 20886 to CCN No. 20765.

- The total requested sewer area includes 55 customer connections and approximately 162 acres of transferred area from CCN No. 20886 to CCN No. 20765.

- The application proposes the subtraction of approximately 434 acres from CCN No. 12663 and the addition of approximately 434 acres to CCN No. 12671.  The application proposes the subtraction of 162 acres from CCN No. 20886 and the addition of 162 acres to CCN No. 20765.

2.	Notice

Utilities Investment provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was November 30, 2022; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Rosehill Utilities has several Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as Cedar Creek Ranch Subdivision, PWS ID No. 2370084, Pine Grove Estates Water System, PWS ID No. 2370068, Hammond Mound Water System, PWS ID No. 2370074, and a wastewater treatment plant (WWTP) registered as Hammond Mound Utilities WTTP, Wastewater Discharge Permit No. WQ0013984001. The last TCEQ compliance investigation of the Rosehill Utilities water systems was on October 24, 2018, November 9, 2018, and June 10, 2021, respectively. The last TCEQ compliance investigation for the Hammond Mound Utilities WWTP was on May 25, 2021.  Rosehill Utilities does not have any violations listed in the TCEQ database.  The Commission’s complaint records, which date back to 2017, show 0 complaints against Rosehill Utilities.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer Rosehill Utilities to Utilities Investment.  The customers are currently receiving water and sewer service from Rosehill Utilities’ water and sewer systems.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Utilities Investment will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Utilities Investment will have qualified TCEQ licensed operators licensed in water treatment to run the acquired systems.

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Utilities Investment will have qualified TCEQ licensed operators licensed in wastewater treatment to run the acquired systems.

Utilities Investment will have licensed operators to run the system operations.  Class B and C operators will be the responsible operator for the system.

Utilities Investment has the ability to provide adequate service in the requested area.  Utilities Investment has several TCEQ approved public water systems and wastewater treatment plants. Utilities Investment has 14 violations listed in the TCEQ database which have been addressed in the application. In addition, the Commission’s complaint records, which date back to 2017, show 13 complaints against Utilities Investment.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Utilities Investment to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Rosehill Utilities is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will not change from the current rates for Rosehill Utilities.  Reliability and quality of water service is expected to improve under Utilities Investment’s management.

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Rosehill Utilities for the customers being served by Rosehill Utilities. I further recommend that a public hearing is not necessary.