TO:		Margaux Fox, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	January 31, 2023

RE:	Docket No. 54171 – Application of Texas Water Utilities, LP and CS Water Corporation for Sale, Transfer, or Merger of Facilities and Certificate Rights in Bosque County

1.	Application

Texas Water Utilities, LP (Texas Water) and the CS Water Corporation (CS Water) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Bosque County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Texas Water, water Certificate of Convenience and Necessity (CCN) No. 12983 seeks approval to acquire facilities and to transfer all of the water service area from CS Water under water CCN No. 11441.

Based on the mapping review by Tracy Montes, Infrastructure Division:

- The requested area includes 178 customer connections and approximately 726 acres, comprised of transferred area from CCN No. 11441.

- The application proposes the subtraction of approximately 726 acres from CCN No. 11441 and the addition of approximately 726 acres to CCN No. 12983.

In addition, the Applicants requested approval of the transaction using the fair market value of the assets rather than their original cost as allowed under TWC § 13.305.

2.	Notice

Texas Water provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was December 19, 2022; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

CS Water has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as CS Water, PWS ID No. 0180033. The last TCEQ compliance investigation of the CS Water system was on June 30, 2020.  CS Water does not have any violations listed in the TCEQ database.  The Commission’s complaint records, which date back to 2017, show 2 complaints against CS Water.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer CS Water to Texas Water.  The customers are currently receiving water service from CS Water’s water system.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Texas Water will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Texas Water will have qualified TCEQ licensed operators licensed in water treatment to run the acquired systems.

Texas Water will have licensed operators to run the system operations.  A Class B, C, and D operator will be the responsible operator for the system.

Texas Water has the ability to provide adequate service in the requested area.  Texas Water has several TCEQ approved public water system. In addition, the Commission’s complaint records, which date back to 2017, show 400 complaints against Texas Water which have been addressed by the Commission’s Customer Protection Division.  Texas Water provides service to approximately 30,345 connections.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Texas Water to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

CS Water is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will be higher than the current rates for CS Water as the rates will be changing to the current approved rates for Texas Water.  Reliability and quality of water service is expected to improve under Texas Water’s management.

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by CS Water for the customers being served by CS Water. I further recommend that a public hearing is not necessary.