PROJECT NO. 54233

| TECHNICAL REQUIREMENTS AND INTERCONNECTION PROCESSES FOR DISTRIBUTED ENERGY RESOURCES (DERS) | § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

TEXAS SOLAR ENERGY SOCIETY & ALISON SILVERSTEIN CONSULTING

REPLY COMMENTS ON

NEW 16 TAC §25.210, AMENDMENTS TO §25.211

AND REPEAL AND REPLACEMENT OF §25.212

The Texas Solar Energy Society (TXSES) and Alison Silverstein Consulting (Silverstein) appreciate the opportunity to respond to the request for comments issued by the Public Utility Commission of Texas (PUCT) relating to its review of Distributed Energy Resources (DER) rules. These comments do not necessarily reflect the opinions of all TXSES members.

TXSES, a 501(c)3 organization, is the pre-eminent statewide organization developing fact-based information and quality educational materials that share best practices and inform decision-makers on the critical importance of sound policies for small solar photovoltaics that will grow the industry; protect clean air; build healthy, resilient communities; support local, well-paying jobs; and lay the foundation for America’s energy independence.  Alison Silverstein Consulting is an independent consultancy with long experience in grid reliability, electric transmission and distribution, distributed energy resources, and Texas electricity regulation.

The Commission’s proposed rule for interconnecting DER projects below 10 MW and below 250 kW, and the stakeholder comments on that proposal, demonstrate the technical and procedural complexity of such interconnections. Such complexity is appropriate for larger DER projects with widely varying equipment and capabilities, connecting directly to a distribution feeder or a transmission line, with owners or sponsors having extensive financial, technical and legal support and time.  But all those requirements are unnecessary and highly burdensome for small DER projects under 50 kW that lie behind the customer’s meter at the DSP’s distribution level. Current, disparate DSP interconnection requirements and the complex application and processing requirements now proposed impose significant and excessive cost and time burdens on the DSPs as well as the DER applicants.

We reiterate the need for a separate process for interconnecting residential/small commercial DER projects under 50 kw at the distribution level. This process should incorporate and establish a uniform interconnection application, technical requirements and evaluation process statewide. Since these individual small residential and commercial systems collectively use a relatively limited set of commercially available equipment and controls behind the customer meter, their behavior and grid impact are consistent and predictable and require minimal utility analysis. Furthermore, these systems have limited impact on the distribution feeders they interconnect to.  Therefore, these systems, the interconnection application and evaluation process, and all related DER-side and grid-side technical requirements, should leverage preapproved NLTR DER equipment and use automated systems for application submittal, DER system analysis (e.g., one-line diagram development and protection system evaluation), and predicting the impact of the incremental DER system upon host feeder safety and system reliability. Interconnection evaluation of these small systems should use careful -- but not stifling -- distribution technical screens to limit DSPs’ discretion to disapprove appropriate DER applications. This rule should allow exceptions for non-standard DER equipment or feeder conditions that don’t meet the state’s adopted technical screens, and place an obligation on the DSP to work with the DER applicant to remedy an exception and get the project approved and online if possible.

For the Commission’s convenience, TXSES and Silverstein attach our proposed stand-alone DER interconnection rule for customer-sited DERs under 50 kW nameplate size and 25 kW export capability. We encourage the Commission to adopt this rule, or something like it, as a separate set of provisions apart from but companion to the proposed changes in TAC §25.210, §25.211 and §25.212.

A standardized DER interconnection rule for customer-sited DERs should apply uniformly to all DSPs, including municipal utilities & coops. Establishing a uniform process for these small DER systems will enable the DSPs to improve the efficiency of their small DER application processing, speed DSP application review and costs, and reduce soft costs for DER installers and system costs for small DER customers.

These small DER systems are costly but highly valuable for the customer and community resilience. Once the PUC enables broader use of aggregated DER, more of the small DERs can be used to support grid resilience and reliability and help rationalize wholesale power costs. Even operating independently without aggregation, individual small DER systems with suitable technical provisions such as export-limiting power control systems and smart inverters can protect the grid while protecting the customer.

TXSES understands & appreciates the DSP concerns about grid safety. But broad grid safety concerns do not justify widely varying, evolving, and non-transparent DSP criteria for evaluating individual small DER project applications. The Commission can protect grid safety and reliability while respecting DSP feeder concerns by establishing broadly applicable, technically supportable interconnection screens (e.g., feeder limits) and unambiguous lists of qualifying DER equipment and controls, rather than allowing prolonged and inconsistent analysis, delay and high bureaucratic burdens on individual applicants. DSP concerns about the reliability and safety impacts of specific small DER applications on specific feeders can be handled by creating specific exceptions criteria to reflect issues like unconventional DER equipment and controls or exceedances to local feeder limits.

TXSES’ solar installer members report that many of the utilities across the state can take up to two or three months (or longer) from application to energization of small residential DER systems. Cooperatives are often the worst offenders. Oddly, the utilities that have higher solar adoption and more sophisticated programs usually have the longest interconnection process – this suggests that their DER interconnection application and evaluation systems could benefit from a standardized application, automated evaluation process and consistent technical criteria for both the DER equipment and controls and the distribution feeder criteria. Some of the DSP obstacles for small DER interconnection include:

- Centerpoint will not approve the use of power control devices even though these are approved under NEC rules, and instead require expensive and time-consuming transformer upgrades, which adds significant cost, complexity and delays. The use of export-limiting power control devices would reduce distribution system upgrade costs, enhance distribution system safety, and thereby benefit all DSP customers.

- The City of Cuero electric utility hampers DER interconnection by requiring manual paper submittals and the requirement to pay application fees in person before they will approve. Cuero also requires the homeowner with DER to take out a $1M insurance policy, which is impossible if the home itself is not worth that amount. This excessive insurance requirement is also required by Sam Houston Electric Coop.

TXSES and Silverstein appreciate & supports the comments of Base Power, SPS, TAEBA, Sierra Club, Texas Solar & Storage Assn. and Solar Energy Industries Assn., Tesla and Enphase, Houston Advanced Research Center, Centerpoint, and others who concur with the need for a uniform, streamlined stand-alone, statewide interconnection process for small DERs. Streamlined, standardized interconnection processes for small DER systems have been adopted successfully in many other states. We also support recommendations to incorporate innovative and widely accepted technical measures such as power socket adapters, export-limiting power control systems, smart inverters, automated application submittal and processing, and hosting capacity maps for behind-the-meter DER systems under 50 kW.

While TXSES and others offer somewhat differing recommendations for the interconnection agreement and process, those recommendations are broadly consistent. TXSES and Silverstein would be happy to work with PUC staff & other stakeholders to develop the final application, agreement, and process details in a collaborative process. Finally, we ask the Commission to address the small DER interconnection rule within the current Project 54233, to prevent further multi-year delays and costs for all small DER owners, adopters and installers.

| Patrice Parsons Executive Director Texas Solar Energy Society |  | Alison Silverstein Alison Silverstein Consulting |
| --- | --- | --- |

PROJECT NO. 54233

| TECHNICAL REQUIREMENTS AND INTERCONNECTION PROCESSES FOR DISTRIBUTED ENERGY RESOURCES (DERS) | § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

TEXAS SOLAR ENERGY SOCIETY & ALISON SILVERSTEIN CONSULTING

REPLY COMMENTS ON

NEW 16 TAC §25.210, AMENDMENTS TO §25.211

AND REPEAL AND REPLACEMENT OF §25.212

EXECUTIVE SUMMARY

The Texas Solar Energy Society (TXSES) and Alison Silverstein Consulting (Silverstein) reiterate the need for a separate process for interconnecting residential and small commercial DER projects under 50 kw at the distribution level. This process should incorporate and establish a uniform interconnection application, technical requirements and evaluation process statewide. Since these individual small residential and commercial systems collectively use a relatively limited set of commercially available equipment and controls behind the customer meter, their behavior and grid impact are consistent and predictable and require minimal utility analysis. Furthermore, these systems have limited impact on the distribution feeders they interconnect to.  Therefore, these systems, the interconnection application and evaluation process, and all related DER-side and grid-side technical requirements, should leverage preapproved NLTR DER equipment lists and use automated systems for application submittal, DER system analysis (e.g., one-line diagram development and protection system evaluation), and assessing the impact of the incremental DER system upon host feeder safety and system reliability. Interconnection evaluation of these small systems should use careful -- but not stifling -- distribution technical screens to limit DSPs’ discretion to disapprove appropriate DER applications. This rule should allow exceptions for non-standard DER equipment or feeder conditions that don’t meet the state’s adopted technical screens, and place an obligation on the DSP to work with the DER applicant to remedy an exception and get the project approved and online if possible.

We encourage the Commission to adopt a streamlined interconnection rule for DERs under 50 kW as a separate set of provisions apart from but companion to the proposed changes in TAC §25.210, §25.211 and §25.212. While TXSES and others offer somewhat differing recommendations for the interconnection agreement and process, those recommendations are broadly consistent. TXSES and Silverstein would be happy to work with PUC staff & other stakeholders to develop the final application, agreement, and process details in a collaborative process. Last, we ask the Commission to address the small DER interconnection rule within the current Project 54233, to prevent further multi-year delays and costs for all small DER owners, adopters and installers.

Attachment

TXSES and Alison Silverstein Consulting

Mark-up of §25.211. Interconnection of Distributed Energy Resources (DERs) with a Nameplate Capacity of 50kW or Less or Export Capacity less than or equal to 25 kW for Parallel Operation