PROJECT NO. 54233

| TECHNICAL REQUIREMENTS AND INTERCONNECTION PROCESSES FOR DISTRIBUTED ENERGY RESOURCES (DERs) | § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

TEXAS SOLAR POWER ASSOCIATION’S AND SOLAR ENERGY INDUSTRIES ASSOCIATION’S RECOMMENDED ADDITIONAL WORKSHOP TOPICS

The Texas Solar Power Association (TSPA) and the Solar Energy Industries Association (SEIA) (collectively, Solar Associations) appreciate the opportunity to participate in the May 4, 2023 Workshop to discuss the proposals by the Public Utility Commission of Texas Staff (Commission Staff) to update interconnection and technical requirements for distributed energy resources (DERs) as outlined in Commission Staff’s April 18, 2023 Memorandum.  In that Memorandum, Commission Staff invited interested persons to identify additional recommended topics for inclusion in the May 4, 2023 Workshop Agenda or in separate future workshops. Solar Associations recommend that it would be beneficial to discuss in a future workshop: (1) the inclusion of specific deadlines in the proposed rules; (2) the requirement that Distribution Service Providers (DSPs) perform a re-occurring integration Capacity Analysis to determine hosting capacity on their systems; (3) the updates of technical screening processes to reflect industry best practices leveraging UL1741SBv3 inverters and expedited interconnection processes such as removing or modifying load screens depending on system size; (4) establishing a fixed interconnection fee for small, residential DG; and (5) the simplification and automation of the interconnection process for smaller systems.  Many of these items were also identified in the Solar Associations Comments and Reply Comments filed in this project in response to the Commission Staff’s discussion drafts.

Solar Associations also support Oncor’s request to include Contribution in Aid of Construction (CIAC) issues in a future workshop.  Finally, Solar Associations previously commented that we support the application of standardized interconnection and technical requirements state-wide and proposed that the rules apply to municipally owned utilities and electric cooperatives (under certain conditions).  Although this issue will not be discussed at the May 4, 2023 Workshop, Solar Associations recommend this item be included as a future workshop topic.

Respectfully submitted,

________________________________________

Tonya Miller

Texas Solar Power Association

Executive Director

www.txsolarpower.com

State Bar No. 24026771

tonya@txsolarpower.org

(512) 560-9735

_____________________________________

Michael J. Jewell

Jewell & Associates, PLLC

State Bar No. 10665175

8404 Lakewood Ridge Cove

Austin, TX 78738

(512) 423-4065

(512) 236-5170 (FAX)

michael@jewellandassociates.com

ATTORNEY FOR SOLAR ENERGY

INDUSTRIES ASSOCIATION

TSPA and SEIA Joint Initial Comments on Staff Discussion Draft, Project No. 54233, Technical Requirements and Interconnection Processes for Distributed Energy Resources (DERs), January 6, 2023.

TSPA and SEIA Joint Reply Comments on Staff Discussion Draft, Project No. 54233, Technical Requirements and Interconnection Processes for Distributed Energy Resources (DERs), January 18, 2023.

See. TSPA and SEIA Reply Comments at 6.