PROJECT NO. 54233

| TECHNICAL REQUIREMENTS AND INTERCONNECTION PROCESSES FOR DISTRIBUTED ENERGY RESOURCES (DERS) | § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

HUNT ENERGY NETWORK L.L.C.

COMMENTS AND REDLINE OF DISCUSSION DRAFT §25.211 AND §25.212

Hunt Energy Network, L.L.C. (“HEN”) commends the Commission Staff for the Workshop process that has concluded.  The process was efficient, focused and provided interested parties with meaningful input into the development of the proposed rule language. HEN strongly encourages the Commission to continue this momentum and move forward to publish a formal proposed rule for publication for Distributed Energy Resources (“DERs”) greater than 250kW based upon the draft rule provisions for §25.211 and §25.212 provided by the Commission Staff before each Workshop (“Draft Rule Provisions”), with the suggested changes proposed by HEN, and included in HEN’s redline of the Draft Rule Provisions, attached as Attachment A.

HEN agrees with the approach taken in the §25.212 Draft Rule Provisions providing that DERs greater than one MW or registered as a Resource with ERCOT must follow the technical requirements established by ERCOT (§25.212(k)) and the other provisions of §25.212 would only apply to those DERs smaller than one MW that are not registered with ERCOT.  If this approach remains, HEN does not have further comments on the §25.212 Draft Rule Provisions.

Regarding the §25.211 Draft Rule Provisions, HEN’s key concerns were expressed during the Workshops and are summarized below.  HEN has also provided a redline to the Draft Rule Provisions in Attachment A to these comments, which include all of HEN’s proposed changes.

- Applicability (§25.211(a))

HEN strongly supports the application of the Draft Rule Provisions to electric cooperatives and municipalities.  Texas law clearly applies to these entities because they provide wholesale transmission service at distribution voltage to DERs; that is, the interconnection of DERs to the distribution grid allows the energy produced to be transported via the distribution system into the transmission grid and bid into the ERCOT wholesale market. The definition of transmission service in PURA § 31.002 expressly includes transmission service provided over distribution facilities. Further, PURA §39.203(b) states that “when necessary to serve a wholesale customer an electric utility, an electric cooperative that has not opted for customer choice, or a municipally owned utility that has not opted for customer choice shall provide wholesale transmission service at distribution voltage.”  This statutory requirement is also reflected in the Commission’s rules.  16 TAC §25.191(d)(2) provides that “an electric cooperative that has not opted for customer choice or a municipally-owned utility that has not opted for customer choice shall provide wholesale transmission service at distribution voltage when necessary to service a wholesale customer.”

- Modifications to DERs (§25.211(b)(13), (d)(2)(F))

HEN proposes several changes relating to modifications to a DER after the Distribution Resource Interconnection Agreement (“DRIA”) is executed. There are several types of modifications or changes that a DER could make, ranging from replacement of a piece of equipment with the same type of equipment which does not change the operations of the DER to a change that materially impacts how the DER was studied by the DSP or how the DER operates, such as a material increase in capacity or a change in inverter type. Changes that either do not impact the DSP studies that had been performed, have been agreed to between the DSP and the DER Provider as part of the interconnection process, or have been authorized by the DSP and tested accordingly, should not require additional interconnection studies or new interconnection agreements.  This would include like-for-like changes to equipment as suggested by Enchanted Rock in their comments in this Project filed on July 18, 2023.  This approach is also consistent with Section 6: Modifications of Generator Facilities in the draft DRIA included in the Commission Staff’s filing in this Project on November 22, 2022, which requires a DER Provider to obtain the consent of the DSP prior to making any modifications to the DER “that vary from the [DER] studied by the DSP as part of the interconnection request.”

HEN therefore proposes that the definition of “Substantial Modification” in §25.211(b)(13) be struck since that term is not used in the Draft Rule Provisions.  If Commission Staff determines that a similar term is necessary, then HEN would request that DER modifications that are replacements of like-for-like equipment or modifications that do not vary or change the DER studied by the DSP do not require a restudy or a DRIA amendment.  HEN also proposes changes to § 25.211 (d)(2)(F) (Unauthorized Modifications) to include a reference to Section 6 of the DRIA and to expressly state that a replacement of like-for-like equipment does not require a restudy by the DSP.

- Removal and Disposal of DERs (§25.211(g)(4))

HEN strongly opposes the inclusion of §25.211(g)(4), which allows a DSP to require a DER Provider to post security with the DSP for the costs of removal of the DER facility itself and allows the DSP to use the security to remove the DER facility after the DER is no longer operational.  This provision does not address the interconnection facilities, but rather the DER facility itself.  The DER is typically not built on land owned or controlled by the DSP and the DSP has no legal right or authority to dictate what happens to the DER equipment that is disconnected from the DSP’s distribution system and not located on land controlled by the DSP.  In fact, the DSP would likely incur substantial liability if it entered onto property it did not own or control to remove another entity’s equipment.  This is an issue that is resolved between the landowner and the DER as lessee (if the DER does not own the property).   In addition, the cost of removal could be significant and it is unreasonable to permit the DSP to hold security from the DER for up to 15-20 years until the end of the useful life of the DER.  This would unnecessarily tie up capital for the DER Provider.  Finally, this requirement is not imposed on any Resource interconnected at transmission level and it would place DERs at a substantial competitive disadvantage relative to transmission-connected resources.  HEN respectfully requests that this provision be struck.

- Contribution In Aid of Construction (“CIAC”) (§25.211(g)(3))

Cost allocation issues for Distribution Energy Storage Resources (DESRs), a subcategory of DERs, remains unresolved by the Commission in Project No. 54224.  These issues include whether DESRs should be treated comparably to transmission-interconnected ESRs and thus not be required to pay monthly tariffed charges to the DSP as well as CIAC charges.  HEN strongly encourages the Commission to timely resolve these issues.  That said, if CIAC is required, then HEN strongly supports the transparency provided by itemized CIAC estimates and CIAC true-ups as proposed in § 25.211(g)(3), as well as timely commencement of engineering and equipment procurement by the DSP.

- Pre-Screen Studies (§25.211 (e)(3))

To date, HEN has interconnected 14 DESR projects in ERCOT, with another 7 DESR projects in the later stages of interconnection. In HEN’s experience, the pre-screen study is not a time-consuming study for the DSPs and is typically provided quickly, generally within two or at the latest, three weeks. The proposed rule provides 25 business days (nearly two months) for the DSP to provide the pre-screen study.  HEN suggests that this is too long and suggests shortening the time to 15 business days (approximately one month).

Additionally, within the prescreen study, HEN proposes the addition of a nonbinding cost range to interconnect the DER to the DSP’s system. Prior to fully committing to the costly and detailed interconnection studies, the prescreen studies preliminarily inform the DER provider whether the project may be economically viable to continue pursuit.

- Interconnection Application (§25.211(f)(1))

The Interconnection Application begins the interconnection process. Proposed §25.211(f)(1) states that the interconnection application must be “fully-funded.”  It is not clear what this means since the CIAC is not even a known estimate at the time the application is provided. HEN therefore recommends removing this phrase.  HEN also recommends deleting the last sentence in this subsection which states that the DSP approves or denies the application.  Again, this is before any studies have been performed.  The provisions in subsection (f)(1)(A)-(C) appropriately address what HEN believe is intended, which is to have a process for the DSP to review the application for completeness.

- Interconnection Agreements (§25.211(3)(C), (E))

This provision allows the DER Provider and DSP to agree to terms that vary from the standard DRIA, provided that the changed terms do not conflict with the Commission’s DER interconnection rules.  HEN suggests that the changes should also not conflict with ERCOT Protocols.  HEN has experienced situations in which the DSP requires provisions that are inconsistent with the ERCOT Protocols, which places an ERCOT-registered Resource in an untenable position.

HEN also proposes a change to §25.211(f)(3)(E) which allows the DSP to terminate the DRIA if the DER Provider cannot complete the DER commissioning within 12 months after the in-service date of the DSP facilities.  HEN proposes that the 12 months should be extended day-for-day for the DSP’s delay in meeting the in-service date for completion of the DSP’s interconnection facilities and energization.  HEN is currently experiencing situations in which the DSP is delayed by weeks and sometimes months in meeting the energization date set forth in the interconnection agreement.  The DER cannot complete commissioning until energization has occurred, thus a day-for-day extension is appropriate.

- Testing (§25.211(h)(B))

This provision addresses the testing of the DER and the interconnection prior to operation.  If the testing demonstrates that a modification is required to the DER, HEN proposes that the appropriate process is to amend the DRIA to reflect the modifications, allow the DER to incorporate the modifications and re-test.  The DER Provider should not be required to go back to the beginning of the entire interconnection process with a new application.

HEN appreciates the opportunity to offer comments, again offers kudos to the Commission Staff for a well-run Workshop process, and respectfully urges the Commission to move forward with a formal Proposed Rule for Publication.

Respectfully submitted,

HUNT ENERGY NETWORK L.L.C.

______________________________

Stephanie A. Kroger

Senior VP for Regulatory & Business Development

Hunt Energy Network L.L.C.

1900 North Akard St.

Dallas, Texas 75201

skroger@huntenergy.com

HEN redlined the version of §25.211(d)(2)(F) that was included in the Commission Staff’s filing in this Project on June 23, 2023 before the June 30, 2023 Workshop since that sub-section was revised from the version filed by the Commission Staff on June 9, 2023 to reflect discussion from the June 14, 2023 workshop.