Figure: 16 TAC §25.211(q)

PRESCRIBED FORM FOR THE

APPLICATION FOR INTERCONNECTION AND PARALLEL OPERATION OF DISTRIBUTED ENERGY RESOURCES (DERs) WITH A NAMEPLATE CAPACITY OF 250kW OR LESS (APPLICATION)

A Distribution Service Provider (Company) must interconnect distributed energy resources (DERs) that have a nameplate capacity of 250 kilowatts (kW) or less in accordance with Public Utility Commission of Texas Substantive Rules §§ 25.211, relating to Interconnection of Distributed Energy Resources (DERs) with a Nameplate Capacity of 250kW or Less for Parallel Operation and 25.212, relating to Technical and Operational Requirements for Parallel Operation of Interconnected Distributed Energy Resources (DERs).

Customers seeking interconnection of a DER with a nameplate capacity of 250kW or less for parallel operation with a Company’s distribution system must complete and file the following Application with the Company

X.X Distributed Energy Resource Interconnection

Applicable: Retail Distribution Service

Effective Date: __________

APPLICATION FOR INTERCONNECTION AND PARALLEL OPERATION OF DISTRIBUTED ENERGY RESOURCES WITH A NAMEPLATE CAPACITY OF 250kW OR LESS

I.	Company Information

| A. Company Full Business Name |  |
| --- | --- |
| B. Company Full Business Address |  |
| C. Company Full Mailing Address |  |
| D. Company Business Telephone Number |  |
| E. Company Primary Contact Name |  |
| F. Company Primary Contact E-Mail Address |  |
| G. Company Primary Contact Telephone Number |  |

Return Completed Application to:

____________________________________		____________________________________

[Company Full Business Name]			[Company Address Line 1]

____________________________________		____________________________________

[Company Primary Contact Name]			[Company Address Line 2]

II.	Customer Information

| A. Customer Full Business Name |  |
| --- | --- |
| B. Customer Full Business Address |  |
| C. Customer Full Mailing Address |  |
| D. Customer Business Telephone Number |  |
| E. Customer Primary Contact Name |  |
| F. Customer Primary Contact E-Mail Address |  |
| G. Customer Primary Contact Telephone Number |  |
| H. Customer Service Point Address |  |

Application Information Prepared and Submitted By:

____________________________________

[Customer Primary Contact Name]

____________________________________

[Customer Primary Contact Signature]

III.	DER Information

The following information must be supplied by Customer or Customer’s designated representative to Company. All applicable items must be accurately completed in order for Company to effectively evaluate the Customer’s generating facilities for interconnection with the Company’s distribution system.

| A. Number of Units |  |  |  | B. Manufacturer Name |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C. Type (Synchronous, Induction, or Inverter) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D. Fuel Source Type (Solar, Natural Gas, Wind, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E. Kilowatt Rating (95 F at location) |  |  |  |  |  |  | F. Kilovolt-Ampere Rating (95 F at location) |  |  |  |  |  |  |  |
| Nameplate Rating |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| G. Power Factor |  |  |  |  |  |  | H. Voltage Rating |  |  |  |  |  |  |  |
| I. Number of Phases |  |  |  |  |  |  | J. Frequency |  |  |  |  |  |  |  |
| K. Do you (Customer) plan to intentionally export power? |  |  | ☐ Yes, the DER will intentionally export power |  |  |  |  |  |  |  | ☐ No, the DER will NOT intentionally export power |  |  |  |
| If Yes, provide the maximum estimated amount : |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| L. Should Company report excess generation to your (Customer’s) REP? |  |  | ☐ Yes, Company should report excess generation to Customer’s REP |  |  |  |  |  |  |  | ☐ No, Company should NOT report excess generation to Customer’s REP |  |  |  |
| M. List all applicable Certification Label(s) or Type Number(s) (e.g., UL-1741 Utility Interactive or IEEE 1547) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Certification Label(s) |  |  |  |  | Type Number(s) |  |  |  |  |  |  |  |  |  |
| N. Expected Energization and Start-up Date of DER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| O. Normal operation of interconnection: (examples: provide power to meet base load, demand management, standby, back-up, other (please describe)) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| P. Customer has attached a one-line diagram of the interconnection |  |  |  |  |  |  |  |  |  |  |  | ☐ Yes, a one-line diagram is attached to this application |  |  |
| Q. For systems not using certified inverters (e.g., inverters certified to UL-1741 or IEEE 1547, does Company have the dynamic modeling values from the generator manufacturer? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Yes, Company has the dynamic modeling values from the generator manufacturer OR Customer has provided them to Company as part of this application |  |  |  |  |  |  |  | ☐ No, Company does not have the dynamic modeling values |  |  |  |  |  |  |
| If NO, please explain: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (Note: For certified equipment, the answer is Yes. Otherwise, Customer must provide the dynamic modeling values if they are available.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| R. Layout sketch showing lockable, “visible” disconnect device(s) is attached |  |  |  |  |  | ☐ Yes, a layout sketch with lockable disconnect devices(s) is attached to this application |  |  |  |  |  |  |  |  |

IV. Authorized Release of Information List

By signing this Application in the space provided below, Customer authorizes Company to release Customer’s proprietary information to the extent necessary to process this Application to the following persons:

|  | Name | Organization | Phone Number | Email Address |
| --- | --- | --- | --- | --- |
| Project Manager |  |  |  |  |
| Electrical Contractor |  |  |  |  |
| Consultant |  |  |  |  |
| Other |  |  |  |  |

[COMPANY NAME]	[CUSTOMER NAME]

BY:_________________________	BY: __________________________

PRINTED NAME	PRINTED NAME

_____________________________	_____________________________

TITLE: _______________________	TITLE: _______________________

DATE: _______________________	DATE: _______________________