## Label Plate Tracking Log
To be filled out by Site Team, upon receipt of material.
Solar Label Plate Tracking Log
MET Station
| Data Logger |  |  |  | Pyranometer |  |  |  | Back Plan of Array (BPOA) Pyranometer (Bi-facial panel project only) |  |  |  | Weather Station |  |  |  | Soiling Sensor |  |  |  | Soiling Sensor |  |  |  | Inverter (PCU) |  |  |  | Tracker Motor
| Serial # | Manufacturer | Vendor Model Number | Calibration Date | Serial # | Manufacturer | Vendor Model Number | Calibration Date | Serial # | Manufacturer | Vendor Model Number | Calibration Date | Serial # | Manufacturer | Vendor Model Number | Calibration Date | Serial # | Manufacturer | Vendor Model Number | Calibration Date | Serial # | Manufacturer | Vendor Model Number | Calibration Date | Inverter ID# | Serial # | Manufacturer | Vendor Model Number | Serial # | Manufacturer | Vendor Model Number
Circuit A | Circuit A |  |  |  | Circuit A |  |  |  | Circuit A |  |  |  | Circuit A |  |  |  | Circuit A |  |  |  | Circuit A |  |  |  | Circuit A |  |  |  | Circuit A
A-1 | [24 empty] | CEPU210666 6 | CT271/22 | SMA | MVPS-4400-S2-US-10
A-2 | [24 empty] | CEPU002199 7 | CT273/22 | SMA | MVPS-4400-S2-US-10
A-3 | [24 empty] | CEPU002200 0 | CT275/22 | SMA | MVPS-4400-S2-US-10
A-4 | [24 empty] | CEPU002198 1 | CT272/22 | SMA | MVPS-4400-S2-US-10
A-5 | [24 empty] | CEPU210959 9 | CT274/22 | SMA | MVPS-4400-S2-US-10
A-6 | [24 empty] | CEPU002201 5 | CT277/22 | SMA | MVPS-4400-S2-US-10
Circuit B | Circuit B |  |  |  | Circuit B |  |  |  | Circuit B |  |  |  | Circuit B |  |  |  | Circuit B |  |  |  | Circuit B |  |  |  | Circuit B |  |  |  | Circuit B
B-1 | [24 empty] | CEPU002220 5 | CT309/22 | SMA | MVPS-4400-S2-US-10
B-2 | [24 empty] | CEPU002140 4 | CT302/22 | SMA | MVPS-4400-S2-US-10
B-3 | [24 empty] | CEPU002157 5 | CT284/22 | SMA | MVPS-4400-S2-US-10
B-4 | [24 empty] | CEPU002112 7 | CT283/22 | SMA | MVPS-4400-S2-US-10
B-5 | [24 empty] | CEPU002189 4 | CT300/22 | SMA | MVPS-4400-S2-US-10
B-6 | [24 empty] | CEPU210965 0 | CT280/22 | SMA | MVPS-4400-S2-US-10
Circuit C | Circuit C |  |  |  | Circuit C |  |  |  | Circuit C |  |  |  | Circuit C |  |  |  | Circuit C |  |  |  | Circuit C |  |  |  | Circuit C |  |  |  | Circuit C
C-1 | [24 empty] | CEPU210910 9 | CT278/22 | SMA | MVPS-4400-S2-US-10
C-2 | [24 empty] | CEPU002163 6 | CT276/23 | SMA | MVPS-4400-S2-US-10
C-3 | [24 empty] | CEPU002223 1 | CT285/24 | SMA | MVPS-4400-S2-US-10
C-4 | [24 empty] | CEPU210948 0 | CT286/22 | SMA | MVPS-4400-S2-US-10
C-5 | [24 empty] | CEPU002224 7 | CT209/22 | SMA | MVPS-4400-S2-US-10
C-6 | [24 empty] | CEPU002225 2 | CT279/22 | SMA | MVPS-4400-S2-US-10
Circuit D | Circuit D |  |  |  | Circuit D |  |  |  | Circuit D |  |  |  | Circuit D |  |  |  | Circuit D |  |  |  | Circuit D |  |  |  | Circuit D |  |  |  | Circuit D
D-1 | [24 empty] | CEPU002226 8 | CT301/22 | SMA | MVPS-4400-S2-US-10
D-2 | [24 empty] | CEPU002221 0 | CT289/22 | SMA | MVPS-4400-S2-US-10
D-3 | [24 empty] | CEPU002227 3 | CT294/22 | SMA | MVPS-4400-S2-US-10
D-4 | [24 empty] | CEPU002128 2 | CT293/22 | SMA | MVPS-4400-S2-US-10
D-5 | [24 empty] | CEPU002231 3 | CT289/22 | SMA | MVPS-4400-S2-US-10
Circuit E | Circuit E |  |  |  | Circuit E |  |  |  | Circuit E |  |  |  | Circuit E |  |  |  | Circuit E |  |  |  | Circuit E |  |  |  | Circuit E |  |  |  | Circuit E
E-1 | [24 empty] | CEPU0022376 | CT281/22 | SMA | MVPS-4400-S2-US-10
E-2 | [24 empty] | CEPU002214 4 | CT291/22 | SMA | MVPS-4400-S2-US-10
E-3 | [24 empty] | CEPU002241 6 | CT303/22 | SMA | MVPS-4400-S2-US-10
E-4 | [24 empty] | CEPU002210 2 | CT287/22 | SMA | MVPS-4400-S2-US-10
E-5 | [24 empty] | CEPU002257 1 | CT298/22 | SMA | MVPS-4400-S2-US-10
E-6 | [24 empty] | CEPU002126 1 | CT295/22 | SMA | MVPS-4400-S2-US-10
Circuit F | Circuit F |  |  |  | Circuit F |  |  |  | Circuit F |  |  |  | Circuit F |  |  |  | Circuit F |  |  |  | Circuit F |  |  |  | Circuit F |  |  |  | Circuit F
F-1 | [24 empty] | CEPU0022437 | CT304/22 | SMA | MVPS-4400-S2-US-10
F-2 | [24 empty] | CEPU002239 7 | CT299/22 | SMA | MVPS-4400-S2-US-10
F-3 | [24 empty] | CEPU002230 8 | CT306/22 | SMA | MVPS-4400-S2-US-10
F-4 | [24 empty] | CEPU0022355 | CT297/22 | SMA | MVPS-4400-S2-US-10
F-5 | [24 empty] | CEPU002222 6 | CT288/22 | SMA | MVPS-4400-S2-US-10
F-6 | [24 empty] | CEPU0022294 | CT282/22 | SMA | MVPS-4400-S2-US-10
Circuit G | Circuit G |  |  |  | Circuit G |  |  |  | Circuit G |  |  |  | Circuit G |  |  |  | Circuit G |  |  |  | Circuit G |  |  |  | Circuit G |  |  |  | Circuit G
G-1 | [24 empty] | CEPU002232 9 | CT307/22 | SMA | MVPS-4400-S2-US-10
G-2 | [24 empty] | CEPU002236 0 | CT296/22 | SMA | MVPS-4400-S2-US-10
G-3 | [24 empty] | CEPU0022186 | CT308/22 | SMA | MVPS-4400-S2-US-10
G-4 | [24 empty] | CEPU0022458 | CT310/22 | SMA | MVPS-4400-S2-US-10
G-5 | [24 empty] | CEPU002234 0 | CT305/22 | SMA | MVPS-4400-S2-US-10