TO:		Forrest Smith, Attorney

Legal Division

FROM:	Jaspinder Singh, Engineering Specialist

Infrastructure Division

DATE:	March 8, 2023

RE:	Docket No. 54429 – Application of Palo Duro Service Company dba Trinity River Estates and the City of Hudson Oaks for Sale, Transfer, or Merger of Facilities and Certificate Rights in Parker County

On December 6, 2022, Palo Duro Service Company, Inc. dba Trinity River Estates (Palo Duro) and the City of Hudson Oaks (COHO) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Parker County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Staff notes that the current style of this docket is “Application of Palo Duro Service Company dba Trinity River Estates and City of Hudson Oaks for Sale, Transfer, or Merger of Facilities and Certificate Rights in Parker County.”  The acquiring entity name is “City of Hudson Oaks” according to the Secretary of State Certificate of Filing. The selling entity name is “Palo Duro Service Company, Inc.” according to the Secretary of State Certificate of Filing and the previously issued certificate from the Texas Water Commission. Staff requests that the style of the docket be changed to “Application of Palo Duro Service Company, Inc. and the City of Hudson Oaks for Sale, Transfer, or Merger of Facilities and Certificate Rights in Parker County”.

Specifically, COHO, Certificate of Convenience and Necessity (CCN) No. 12273, seeks approval to acquire facilities and to transfer a portion of the water service area from Palo Duro under water CCN No. 12200.

Based on the mapping review by Dave Babicki, Infrastructure Division, the digital mapping data submitted with Item 1 on December 6, 2022 and the revised maps submitted with Item 6 on February 15, 2023 are sufficient.

- The requested area includes 29 customer connections and approximately 68.5 acres, comprised of:

0.1 acres of transferred area from Palo Duro (CCN No. 12200) to COHO (CCN No. 12273); and

68.4 acres of decertified area from Palo Duro (CCN No. 12200), that removes dual certification with COHO (CCN No. 12273).

- The application proposes the subtraction of approximately 68.4 acres from CCN No. 12200 and the addition of approximately 0.1 acres to CCN No. 12273.

- 68.5 acres will be single certification to CCN No. 12273; and 0 acres will be dual certification with CCN No. 12200.

- The application indicates that the total acreage being requested is approximately 68 acres, however, the mapping review determined the requested area is approximately 68.5 acres.

Based on the mapping review and my technical and managerial review of the additional information filed on February 15, 2023, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- City of Weatherford (CCN No. 10282)

- Highland Water Supply Corporation (WSC) (CCN No. 11970)

- New Progress WSC (CCN No. 11844)

- Town of Annetta (CCN No. 13196)

- Town of Annetta North

  - The county judge of each county that is wholly or partially included in the requested area:

- Parker County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Upper Trinity Groundwater Conservation District

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in the county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date. The affidavit must state with specificity each county in which the newspaper is of general circulation. Within 30 days of the date the notice was mailed, COHO must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice forms.

- Provide a copy of the maps deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket copy of notice and the maps deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to COHO and Palo Duro. COHO and Palo Duro will have 20 days from the receipt of the RFI to respond.