TO:		Interim Chair Kathleen Jackson

Commissioner Peter M. Lake

Commissioner Will McAdams

Commissioner Lori Cobos

Commissioner Jimmy Glotfelty

FROM:	Mariah Benson, Market Analysis Division

Harika Basaran, Market Analysis Division

DATE:		June 22, 2023

RE:	June 29, 2023, Open Meeting – Item No. 35

Project No. 54445 – CY 2023 Review of Rules Adopted by the Independent Organization (Discussion and possible action)

Before the Commission are four new Nodal Protocol Revision Requests (NPRR), and one Nodal Operating Guide Revision Request (NOGRR) passed through the stakeholder process by the Technical Advisory Committee (TAC) and approved by the Electric Reliability Council of Texas (ERCOT) Board of Directors (Board) at their June 20, 2023, meeting. The Board Report and ERCOT Impact Analysis for the above revisions were filed in this project on June 20, 2023. These documents are intended to provide an overview describing each revision. Commission Staff recommends approval of each of these revisions.

- NPRR1167, Improvements to Firm Fuel Supply Service Based on Lessons Learned – This NPRR implements several improvements to Firm Fuel Supply Service (FFSS). Specific changes include:

- amending the definition of an Availability Plan to include a requirement that, in cases where a Generation Resource is required to have a submitted Availability Plan and has a change in availability, the Availability Plan must be updated within 60 minutes of that change in availability;

- adding more detailed direction to incorporate the concept of having an alternate Generation Resource that may be designated to become the FFSS Resource (FFSSR) in providing FFSS;

- adding a requirement for ERCOT to post a disclosure report of FFSS offers after each procurement period, in alignment with the expiration of confidentiality captured in the first FFSS Request for Proposal (RFP);

- clarifying language regarding procedures for communication between ERCOT and Qualified Scheduling Entities (QSEs) regarding restocking of fuel post deployment of FFSS;

- changing the directive for ERCOT to report to TAC at the end of the obligation period (March 15) if deployments occurred, instead of reporting to TAC within 45 days of each deployment;

- introducing language and processes for disqualification and decertification of a Generation Resource as an FFSSR, including a process for remediation and recertification;

- incorporating requirements for FFSS that were previously only captured in the FFSS RFP; and

- enhancing language and processes around the qualification process, including moving the obligation to test prospective FFSSRs (both primary and alternate Generation Resources) to be prior to the FFSS procurement process. Results from this test will then be used to limit the megawatt (MW) quantity that the QSE can offer for that Generation Resource into the FFSS procurement process.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | PUCT Project No. 52373, Approval of Blueprint for Wholesale Electric Market Design and Directives to ERCOT |
| TAC Opposition | None, one abstention from the Independent Generator Segment (Luminant) |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1167 and believes the market impact for NPRR1167 improves several processes related to FFSS, including testing, qualification, procurement, communication during and following deployment, and reporting by ERCOT. Work with stakeholders should continue in an on-going effort to evaluate the processes for performance monitoring and disqualification of Resources to provide FFSS. |
| Sponsor | ERCOT |
| IMM Opinion | Supports |

- NPRR1169, Expansion of Generation Resources Qualified to Provide Firm Fuel Supply Service in Phase 2 of the Service – This NPRR expands the qualifications by which a Generation Resource may be a primary or an alternate FFSSR to include those meeting the following characteristics:

- the entity, or an affiliate, that owns the Generation Resource must own and have title to a sufficient amount of natural gas in an offsite storage facility to be used by the Generation Resource to deliver the offered MW for at least the duration specified in the RFP and must commit to maintain such quantity of natural gas in storage at all times during the obligation period;

- the entity, or an affiliate, that owns the Generation Resource must either own, or have a Firm Gas Storage Agreement for, a sufficient amount of natural gas storage capacity for the offered Generation Resource to deliver the offered MW for at least the duration specified in the RFP; and

- the entity, or an affiliate, that owns the Generation Resource must have entered into a Firm Transportation Agreement on a Qualifying Pipeline.

Further, the NPRR also adds language that:

- the entity that owns the FFSSR must provide a report to ERCOT with certain information and data if the FFSSR fails to deploy due to a Force Majeure Event;

- categorizes certain information provided to ERCOT as Protected Information;

- adds definitions including Qualifying Pipeline; and

- addresses requirements for recovering costs of replacement-fuel if ERCOT approves restocking of fuel after deployment of an FFSSR.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved as amended by the 6/12/23 ERCOT comments in lieu of TAC-approved version |
| Related Commission/Legislative Directive | PUCT Project No. 52373, Approval of Blueprint for Wholesale Electric Market Design and Directives to ERCOT |
| TAC Opposition | None, one abstention from the Independent Generator Segment (Luminant) |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1169 and believes the market impact for NPRR1169 expands the pool of Generation Resource that qualify to provide FFSS while balancing the interests of fostering more competition in offers and increasing the amount of capacity that can be procured; and maintaining requirements designed to mitigate failure risks and result in a high level of reliability. |
| Sponsor | ERCOT |
| IMM Opinion | Supports |

- NPRR1177, Enhance Exceptional Fuel Cost Process – This NPRR enables Generation Resources to file Exceptional Fuel Costs that include contractual cost and pipeline-mandated costs, and enhances the process for ERCOT and the Independent Market Monitor (IMM) to verify these costs. This NPRR provides a temporary solution (until January 1, 2025 or as extended by an NPRR) that leverages the existing Exceptional Fuel Cost processes to include the ability to include contractual costs. Additionally, this NPRR gives ERCOT the discretion to reject any ineligible costs submitted by the QSE.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1177 and believes the market impact for NPRR1177 will be to preserve reliability and reduce market costs by providing a temporary mechanism leveraging the Exceptional Fuel Cost processes to recognize, capture, and validate contractual costs, allowing Generation Resources to reflect costs in their Energy Offer Curves without the risk of Real-Time mitigation that will result in unrecoverable financial losses. |
| Sponsor | Constellation Energy Generation, LLC |
| IMM Opinion | The IMM does not oppose NPRR1177 as a temporary solution, and therefore supports the TAC-recommended version that contains a sunset date. |

- NPRR1178, Expectations for Resources Providing ERCOT Contingency Reserve Service– This NPRR provides clarifications and updates regarding expectations for Resources providing ERCOT Contingency Reserve Service (ECRS).

  - First, this NPRR provides clarity on expectations for Resource Status for Load Resources, other than Controllable Load Resources, when the Resource is providing ECRS simultaneously with Responsive Reserve Service (RRS).

  - Second, to align with NPRR892, Non-Spin Reserve Energy Floor Clarification, this NPRR places an offer floor on capacity for Resources providing ECRS concurrently with On-Line Non-Spinning Reserve (Non-Spin). This change ensures that on-line capacity for providing Non-Spin is priced above the $75/MWh offer floor. NPRR892 addressed this requirement when a Resource is providing RRS and/or Regulation Up Service (Reg-Up) in addition to On-Line Non-Spin, however the timing of that NPRR was such that ECRS was not included in the proposed language.

  - Lastly, this NPRR updates the ECRS deployment obligation requirements for Load Resources, other than Controllable Load Resources. The proposed language makes the requirement consistent with what will be in place with the implementation of Real-Time Co-optimization (RTC) of energy and Ancillary Services and states that any response to a deployment must remain in effect until recalled by ERCOT.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | PUCT Project No. 52373, Approval of Blueprint for Wholesale Electric Market Design and Directives to ERCOT |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1178 and believes the market impact for NPRR1178 clarifies and aligns Protocols with the expectations for Resources providing ECRS. |
| Sponsor | ERCOT |
| IMM Opinion | The IMM abstains from proffering an opinion on the $75 offer floor provision and recognizes that an alternative may be needed in time if ECRS is frequently deployed before Non-Spin. |

- NOGRR253, Related to NPRR1178, Expectations for Resources Providing ERCOT Contingency Reserve Service – This NOGRR aligns the Nodal Operating Guide language regarding ECRS and Non-Spin with the revisions proposed in NPRR1178, as well as the Protocol language approved in NPRR1096, Require Sustained Two-Hour Capability for ECRS and Four-Hour Capability for Non-Spin. This NOGRR also clarifies that ERCOT may manually deploy Load Resources, other than Controllable Load Resources, that are providing ECRS or RRS to maintain a minimum 500 MWs of Physical Responsive Capability (PRC) reserves on Security-Constrained Economic Dispatch (SCED)-dispatchable Resources to continuously balance the demand with supply while maintaining the stable grid frequency for smaller disturbances.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | PUCT Project No. 52373, Approval of Blueprint for Wholesale Electric Market Design and Directives to ERCOT |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NOGRR253 and believes the market impact for NOGRR253 clarifies and aligns the Nodal Operating Guide with the Protocols and expectations for Resources providing ECRS. |
| Sponsor | ERCOT |
| IMM Opinion | No opinion |

Please find attached a proposed order for your consideration consistent with Commission Staff’s recommendations in this memo.

The remainder of the rules approved by the Board will be addressed prior to the July 20, 2023 Open Meeting

Notice of Recommended Approval of Revision Requests by ERCOT Board of Directors, Item No. 17.

TAC version as approved on May 23, 2023