TO:		Chairman Peter M. Lake

Commissioner Will McAdams

Commissioner Lori Cobos

Commissioner Jimmy Glotfelty

Commissioner Kathleen Jackson

FROM:	Mariah Benson, Market Analysis Division

Harika Basaran, Market Analysis Division

DATE:		January 19, 2023

RE:	January 26, 2023, Open Meeting – Item No. 34

Project No. 54445 – CY 2023 Review of Rules Adopted by the Independent Organization (Discussion and possible action)

Before the Commission are six new Nodal Protocol Revision Requests (NPRR), two Nodal Operating Guide Revision Requests (NOGRR), one System Change Request (SCR), one Other Binding Document Revisions Request (OBDRR), and one Resource Registration Glossary Revision Request (RRGRR) passed through the stakeholder process by the Technical Advisory Committee (TAC) and approved by the Electric Reliability Council of Texas (ERCOT) Board of Directors (Board) at their December 20, 2022 meeting. The Board Report and ERCOT Impact Analysis for the above revisions were filed in this project on January 6, 2023. These documents are intended to provide an overview describing each revision. Commission Staff recommends approval of each of these items.

Revision Requests with no opposition at TAC:

- NPRR1128, Allow FFR Procurement up to FFR Limit Without Proration. This NPRR sets a -$0.01 per MW lower Ancillary Service Offer floor for Fast Frequency Response (FFR) Responsive Reserve (RRS) rather than for other RRS categories, thereby allowing, depending on relative Ancillary Service Offers, FFR procurement up to the current FFR limit without proration with other RRS categories in the Ancillary Service procurement process.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1128 and believes the market impact for NPRR1128 provides reliability benefits by implementing a preference for FFR procurement specifically during certain times of year when low levels of inertia on the ERCOT System are more common. |
| Sponsor | HUNT Energy Network |

- NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions. This NPRR specifies that during local cold weather conditions, each Qualified Scheduling Entity (QSE) must update its Generation Resources’ and Energy Storage Resources’ (ESRs’) Current Operating Plan (COP), Real-Time telemetry, and Outage and derate reporting to reflect any cold-weather limitations.  This NPRR also requires each Resource Entity to provide Resource-specific cold weather minimum temperature limits, hot weather maximum temperature limits, and alternate fuel capability information in its Resource Registration data submitted pursuant to Planning Guide Section 6.8.2, Resource Registration Process, and update this information as necessary.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1132 and believes the market impact for NPRR1132 fulfills NERC Reliability Standards IRO-010-4 and TOP-003-5 for cold weather conditions, which will become effective April 1, 2023, and further supplements data specifications to include hot weather maximum temperature and information concerning fuel capabilities. |
| Sponsor | ERCOT |

- RRGRR032, Related to NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions. This RRGRR adds data required to be shared with the ERCOT as the Reliability Coordinator, Balancing Authority, and Transmission Operator for use in considering cold weather limitations in its Operational Planning Analysis, Real-Time monitoring, Real-Time assessments, and other analysis functions.  ERCOT is requiring this information for cold and hot weather limitations.  ERCOT is requiring Distributed Generation Resources (DGRs) and Distributed Energy Storage Resources (DESRs) to provide this information.  ERCOT is also listing alternate fuel supply information to aid in the same analysis described above.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | N/A |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed RRGRR032 and believes the market impact for RRGRR032 fulfills NERC Reliability Standards IRO-010-4 and TOP-003-5 which will become effective April 1, 2023, and further supplements data specifications to include hot weather maximum temperature and information concerning fuel capabilities. |
| Sponsor | ERCOT |

- NPRR 1138, Communication of Capability and Status of Online IRRs at 0 MW Output. This NPRR requires each Resource Entity to ensure the reactive capability curve for any Intermittent Renewable Resource (IRR) accurately reflects the IRR’s reactive capability when it is not providing real power or is operating at lower levels of real power output.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1138 and believes it provides a positive reliability impact toward current Real-Time operational issues by requiring each Resource Entity to ensure that the reactive capability curve, AVR status, and unit status for any IRR accurately reflect the IRR’s reactive capability when it is not providing real power or is operating at lower levels of real power output |
| Sponsor | ERCOT |

- NPRR 1148, Language Cleanup Related to ERCOT Contingency Reserve Service. This NPRR addresses Protocol gaps found during the creation of the ECRS system change requirements.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1148 and believes the market impact for NPRR1148 properly reconciles Protocol language with the upcoming system implementation of ECRS. |
| Sponsor | ERCOT |

- OBDRR043, Related to NPRR1148, Language Cleanup Related to ERCOT Contingency Reserve Service (ECRS). These revisions are needed to reconcile Other Binding Document language with the expected system implementation of ERCOT Contingency Reserve Service (ECRS).  These revisions do not add any additional scope to the ECRS effort.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed OBDRR043 and believes the market impact for OBDRR043 properly reconciles Other Binding Document language with the upcoming system implementation of ECRS |
| Sponsor | ERCOT |

- NPRR1152, Remove Requirements to Submit Emergency Operations Plans, Weatherization Plans, and Declarations of Summer/Winter Weather Preparedness. To align with the implementation of 16 TAC §§ 25.53 and 25.55, this NPRR:

  - Removes the Protocol requirements to submit emergency operations plans (EOPs), weatherization plans, and declarations of summer/winter weather preparedness to align with Commission rules requiring submission of such information to ERCOT.

  - Revises procedures for submitting to ERCOT declarations of natural gas pipeline coordination for Resource Entities with natural gas Generation Resources.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | 16 TAC §§ 25.53 and 25.55 |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1152 and believes the market impact for NPRR1152 properly aligns the Protocols with applicable PUCT Substantive Rules concerning EOPs, weatherization plans, declarations of summer/winter weather preparedness, and declarations of natural gas pipeline coordination. |
| Sponsor | ERCOT |

- NPRR1154, Include Alternate Resource in the Availability Plan for the Firm Fuel Supply Service. This NPRR updates language to allow for a qualified alternate Resource to be considered in the calculation of the availability reduction factor for the Firm Fuel Supply Service Resource (FFSSR). Additionally, this NPRR provides a new Settlement billing determinant that will provide the Firm Fuel Supply Service Award Amount per Qualified Scheduling Entity (QSE) per FFSSR by hour.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | Project No. 52373 Phase 1 Blueprint |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1154 and believes the market impact for NPRR1154 provides additional flexibility to FFSSRs without compromising the quality of the FFSS provided. |
| Sponsor | LCRA |

- NOGRR226, Addition of Supplemental UFLS Stages- This NOGRR adds provisions for Transmission Operator (TO) “anti-stall” automatic firm Load shedding at 59.5 Hz in order to improve reliability by mitigating the risk of a total system-wide blackout.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NOGRR226 and believes that the addition of supplemental anti-stall Under-Frequency Load Shed (UFLS) stages that are set to operate whenever frequency drops below 59.5 Hz with a certain time delay provides a positive market impact that will, in the event of a slow frequency decline, address the mismatch issue between generator under-frequency protection that occurs at 59.4 Hz and standard UFLS that triggers at 59.3 Hz. |
| Sponsor | LCRA |

- NOGRR243, Implementation of Seasonal Load Shed Tables – URGENT- This NOGRR modifies the Load shed table to include separate Load shed obligations for the winter and summer Seasons to align with Senate Bill 3 directives.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | N/A |
| Related Commission/Legislative Directive | SB 3, 87th Legislature |
| TAC Opposition | None |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NOGRR243 and believes the market impact for NOGRR243 aligns the ERCOT Load shed obligation tables with the requirements established in Senate Bill 3. |
| Sponsor | “Joint TOs”: CenterPoint Energy Houston Electric (CEHE); AEP Service Corporation (AEPSC); Texas-New Mexico Power (TNMP) |

- SCR820, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR)- This SCR allows at the option of the Transmission and/or Distribution Service Provider (TDSP), Voltage Set Point target information to be provided to a Distribution Generation Resource (DGR) or a Distribution Energy Storage Resource (DESR) installation.

| Staff Recommendation | Approve |
| --- | --- |
| Board Action | Unanimously approved |
| Related Commission/Legislative Directive | N/A |
| TAC Opposition | None; three abstentions from the IOU Segment (Oncor, TNMP, CNP) |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed SCR821 and believes the market impact for SCR821 will allow TDSPs the option to provide automated, uniform Voltage Set Point target information to DGRs and DESRs |
| Sponsor | American Electric Power Service Corporation |

Please find attached a proposed order for your consideration consistent with Commission Staff’s recommendations in this memo.

Notice of Recommended Approval of Revision Requests by TAC and ERCOT Board of Directors, AIS Item No. 2.

Per ERCOT Nodal Operating Guide 1.3.3.10 ERCOT Board Vote   NOGRRs that do not require an ERCOT project for implementation are not subject to Board approval.