## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.texas.gov/agency/rulesnlaws/subrules/electric/25.52/25.52.pdf
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.texas.gov/agency/rulesnlaws/statutes/Pura15.pdf
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Xcel Energy
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 363
Due: |  | February 14, 2023
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 54467
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
David Smithson
Infrastructure & Reliability Division
Commission Staff
Voice: | 512 936 7156
Fax: | 512 936 7328
E-mail: | david.smithson@puc.texas.gov

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2022 Reporting Year
Xcel Energy
Project 54467
.

## System-SAIFI
Xcel Energy
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2022 | 0.78292 | 0.048242 | 0.048406 | 0.06073 | 0.066931 | 0.1651 | 0.092958 | 0.12943 | 0.043352 | 0.024448 | 0.034155 | 0.016472 | 0.052699
Scheduled
2022 | 0.032256 | 0.00095548 | 0.00086338 | 0.0022391 | 0.00043664 | 0.00059984 | 0.01719 | 0.004243 | 0.00056385 | 0.0016422 | 0.00016631 | 0.0024848 | 0.00087165
Outside Causes
2022 | 0.16034 | 0.0016559 | 0.0023429 | 0.02758 | 0.0018984 | 0.025273 | 0.035043 | 0.020272 | 0.03617 | 0.0018352 | 0.0082666 | 0 | 0
Major Events
2022 | 0.12936 | 0 | 0 | 0.12936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## System-SAIDI
Xcel Energy
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2022 | 84.7592 | 3.8707 | 4.0436 | 6.0502 | 7.9955 | 18.0669 | 11.3276 | 16.2387 | 4.7846 | 1.9659 | 2.896 | 1.769 | 5.7506
Scheduled
2022 | 2.8005 | 0.1174 | 0.032945 | 0.30288 | 0.035144 | 0.078323 | 1.068 | 0.22612 | 0.077651 | 0.29615 | 0.013276 | 0.46002 | 0.092602
Outside Causes
2022 | 18.981 | 0.013247 | 0.48191 | 2.5451 | 0.11391 | 2.8979 | 5.7475 | 3.3832 | 2.5364 | 0.34705 | 0.9147 | 0 | 0
Major Events
2022 | 57.7906 | 0 | 0 | 57.7906 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 363
Add or Delete Rows as Necessary
Xcel Energy
2022 SAIFI Ranking | 2021 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2022 SAIFI Value
1 | 129 | Exell | EXEL1238 | 152 | 5.3026
2 | 88 | Dalhart | DALH1664 | 96 | 4.5833
3 | 167 | Whiteface | WHITLV210 | 149 | 4.4094
4 | 4 | Channing | CHAN1564 | 29 | 3.9655
5 | 192 | Wade | WADE1B025 | 30 | 3.8
6 | 134 | Hereford | HERE2D50 | 788 | 3.5127
7 | 34 | Aiken Rural | AIKRLA110 | 121 | 3.3967
8 | 13 | Lipscomb | LPSB2580 | 1041 | 3.3324
9 | 40 | Allred | ALLRS140 | 104 | 3.3077
10 | 56 | Dumas 19th Street | DU191470 | 2168 | 3.3054
11 | 218 | Conway | CONW5005 | 1653 | 3.2753
12 | 275 | Pringle | PROF1B075 | 200 | 3.275
13 | 151 | Conway | CONW5010 | 1525 | 3.2682
14 | 49 | Etter Rural | ETTR5405 | 641 | 3.2449
15 | 75 | Roberts County | ROBE7065 | 99 | 3.2424
16 | 158 | Lehman | LEHMLV510 | 71 | 3.2394
17 | 16 | Texas Farms | TXFA1125 | 197 | 3.2132
18 | New | Four Way | FWAY1A110 | 98 | 3.1939
19 | 327 | Allred | ALLRS180 | 274 | 2.7956
20 | 102 | Kiser | KISRP965 | 767 | 2.7784
21 | 119 | Hart | HARTHA110 | 118 | 2.6356
22 | 28 | Tokio | TOKIS800 | 78 | 2.6026
23 | 159 | Littlefield South | LITSLI120 | 218 | 2.6009
24 | 63 | Kingsmill | KING5115 | 105 | 2.5333
25 | 249 | Farwell | FARWFA620 | 77 | 2.4805
26 | 294 | Southeast | SOEA5C80 | 356 | 2.3904
27 | 91 | Dawn | DAWN5A35 | 494 | 2.3563
28 | 71 | Moss | MOSS6540 | 320 | 2.3312
29 | 293 | McCullough | MCCU7002 | 1245 | 2.2635
30 | 230 | Kress Rural | KRERKR110 | 344 | 2.2616
31 | 58 | Roxana | ROXA2334 | 99 | 2.2121
32 | 234 | Sherman County | SHER1456 | 1151 | 2.2033
33 | 166 | Kress Rural | KRERKR140 | 142 | 2.1761
34 | 142 | County Line | COLICL110 | 13 | 2.1538
35 | 111 | Outpost | OUTP2A060 | 175 | 2.1314
36 | New | Tenneco | TENNS605 | 128 | 2.1172
37 | New | Four Way | FWAY1A115 | 18 | 2.1111
38 | 35 | Herring | HERR1434 | 1201 | 2.1082
39 | 298 | Amherst | AMHEAM620 | 352 | 2.0682
40 | 85 | Brownfield | BROW6580 | 302 | 2.0662
41 | 149 | Highland Park | HIGH5335 | 1067 | 2.0337
42 | 22 | Canyon West | CANW7128 | 919 | 1.9967
43 | 188 | Hillside | HILS2B035 | 1200 | 1.9967
44 | 131 | Sunset | SUNS1A030 | 594 | 1.9697
45 | 20 | Dalhart | DALH1580 | 409 | 1.9389
46 | 250 | Garza | GARZ6520 | 424 | 1.9269
47 | 179 | Highland Park | HIGH5325 | 284 | 1.8345
48 | 152 | Vega | VEGA5195 | 910 | 1.8242
49 | 121 | Dalhart | DALH114 | 145 | 1.7931
50 | 108 | Lipscomb | LPSB1E40 | 221 | 1.7828
51 | 306 | Slaton | SLATSL140 | 572 | 1.7517
52 | 135 | Doss | DOSSS495 | 1118 | 1.6843
53 | 57 | Cedar Lake East | CEDES910 | 25 | 1.68
54 | 288 | Outpost | OUTP2A055 | 1494 | 1.662
55 | 126 | Spearman Int | SPEX1512 | 1000 | 1.64
56 | 187 | Dalhart | DALH1246 | 1884 | 1.6162
57 | 53 | Tenneco | TENNS440 | 89 | 1.6067
58 | 2 | Pringle | PRIN1E15 | 503 | 1.5885
59 | 163 | Weatherly | WEAT1350 | 1472 | 1.5802
60 | 33 | Wildorado | WILD2018 | 228 | 1.5614
61 | 148 | Olton | OLTOSO180 | 570 | 1.5368
62 | 14 | Carson County | CARS7030 | 169 | 1.5325
63 | 165 | Springlake | SPRISO150 | 255 | 1.5216
64 | 104 | Kingsmill | KING5100 | 97 | 1.5052
65 | 177 | Kiser | KISRP970 | 1573 | 1.501
66 | 308 | 34th Street | 34ST5B95 | 1676 | 1.4517
67 | 222 | Garza | GARZPO120 | 342 | 1.4386
68 | 241 | Friona Rural | FRIO2436 | 1734 | 1.4354
69 | 32 | Doss | DOSS6660 | 993 | 1.434
70 | 251 | Riverview | RIVER100 | 251 | 1.4223
71 | 162 | Osage | OSAG6040 | 2516 | 1.4165
72 | 329 | Dimmitt East | DIMEDI180 | 433 | 1.388
73 | 197 | Osage | OUTP2A050 | 603 | 1.3698
74 | 285 | Roberts County | ROBE7090 | 495 | 1.3677
75 | 227 | Arrowhead | ARRO5D80 | 603 | 1.3532
76 | 46 | Southeast | SOEA5C85 | 2730 | 1.3403
77 | 208 | Hastings | HAST7086 | 1052 | 1.3384
78 | 109 | South Georgia | SGEO5B40 | 1950 | 1.3369
79 | 67 | McCullough | MCCU5085 | 1067 | 1.3327
80 | 128 | Kingsmill | KING5105 | 316 | 1.3259
81 | 161 | Pierce | PIER5B10 | 928 | 1.3222
82 | 190 | Levelland City | LEVCLV180 | 2281 | 1.3157
83 | 229 | Manhattan | MANH7164 | 1664 | 1.3149
84 | 184 | Middleton | MIDDLV820 | 61 | 1.2951
85 | 10 | Springcreek | SPRI1320 | 123 | 1.2683
86 | 244 | La Plata | LAPL2D65 | 2747 | 1.2556
87 | 283 | 34th Street | 34ST5B85 | 1056 | 1.2472
88 | 69 | South Floydada | SFLO3551 | 98 | 1.2449
89 | 232 | Spearman | SPEA302 | 581 | 1.2169
90 | 97 | Whitaker | WHIT5270 | 2750 | 1.2127
91 | 304 | Plainview South | PLVSP220 | 555 | 1.209
92 | 266 | Plainview West | PLVWP110 | 1453 | 1.2065
93 | 5 | Lockney Rural | LOCRLA140 | 63 | 1.2063
94 | 127 | Arrowhead | ARRO5D85 | 2433 | 1.2051
95 | 322 | Muleshoe Valley | MULVMR155 | 1186 | 1.2007
96 | 256 | West Anton | WANT3502 | 636 | 1.1918
97 | 228 | Slaton | SLAT6690 | 860 | 1.1826
98 | 15 | Plant X | PLAXX310 | 668 | 1.1707
99 | 180 | Pierce | PIER5B00 | 1021 | 1.1685
100 | 47 | Hendrick | HEND6685 | 1068 | 1.1629
101 | 341 | Pringle | PROF1B065 | 82 | 1.1585
102 | 225 | Dawn | DAWN5A40 | 39 | 1.1538
103 | 101 | Carlisle | CARL6650 | 952 | 1.1523
104 | 150 | Palo Duro | PALO1C35 | 1277 | 1.1488
105 | 174 | Doss | DOSSS400 | 1026 | 1.1404
106 | 280 | Industrial | INDU1412 | 1071 | 1.1214
107 | 332 | 34th Street | 34ST2B45 | 2063 | 1.1212
108 | 300 | Morton | MORTM130 | 848 | 1.105
109 | 196 | White Deer | WHDR2C035 | 742 | 1.0984
110 | 296 | Prentice | PRENS875 | 31 | 1.0968
111 | 81 | Herring | HERR1438 | 100 | 1.09
112 | 154 | Tuco | TUCON412 | 749 | 1.0841
113 | 289 | Coble | COBLLV835 | 251 | 1.0837
114 | 273 | Pacific | PACILV930 | 12 | 1.0833
115 | 98 | Parmer County | PARM2465 | 43 | 1.0698
116 | 330 | Spearman | SPEA402 | 376 | 1.0612
117 | 258 | Levelland East | LEVELV950 | 1590 | 1.0591
118 | 95 | Lockney Rural | LOCR3421 | 18 | 1.0556
119 | 147 | Roxana | ROXA2076 | 390 | 1.0513
120 | 30 | Lynn | LYNN6340 | 629 | 1.0477
121 | 276 | Sudan Rural | SUDRSR110 | 21 | 1.0476
122 | 316 | Plainview North | PLVNP270 | 157 | 1.0318
123 | 321 | Canadian | CANA325 | 392 | 1.0281
124 | 337 | Sudan Rural | SUDRSR120 | 505 | 1.0198
125 | 319 | Puckett West | PUCW5C35 | 2317 | 1.0108
126 | 242 | East Plant | EPLAA122 | 2040 | 1.0034
127 | 240 | Brisco | BRIS3457 | 14 | 1
128 | 357 | Texaco | TEXALV980 | 22 | 1
129 | 191 | East Plant | EPLAA118 | 2852 | 0.99194
130 | 238 | Lawrence Park | LAWR5315 | 971 | 0.97528
131 | 297 | Littlefield City | LITCLI620 | 91 | 0.96703
132 | 117 | Lake Meredith | LAKM2B55 | 50 | 0.96
133 | 209 | Riverview | RIVER090 | 21 | 0.95238
134 | 175 | South Georgia | SGEO2342 | 998 | 0.93888
135 | 282 | Irick | IRICIB120 | 63 | 0.93651
136 | 303 | Hillside | HILS2B05 | 833 | 0.92437
137 | 48 | Pacific | PACILV940 | 76 | 0.92105
138 | 233 | Moore Co | MOORM060 | 219 | 0.91324
139 | 205 | Plainview West | PLVWP130 | 831 | 0.87485
140 | 271 | Hale Center | HACTHR145 | 506 | 0.86561
141 | 164 | Channing | CHAN1675 | 509 | 0.84872
142 | 170 | Fritch | FRIT1364 | 1921 | 0.84123
143 | 185 | Wildorado | WILD2014 | 386 | 0.83679
144 | 44 | Bowers | BOWE5090 | 130 | 0.83077
145 | 83 | Coburn Creek | CNCK1B25 | 147 | 0.82313
146 | 204 | McLean Rural | MCLE5300 | 830 | 0.8012
147 | 80 | Lehman | LEHMLV500 | 228 | 0.77632
148 | 19 | Farmers | FARM5395 | 1742 | 0.7721
149 | 26 | Allmon | ALLMAT120 | 697 | 0.75323
150 | 116 | Kress Rural | KRERKR120 | 129 | 0.75194
151 | 50 | Cherry | CHER5C10 | 1874 | 0.7492
152 | 349 | Burnett | BURN1394 | 47 | 0.74468
153 | 8 | Kingsmill | KING5110 | 253 | 0.73913
154 | 292 | Van Buren | VANB7044 | 1218 | 0.73071
155 | 3 | White Deer | WHDR2C030 | 11 | 0.72727
156 | 267 | Fritch | FRIT1360 | 928 | 0.72629
157 | 99 | Westridge | WRIDP460 | 579 | 0.72021
158 | 70 | Adobe Creek | ADOB1115 | 92 | 0.70652
159 | 137 | Levelland City | LEVCLV190 | 1214 | 0.70428
160 | 237 | Pullman | PULL2A40 | 230 | 0.69565
161 | 60 | Weatherly | WEAT1354 | 889 | 0.68616
162 | 172 | Doss | DOSS6670 | 1622 | 0.67694
163 | 31 | Dumas 19th Street | DU191371 | 1293 | 0.64811
164 | 157 | Hereford | HERE2D45 | 1758 | 0.63879
165 | 23 | Hastings | HAST7078 | 3566 | 0.63012
166 | 265 | Whitaker | WHIT5260 | 1775 | 0.62423
167 | 66 | Springcreek | SPRI1316 | 331 | 0.62236
168 | 118 | Monroe | MONR6610 | 475 | 0.61895
169 | 133 | Perryton | PERR1235 | 1655 | 0.59698
170 | 312 | Fain | FAIN1105 | 99 | 0.58586
171 | 132 | Canyon West | CANW7124 | 2304 | 0.58464
172 | 194 | Doss | DOSSS410 | 338 | 0.57692
173 | 287 | Western Street | WSST2D025 | 885 | 0.57062
174 | 84 | Buffalo | BUFF5165 | 205 | 0.56585
175 | 24 | Moore Co | MOORM065 | 956 | 0.56485
176 | 221 | Kite | KITE5075 | 1258 | 0.55485
177 | 124 | Etter Rural | ETTR5410 | 879 | 0.5438
178 | 18 | Lockney Rural | LOCRLA150 | 84 | 0.53571
179 | 65 | Seminole Interchange | SEMX6E00 | 1458 | 0.49931
180 | 236 | Estacado | ESTA5D65 | 2234 | 0.49463
181 | 335 | Western Street | WSST2D020 | 1102 | 0.49093
182 | 141 | Dumas 19th Street | DU191498 | 76 | 0.47368
183 | 54 | Moore Co | MOORM055 | 68 | 0.47059
184 | 82 | Dumas 19th Street | DU191367 | 1913 | 0.46837
185 | 87 | Curry County Interchange | CURX3635 | 508 | 0.46457
186 | 38 | Lawrence Park | LAWR5030 | 1598 | 0.46245
187 | 168 | Plainview North | PLVNP260 | 721 | 0.46186
188 | 220 | Riley | RILES500 | 59 | 0.45763
189 | 74 | Sherman County | SHER1448 | 20 | 0.45
190 | 61 | Plainview South | PLVSP210 | 143 | 0.44755
191 | 89 | Boardman | BOARS430 | 25 | 0.44
192 | 211 | Moss | MOSS6320 | 1249 | 0.43795
193 | 171 | Spring Draw | SPRD2C80 | 1982 | 0.43138
194 | 12 | East Plant | EPLAA110 | 955 | 0.42932
195 | 77 | Carson County | CARS7034 | 54 | 0.42593
196 | 42 | Brisco | BRIS3434 | 483 | 0.41201
197 | 6 | Channing | CHAN1568 | 61 | 0.40984
198 | 125 | Bush | BUSH5205 | 490 | 0.40612
199 | 270 | Slaton | SLAT6600 | 1169 | 0.40034
200 | 59 | Bowers | BOWE2057 | 568 | 0.39613
201 | 356 | Sunset | SUNS5D35 | 48 | 0.39583
202 | 182 | Irick | IRICIB110 | 108 | 0.38889
203 | 55 | Bennett | BENNS345 | 1061 | 0.38831
204 | 203 | Boardman | BOARS560 | 176 | 0.38636
205 | 140 | Perryton | PERR1230 | 811 | 0.38101
206 | 290 | Hunsley | HUNS2B115 | 827 | 0.37606
207 | 43 | Buffalo | BUFF2215 | 475 | 0.37263
208 | 79 | Hendrick | HEND6675 | 1121 | 0.36931
209 | 64 | Denver City East | DENES100 | 1015 | 0.35862
210 | 183 | West Borger | WBOR1A10 | 1215 | 0.35556
211 | 239 | Wellman | WELLS755 | 247 | 0.34818
212 | 27 | Hastings | HAST7082 | 998 | 0.34469
213 | 72 | Manhattan | MANH5135 | 703 | 0.33855
214 | 235 | Vickers | VICK6680 | 1777 | 0.33765
215 | 45 | Van Buren | VANB7048 | 344 | 0.3343
216 | 145 | Bennett | BENNS365 | 69 | 0.33333
217 | 37 | Elwood | ELWOLV140 | 66 | 0.33333
218 | 29 | Happy | HAPP7040 | 411 | 0.33333
219 | 215 | Garza | GARZ6500 | 799 | 0.33292
220 | 320 | Hart | HARTHA120 | 553 | 0.33092
221 | 195 | West Borger | WBOR1A20 | 1307 | 0.31982
222 | 181 | Howard | HOWA2480 | 626 | 0.31949
223 | 255 | Lake Meredith | LAKM2B65 | 36 | 0.30556
224 | 352 | Kingsmill | KING1B80 | 23 | 0.30435
225 | 78 | Hastings | HAST7074 | 1490 | 0.29396
226 | 224 | Van Buren | VANB7194 | 92 | 0.29348
227 | 76 | Denver City East | DENES110 | 906 | 0.29249
228 | 136 | Burnett | BURN1398 | 87 | 0.28736
229 | 213 | Cherry | CHER5C15 | 1728 | 0.28125
230 | 202 | 34th Street | 34ST5B90 | 907 | 0.27563
231 | 210 | Riverview | RIVER095 | 437 | 0.2746
232 | 248 | Spearman | SPEA401 | 355 | 0.26197
233 | 41 | Happy | HAPP2326 | 280 | 0.24643
234 | 11 | Sunset | SUNS5D40 | 1532 | 0.24347
235 | 231 | South Georgia | SGEO2346 | 1113 | 0.24079
236 | 169 | Kite | KITE5B80 | 1115 | 0.24036
237 | 36 | Sherman County | SHER1452 | 50 | 0.24
238 | 214 | South Georgia | SGEO2338 | 3400 | 0.23971
239 | 201 | Lawrence Park | LAWR5025 | 1799 | 0.23902
240 | 17 | Muleshoe West | MULWMR130 | 197 | 0.23858
241 | 206 | Kite | KITE7106 | 638 | 0.23824
242 | 263 | Lawrence Park | LAWR5275 | 1261 | 0.23711
243 | 105 | Dimmitt East | DIMEDI150 | 881 | 0.2361
244 | 339 | Hillside | HILS2B045 | 1030 | 0.23204
245 | 344 | Hunsley | HUNS2B110 | 469 | 0.22601
246 | 254 | Westridge | WRIDP450 | 1509 | 0.22399
247 | 333 | Muleshoe Valley | MULVMR150 | 483 | 0.22153
248 | 25 | Spring Draw | SPRD2C70 | 991 | 0.21998
249 | 123 | Zavala | ZAVALV780 | 14 | 0.21429
250 | 245 | Van Buren | VANB7198 | 1605 | 0.21308
251 | 216 | Hillside | HILS2B040 | 181 | 0.20994
252 | 21 | Yellowhouse | YELLLV900 | 24 | 0.20833
253 | 345 | Hunsley | HUNS2B105 | 915 | 0.20546
254 | 315 | Levelland East | LEVELV960 | 1091 | 0.20532
255 | 217 | Lyons | LYON5C25 | 1853 | 0.20399
256 | 198 | Soncy | SONC7020 | 409 | 0.20049
257 | 199 | Van Buren | VANB7046 | 3226 | 0.19994
258 | 176 | Lyons | LYON5C20 | 1474 | 0.19946
259 | 114 | Bush | BUSH5210 | 1876 | 0.19776
260 | 207 | Coulter | COUL5290 | 1495 | 0.19465
261 | 155 | Tuco | TUCON404 | 799 | 0.19274
262 | 274 | Farmers | FARM5390 | 1657 | 0.19191
263 | 173 | Springlake | SPRISO140 | 190 | 0.18947
264 | 144 | Plainview East | PLVEP180 | 288 | 0.1875
265 | 259 | Howard | HOWA2485 | 406 | 0.18719
266 | 247 | Manhattan | MANH7160 | 1226 | 0.18271
267 | 156 | Dalhart | DALH1298 | 2115 | 0.18156
268 | 246 | Canyon West | CANW5160 | 919 | 0.17954
269 | 278 | Garza | GARZPO110 | 489 | 0.17791
270 | 112 | Lynn | LYNN6300 | 836 | 0.17105
271 | 73 | Lawrence Park | LAWR5050 | 1198 | 0.16945
272 | 100 | Plainview South | PLVSP230 | 578 | 0.16782
273 | 299 | Perryton | PERR1530 | 1554 | 0.15959
274 | 301 | Soncy | SONC5130 | 725 | 0.15586
275 | 178 | Canyon East | CANE5185 | 527 | 0.1537
276 | 284 | Estacado | ESTA5D20 | 1920 | 0.15104
277 | 110 | Dimmitt South | DIMSDI120 | 345 | 0.15072
278 | 212 | Vega | VEGA5170 | 74 | 0.14865
279 | 268 | Plainview East | PLVEP160 | 319 | 0.14734
280 | 279 | McCullough | MCCU7005 | 1517 | 0.14436
281 | 226 | Pierce | PIER5B05 | 968 | 0.14256
282 | 39 | Lockney Rural | LOCR3417 | 922 | 0.141
283 | 9 | Seminole Interchange | SEMX6E10 | 449 | 0.14031
284 | 115 | Morton | MORTM120 | 150 | 0.14
285 | 107 | Olton | OLTOSO170 | 668 | 0.13922
286 | 193 | Farmers | FARM5385 | 662 | 0.13595
287 | 343 | Riley | RILES510 | 139 | 0.1295
288 | 252 | Estacado | ESTA5D60 | 2003 | 0.12681
289 | 354 | Levelland City | LEVCLV520 | 154 | 0.12338
290 | 302 | Parmer County | PARM2475 | 844 | 0.11967
291 | 96 | Bennett | BENNS290 | 134 | 0.1194
292 | 138 | South Floydada | SFLO3547 | 327 | 0.11927
293 | 286 | Canyon East | CANE5190 | 2158 | 0.11909
294 | 186 | Hale Center | HACTHR110 | 657 | 0.1172
295 | 257 | Plainview West | PLVWP120 | 220 | 0.10909
296 | 139 | Middleton | MIDDLV810 | 37 | 0.10811
297 | 334 | Farwell | FARWFA610 | 333 | 0.10511
298 | 92 | Lawrence Park | LAWR5020 | 1534 | 0.1043
299 | 323 | Puckett West | PUCW5C30 | 749 | 0.1028
300 | 93 | Industrial | INDU1416 | 894 | 0.098434
301 | 291 | Littlefield City | LITCLI610 | 295 | 0.094915
302 | 113 | Dimmitt South | DIMSDI110 | 368 | 0.092391
303 | 262 | Western Street | WSST2D015 | 1162 | 0.092083
304 | 281 | Dumas 19th Street | DU191175 | 1439 | 0.088256
305 | 311 | Exell | EXEL1242 | 80 | 0.0875
306 | 277 | Estacado | ESTA5D10 | 2412 | 0.087479
307 | 68 | Perryton | PERR1535 | 428 | 0.084112
308 | 342 | Canadian | CANA340 | 445 | 0.083146
309 | 153 | Osage | OSAG6065 | 1818 | 0.083058
310 | 189 | Littlefield City | LITCLI640 | 440 | 0.081818
311 | 336 | Whiteface | WHITLV220 | 262 | 0.080153
312 | 130 | Bowers | BOWE2053 | 53 | 0.075472
313 | 106 | Littlefield West | LITWLI156 | 253 | 0.075099
314 | 318 | Canadian | CANA335 | 295 | 0.074576
315 | 200 | La Plata | LAPL2D70 | 1553 | 0.070831
316 | 347 | Amherst | AMHEAM610 | 29 | 0.068966
317 | 223 | Estacado | ESTA5D15 | 718 | 0.068245
318 | 338 | Coulter | COUL5285 | 1235 | 0.066397
319 | 317 | Muleshoe West | MULWMR140 | 671 | 0.065574
320 | 346 | Bush | BUSH5215 | 1381 | 0.06517
321 | 331 | Dalhart | DALH108 | 272 | 0.0625
322 | 243 | Russell | RUSSS385 | 113 | 0.061947
323 | 307 | Slaton | SLATSL150 | 470 | 0.061702
324 | 309 | Spearman | SPEA301 | 440 | 0.061364
325 | 146 | Murphy | MURP7535 | 1970 | 0.060914
326 | 143 | Osage | OSAG6060 | 148 | 0.060811
327 | 52 | Flanagan | FLANS550 | 139 | 0.057554
328 | 253 | East Plant | EPLAA126 | 658 | 0.054711
329 | 353 | Lariat | LARIMR110 | 57 | 0.052632
330 | 358 | Whitaker | WHIT5265 | 58 | 0.051724
331 | 103 | Southland | SOUTSO110 | 98 | 0.05102
332 | 326 | Coburn Creek | CNCK1B30 | 45 | 0.044444
333 | 120 | South Georgia | SGEO5B35 | 546 | 0.042125
334 | 264 | Kingsmill | KING5095 | 50 | 0.04
335 | 313 | Van Buren | VANB7190 | 53 | 0.037736
336 | 219 | Higg East | HGEA6A05 | 58 | 0.034483
337 | New | Callahan | CA105 | 94 | 0.031915
338 | 260 | Lynn | LYNN6510 | 257 | 0.031128
339 | 355 | Puckett West | PUCW5C60 | 130 | 0.030769
340 | 261 | Canadian | CANA350 | 265 | 0.030189
341 | 94 | Lipscomb | LPSB1E50 | 486 | 0.028807
342 | 90 | Littlefield South | LITSLI110 | 1590 | 0.027044
343 | 269 | Spring Draw | SPRD2C75 | 1465 | 0.024573
344 | 295 | Littlefield City | LITCLI630 | 90 | 0.022222
345 | 272 | Jaybee | JAYBS765 | 58 | 0.017241
346 | 325 | Coulter | COUL5280 | 838 | 0.013126
347 | 324 | Whitharral | WHITLV710 | 83 | 0.012048
348 | 160 | Soncy | SONC7024 | 1251 | 0.01199
349 | New | Kiser | KISRP960 | 1274 | 0.010204
350 | 340 | Estacado | ESTA5D70 | 727 | 0.002751
351 | 314 | Hillside | HILS2B15 | 1686 | 0.0011862
352 | 310 | Adair | ADAIS790 | 16 | 0
353 | 348 | Bainer | BAINBA601 | 13 | 0
354 | New | Callahan | CA110 | 60 | 0
355 | New | Centerpoint | CTPT2D130 | 71 | 0
356 | 51 | Dalhart | DALH106 | 36 | 0
357 | 1 | Dalhart | DALH116 | 48 | 0
358 | 350 | Damron | DAMR5365 | 10 | 0
359 | 351 | Hillside | HILS2B10 | 898 | 0
360 | 122 | South Georgia | SGEO5B30 | 597 | 0
361 | 62 | Soncy | SONC7116 | 70 | 0
362 | 305 | Sunset | SUNS1A035 | 54 | 0
363 | New | West Borger | WBOR1A15 | 10 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 363
Add or Delete Rows as Necessary
Xcel Energy
2022 SAIDI Ranking | 2021 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2022 SAIDI Value
1 | 7 | Channing | CHAN1564 | 29 | 1600.2069
2 | 229 | Pringle | PROF1B075 | 200 | 1339.3435
3 | 75 | Dalhart | DALH1664 | 96 | 1303.6724
4 | 112 | Exell | EXEL1238 | 152 | 1224.9661
5 | 151 | Wade | WADE1B025 | 30 | 860.859
6 | 98 | Lehman | LEHMLV510 | 71 | 852.3049
7 | 35 | Texas Farms | TXFA1125 | 197 | 577.6898
8 | 144 | Conway | CONW5010 | 1525 | 569.3438
9 | 20 | Lipscomb | LPSB2580 | 1041 | 522.9956
10 | 83 | Moss | MOSS6540 | 320 | 500.1296
11 | 33 | Roxana | ROXA2334 | 99 | 491.2445
12 | 82 | Roberts County | ROBE7065 | 99 | 453.4342
13 | 55 | Tokio | TOKIS800 | 78 | 451.3404
14 | 51 | Herring | HERR1434 | 1201 | 441.2409
15 | 169 | Whiteface | WHITLV210 | 149 | 431.9454
16 | 10 | Cedar Lake East | CEDES910 | 25 | 417.3084
17 | 5 | Lockney Rural | LOCRLA140 | 63 | 377.7143
18 | 65 | Kingsmill | KING5115 | 105 | 369.2624
19 | 11 | Carson County | CARS7030 | 169 | 364.519
20 | 204 | Dalhart | DALH114 | 145 | 356.5793
21 | 135 | Sunset | SUNS1A030 | 594 | 347.1526
22 | 103 | Vega | VEGA5195 | 910 | 346.9362
23 | 273 | Southeast | SOEA5C80 | 356 | 343.6447
24 | 80 | Spearman Int | SPEX1512 | 1000 | 340.8392
25 | 17 | Aiken Rural | AIKRLA110 | 121 | 332.4298
26 | 349 | Burnett | BURN1394 | 47 | 331.5183
27 | 200 | Tenneco | TENNS440 | 89 | 325.4
28 | 41 | Herring | HERR1438 | 100 | 302.7573
29 | 201 | Weatherly | WEAT1350 | 1472 | 295.9252
30 | 125 | County Line | COLICL110 | 13 | 294.2
31 | 45 | Allred | ALLRS140 | 104 | 286.3113
32 | 340 | Dimmitt East | DIMEDI180 | 433 | 285.7921
33 | 3 | Pringle | PRIN1E15 | 503 | 285.5554
34 | 23 | Etter Rural | ETTR5405 | 641 | 278.1604
35 | New | Four Way | FWAY1A110 | 98 | 275.8504
36 | 267 | Pringle | PROF1B065 | 82 | 275.0366
37 | 248 | Outpost | OUTP2A060 | 175 | 272.0459
38 | 230 | Arrowhead | ARRO5D80 | 603 | 270.938
39 | 105 | Lipscomb | LPSB1E40 | 221 | 269.1572
40 | 256 | Slaton | SLAT6690 | 860 | 269.0585
41 | 9 | Springcreek | SPRI1320 | 123 | 267.5249
42 | 175 | Littlefield South | LITSLI120 | 218 | 267.0297
43 | 188 | Conway | CONW5005 | 1653 | 264.6529
44 | 119 | Dawn | DAWN5A35 | 494 | 264.6491
45 | 97 | Whitaker | WHIT5270 | 2750 | 255.8353
46 | 118 | Highland Park | HIGH5335 | 1067 | 251.8124
47 | 202 | Osage | OUTP2A050 | 603 | 244.3758
48 | 86 | South Floydada | SFLO3551 | 98 | 244.1171
49 | 44 | Coburn Creek | CNCK1B25 | 147 | 243.7011
50 | 186 | Riverview | RIVER100 | 251 | 243.3374
51 | 223 | Sherman County | SHER1456 | 1151 | 235.9451
52 | 173 | Highland Park | HIGH5325 | 284 | 232.5807
53 | 127 | Arrowhead | ARRO5D85 | 2433 | 230.9209
54 | 101 | Hart | HARTHA110 | 118 | 228.5007
55 | 96 | Brownfield | BROW6580 | 302 | 221.1513
56 | 59 | Burnett | BURN1398 | 87 | 218.7356
57 | 15 | Parmer County | PARM2465 | 43 | 212.0233
58 | 13 | Lehman | LEHMLV500 | 228 | 204.8089
59 | 295 | Roberts County | ROBE7090 | 495 | 201.4143
60 | 37 | Hendrick | HEND6685 | 1068 | 199.0041
61 | 43 | Dalhart | DALH1580 | 409 | 197.2091
62 | 146 | Hereford | HERE2D50 | 788 | 195.1679
63 | 50 | Channing | CHAN1675 | 509 | 194.6594
64 | 232 | Farwell | FARWFA620 | 77 | 194.3766
65 | 69 | Wildorado | WILD2018 | 228 | 189.5897
66 | 131 | Doss | DOSSS495 | 1118 | 188.0869
67 | 38 | Plant X | PLAXX310 | 668 | 185.4874
68 | 321 | Spearman | SPEA402 | 376 | 181.617
69 | 130 | Wildorado | WILD2014 | 386 | 177.3189
70 | 160 | Pierce | PIER5B10 | 928 | 170.2824
71 | 36 | Lake Meredith | LAKM2B55 | 50 | 169.6476
72 | 327 | Canadian | CANA325 | 392 | 168.4074
73 | 16 | White Deer | WHDR2C030 | 11 | 166.7273
74 | 107 | Bennett | BENNS365 | 69 | 165.5438
75 | 322 | Allred | ALLRS180 | 274 | 157.1805
76 | 154 | Hillside | HILS2B035 | 1200 | 156.565
77 | 224 | Doss | DOSSS400 | 1026 | 152.7622
78 | 170 | Pierce | PIER5B00 | 1021 | 152.6085
79 | 199 | Middleton | MIDDLV820 | 61 | 150.3418
80 | 147 | McCullough | MCCU5085 | 1067 | 147.4648
81 | 252 | Pacific | PACILV930 | 12 | 145.4667
82 | 159 | Kiser | KISRP965 | 767 | 144.684
83 | 177 | Springlake | SPRISO150 | 255 | 143.2649
84 | 306 | Amherst | AMHEAM620 | 352 | 142.819
85 | 311 | Irick | IRICIB120 | 63 | 142.0159
86 | 249 | Prentice | PRENS875 | 31 | 141.7419
87 | New | Tenneco | TENNS605 | 128 | 140.0808
88 | 155 | Riverview | RIVER090 | 21 | 137.9524
89 | 167 | Hastings | HAST7086 | 1052 | 136.0661
90 | 203 | Riley | RILES500 | 59 | 135.7251
91 | 29 | Bowers | BOWE5090 | 130 | 134.1601
92 | 158 | Osage | OSAG6040 | 2516 | 132.0048
93 | 226 | Moore Co | MOORM060 | 219 | 131.2155
94 | 114 | Roxana | ROXA2076 | 390 | 129.4126
95 | 61 | Canyon West | CANW7128 | 919 | 128.319
96 | 241 | Garza | GARZ6520 | 424 | 127.7836
97 | 217 | Manhattan | MANH7164 | 1664 | 126.8018
98 | 264 | Kress Rural | KRERKR110 | 344 | 122.6584
99 | 74 | Kingsmill | KING5105 | 316 | 121.1101
100 | 34 | Adobe Creek | ADOB1115 | 92 | 120.8625
101 | 253 | 34th Street | 34ST5B85 | 1056 | 120.7854
102 | 265 | 34th Street | 34ST5B95 | 1676 | 120.6097
103 | 126 | Cherry | CHER5C10 | 1874 | 120.2682
104 | 48 | Springcreek | SPRI1316 | 331 | 119.9815
105 | New | Four Way | FWAY1A115 | 18 | 118.4111
106 | 288 | Coble | COBLLV835 | 251 | 118.205
107 | 21 | Kingsmill | KING5110 | 253 | 116.1298
108 | 297 | Plainview South | PLVSP220 | 555 | 115.1596
109 | 132 | Fritch | FRIT1364 | 1921 | 111.5476
110 | 137 | Carlisle | CARL6650 | 952 | 111.1382
111 | 357 | Texaco | TEXALV980 | 22 | 109
112 | 111 | Kress Rural | KRERKR120 | 129 | 108.7913
113 | 287 | Plainview West | PLVWP130 | 831 | 108.2741
114 | 56 | Doss | DOSS6660 | 993 | 107.5877
115 | 58 | Pacific | PACILV940 | 76 | 107.1059
116 | 319 | McCullough | MCCU7002 | 1245 | 105.1168
117 | 309 | Fain | FAIN1105 | 99 | 104.3652
118 | 68 | Dumas 19th Street | DU191371 | 1293 | 103.0767
119 | 283 | Levelland East | LEVELV950 | 1590 | 100.6613
120 | 314 | 34th Street | 34ST2B45 | 2063 | 100.6322
121 | 286 | Littlefield City | LITCLI620 | 91 | 99.6044
122 | 88 | Allmon | ALLMAT120 | 697 | 98.4433
123 | 285 | Hillside | HILS2B05 | 833 | 98.3454
124 | 180 | McLean Rural | MCLE5300 | 830 | 98.3216
125 | 238 | Estacado | ESTA5D65 | 2234 | 96.5241
126 | 6 | Happy | HAPP7040 | 411 | 96.1497
127 | 234 | Dawn | DAWN5A40 | 39 | 95.8949
128 | 66 | Farmers | FARM5395 | 1742 | 95.186
129 | 115 | Kingsmill | KING5100 | 97 | 93.7072
130 | 168 | Garza | GARZPO120 | 342 | 93.4454
131 | 313 | Slaton | SLATSL140 | 572 | 92.7475
132 | 205 | La Plata | LAPL2D65 | 2747 | 92.6299
133 | 254 | Spearman | SPEA302 | 581 | 92.3567
134 | 243 | Friona Rural | FRIO2436 | 1734 | 91.4299
135 | 257 | Lawrence Park | LAWR5315 | 971 | 90.1527
136 | 85 | Hastings | HAST7078 | 3566 | 89.7679
137 | 76 | Southeast | SOEA5C85 | 2730 | 89.7077
138 | 174 | Tuco | TUCON412 | 749 | 89.0309
139 | 129 | Olton | OLTOSO180 | 570 | 88.0263
140 | 62 | Curry County Interchange | CURX3635 | 508 | 86.2857
141 | 161 | Dalhart | DALH1246 | 1884 | 86.2654
142 | 250 | Fritch | FRIT1360 | 928 | 82.4448
143 | 14 | Lockney Rural | LOCRLA150 | 84 | 82.1045
144 | 235 | Whitaker | WHIT5260 | 1775 | 81.7343
145 | 212 | Kiser | KISRP970 | 1573 | 81.693
146 | 145 | Hereford | HERE2D45 | 1758 | 81.561
147 | 325 | Muleshoe Valley | MULVMR155 | 1186 | 81.2906
148 | 31 | Carson County | CARS7034 | 54 | 80.3994
149 | 255 | East Plant | EPLAA122 | 2040 | 79.952
150 | 335 | Western Street | WSST2D020 | 1102 | 79.4288
151 | 18 | Sherman County | SHER1452 | 50 | 78.88
152 | 26 | Hendrick | HEND6675 | 1121 | 75.8843
153 | 302 | Hale Center | HACTHR145 | 506 | 75.4437
154 | 93 | Dumas 19th Street | DU191470 | 2168 | 74.1519
155 | 266 | Slaton | SLAT6600 | 1169 | 73.851
156 | 60 | Weatherly | WEAT1354 | 889 | 73.1393
157 | 30 | Bowers | BOWE2057 | 568 | 73.0046
158 | 94 | Perryton | PERR1235 | 1655 | 71.7736
159 | 291 | Hunsley | HUNS2B115 | 827 | 71.0627
160 | 67 | Plainview South | PLVSP210 | 143 | 69.805
161 | 153 | Riverview | RIVER095 | 437 | 69.2513
162 | 221 | Levelland City | LEVCLV190 | 1214 | 69.1325
163 | 301 | Plainview West | PLVWP110 | 1453 | 68.7176
164 | 165 | Levelland City | LEVCLV180 | 2281 | 67.3762
165 | 24 | Moore Co | MOORM055 | 68 | 66.6684
166 | 63 | Monroe | MONR6610 | 475 | 66.167
167 | 179 | Garza | GARZ6500 | 799 | 65.9867
168 | 99 | Canyon West | CANW7124 | 2304 | 65.2953
169 | 8 | Channing | CHAN1568 | 61 | 64.1148
170 | 183 | Westridge | WRIDP460 | 579 | 63.8144
171 | 196 | South Georgia | SGEO5B40 | 1950 | 63.6258
172 | 166 | White Deer | WHDR2C035 | 742 | 62.8642
173 | 312 | Western Street | WSST2D025 | 885 | 62.6271
174 | 171 | Kress Rural | KRERKR140 | 142 | 62.0704
175 | 124 | Palo Duro | PALO1C35 | 1277 | 61.9791
176 | 4 | Sherman County | SHER1448 | 20 | 61.838
177 | 71 | Manhattan | MANH5135 | 703 | 61.1332
178 | 332 | Puckett West | PUCW5C35 | 2317 | 59.6457
179 | 53 | Moore Co | MOORM065 | 956 | 59.5581
180 | 318 | Plainview North | PLVNP270 | 157 | 57.0191
181 | 211 | South Georgia | SGEO2342 | 998 | 56.052
182 | 113 | Buffalo | BUFF5165 | 205 | 55.9847
183 | 164 | Irick | IRICIB110 | 108 | 55.213
184 | 181 | Spring Draw | SPRD2C80 | 1982 | 54.9603
185 | 194 | Cherry | CHER5C15 | 1728 | 54.4751
186 | 277 | Outpost | OUTP2A055 | 1494 | 53.41
187 | 290 | Sudan Rural | SUDRSR110 | 21 | 52.5714
188 | 90 | East Plant | EPLAA110 | 955 | 52.3382
189 | 78 | Lawrence Park | LAWR5030 | 1598 | 51.9584
190 | 352 | Kingsmill | KING1B80 | 23 | 51.8261
191 | 32 | Sunset | SUNS5D40 | 1532 | 49.9743
192 | 121 | Dumas 19th Street | DU191498 | 76 | 49.7926
193 | 356 | Sunset | SUNS5D35 | 48 | 49.4792
194 | 303 | Van Buren | VANB7044 | 1218 | 49.3084
195 | 296 | Morton | MORTM130 | 848 | 49.2339
196 | 284 | Industrial | INDU1412 | 1071 | 49.066
197 | 214 | East Plant | EPLAA118 | 2852 | 47.5117
198 | 219 | Moss | MOSS6320 | 1249 | 47.476
199 | 187 | Doss | DOSS6670 | 1622 | 46.4961
200 | 236 | Kite | KITE5075 | 1258 | 44.5634
201 | 156 | Perryton | PERR1230 | 811 | 44.3586
202 | 73 | Brisco | BRIS3434 | 483 | 43.7281
203 | 331 | Hillside | HILS2B045 | 1030 | 43.6224
204 | 100 | Buffalo | BUFF2215 | 475 | 43.4265
205 | 87 | Hastings | HAST7082 | 998 | 42.7972
206 | 84 | Bush | BUSH5205 | 490 | 41.6935
207 | 108 | Seminole Interchange | SEMX6E00 | 1458 | 41.4292
208 | 195 | Lake Meredith | LAKM2B65 | 36 | 41.4025
209 | 189 | Pullman | PULL2A40 | 230 | 40.9798
210 | 139 | Dumas 19th Street | DU191367 | 1913 | 40.8946
211 | 269 | South Georgia | SGEO2346 | 1113 | 40.7924
212 | 89 | Spring Draw | SPRD2C70 | 991 | 40.2098
213 | 220 | South Georgia | SGEO2338 | 3400 | 39.2364
214 | 46 | Van Buren | VANB7048 | 344 | 36.9448
215 | 275 | Hillside | HILS2B040 | 181 | 36.1823
216 | 77 | Bennett | BENNS345 | 1061 | 36.1696
217 | 326 | Hart | HARTHA120 | 553 | 36.1633
218 | 148 | Etter Rural | ETTR5410 | 879 | 34.7587
219 | 54 | Hastings | HAST7074 | 1490 | 34.7577
220 | 92 | Zavala | ZAVALV780 | 14 | 34.0714
221 | 27 | Happy | HAPP2326 | 280 | 33.9745
222 | 150 | Boardman | BOARS430 | 25 | 33.08
223 | 191 | Boardman | BOARS560 | 176 | 32.2631
224 | 109 | Middleton | MIDDLV810 | 37 | 31.9189
225 | 263 | West Borger | WBOR1A20 | 1307 | 31.728
226 | 233 | Wellman | WELLS755 | 247 | 31.6843
227 | 206 | 34th Street | 34ST5B90 | 907 | 31.4079
228 | 240 | Doss | DOSSS410 | 338 | 31.0805
229 | 22 | Elwood | ELWOLV140 | 66 | 30.8324
230 | 142 | Van Buren | VANB7194 | 92 | 30.7609
231 | 81 | Denver City East | DENES100 | 1015 | 29.8789
232 | 209 | West Borger | WBOR1A10 | 1215 | 29.8465
233 | 239 | Farmers | FARM5390 | 1657 | 29.1153
234 | 227 | Lawrence Park | LAWR5275 | 1261 | 28.8415
235 | 47 | Lockney Rural | LOCR3421 | 18 | 27.3156
236 | 176 | Plainview North | PLVNP260 | 721 | 27.1014
237 | 117 | Denver City East | DENES110 | 906 | 27.0164
238 | 149 | Spearman | SPEA401 | 355 | 26.2701
239 | 52 | Lynn | LYNN6300 | 836 | 25.6321
240 | 28 | Lockney Rural | LOCR3417 | 922 | 25.3664
241 | 225 | Lawrence Park | LAWR5025 | 1799 | 25.2136
242 | 304 | West Anton | WANT3502 | 636 | 24.8236
243 | 185 | Howard | HOWA2480 | 626 | 24.7863
244 | 337 | Muleshoe Valley | MULVMR150 | 483 | 24.7607
245 | 40 | Muleshoe West | MULWMR130 | 197 | 24.1218
246 | 213 | Canyon West | CANW5160 | 919 | 23.9271
247 | 294 | Soncy | SONC5130 | 725 | 23.799
248 | 218 | Vega | VEGA5170 | 74 | 23.6466
249 | 339 | Hunsley | HUNS2B110 | 469 | 22.9083
250 | 333 | Exell | EXEL1242 | 80 | 22.75
251 | 222 | Estacado | ESTA5D60 | 2003 | 22.3635
252 | 278 | Sudan Rural | SUDRSR120 | 505 | 22.2646
253 | 242 | Van Buren | VANB7198 | 1605 | 22.255
254 | 141 | Kite | KITE5B80 | 1115 | 22.1488
255 | 140 | Dalhart | DALH1298 | 2115 | 21.8193
256 | 163 | Tuco | TUCON404 | 799 | 21.3567
257 | 190 | Springlake | SPRISO140 | 190 | 21.0316
258 | 293 | Howard | HOWA2485 | 406 | 20.9903
259 | 251 | Vickers | VICK6680 | 1777 | 20.0804
260 | 95 | Dimmitt East | DIMEDI150 | 881 | 20.0119
261 | 70 | Olton | OLTOSO170 | 668 | 19.1494
262 | 79 | Lawrence Park | LAWR5050 | 1198 | 19.1016
263 | 197 | Coulter | COUL5290 | 1495 | 18.5887
264 | 346 | Hunsley | HUNS2B105 | 915 | 17.989
265 | 280 | Perryton | PERR1530 | 1554 | 17.462
266 | 104 | Dimmitt South | DIMSDI120 | 345 | 17.0635
267 | 231 | Bush | BUSH5210 | 1876 | 16.9051
268 | 270 | Kite | KITE7106 | 638 | 16.8265
269 | 2 | Yellowhouse | YELLLV900 | 24 | 16.5417
270 | 72 | Morton | MORTM120 | 150 | 16.5355
271 | 271 | Estacado | ESTA5D20 | 1920 | 16.5039
272 | 307 | Canadian | CANA335 | 295 | 16.4068
273 | 261 | Lyons | LYON5C25 | 1853 | 16.2104
274 | 207 | Van Buren | VANB7046 | 3226 | 16.1563
275 | 120 | South Floydada | SFLO3547 | 327 | 16.0118
276 | 274 | Garza | GARZPO110 | 489 | 15.9467
277 | 330 | Levelland East | LEVELV960 | 1091 | 15.7888
278 | 143 | Industrial | INDU1416 | 894 | 15.6826
279 | 282 | Estacado | ESTA5D10 | 2412 | 15.485
280 | 182 | Lawrence Park | LAWR5020 | 1534 | 15.1703
281 | 228 | Manhattan | MANH7160 | 1226 | 14.3611
282 | 25 | Bennett | BENNS290 | 134 | 14.0237
283 | 259 | McCullough | MCCU7005 | 1517 | 13.6109
284 | 198 | Lyons | LYON5C20 | 1474 | 13.5638
285 | 345 | Bush | BUSH5215 | 1381 | 13.3191
286 | 272 | Plainview East | PLVEP160 | 319 | 13.2822
287 | 192 | Hale Center | HACTHR110 | 657 | 13.2374
288 | 268 | Westridge | WRIDP450 | 1509 | 12.9364
289 | 178 | Farmers | FARM5385 | 662 | 12.8663
290 | 49 | Seminole Interchange | SEMX6E10 | 449 | 12.6226
291 | 110 | Plainview East | PLVEP180 | 288 | 12.5136
292 | 246 | Soncy | SONC7020 | 409 | 12.0978
293 | 355 | Puckett West | PUCW5C60 | 130 | 11.7846
294 | 106 | Plainview South | PLVSP230 | 578 | 11.7778
295 | 157 | La Plata | LAPL2D70 | 1553 | 11.6216
296 | 136 | Perryton | PERR1535 | 428 | 11.3762
297 | 292 | Canyon East | CANE5190 | 2158 | 10.7493
298 | 308 | Spearman | SPEA301 | 440 | 10.7143
299 | 354 | Levelland City | LEVCLV520 | 154 | 10.6722
300 | 123 | Canyon East | CANE5185 | 527 | 10.3365
301 | 12 | Lynn | LYNN6340 | 629 | 9.8264
302 | 215 | Western Street | WSST2D015 | 1162 | 9.7823
303 | 341 | Farwell | FARWFA610 | 333 | 9.7808
304 | 334 | Muleshoe West | MULWMR140 | 671 | 9.7566
305 | 122 | Osage | OSAG6060 | 148 | 9.5676
306 | 310 | Littlefield City | LITCLI610 | 295 | 9.0586
307 | 329 | Whiteface | WHITLV220 | 262 | 8.7829
308 | 344 | Riley | RILES510 | 139 | 8.2518
309 | 281 | Dumas 19th Street | DU191175 | 1439 | 8.1577
310 | 247 | Brisco | BRIS3457 | 14 | 7.97
311 | 128 | Murphy | MURP7535 | 1970 | 7.9427
312 | 102 | Bowers | BOWE2053 | 53 | 7.9245
313 | 298 | Parmer County | PARM2475 | 844 | 7.5409
314 | 320 | Slaton | SLATSL150 | 470 | 7.4859
315 | 172 | Osage | OSAG6065 | 1818 | 7.4412
316 | 315 | Puckett West | PUCW5C30 | 749 | 7.4176
317 | 336 | Coburn Creek | CNCK1B30 | 45 | 7.4
318 | 353 | Lariat | LARIMR110 | 57 | 7.2281
319 | 193 | Pierce | PIER5B05 | 968 | 7.0147
320 | 358 | Whitaker | WHIT5265 | 58 | 6.6379
321 | 152 | Littlefield West | LITWLI156 | 253 | 6.5652
322 | 260 | East Plant | EPLAA126 | 658 | 6.5369
323 | 134 | Dimmitt South | DIMSDI110 | 368 | 6.2283
324 | New | Callahan | CA105 | 94 | 5.6243
325 | 324 | Dalhart | DALH108 | 272 | 5.6079
326 | 57 | Flanagan | FLANS550 | 139 | 5.4388
327 | 208 | South Georgia | SGEO5B35 | 546 | 5.2826
328 | 245 | Kingsmill | KING5095 | 50 | 5.28
329 | 39 | Southland | SOUTSO110 | 98 | 5.0408
330 | 342 | Canadian | CANA340 | 445 | 4.987
331 | 184 | Russell | RUSSS385 | 113 | 4.8113
332 | 347 | Amherst | AMHEAM610 | 29 | 4.6552
333 | 216 | Estacado | ESTA5D15 | 718 | 4.568
334 | 317 | Van Buren | VANB7190 | 53 | 4
335 | 138 | Littlefield South | LITSLI110 | 1590 | 3.7503
336 | 328 | Plainview West | PLVWP120 | 220 | 3.6727
337 | 133 | Lipscomb | LPSB1E50 | 486 | 3.6605
338 | 258 | Spring Draw | SPRD2C75 | 1465 | 3.6414
339 | 237 | Littlefield City | LITCLI640 | 440 | 3.4369
340 | 299 | Littlefield City | LITCLI630 | 90 | 3.1861
341 | 289 | Lynn | LYNN6510 | 257 | 3.1206
342 | 244 | Canadian | CANA350 | 265 | 3.0424
343 | 300 | Coulter | COUL5280 | 838 | 2.9928
344 | 64 | Higg East | HGEA6A05 | 58 | 2.7853
345 | 323 | Coulter | COUL5285 | 1235 | 2.2113
346 | 316 | Whitharral | WHITLV710 | 83 | 2.0723
347 | 262 | Jaybee | JAYBS765 | 58 | 1.5793
348 | 162 | Soncy | SONC7024 | 1251 | 1.3739
349 | 343 | Estacado | ESTA5D70 | 727 | 0.53232
350 | New | Kiser | KISRP960 | 1274 | 0.47291
351 | 305 | Hillside | HILS2B15 | 1686 | 0.16074
352 | 276 | Adair | ADAIS790 | 16 | 0
353 | 348 | Bainer | BAINBA601 | 13 | 0
354 | New | Callahan | CA110 | 60 | 0
355 | New | Centerpoint | CTPT2D130 | 71 | 0
356 | 91 | Dalhart | DALH106 | 36 | 0
357 | 1 | Dalhart | DALH116 | 48 | 0
358 | 350 | Damron | DAMR5365 | 10 | 0
359 | 351 | Hillside | HILS2B10 | 898 | 0
360 | 210 | South Georgia | SGEO5B30 | 597 | 0
361 | 116 | Soncy | SONC7116 | 70 | 0
362 | 279 | Sunset | SUNS1A035 | 54 | 0
363 | New | West Borger | WBOR1A15 | 10 | 0

## Causes
Xcel Energy
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2022 Reporting Year
Table 1
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning)* | 10.27%
|  | Vegetation | 0.6631%
|  | Animals and Birds | 4.626%
|  | People (Including cars and farm equip) | 11.1%
|  | Utility-owned Equipment** | 59.22%
|  | Other | 4.691%
|  | Unknown | 9.425%
* Interruptions caused by weather events not resulting in equipment damage (i.e. lightning, falling ice)
** Iterruptions due to damaged or failed equipment, though the cause for the damage or failure is often the result of weather or other outside factors.
Table 2
| Weather Codes of Forced Interruptions |  | Percentage for System | Percentage for Utility-owned Equipment***
|  | Rain and Lightning | 11.65% | 19.67%
|  | Wind | 11.6% | 19.59%
|  | Rain | 2.796% | 4.721%
|  | Extreme Cold | 2.632% | 4.444%
|  | Extreme Heat/Humidity | 0.7697% | 1.3%
|  | Icing | 0.3337% | 0.5635%
|  | Lightning | 0.3119% | 0.5267%
|  | Wind & Lightning | 2.836% | 4.789%
|  | Snow | 0.5856% | 0.9888%
|  | Fog | 0.1652% | 0.2789%
|  | Tornado | 0% | 0%
|  | Frost | 0.156% | 0.2634%
|  | Hail | 0.01841% | 0.03108%
|  | Sleet | 0.004844% | 0.008179%
|  | Fair | 25.36% | 42.82%
***Utility owned equipment accounted for 59.22% of all forced interruptions as shown in Table 1. Of that subset of forced interruptions attributed to Utility-owned equipment, 57.2% occurred during weather conditions that can contribute to equipment failure.