TO:		Margaux Fox, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	March 10, 2023

RE:	Docket No. 54546 – Application of Texas Water Utilities, LP and Woodland Oaks Utility LP for Sale, Transfer, or Merger of Facilities and Certificate Rights in Montgomery County

On January 4, 2023, Texas Water Utilities, LP (Texas Water) and the Woodland Oaks Utility LP (Woodland Oaks) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Montgomery County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Texas Water, Certificate of Convenience and Necessity (CCN) Water CCN No. 12983 and Sewer CCN No. 20899, seeks approval to acquire facilities and to transfer a portion of the water and sewer certificated service area from Woodland Oaks under water CCN No. 12947 and sewer CCN No. 20880.

In addition to the transfer request, Woodland Oaks Utility, LP requests to change the name on its CCN Nos. 12947 and 20880 from Woodland Oaks Utility Company, Inc. to Woodland Oaks Utility, LP. A Certificate of Conversion was filed with the Texas Secretary of State by Woodland Oaks Utility Company, Inc. on September 28, 2009. Woodland Oaks Utility Company, Inc. has been operating as Woodland Oaks Utility, LP since that time.

On March 9, 2023, the Applicants filed a request for waiver of publication notice under 16 TAC § 24.239(c)(4), because the requested water and sewer areas do not include unserved area.

Based on the mapping review by Hank Journeay, Infrastructure Division, the digital mapping data submitted with Item 4 on January 9, 2023 and revised maps submitted with Item 11 on February 8, 2023, are sufficient. Additionally, the requested water area and requested sewer area do not include unserved area, such that 16 TAC § 24.239(c)(4) applies. As such, I do not oppose the waiver request.

Requested Water Area

- The requested water area includes 1,251 customer connections and approximately 884 acres of transferred area from Woodland Oaks (CCN No. 12947) to Texas Water (CCN No. 12983).

- The application proposes the subtraction of approximately 884 acres from CCN No. 12947 and the addition of approximately 884 acres to CCN No. 12983.

Requested Sewer Area

- The requested sewer area includes 1,291 customer connections and approximately 737.6 acres of transferred area from Woodland Oaks (CCN No. 20880) to Texas Water (CCN No. 20899).

- The application proposes the subtraction of approximately 737.6 acres from CCN No. 20880 and the addition of approximately 737.6 acres to CCN No. 20899.

Based on the mapping review and my technical and managerial review of the additional information filed on February 8, 2023, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Aqua Texas Inc. (CCN Nos. 13203 and 21065)

- Everett Square Inc. (CCN No. 12831)

- H-M-W Special Utility District (SUD) (CCN No. 10342)

- Montgomery County Municipal Utility District (MUD) 46

- Montgomery County MUD 47

- Montgomery County MUD 113

- Montgomery County MUD 121

- Montgomery County MUD 141

- Montgomery Place Water System (CCN No. 12639)

- MSEC Enterprises Inc. (CCN No. 12887)

- Quadvest LP (CCN No. 11612)

- San Jacinto River Authority

- T & W Water Service Company (CCN No. 12892)

- Undine Texas LLC (CCN No. 13260)

- Westwood Magnolia Parkway Improvement District

- Westwood North WSC (CCN No. 11599)

  - The county judge of each county that is wholly or partially included in the requested area:

- Montgomery County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Lone Star Groundwater Conservation District

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice form.

- Provide a copy of the maps deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket one copy of the notice and the maps deemed sufficient during administrative review, along with the signed affidavit specifying every person and entity to whom notice was provided, and the date that the notice was provided.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Texas Water and Woodland Oaks.  Texas Water and Woodland Oaks will have 20 days from the receipt of the RFI to respond.