TO:		Margaux Fox, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	June 6, 2023

RE:	Docket No. 54546 – Application of Texas Water Utilities, LP and Woodland Oaks Utility LP for Sale, Transfer, or Merger of Facilities and Certificate Rights and for a Name Change to Certificates of Convenience and Necessity in Montgomery County

1.	Application

Texas Water Utilities, LP (Texas Water) and the Woodland Oaks Utility LP (Woodland Oaks) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Montgomery County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Texas Water, Certificate of Convenience and Necessity (CCN) Water CCN No. 12983 and Sewer CCN No. 20899, seeks approval to acquire facilities and to transfer a portion of the water and sewer certificated service area from Woodland Oaks under water CCN No. 12947 and sewer CCN No. 20880.

In addition to the transfer request, Woodland Oaks Utility, LP requests to change the name on its CCN Nos. 12947 and 20880 from Woodland Oaks Utility Company, Inc. to Woodland Oaks Utility, LP. A Certificate of Conversion was filed with the Texas Secretary of State by Woodland Oaks Utility Company, Inc. on September 28, 2009. Woodland Oaks Utility Company, Inc. has been operating as Woodland Oaks Utility, LP since that time.

Based on the mapping review by Hank Journeay, Infrastructure Division:

Requested Water Area

- The requested water area includes 1,251 customer connections and approximately 884 acres of transferred area from Woodland Oaks (CCN No. 12947) to Texas Water (CCN No. 12983).

- The application proposes the subtraction of approximately 884 acres from CCN No. 12947 and the addition of approximately 884 acres to CCN No. 12983.

Requested Sewer Area

- The requested sewer area includes 1,291 customer connections and approximately 737.6 acres of transferred area from Woodland Oaks (CCN No. 20880) to Texas Water (CCN No. 20899).

- The application proposes the subtraction of approximately 737.6 acres from CCN No. 20880 and the addition of approximately 737.6 acres to CCN No. 20899.

2.	Notice

Texas Water provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was April 24, 2023; OPUC filed a motion to intervene, which was granted on February 1, 2023 in Order No. 2.  There were no protests or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Woodland Oaks has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as Woodland Oaks Subdivision, PWS ID No. 1700648, and wastewater treatment plant (WWTP) registered as Woodland Oaks Utility LP, Wastewater Discharge Permit No. WQ0014-166001.  The last TCEQ compliance investigation of the Woodland Oaks Subdivision water system was on November 18, 2021.  The last TCEQ compliance investigation of the Woodland Oaks Utility LP sewer system was on July 7, 2021.  Woodland Oaks has 3 violations listed in the TCEQ database that have since been resolved.  The Commission’s complaint records, which date back 5 years, show 22 complaints against Woodland Oaks.  All the complaints have been reviewed and closed by the Commission’s Customer Protection Division.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 1,251 water and 1,291 sewer existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Texas Water will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Texas Water will have qualified TCEQ licensed operators licensed in water treatment to run the acquired systems.

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Texas Water will have qualified TCEQ licensed operators licensed in wastewater treatment to run the acquired systems.

Texas Water will have licensed operators to run the system operations.  A Class C operator will be the responsible operator for the system.

Texas Water has the ability to provide adequate service in the requested area.  Texas Water has several TCEQ approved public water systems and wastewater treatment plants.  The Commission’s complaint records, which date back 5 years, show 34 complaints against Texas Water.  All the complaints have been reviewed and closed by the Commission’s Customer Protection Division.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Texas Water to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Woodland Oaks is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7. 	An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

Texas Water is proposing to make improvements to the Woodland Oaks Subdivision’s water and sewer system.  The proposed capital improvements are expected to exceed $100,000, therefore the need for firm capital commitment under 16 TAC § 24.11(e)(5) is required.

The Rate Regulation Division will be addressing the need for firm capital commitment criterion in a separate memo.

3.8.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.10.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.11.	Consideration of the initial rates for certain water or sewer systems after purchase or acquisition (TWC § 13.3011).

As allowed by the statute, Texas Water has requested that the customers’ water rates be changed to match Texas Water’s currently effective approved rates for the Cedar Springs MHP subdivision.  Texas Water’s currently approved rates have been in effect since November 15, 2022.  The application was deemed administratively complete on March 13, 2023.  A rate comparison worksheet is provided showing the saving benefit to the customers by allowing Woodland Oaks to be added to the rate tariff for Cedar Springs MHP which is billed in phases, slowly changing each year until it reaches Texas Water Utilities current approved overall rates.

3.12.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will be higher than the current water rates for the Woodland Oaks Subdivision.  The sewer rates will remain the same as the current rates for the Woodland Oaks Subdivision customers.  Reliability and quality of water service is expected to improve under Texas Water’s management.

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Due to a probable improvement of service approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Woodland Oaks for the customers being served by Woodland Oaks Subdivision. I further recommend that a public hearing is not necessary.

Attachment 1 – Texas Water Utilities “main” rate pages

In Order No. 5 filed on March 13, 2023, the administrative law judge found the application administratively complete.

Attachment 2 – Woodland Oaks water rate pages

Attachment 3 – Texas Water Utilities Cedar Springs MHP rate pages

Attachment 4 – Texas Water Utilities and Woodland Oaks water rate comparison worksheets

Attachment 5 – Woodland Oaks sewer rate pages