TO:		Scott Miles, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	February 5, 2024

RE:	Docket No. 54546 – Application of Texas Water Utilities, LP and Woodland Oaks Utility LP for Sale, Transfer, or Merger of Facilities and Certificate Rights and for a Name Change to Certificates of Convenience and Necessity in Montgomery County

1.	Application

Texas Water Utilities, LP (TWU) and the Woodland Oaks Utility LP (Woodland Oaks) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Montgomery County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, TWU, Certificate of Convenience and Necessity (CCN) Water CCN No. 12983 and Sewer CCN No. 20899, seeks approval to acquire facilities and to transfer a portion of the water and sewer certificated service area from Woodland Oaks under water CCN No. 12947 and sewer CCN No. 20880.

In addition to the transfer request, Woodland Oaks Utility, LP requests to change the name on its CCN Nos. 12947 and 20880 from Woodland Oaks Utility Company, Inc. to Woodland Oaks Utility, LP. A Certificate of Conversion was filed with the Texas Secretary of State by Woodland Oaks Utility Company, Inc. on September 28, 2009. Woodland Oaks Utility Company, Inc. has been operating as Woodland Oaks Utility, LP since that time.

2.  Capital Improvement Plan

An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area, keyed to a map where such facilities will be located to provide service (TWC § 13.244(d)(3)and 16 TAC § 24.233(a)(6)).

TWU is building new water and sewer treatment plants to provide service to the requested area.

TWU provided a capital improvement plan that included a budget, an estimated timeline for construction, and a keyed map showing where facilities will be located.

3.  Recommendation

Based on my technical and managerial review, I recommend that TWU’s capital improvement plan is sufficient and complies with TWC § 13.244(d)(3) and 16 TAC § 24.233(a)(6).