SOAH DOCKET NO. 473-24-13127

PUC DOCKET NO. 54617

| APPLICATION OF TEXAS WATER UTILITIES, LP AND SOUTHERN HORIZONS DEVELOPMENT, INC. FOR SALE, TRANSFER, OR MERGER OF FACILITIES AND CERTIFICATE RIGHTS IN LIBERTY AND MONTGOMERY COUNTIES | § § § § § § § | BEFORE THE STATE OFFICE OF ADMINISTRATIVE HEARINGS |
| --- | --- | --- |

##### DIRECT TESTIMONY OF JAMES HARVILLE

INFRASTRUCTURE DIVISION

PUBLIC UTILITY COMMISSION OF TEXAS

MAY 30, 2024

TABLE OF CONTENTS

I.	STATEMENT OF QUALIFICATIONS	3

II.	PURPOSE OF TESTIMONY	4

III.	REVIEW OF THE APPLICATION	5

V.	RECOMMENDATION	14

ATTACHMENTS

Attachment JH-1 Resume of James Harville

Attachment JH-2 Rate Comparison

# I.	STATEMENT OF QUALIFICATIONS

Q.	Please state your name, occupation and business address.

A.	My name is James Harville. I am employed by the Public Utility Commission of Texas (Commission) as an Infrastructure Analyst in the Infrastructure Division. My business address is 1701 N. Congress Avenue, Austin, TX 78711-3326.

Q.	Please briefly outline your educational and professional background.

A.	My current role at the Commission includes analyzing and reviewing fuel factor applications, energy efficiency cost recovery applications, service area exception and boundary change applications, and each category of water and sewer CCN and STM applications or petitions.

My Educational Background includes a Bachelor of Science degree in Geosciences and Geographic Information Systems from Texas Tech University. Prior to my employment with the Commission, my professional experience consisted of working as a Natural Resource Specialist for the Texas Commission on Environmental Quality (TCEQ) in the Water Supply Division, and as a Senior Analyst for American Bureau of Shipping. A copy of my professional resume is included as Attachment JH-1.

Q.	Have you previously testified or provided memoranda in lieu of testimony before this Commission?

A.	Yes. I have previously filed direct testimony in Docket Nos. 53677, 54674, 55088, and 55390.

# II.	PURPOSE OF TESTIMONY

Q.	What is the purpose of your testimony?

A.	 The purpose of my testimony is to present my review and associated recommendations regarding the application of Texas Water Utilities, LP (Texas Water) and Southern Horizons Development, Inc. (Southern Horizons) for Sale, Transfer, or Merger of Facilities and Certificate Rights in Liberty and Montgomery Counties.

Q.	Please explain the scope of your participation in the present proceeding.

A.	I reviewed and analyzed the application of Texas Water and Southern Horizons for Sale, Transfer, or Merger of Facilities and Certificate Rights in Liberty and Montgomery Counties under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Q.	Have any parties filed a motion to intervene or requested a hearing in this proceeding?

A.	On March 16, 2023, a motion to intervene was filed by the Office of Public Utility Counsel (OPUC) and was granted. On May 16 and May 30, 2023, the Commission ALJ granted motions to intervene filed by Gerald Stover, Collin Jones, Cecil Fairfax, Jeffrey Berry, and Anna Miller. On August 23, 2023, Anna Miller filed a request for a hearing. On August 25, 2023, Gerald and Constance Stover and Cecil V. Fairfax filed requests for a hearing.

# III.	REVIEW OF THE APPLICATION

Q.	What is being requested in the application?

A.	Specifically, Texas Water, Certificate of Convenience and Necessity (CCN) No. 12983, seeks approval to acquire facilities and to transfer all of the water service area from Southern Horizons under water CCN No. 12863. Additionally, Texas Water has requested that the customers’ rates be changed to match Texas Water’s currently effective approved rates.

The requested area includes 452 customer connections and approximately 728.2 acres, comprised of:

102.5 acres of uncertificated area to amend to CCN No. 12983; 527 acres of transferred area from Southern Horizons (CCN No. 12863) to Texas Water (CCN No. 12983); and 98.7 acres of decertified area from CCN No. 12863.

The application proposes the subtraction of approximately 625.7 acres from CCN No. 12863 and the addition of approximately 629.5 acres to CCN No. 12983.

Q.	Did Texas Water give proper notice to the public of the application?

A.	On June 22, 2023, notice was found sufficient and consistent with 16 TAC § 24.239(b) and (e). On April 26, 2023, Texas Water filed the affidavit of Brian Bahr, Texas Water’s Director of Rates and Regulatory Affairs, attesting that notice of the application was provided to current customers, neighboring utilities, and affected parties on April 20, 2023. On May 9, 2023, Texas Water filed a publisher's affidavit attesting to the publication of notice in the Houston Business Journal, a newspaper of general circulation in Harris, Liberty, and Montgomery counties, on April 21 and 28, 2023. On June 7, 2023, Texas Water filed the affidavit of Mr. Bahr, attesting that there are no landowners with tracts of land greater than 25 acres located wholly or partially within the requested area, and included an appraisal district map overlaid with a map of the requested area and a list of the owners of tracts of land that are wholly or partially located in the requested area according to the most current tax appraisal rolls, including the total acreage owned by each individual.

Q.	 Is adequate service currently being provided to the requested area (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I)))?

A.	Southern Horizons has two TCEQ approved public water systems (PWS) registered as Southern Crossing Water System Phase 2, PWS ID No. 1460158, and Southern Oaks Water System Phase 2, PWS ID No. 1460150.

For the Southern Crossing Water System Phase 2, the last TCEQ compliance investigation was on March 6, 2023. To date, Commission Staff (Staff) notes there are no treatment violations and four central registry violations which include two active capacity violations for this system with the TCEQ as described below:

(1) Failure to provide a minimum of two or more service pumps with a total capacity of 2.0 gallons per minute per connection (conn).

(2) Failure to provide a minimum total storage capacity of 200 gallons per connection.

(3) Failure to maintain copies of properly completed Customer Service Inspection certifications on file; and

(4) Failure to provide emergency power to deliver water to the distribution system in the event of the loss of normal power supply.

Staff notes in the testimony of Steve Sullivan on behalf of Southern Horizons, “A copy of the EPP demonstrating how we have resolved the fourth violation listed above was submitted to TCEQ on March 15, 2024, and is provided as Confidential Attachment SCS-3. We are in the process of putting together the documentation needed to resolve the other three.”

For the Southern Oaks Water System Phase 2, the last TCEQ compliance investigation was on May 27, 2022. To date, Staff notes there are no treatment violations or central registry violations for this system with the TCEQ.

At the time of review, the Commission’s complaint records, which date back five years, show four complaints against Southern Horizons. All of the complaints were reviewed and closed by the Commission’s Customer Protection Division.

Q.	What is the effect of approving the transaction on Southern Horizons, Texas Water, the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c))?

A.	Texas Water will be the certificated entity for the requested area and will be required to provide continuous and adequate service to the requested area. There will be no effect on landowners as the area is currently certificated. There are no landowners with 25 or more acres in the requested area. There will be no effect on any retail public utility servicing the proximate area. All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

Q.	Has Texas Water demonstrated adequate managerial and technical ability to provide adequate service to the area being acquired (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(D and (h)(5)(D))?

A.	Texas Water will have licensed operators to run the system operations. Class B, C, and D operators will be the responsible operators for the systems. Texas Water has the ability to provide adequate service in the requested area. Texas Water has several registered TCEQ approved public water systems. Texas Water has active violations listed in the TCEQ database which are being addressed. In addition, the Commission’s complaint records, which date back five years, show 34 complaints against Texas Water. All of the complaints have been reviewed and closed by the Commission’s Customer Protection Division.

Q.	Did Texas Water provide a capital improvements plan, including a budget and estimated timeline for construction, of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3))?

A.	Texas Water is proposing to make improvements to Southern Horizons' public water systems. The proposed capital improvements are expected to exceed $100,000, therefore the need for firm capital commitment under 16 TAC § 24.11(e)(5) is required. Construction of water system facilities is expected to occur in 2023 and 2024. In Mr. Bahr’s redacted testimony,  he specifies that “[t]here is no capital investment needed to ensure the provision of continuous and adequate service to the requested area because no investment is needed to bring Southern Horizons' PWSes into compliance with TCEQ minimum standards.” Bahr also stated that although the application included initial estimates of the capital improvements Texas Water intends to make post-acquisition to facilitate the long-term health of the systems, neither of these projected improvements are needed or required in the near term to ensure that Texas Water can provide continuous and adequate service to the CCN area it proposes to acquire from Southern Horizons. Instead, Bahr noted that the projected improvements are proposed projects to improve system reliability identified during due diligence for the acquisition and based on preliminary cost and timing estimates that are subject to change after a more thorough evaluation of the systems after acquisition is completed.

Q.	Do you agree with Texas Water’s assessment of the Southern Horizons public water systems?

A.	It is my opinion that based on the current TCEQ central registry violations for Southern Crossing Water System Phase 2 described in this testimony, immediate capital improvements may be warranted to provide continuous and adequate service to the requested area if the listed violations are outstanding or unaddressed.

Q.	What are the initial rates for certain water or sewer systems Texas Water is requesting to charge the customers after purchase or acquisition (TWC § 13.3011)?

A.	As allowed by TWC § 13.3011, Texas Water has requested that the customers’ rates be changed to match Texas Water’s currently effective approved rates. Texas Water’s currently approved rates have been in effect since September 6, 2022, which is prior to the date the application was filed in this proceeding, February 2, 2023, and prior to the date the application was deemed administratively complete, April 5, 2023.

Texas Water provided a comparison of rates in its initial application:

| Rate Type | SHDI Rate | TWU Rate |
| --- | --- | --- |
| 5/8” Base | $32.20 | $48.37 |
| Usage (0-2 kgal) | $0.00 | $6.48 |
| Usage (2-5 kgal) | $3.18 | $7.98 |
| Usage 5-10 kgal) | $3.18 | $7.98 |
| Usage (10-20 kgal) | $3.18 | $9.05 |
| Usage (>20 kgal) | $3.18 | $9.64 |

Q.	Is there a probable improvement of service or lowering of cost to consumers in the requested area resulting from approving the transaction (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H))?

A.	The initial rates requested in Texas Water’s application are significantly higher than the current rates for Southern Horizons. Considering Southern Horizons’ active TCEQ capacity violations, the rate change is potentially necessary for the reliability and quality of water service to be improved upon under Texas Water’s management. However, Texas Water has optional phased-in rate schedules in its tariff which could be applied as a contingency to initial rates to alleviate rate shock for the current customers and ratepayer parties in this docket. Therefore, I recommend the potential implementation of the following phased rate schedule:

| Texas Water Utilities (Villas of Willowbrook) - RATES effective 06-01-2024 (Phase 4 of 7) |  |  |  |
| --- | --- | --- | --- |
| METER SIZE | MONTHLY BASE RATE (includes 0 gallons) | GALLONAGE TIER | CHARGE PER 1,000 GALLONS |
| 5/8” | $31.17 | 0 to 2,000 | $3.70 |
| 5/8”x3/4” | $31.17 |  |  |
| 3/4” | $46.76 | 2,001 to 10,000 | $6.33 |
| 1” | $77.93 |  |  |
| 1½” | $155.86 | 10,001 to 20,000 | $6.94 |
| 2” | $249.37 |  |  |
| 3” | $467.57 | over 20,000 | $7.27 |
| 4” | $779.29 |  |  |
| 6” | $1,558.57 |  |  |
| 8” | $2,493.71 |  |  |
| 10” | $3,584.71 |  |  |
| 12” | $6,701.86 |  |  |

A comparison of Texas Water’s proposed initial rates to the above optional phased-in rate schedule is included in Attachment JH-2. Further, in response to Question 15. B of the application, the Applicants specified that “TWU anticipates filing a request for a system improvement charge and true-ups for purchased water pass-throughs but does not anticipate filing a general rate case within the next 12 months.”

Q.	Are any deposits held for the customers to be transferred following the approval of the proposed transaction?

A. 	Staff notes that the Applicants’ original response to  Question 5 of the application specifies that 472 customers without deposits held by the transferor will be transferred following the approval of the proposed transaction.  This information was further depicted in Staff’s recommendation on the approval of the transaction. Staff now revises its previous recommendation as in his direct testimony filed on April 18, 2024, Steve Sullivan stated that Southern Horizons currently holds deposits for 398 accounts, with the amount of each deposit totaling $50, as shown on Southern Horizons’  tariff.

# V.	RECOMMENDATION

Q.	What is your recommendation in this proceeding?

A.	Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. I also recommend considering implementing the phased-in rates specified above, as opposed to Texas Water’s initial rates. Additionally, I note that there are 398 deposits held by Southern Horizons for the customers it serves.

Q.	Does this conclude your direct testimony?

A.	Yes, but I reserve the right to supplement this testimony during the course of the proceeding as new evidence may be presented.

Application of CenterPoint Energy Houston Electric, LLC to Adjust Its Energy Efficiency Cost Recovery Factor, Docket No. 53677, Testimony of James Harville in Support of Stipulation and Settlement Agreement (Sept. 20, 2022).

Application of Entergy Texas, Inc. to Revise Fixed Fuel Factor (Schedule FF) in Compliance with Order in Docket No. 32915, Docket No. 54674, Direct Testimony of James Harville, Infrastructure Division, Public Utility Commission of Texas (June 9, 2023).

Application of CenterPoint Energy Houston Electric, LLC to Adjust its Energy Efficiency Cost Recovery Factor, Docket No. 55088, Testimony of James Harville in Support of Stipulation and Settlement Agreement (Sept. 12, 2023).

Application of Entergy Texas, Inc. to Revise Fixed Fuel Factor (Schedule FF) in Compliance with Order in Docket No. 32915 and 40654, Docket No. 55390, Direct Testimony of James Harville, Infrastructure Division, Public Utility Commission of Texas (Oct. 18, 2023).

Order No. 3 (Mar. 27, 2023).

Order No. 6 (May 16, 2023); Order No. 8 (May 30, 2023).

Request for a Hearing (Aug. 23, 2023).

Order No. 11 (Aug. 28, 2023).

Order No. 9 (June 22, 2023).

Proof of Notice (Apr. 26, 2023).

Supplemental Proof of Notice (May 9, 2023).

Texas Water Utilities, L.P.’s Response to Order No. 7 (June 7, 2023).

Direct Testimony of Steve Sullivan on behalf of Southern Horizons Development, Inc. at 8:21-24 (Sullivan Direct) (Apr. 18, 2024).

Redacted Direct Testimony of Brian D. Bahr on behalf of Texas Water Utilities, L.P. at 20:5-7 (Bahr Redacted) (Apr. 18, 2024).

See id. at 20:10-16.

See id. at 20:13-16.

Application of Utilities Investment Company, Inc. and UIC 13 LLC and Monarch Utilities I L.P. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Harris, Liberty, and Chambers Counties, Docket No. 52201, Stamped Approved Tariff (Sept. 6, 2022).

Application.

Order No. 4 (Apr. 5, 2023).

Application of Texas Water Utilities, LP and Southern Horizons Development, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Liberty and Montgomery County at 91 (Feb 2, 2023).

Application at 8.

Application at 5.

Application at 4.

Application at 8.

Sullivan Direct at 10:7-8.