Public Utility Commission of Texas

Memorandum

TO:		David Berlin

Legal Division

FROM:	Fred Bednarski III

Rate Regulation Division

DATE:  	April 6, 2023

RE:	Docket No. 54718 – Application of Staff Water Supply Corporation and City of Carbon for Sale, Transfer, or Merger of Facilities and Certificate Rights in Eastland County

On March 7, 2023, Staff Water Supply Corporation (Staff WSC) and City of Carbon (Carbon) filed an application for the sale and transfer of facilities and certificate rights in Eastland County under the provisions of Texas Water Code § 13.301 and 16 Texas Administrative Code § 24.239.

We reviewed the answers provided to questions 4, 10, 11, 12, and 14 of the application. We recommend the application be deemed administratively incomplete, and that Staff WSC and Carbon be required to provide the following information to cure the deficiencies:

- An answer to application question 11.A,

- A firm capital commitment that funding is approved and available for the $500,000 required capital improvements to meet TCEQ standards, and

- A facilities map that shows Carbon’s facility lines that are currently connected to Staff WSC’s the facilities and connections to be transferred as well as were the facilities and connections are located in the area to be transferred.