TO:		Dylan King, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		May 15, 2024

RE:	Docket No. 55285 – Application of Quadvest, LP to Amend Its Certificates of Convenience and Necessity in Harris County

- Application

On July 26, 2023, Quadvest, L.P. (Quadvest) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11612 and sewer CCN No. 20952 in Harris County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Based on the mapping review by Dave Babicki, Infrastructure Division, the revised maps and digital mapping data submitted with Item 6 on August 16, 2023 are sufficient.

Requested Area 1:

- The requested area 1 includes 0 customer connections and approximately 207.1 acres, comprised of uncertificated area to amend (add) to Quadvest, LP (CCN Nos. 11612 & 20952).

Requested Area 2:

- The requested area 2 includes 0 customer connections and approximately 187.9 acres, comprised of uncertificated area to amend (add) to Quadvest, LP (CCN Nos. 11612 & 20952).

Total Requested Area 1 & 2:

- The total requested area 1 & 2 includes 0 customer connections and approximately 395 acres, comprised of uncertificated area to amend (add) to Quadvest, LP (CCN Nos. 11612 & 20952).

- The application proposes the addition of approximately 395 acres to CCN Nos. 11612 & 20952.

- The application indicates that the total acreage being requested is approximately 396 acres, however, the mapping review determined the requested area is approximately 395 acres.

- Notice

Affidavits were provided affirming that notices were submitted to current customers, neighboring utilities, districts, and affected parties, and that there are no landowners in the requested area.

The deadline to intervene was December 28, 2023; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested areas.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are potential new customers in the requested areas.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Quadvest will be the certificated entity for the requested areas and will be required to provide continuous and adequate service to the requested areas.

The landowners in the areas will have a water and sewer provider available when they need to request water and sewer service.

There will be no effect on any retail public utility servicing the proximate areas.  All retail public utilities in the proximate areas were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Quadvest will have qualified TCEQ licensed operators licensed in water treatment to run the system.

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Quadvest will have qualified TCEQ licensed operators licensed in wastewater treatment to run the system.

Quadvest will have licensed operators to run the system operations.  A Class A operator will be the responsible operator for the system.

Quadvest has several Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) and wastewater treatment plants (WWTP) registered with the TCEQ. The requested area will be served by the Indigo Trails, PWS ID No. 1013816, and the Binford WWTP under Texas Pollutant Discharge Elimination System (TPDES) Permit No. WQ0016100001. Quadvest does not have any violations for this water system and this wastewater system in the TCEQ database. Additional construction is necessary for Quadvest to serve the requested area.  The Commission’s complaint records, which go back 5 years, show 96 complaints against Quadvest.  All the complaints have been reviewed and closed by the Commission’s Consumer Protection Division.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Service was requested from neighboring utilities within a half a mile from the requested area and none of them were able to provide service.  TCEQ has approved plans for Quadvest to build facilities in the requested areas to serve future customers and will have sufficient capacity to serve the areas. Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Quadvest received a request for service for the requested areas from a developer.  Service was requested from neighboring utilities within a half a mile from the requested area and none of them were able to provide service. Quadvest has TCEQ approved plans to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

Quadvest is building new water and sewer treatment plants to provide service to the requested area.  Quadvest provided a budget, an estimated timeline for construction, and a keyed map showing where facilities will be located.  Construction began July 26, 2023.  Estimated costs to build a new water and sewer system is expected to exceed $100,000, therefore the need for firm capital commitment under 16 TAC § 24.11(e)(5) is required.

The Rate Regulation Division will be addressing the need for firm capital commitment criterion in a separate memo.

3.8.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

  - Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.10.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as facilities are constructed to provide service to the requested area.

3.11.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned development will have water and sewer service.

- Recommendation

Based on the mapping review by Dave Babicki, Infrastructure Division, and my technical and managerial review, I recommend that Quadvest meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to amend its water CCN No. 11612 and sewer CCN No. 20952 is necessary for the service, accommodation, convenience and safety of the public.

Quadvest consented to the attached maps, tariffs, and certificates on May 7, 2024.