TO:		Markel Perkins, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	February 15, 2024

RE:	Docket No. 55304 – Application of Texas Water Utilities, LP and SWWC Utilities, Inc. dba Hornsby Bend Utility Company, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Travis County

1.	Application

On July 31, 2023, Texas Water Utilities, L.P. (Texas Water Utilities) and SWWC Utilities, Inc. dba Hornsby Bend Utility Company, Inc. (SWWC Utilities) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Travis County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Texas Water Utilities, Certificate of Convenience and Necessity (CCN) Nos. 12983 and 20899, seeks approval to acquire facilities and to transfer all of the water and sewer service area from SWWC Utilities under water CCN No. 11978 and sewer CCN No. 20650.

As allowed by the statute, Texas Water Utilities requested that the customers' rates be changed to match Texas Water Utilities' currently effective approved rates (initial rates). Texas Water Utilities' initial rates have been in effect since September 28, 2023 which is the most recent date prior to the date the application was deemed administratively complete, October 9, 2023.  On February 9, 2024, Texas Water Utilities withdrew their request for initial rates.  They will move forward with the rates that SWWC Utilities’ customers currently have.

Based on the mapping review by Hank Journeay, Infrastructure Division:

- The requested water area includes 3,340 customer connections and approximately 5,629.4 acres of transferred area from SWWC Utilities (CCN No. 11978) to Texas Water Utilities (CCN No. 12983).

- The requested sewer area 1 includes 3,767 customer connections and approximately 10,483.5 acres of transferred area from SWWC Utilities (CCN No. 20650) to Texas Water Utilities (CCN No. 20899).

- The requested sewer area 2 includes 0 customer connections and approximately 3,958.6 acres of transferred area from SWWC Utilities (CCN No. 20650) to Texas Water Utilities (CCN No. 20899).

- The total water area includes 3,340 customer connections and approximately 5,629.4 acres of transferred area from SWWC Utilities (CCN No. 11978) to Texas Water Utilities (CCN No. 12983).

- The total sewer area includes 3,767 customer connections and approximately 14,442.1 acres of transferred area from SWWC Utilities (CCN No. 20650) to Texas Water Utilities (CCN No. 20899).

- The application proposes the subtraction of approximately 5,629.4 acres from CCN No. 11978 and the addition of approximately 5,629.4 acres to CCN No. 12983.

- The application proposes the subtraction of approximately 14,442.1 acres from CCN No. 20650 and the addition of approximately 14,442.1 acres to CCN No. 20899.

2.	Notice

Affidavits were provided affirming that notices were submitted to customers, cities, districts, neighboring retail public utilities, the county judge, and 163 landowners owning 25 acres partially or wholly located in the requested area.

Texas Water Utilities provided notice consistent with 16 TAC § 24.239(e).  The deadline to intervene was December 4, 2023; a motion to intervene was submitted and granted on December 12, 2023.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

SWWC Utilities has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) and a wastewater treatment plant (WWTP) registered as Austin’s Colony, PWS ID No. 2270255, and Austin’s Colony WWTP, Wastewater Discharge Permit No. WQ0013138001, respectively. The last TCEQ compliance investigation of the Austin’s Colony system was on March 8, 2023. The last TCEQ compliance investigation of the Austin’s Colony WWTP system was on August 31, 2023. SWWC Utilities has violations listed in the TCEQ database which are being addressed. The Commission’s complaint records, which date back 5 years, show 36 complaints against SWWC Utilities.  All the complaints have been reviewed and closed by the Commission’s Consumer Protection Division.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer SWWC Utilities, CCN Nos. 11978 and 20650, to Texas Water Utilities.  The customers are currently receiving water and sewer service from SWWC Utilities’ water and sewer systems.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Texas Water Utilities will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Texas Water Utilities will have qualified TCEQ licensed operators licensed in water treatment to run the acquired systems.

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Texas Water Utilities will have qualified TCEQ licensed operators licensed in wastewater treatment to run the acquired systems.

Texas Water Utilities will have licensed operators to run the system operations.  Class B and C operators will be responsible operator the system.

Texas Water Utilities has the ability to provide adequate service in the requested area.  Texas Water Utilities has several TCEQ approved PWS’s and WWTP’s registered.  Texas Water Utilities has violations listed in the TCEQ database which are being addressed.  In addition, the Commission’s complaint records, which date back 5 years, show 132 complaints against Texas Water Utilities, with 8 open complaints.  Of the 132 complaints the 8 open complaints are being addressed and the remaining complaints have been reviewed and closed by the Commission’s Consumer Protection Division.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Texas Water Utilities to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

SWWC Utilities is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7. 	An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

There are no improvements necessary to provide continuous and adequate service to the requested area therefore a capital improvements plan is not necessary.

3.8.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.10.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.11.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will not change from the current rates for SWWC Utilities customers.  Reliability and quality of water service is expected to improve under Texas Water Utilities’ management.

4. 	Recommendation

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are deposits held by SWWC Utilities for the customers being served by SWWC Utilities. I further recommend that a public hearing is not necessary.

Docket 54201, Item 215, Stamped Approved Tariff

In Order No. 3 filed on 10/9/2023, the administrative law judge found the application administratively complete.