TO:		Scott Miles, Attorney

Legal Division

FROM:	Jaspinder Singh, Engineering Specialist

Infrastructure Division

DATE:	April 1, 2024

RE:	Docket No. 55336– Application of SP Utility Company, Inc. and Albury Manor Utility Company, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Harris County

1.	Application

SP Utility Company, Inc. (SP Utility) and Albury Manor Utility Company, Inc. (Albury Manor Utility) (collectively, Applicants) filed an application for the sale, transfer, or merger (STM) of facilities and certificate rights in Harris County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, SP Utility, Certificate of Convenience and Necessity (CCN) No. 12978, seeks approval to acquire facilities and to transfer all of the water service area from Albury Manor Utility under water CCN No. 11507.

Based on the mapping review by Hank Journeay, Infrastructure Division, the revised maps submitted with Item 5 on September 11, 2023 are sufficient.

- The requested area includes 49 customer connections and approximately 102 acres of transferred area from Albury Manor Utility (CCN No. 11507) to SP Utility (CCN No. 12978).

- The application proposes the subtraction of approximately 102 acres from CCN No. 11507 and the addition of approximately 102 acres to CCN No. 12978.

2.	Notice

An affidavit was provided affirming that notices were submitted to customers, neighboring retail public utilities, and affected parties.

An additional affidavit was provided indicating that there is one landowner owning 25 acres partially or wholly located in the requested area and that notice was submitted to the landowner.

SP Utility provided notice consistent with 16 TAC § 24.239(e) and 16 TAC § 24.235(b)(2).  The deadline to intervene was February 28, 2024; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Albury Manor Utility has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as Albury Manor Utility Company, PWS ID No. TX1012052.  The last TCEQ compliance investigation of the Albury Manor Utility system was on November 7, 2018.  Albury Manor Utility does not have any violations listed in the TCEQ database.  The Commission’s complaint records, which date back 5 years, show no complaints against Albury Manor Utility.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer Albury Manor Utility to SP Utility.  The customers are currently receiving water service from Albury Manor Utility’s water system.

There are currently 49 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

SP Utility will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  SP Utility will have qualified TCEQ licensed operators licensed in water treatment to run the acquired systems.

SP Utility will have licensed operators to run the system operations.  A total of three Class B and Class C operators will be the responsible operators for the system.

SP Utility has the ability to provide adequate service in the requested area.  SP Utility has several TCEQ approved public water systems.  SP Utility has violations listed in the TCEQ database.  In addition, the Commission’s complaint records, which date back 5 years, show 55 complaints against SP Utility, with 1 open complaint this is being addressed. The remaining complaints have been reviewed and closed by the Commission’s Consumer Protection Division.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for SP Utility to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Albury Manor Utility is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7. 	An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

There are no improvements necessary to provide continuous and adequate service to the requested area therefore a capital improvements plan is not necessary.

3.8.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.10.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.11.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will not change from the current rates for the Albury Manor Utility. Reliability and quality of water service is expected to improve under SP Utility’s management.

4. 	Recommendation

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Albury Manor Utility for the customers being served by Albury Manor Utility. I further recommend that a public hearing is not necessary.