TO:		Bradley Reynolds, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	March 6, 2024

RE:	Docket No. 55378 – Application of Guadalupe-Blanco River Authority and Undine Texas Environmental, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Calhoun County

1.	Application

On August 16, 2023, Undine Texas Environmental, LLC (Undine T.E.) and the Guadalupe-Blanco River Authority (GBRA) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Calhoun County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Undine T.E., Certificate of Convenience and Necessity (CCN) No. 20816, seeks approval to acquire only facilities and customers from GBRA and to amend uncertificated area to Undine T.E.’s CCN No. 20816.

Based on the mapping review by Dave Babicki, Infrastructure Division:

- The requested area includes 68 customer connections and approximately 60 acres, comprised of uncertificated area to amend (add) to Undine T.E. (CCN No. 20816).

- The application proposes the addition of approximately 60 acres to CCN No. 20816.

2.	Notice

Affidavits were provided affirming that notices were submitted to customers, cities, districts, neighboring retail public utilities, the county judge, groundwater conservation districts, and that there are no landowners owning 25 acres partially or wholly located in the requested area.

Undine T.E. provided notice consistent with 16 TAC § 24.239(e).  The deadline to intervene was January 19, 2024; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

GBRA has several Texas Commission on Environmental Quality (TCEQ) wastewater treatment plants (WWTP) registered with the TCEQ as Crestview Subdivision, Permit No. WQ0013954001. The last TCEQ compliance investigation of the Crestview Subdivision system was on November 30, 2023.  GBRA has two violations listed in the TCEQ database for this system which are being addressed.  The Commission’s complaint records, which date back 5 years, show 4 complaints against GBRA.  All the complaints have been reviewed and closed by the Commission’s Consumer Protection Division.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 68 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Undine T.E. will be the certificated entity for the requested area and be required to provide continuous and adequate service to the requested area.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Undine T.E. will have qualified TCEQ licensed operators licensed in wastewater treatment to run the acquired systems.

Undine T.E. will have licensed operators to run the system operations as depicted in Attachment M of the application.  Class A to D operators will be the responsible operators for the system.

Undine T.E. has the ability to provide adequate service in the requested area.  Undine T.E. has several TCEQ approved WWTPs.  Undine T.E. has violations listed in the TCEQ database which are being addressed. In addition, the Commission’s complaint records, which date back 5 years, show 2 complaints against Undine T.E.  All the complaints have been reviewed and closed by the Commission’s Consumer Protection Division.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Undine T.E. to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

GBRA is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7. 	An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

There are no improvements necessary to the current system to provide continuous and adequate service to the requested area, therefore a capital improvements plan is not necessary. Undine provided additional information in Attachment(s) A and P of the application.

3.8.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.10.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.11.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

The customers’ rates will not change from the current rates for the Crestview Subdivision.  Reliability and quality of water service is expected to improve under Undine T.E.’s management.

4. 	Recommendation

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by GBRA for the customers being served by GBRA in the Crestview Subdivision. I further recommend that a public hearing is not necessary.