TO:		Rowan Pruitt, Attorney

Legal Division

FROM:	Tsungirirai Gotora, Sr. Infrastructure Analyst

Infrastructure Division

DATE:		December 20, 2024

RE:	Docket No. 55711 – Application of the City of Johnson City to Amend Its Certificate of Convenience and Necessity in Blanco County

- Application

On October 18, 2023, the City of Johnson City (Johnson City) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 10441 and sewer CCN No. 20159 in Blanco County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

On February 22, 2024, Johnson City filed with the Commission a revised application to amend its water CCN No. 10441 and sewer CCN No. 20159 in Blanco County, Texas under TWC §§ 13.242 through 13.250 and 16 TAC §§ 24.225 through 24.237.

Based on the mapping review by Dave Babicki, Infrastructure Division, the revised digital mapping data filed with Item 10 on February 22, 2024, and the revised maps filed with Item 15 on May 6, 2024, are sufficient.

Requested Water Area 1:

The requested water area 1 includes 1 customer connections and approximately 23.5 acres of uncertificated area to amend (add) to Johnson City (CCN No. 10441).

Requested Water Area 2:

The requested water area 2 includes 74 customer connections and approximately 697.9 acres of uncertificated area to amend (add) to Johnson City (CCN Ns. 10441).

Total Requested Water Areas 1 and 2:

The total requested water areas 1 and 2 includes 75 customer connections and approximately 721.4 acres of uncertificated area to amend (add) to Johnson City (CCN No. 10441). The application proposes the addition of approximately 721.4 acres to CCN No. 10441.

Requested Sewer Area 1:

The requested sewer area 1 includes 1 customer connections and approximately 23.5 acres of uncertificated area to amend (add) to Johnson City (CCN No. 20159).

Requested Sewer Area 2:

The requested water area 2 includes 75 customer connections and approximately 697.9 acres of uncertificated area to amend (add) to Johnson City (CCN No. 20159).

Total Requested Sewer Areas 1 and 2:

The total requested sewer areas 1 and 2 includes 76 customer connections and approximately 721.4 acres of uncertificated area to amend (add) to Johnson City (CCN No. 20159). The application proposes the addition of approximately 721.4 acres to CCN No. 20159.

- Notice

Affidavits were provided affirming that notices were submitted to customers, cities, districts, neighboring retail public utilities, the county judge, groundwater conservation districts, and that there are no landowners owning 25 acres or more in the requested area.

The deadline to intervene was August 2, 2024; there were no motions to intervene, protests, or opt-out requests received.

- CCN Amendment Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Customers in the requested areas currently receive service from Johnson City’s Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as City of Johnson City, PWS ID No. TX0160001 and approved wastewater treatment plant (WWTP) registered as Johnson City Wastewater Discharge Permit No. WQ0010198001. Johnson City does not have any active violations listed in the TCEQ database.

No additional construction is necessary for Johnson City to serve the requested areas. The Commission’s complaint records, which go back 5 years, show no complaints against Johnson City.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

Johnson City’s existing CCN boundary does not extend to Johnson City’s city limits or to its current service area. Johnson City would like the CCN boundary to include all its existing customers and service area. There is a need for service as the requested areas are mostly areas where Johnson City already serves water and sewer customers.  Additionally, Johnson City received requests for service for portions of the requested areas from developers.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Johnson City will be the certificated entity for the requested areas and will be required to provide continuous and adequate service to the requested areas.

The landowners in the areas will have a water and sewer provider available when they need to request water and sewer service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene. The requested areas are entirely inside the city limits or extraterritorial jurisdiction boundaries (ETJ). No other provider may provide service inside the city limits without first getting consent from the city.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

TCEQ rule, 30 TAC § 290.46, Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Johnson City will have qualified TCEQ licensed operators licensed in water treatment to run the system.

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Johnson City will have qualified TCEQ licensed operators licensed in wastewater treatment to run the system.

Johnson City will have licensed operators to run the system operations.  Three Class C operators will be the responsible operators for the systems.

Johnson City has a TCEQ approved PWS registered as City of Johnson City, PWS ID No. TX0160001 approved WWTP registered as Johnson City Wastewater Discharge Permit No. WQ0010198001.   Johnson City does not have any active violations listed in the TCEQ database. The Commission’s complaint records, which go back 5 years, show no complaints against Johnson City.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The entire requested service areas are in Johnson City’s existing city limits or ETJ. Johnson City would like the CCN boundary to conform with its existing customers and service area. Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

The entire requested service areas are in Johnson City’s existing city limits or ETJ. Johnson City is currently serving customers in the requested areas, has facilities in the requested areas to serve any future customers, and has sufficient capacity. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

Johnson City received requests for service for portions of the requested areas from developers.

3.7.	An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

Based on the capital improvement plan submitted by Johnson City in 2022, Johnson City did not have sufficient capacity to provide service to the entire requested area, however the application indicates that, at this time, additional construction is not necessary from Johnson City’s perspective. Any improvements or extensions necessary to serve the requested areas will be required to be paid for and installed by the developers of the Homestead at Deer Creek Subdivision and Old River Crossing RV Park as per agreements with the developers.

3.8.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

  - Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.10.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as facilities are constructed by the developers to extend service to the requested areas.

3.11.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Johnson City will continue to provide service to the existing customers in the areas.  There will be no change in the quality or cost of service to customers.

Future residents of the planned developments will have water and sewer service available.

- Recommendation

Based on the mapping review by Dave Babicki, Infrastructure Division, and my technical and managerial review, I recommend that Johnson City meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to amend its water CCN No.10441 and sewer CCN No. 20159 is necessary for the service, accommodation, convenience and safety of the public.

Johnson City consented to the attached map and certificate on November 13, 2024.