Public Utility Commission of Texas

Memorandum

TO:		David Skawin, Legal Division

Legal Division

FROM:	David Lopez, Rate Analyst

Fred Bednarski III, Financial Analyst

Rate Regulation Division

DATE:  	December 7, 2023

RE:	Docket No. 55810 – Application of MCC Utilities, LLC for Certificates of Convenience and Necessity in Harris County

On November 7, 2023, MCC Utilities, LLC (MCC) filed an application to obtain a water Certificate of Convenience and Necessity (CCN) and sewer CCN in Harris County under Subchapter G of Texas Water Code Chapter 13.

We reviewed the answers provided to questions 28, 29, 30, and 31 of the application.  We recommend the application be deemed administratively incomplete, and that MCC be required to provide the following information to cure the deficiencies:

- A facilities map showing the location of the sewer treatment plant, collection systems, and 310 connections within the requested area boundary lines;

- a facilities map showing the location of the water plant, distribution systems, and 310 connections within the requested are boundary lines; and

- an affidavit from MCC attesting to the sufficiency and capacity of the water and sewer plants, distribution lines, collections lines, and connections installed to provide continuous and adequate water and sewer service to the 310 connections in requested area, as well as indicating if all capital improvements have been constructed and installed.