TO:		Markel Perkins, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:		June 9, 2025

RE:	Docket No. 56154 – Application of SJWTX, Inc. dba The Texas Water Company to Amend Its Certificate of Convenience and Necessity in Comal County

On January 24, 2024, SJWTX, Inc. dba The Texas Water Company (SJWTX) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 10692 and sewer CCN No. 20877 in Comal County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

SJWTX filed an Amendment to the Application and Additional Information with Item 57 on May 19, 2025, requesting to amend the application to remove requested sewer area 2 in its entirety from the requested sewer area. Additionally, the Applicant indicates that the amendment will not change the requested water areas 1-3, will include revised maps and digital mapping data for requested sewer area 1, and removes requested sewer area 2.

Based on my technical review and the mapping review by Dave Babicki, Infrastructure Division, the revised maps and revised digital mapping data for the requested water areas 1-3 filed with Item 39 on February 11, 2025, and the revised digital mapping data for each landowner opt-out request filed with Item 40 on March 10, 2025, remains sufficient to remove each landowner opt-out request from the requested water areas 1-3 received in Items 22, 24, and 32. In addition, the revised maps and digital mapping for the requested sewer area 1 filed with Item 57 on May 19, 2025, are sufficient to remove each landowner opt-out request from requested sewer area 1 received in Items 22, 24, and 32.

Since SJWTX’s requested water areas 1-3 remains the same and the requested sewer area was only reduced, additional notice is not required.

Requested Water Area 1:

The requested water area 1 includes 112 customer connections and approximately 4,261.1 acres of uncertificated area to amend (add) to CCN No. 10692.

Requested Water Area 2:

The requested water area 2 includes 0 customer connections and approximately 237 acres of uncertificated area to amend (add) to CCN No. 10692.

Requested Water Area 3:

The requested water area 3 includes 0 customer connections and approximately 13.5 acres of uncertificated area to amend (add) to CCN No. 10692.

Total Requested Water Area (1-3):

The total requested water area includes 112 customer connections and approximately 4,511.6 acres of uncertificated area to amend (add) to CCN No. 10692. The application proposes the addition of approximately 4,511.6 acres to CCN No. 10692.

Requested Sewer Area 1:

The requested sewer area 1 includes 0 customer connections and approximately 201.1 acres of uncertificated area to amend (add) to CCN No. 20877. The application proposes the addition of approximately 201.1 acres to CCN No. 20877.

Based on the above, I recommend that the revised maps and digital data are sufficient.