## TCUC
Substation Name | AIS Year | AIS ID # | Notes | Page #
Limburg | 2020 | CNP-13947 | New sub 2-TRFS and 7-35KV feeders | 1 - 4
Stone Lake | 2022 | CNP-14885 | New Sub: Install 2-100MVA TRF and 6-35kV feeders | 5 - 9
Jordan | 2020 | CNP-13988 | Install the 5th and 6th 35KV feeders | 10 - 12
Garth | 2019 | CNP-13522 | NEW SUB 2-TRFS AND 8-12KV FEEDERS | 13 - 16
Jones Creek | 2019 | CNP-13242 | Build 12kV, 2-transformer substation with 3-12kV feeders | 17 - 20
Rayford | 2023 | CNP-15299 | Install new transformer and breakers | 21 - 25
Springwood | 2019 | CNP-13381 | Install 2-100MVA trfs and 6 - 35kV feeders | 26 - 29
Wortham | 2021 | CNP-14170 | Install 2-100MVA TRFs and 6-35KV Feeders | 30 - 34
Scenic Woods | 2021 | CNP-14460 | Install 2-100MVA TRFs and 2-35kV feeders | 35 - 39
Lake Houston | 2019 | CNP-13243 | Install 2 - 100MVA transformers and 6-35KV feeders | 40 - 43
Jones Creek | 2020 | CNP-13655 | Build 12kV, 2-transformer substation with 3-12kV feeders | 44 - 47
Reading | 2019 | CNP-13248 | Install 35kV trfs and 35kV fdrs | 48 - 51
Angleton | 2022 | CNP-14588 | Replace two existing 10.5MVA transformers with 50MVA units | 52 - 56
Tanner | 2023 | CNP-15273 | Install 3rd Transformer & 2-35kV Fdrs | 57 - 61
Almeda | 2020 | CNP-13756 | Install 12kV transformers and 12kV feeders | 62 - 65
Treaschwig | 2023 | CNP-15303 | Replace TRF(s)with new 100MVA TRF(s), add new 35KV circuit | 66 - 70
Britmoore | 2021 | CNP-14201 | Install 12kV transformers and 12kV feeders | 71 - 75
Blodgett | 2019 | CNP-13233 | Install 3rd 50MVA transformers and 1 new feeders | 76 - 79
Plaza | 2020 | CNP-13753 | Install 3rd-35kV transformer and 35kV feeders | 80 - 83
Clodine | 2021 | CNP-14221 | Install 12kV transformers and 12kV feeders | 84 - 88
Crockett | 2022 | CNP-14886 | Install 3 new feeders to address P69X (Transmission) issues | 89 - 94
Northside | 2019 | CNP-13526 | Install 3rd 50MVA transformers and 2 new feeders | 95 - 98