PUC DOCKET NO. 56211

| APPLICATION OF CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC FOR AUTHORITY TO CHANGE RATES | § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

DIRECT TESTIMONY

OF

GREGORY S. WILSON

ON BEHALF OF

CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC

MARCH 2024

## TABLE OF CONTENTS

EXECUTIVE SUMMARY	ES-1

I.  INTRODUCTION AND QUALIFICATIONS	1

II.	PURPOSE AND SUMMARY OF TESTIMONY	3

III.	SELF-INSURANCE RESERVE BACKGROUND	5

IV.	ANNUAL EXPECTED LOSSES	7

V.	TARGET RESERVE	10

VI.	COST BENEFIT ANALYSIS	14

VII.	CONCLUSION	16

LIST OF EXHIBITS

| Exhibit GSW-1 | Gregory S. Wilson Educational Background and Professional Experience |
| --- | --- |
| Exhibit GSW-2 | Calculation of Recommended Accrual |
| Exhibit GSW-3 | Major Property Damage Adjusted to Current Cost Levels |
| Exhibit GSW-4 | Example of Loss Trending Methodology |

EXECUTIVE SUMMARY – STORM RESERVE
(GREGORY S. WILSON)

The service territory of CenterPoint Energy Houston Electric, LLC (“CenterPoint Houston” or the “Company”) has been impacted over the years by weather events that have resulted in significant outages and restoration efforts.  To support adequate preparation for such losses, my testimony offers an independent opinion of the reasonableness of CenterPoint Houston’s approach with respect to protecting its Transmission and Distribution (“T&D”) assets through self-insurance.

My testimony:

- addresses the purpose of a self-insurance reserve.

- describes how a self-insurance reserve operates.

- provides an estimate of the annual accrual necessary to provide for expected property losses that are not covered by insurance along with a recommended time period over which this accrual is to be made.

- provides an estimate of a target amount to accumulate in the self-insurance reserve along with a recommended time period over which the accrual to reach the target amount is to be made; and

- includes a cost benefit analysis demonstrating that self-insurance at the levels proposed by CenterPoint Houston is a lower cost alternative to purchasing insurance and is in the public interest, consistent with the 16 Tex. Admin. Code (“TAC”) 25.231(b)(1)(G).

This information, in addition to my support materials, demonstrates that CenterPoint Houston’s requested self-insurance reserve is reasonable and necessary given the lack of reasonably priced commercial insurance.  Thus, the costs associated with funding a self-insurance reserve should be included in CenterPoint Houston’s cost of service.

# I.  INTRODUCTION AND QUALIFICATIONS

- Q.	PLEASE STATE YOUR NAME, OCCUPATION, BUSINESS AFFILIATION, AND BUSINESS ADDRESS.

A.	My name is Gregory S. Wilson.  I am a consulting actuary specializing in the area of property-casualty actuarial matters.  I am a Vice President and Principal at Lewis & Ellis, LLC (“L&E”).  My business address is 6600 Chase Oaks Blvd, Suite 150, Plano TX 75023.

Q.	PLEASE DESCRIBE YOUR EDUCATIONAL AND EMPLOYMENT BACKGROUND.

A.	I received a Bachelor of Science degree in applied mathematics from the University of Rhode Island in 1976.

In 1992, after completing all of the required examinations, I became a Fellow of the Casualty Actuarial Society, the highest designation a property-casualty actuary can attain.  This designation is obtained through a rigorous process involving separate examinations on topics such as mathematics, probability and statistics, theory of credibility, theory of risk and insurance, economics, insurance coverages, ratemaking, loss reserving, insurance accounting and regulation, and individual risk rating.  I am also a Member of the American Academy of Actuaries.

Following college, I was employed by Amica Mutual Insurance Company until 1994, at which time I was a vice president serving as chief actuary and supervising the actuarial department.

In 1994, I joined PricewaterhouseCoopers, LLP where I provided actuarial consulting services to a wide variety of clients including insurance companies, state insurance regulators, self-insured entities, and non-insurance corporations.  I joined L&E in 2001, where I continue to provide actuarial consulting services to a wide variety of clients.  My resume is attached to this testimony as Exhibit GSW-1.

Q.	WHAT IS AN ACTUARY?

A.	An actuary is a business professional who estimates the financial implications of future contingent events or risk, which in the context of a rate case such as this one is the risk of damage to the utility’s facilities and infrastructure due to currently unknown (or contingent) future events.  Actuaries use mathematics, statistics, and financial theory to help manage such risks.  In this proceeding, my analysis of future financial consequences is performed in accordance with the Actuarial Standards of Practice adopted by the American Academy of Actuaries.

- Q.	HAVE YOU EVER TESTIFIED BEFORE THE PUBLIC UTILITY COMMISSION OF TEXAS (“COMMISSION”)?

A.	Yes. I submitted testimony addressing self-insurance reserve issues similar to those that I address in this testimony in Docket Nos. 16705, 20150, 22356, 30123, 33309, 34800, 37364, 37744, 38339, 38480, 39896, 40606, 41791, 43950, 44704, 44746, 46957, 48371, 48401, 49421, 49494, 51415, 51583, 51611, 53601, and 53719.  I have also testified on self-insurance issues in conjunction with a utility rate filing before the Missouri Public Service Commission.

# PURPOSE AND SUMMARY OF TESTIMONY

Q.	WHAT IS THE PURPOSE OF YOUR TESTIMONY?

A.	The general purpose of my testimony is to offer an independent opinion of the reasonableness of the approach CenterPoint Energy Houston Electric, LLC (“CenterPoint Houston” or the “Company”) proposes to take with respect to protecting its Transmission and Distribution (“T&D”) assets through self-insurance.  The specific purpose of my testimony is: (1) to estimate the annual accruals needed for a self-insurance reserve for property damage losses incurred by CenterPoint Houston not covered by insurance, in accordance with Section 36.064 of the Texas Public Utility Regulatory Act; and (2) to estimate a target amount to accumulate in the self-insurance reserve along with a recommended time period over which these accruals are to be made.

My testimony also includes a cost benefit analysis demonstrating that self-insurance at the levels proposed by CenterPoint Houston is a lower cost alternative to purchasing insurance and is in the public interest, consistent with the 16 TAC §25.231(b)(1)(G).

Q.	WHAT DOES 16 TAC §25.231(b)(1)(G) PROVIDE REGARDING SELF-INSURANCE?

A.	This rule provides as follows:

Accruals credited to reserve accounts for self-insurance under a plan requested by an electric utility and approved by the commission.  The commission shall consider approval of a self insurance plan in a rate case in which expenses or rate base treatment are requested for such a plan.  For the purposes of this section, a self insurance plan is a plan providing for accruals to be credited to reserve accounts.  The reserve accounts are to be charged with property and liability losses which occur, and which could not have been reasonably anticipated and included in operating and maintenance expenses, and are not paid or reimbursed by commercial insurance.  The commission will approve a self-insurance plan to the extent it finds it to be in the public interest.  In order to establish that the plan is in the public interest, the electric utility must present a cost benefit analysis performed by a qualified independent insurance consultant who demonstrates that, with consideration of all costs, self-insurance is a lower-cost alternative than commercial insurance and the ratepayers will receive the benefits of the self insurance plan.  The cost benefit analysis shall present a detailed analysis of the appropriate limits of self insurance, an analysis of the appropriate annual accruals to build a reserve account for self insurance, and the level at which further accruals should be decreased or terminated.

Q.	WHAT HAS THE COMMISSION PREVIOUSLY ESTABLISHED AS THE PROPERTY INSURANCE EXPENSE AND RESERVE TARGET FOR CENTERPOINT HOUSTON?

A.	In Docket No. 49421, the Commission set (1) an annual accrual of $3.575 million to provide for average annual expected losses from events where losses are greater than $100,000 and (2) an accrual of $4.11 million annual for three years to achieve a target reserve of $6.55 million from a reserve deficit level of ($5.79 million).

Q.	PLEASE SUMMARIZE YOUR RECOMMENDATIONS.

A.	As shown on Exhibit GSW-2 to my direct testimony, I propose an annual accrual of $22.34 million and a new target property insurance reserve of $16.7 million.  The accrual is composed of two elements.  The first is $10.6 million to provide for average annual expected O&M losses from events where the O&M expense is greater than $100,000 and the loss is expected to be charged to the self-insurance reserve.  As I explain subsequently, the $10.6 million annual accrual is calculated using a Monte Carlo simulation run on the loss history of the Company.  The second is $11.74 million accrued annually for five years to achieve the target reserve of $16.7 million from the current reserve deficit level of ($42.081 million).

# SELF-INSURANCE RESERVE BACKGROUND

Q.	PLEASE STATE THE PURPOSE OF CENTERPOINT HOUSTON’S SELF-INSURANCE RESERVE AND EXPLAIN HOW IT WOULD OPERATE.

A.	The purpose of CenterPoint Houston’s self-insurance reserve is to provide for accruals to be credited to a reserve account to cover occurrences resulting in T&D losses of more than $100,000 in O&M expenses, as discussed in the testimony of Ms. Kristie L. Colvin.

Each year, an amount would be accrued in the self-insurance reserve to provide for losses expected to occur in the calendar year.  In addition to this amount, an accrual would be made to raise the self-insurance reserve to a level that would serve as a financial buffer in the event that actual losses exceed the accrued amount of expected annual losses.

Q.	WHAT HAPPENS IF THE ANNUAL AGGREGATE LOSSES DO NOT EQUAL THE AMOUNT ACCRUED IN ANY GIVEN YEAR?

A.	If the annual aggregate losses exceed the amount accrued in any given year, the remaining reserve, if sufficient, would be drawn upon to provide the needed additional amounts. If the remaining reserve is insufficient, the losses will still be booked to the self-insurance reserve, resulting in the reserve having a negative value. If the annual aggregate losses are less than the amount accrued for that purpose, the excess annual accrual would remain in the self-insurance reserve, serving to bring the self-insurance reserve closer to its target level.

Q.	WHY IS IT NECESSARY TO BUILD THE SELF-INSURANCE RESERVE UP TO A CERTAIN TARGETED LEVEL?

A.	The range of expected losses from property damage covered by the self-insurance reserve varies considerably from year to year, as will the actual losses that CenterPoint Houston will incur.  The self-insurance reserve needs to be sufficient to cover the losses for each year, knowing that any given year's actual losses may be very different from the average expected losses.  Hence, a reserve large enough to allow for some variation in the annual aggregate amount of losses is needed.

Q.	IS CENTERPOINT HOUSTON’S SELF-INSURANCE PLAN IN THE CUSTOMERS’ INTEREST?

A.	Yes.  The self-insurance plan of CenterPoint Houston, allowed under 16 TAC §25.231(b)(1)(G) is in the best interest of the Company's customers.  As I discuss later in my testimony, it provides a lower cost alternative than purchasing commercial insurance for all losses. At the same time, the self-insurance plan provides utility rate stability by establishing a self-insurance reserve to absorb variations between expected and actual annual losses.  As a result, absent an extreme catastrophic loss, customers' rates should not fluctuate due to different self-insurance losses from one year to the next.

# ANNUAL EXPECTED LOSSES

Q.	WHAT AMOUNT SHOULD CENTERPOINT HOUSTON ACCRUE ANNUALLY IN THE SELF-INSURANCE RESERVE TO COVER THE EXPECTED LOSSES FOR EACH YEAR?

A.	I recommend that CenterPoint Houston accrue $10.6 million annually to the self-insurance reserve.  This amount is the expected value of the annual O&M losses incurred by CenterPoint Houston from property loss events where the total O&M loss is more than $100,000, except those where the total loss is at least $100 million.  The recommended amount of $10.6 million is calculated using a Monte Carlo simulation run on the ten-year loss history (shown on Exhibit GSW-3 to my direct testimony) of the Company.

Q.	WHAT IS A MONTE CARLO SIMULATION?

A.	A Monte Carlo simulation is a statistical technique incorporating a computer program to simulate loss experience over a longer period of time than the period captured in the loss history.

The program simulates individual losses on an annual basis for CenterPoint Houston for 50,000 iterations of annual experience.  A statistical distribution is estimated from CenterPoint Houston’s trended loss experience and input into the model.  The model is run 50,000 times, each time simulating a possible outcome.  From these 50,000 iterations of simulated experience, I was able to determine that the average annual indicated loss over this period was $10.6 million.

Q.	DID YOU MAKE ANY ADJUSTMENTS TO THE COMPANY’S HISTORICAL DATA?

A.	Exhibit GSW-4 to my direct testimony contains an example showing how each historic loss was adjusted to reflect the current cost levels using the Handy-Whitman index of cost trends of electric utility construction for the South Central Region.  The Handy-Whitman index data is a standard database used to measure cost changes for utility companies.  The loss in the example occurred on May 16, 2021, for $1,566,721.  The Handy-Whitman index as of January, 2021, was 773; as of July, 2021, it was 796.  Interpolating between these two points to May 16, 2021, produces an expected index of 790.155.  As of September, 2023, the Handy-Whitman index was 855.  Thus, the change from May 16, 2021, to September, 2023, was 855 divided by 790.155 or 1.082 (8.2% increase).  Multiplying the loss of $1,566,721 by 1.082 gives a cost-adjusted loss of $1,695,192.  This procedure was used for each loss with an O&M cost of $100,000 or greater, but less than $100 million, that occurred during the experience period and did not receive regulatory asset treatment.  This approach is reasonable because it adjusts historic costs to current dollar levels.

In addition, we limited the loss history to the last ten years of data.  There have been an increasing number of storms over the last five to six years, and it is more reasonable to reflect that in the projection for future years than to rely on outdated information that is not indicative of what should be expected to occur in the future.

Q.	WERE ANY OTHER ADJUSTMENTS MADE TO THE HISTORICAL DATA?

A.	Yes.  Actual losses from Hurricanes Harvey, Laura, and Nicholas, as well as winter storm Uri were removed from the data.  The losses from those storms were substantially more than what could be reasonably covered through the self-insurance reserve (the losses from those storms were more than $13 million each).  The Company has sought or is seeking to recover those costs via regulatory assets, without using the self-insurance reserve.  In addition, because the lowest amount of these storms was approximately $13 million, I removed any storm from the simulation that exceeded that amount, under the assumption that the costs for any future storms at that level would be recovered through the regulatory asset process.

Q.  	WERE ANY ADJUSTMENTS MADE TO THE MONTE CARLO SIMULATION TO ADJUST FOR POTENTIAL SECURITIZATION?

A.	Yes.  As I mentioned above, the results from the simulation were adjusted by removing any simulated weather event where the loss exceeded $100 million, as these losses may be securitized.

Q.	Is the methodology you used to determine the annual expected losses consistent with the methodology that you have used to determine annual expected losses in previous proceedings?

A.	Yes. I calculated the annual expected losses in a manner consistent with methodology I have used in recent proceedings including the Company’s most recent rate case, Docket No. 49421.

# TARGET RESERVE

Q.	WHAT IS THE TARGET AMOUNT OF MONEY NEEDED TO PROVIDE FOR AN ADEQUATE SELF-INSURANCE RESERVE?

A.	The recommended total target amount of the reserve is $16.7 million, which is the amount of O&M damage expected to result from a 25-year event with total losses under $100 million.

Q.	WHY IS IT NECESSARY TO ACCRUE MORE TO THE SELF-INSURANCE RESERVE THAN THE $10.6 MILLION FOR EXPECTED ANNUAL LOSSES?

A.	The $10.6 million accrual is intended to cover only the average annual expected loss from property damage.  These losses can range from very low to millions of dollars in any one year.  The property damage reserve needs to be built up to provide for extreme or catastrophic events in any one year.

Q.	HOW WAS YOUR TARGET RESERVE OF $16.7 MILLION DEVELOPED?

A.	As indicated above, I ran a Monte Carlo simulation on the loss history of CenterPoint Houston.  From the 50,000 iterations of simulated experience, I was able to determine that in any 25-year period, the largest annual expected impact on the self-insurance reserve is approximately $16.7 million.

Q.	WHY IS THIS RESERVE LEVEL APPROPRIATE?

A.	This reserve level is the amount that should be carried by CenterPoint Houston to make an actuarially sound provision for coverage of the self-insured losses.  The target reserve will be sufficient if annual losses are equal to or less than the target in a given year provided the reserve is already in place at its target amount; but if the actual losses exceed the amount accrued for the expected annual amount for several years in a row, the self-insurance reserve may be depleted.

For example, once the reserve level has been reached, if there are several years with losses of approximately $10 million, then the reserve balance will remain relatively stable.  However, if there are two consecutive years with annual aggregate losses of more than $15 million each year, the self-insurance reserve would be in a deficit position.  The deficit amount would need to be collected from future ratepayers.

Q.	DOES THE PRESENCE OF A RESERVE OR ACCRUAL DESIGNED TO REACH A TARGET LEVEL ENSURE THAT THE RESERVE BALANCE WILL BE ADEQUATE TO COVER EVERY PROPERTY LOSS?

A.	No.  As explained above, once the reserve reaches its targeted level, on average it should cover typical annual losses, but should also be enough to cover a once in 25-year event.  Larger loss events are possible, and should one occur, the reserve would not cover the full amount.  Those events are much less common and therefore I have recommended that CenterPoint Houston not consider those events in establishing the target level for the reserve balance.

Q.	WHAT IS THE BALANCE OF THE RESERVE?

A.	As shown on Rate Filing Package Schedule II-B-7, the adjusted balance of the reserve is a deficit balance of approximately ($42,081,000) as of December 31, 2023.

Q.	WHAT ARE THE INDIVIDUAL COMPONENTS OF THE ANNUAL ACCRUAL TO THE SELF-INSURANCE RESERVE INDICATED BY YOUR ANALYSIS?

A.	The annual amount to be accrued each year is $22.34 million, which is composed of two elements.  First, there is $10.6 million each year to provide for the year's annual expected covered losses from property loss event damages.  Second, there should be an accrual of $11.74 million each year for five years to provide for the variation in annual losses from year to year by building the total self-insurance reserve from the test year balance of approximately ($42.081 million) up to the $16.7 million level.  I have recommended a five-year period to be consistent with the Company’s treatment of regulatory asset requests, as well as to balance the interests of future ratepayers versus past ratepayers.

Q.	ARE THESE CALCULATIONS PREPARED IN ACCORDANCE WITH GENERALLY ACCEPTED ACTUARIAL PROCEDURES?

A.	Yes.  The process reflects generally accepted actuarial procedures.  However, I have made certain adjustments to reflect the nature of ratemaking for public utilities.  For example, it would be customary to project losses to the anticipated cost level of the future time period during which rates will be in effect.  Because of the historical test year approach to utility ratemaking and the adjustment of expense items based on known and measurable quantities only, I have limited loss adjustments to the cost levels.  The dates to which the losses were adjusted reflect the dates of the most recent indices available at the time the adjustments were made.  On the other hand, common actuarial practice would be to project the cost of expected losses to the future period when they will be incurred, a level that would be greater than the level recommended in my testimony.

In addition, no adjustment has been made to reflect future increased exposure to loss.  For example, in 2024 CenterPoint Houston may own more property in the service area that is exposed to loss than it had in years prior to 2023.  This would increase the exposure to loss, and lead to a higher recommended reserve.  These adjustments are consistent with my methodology in the Company’s most recent rate case, Docket No. 49421, and testimony in other recent rate case proceedings.

Q.	HOW WILL THE SELF-INSURANCE RESERVE ACCRUALS OPERATE?

A.	The excess of annual expected losses over actual self-insured losses, to the extent there is any such excess, will accrue to the self-insurance target reserve and cause CenterPoint Houston to reach its target earlier, all other things being equal.  Any deficiency between the annual expected losses and the actual self-insured layer losses in any calendar year will serve to extend the period over which the Company can expect to reach its target.

# COST BENEFIT ANALYSIS

Q.	HOW DID YOU DETERMINE THAT SELF-INSURANCE IS A LOWER COST ALTERNATIVE FOR THOSE T&D PROPERTY LOSSES GREATER THAN $100,000?

A.	There are at least two ways to consider the cost-benefit of self-insuring these losses.  The first is by considering the manner in which insurance companies set premiums and the second is by an actual comparison of the recommended self-insurance accrual to the estimated insurance premium for comparable coverage, if available.

Q.	WHAT ASPECTS OF AN INSURANCE COMPANY'S PREMIUM DETERMINATION PROCESS DID YOU CONSIDER IN CONCLUDING THAT THE SELF-INSURANCE APPROACH FOR THE DESIGNATED LAYER OF LOSSES IS APPROPRIATE?

A.	Insurance companies include provisions in their premiums for all costs associated with the transfer of the insurance risk.  Hence, they include provisions for losses, loss adjustment expenses, non-loss related expenses, premium taxes, and a profit.

A self-insurance reserve, such as CenterPoint Houston’s reserve, does not need to include many of the provisions other than those for losses and loss-related expenses. For example, a self-insurance reserve does not need to pay premium taxes and other state-imposed fees.  An insurance company needs to make a profit on the business it transacts.  A self-insurance reserve, on the other hand, is not intended to generate a profit and, hence, no provision for profit needs to be included in the accrual provisions.  Insurance companies also incur costs associated with the acquisition of insured risks.  The largest of these expenses is that associated with the payment of commissions to insurance agents or brokers to place the business.  A self-insurance reserve does not include any provision for commissions because there are no insurance agents or brokers involved.  Finally, an insurance company must expend resources to underwrite risks, market its products, and maintain overhead expenses.  A self-insurance reserve does not need to provide for these costs.

In summary, self-insurance saves the costs of premium taxes, commissions, profit, and many of the general expenses associated with the operation of an insurance company.

Q.	WHAT OTHER COST BENEFIT ANALYSIS HAVE YOU RELIED UPON TO SHOW THAT THE COST FOR THE SELF-INSURED LAYER IS LOWER THAN THE COST OF INSURANCE FOR THE SAME LAYER OF INSURANCE AND IS IN THE INTEREST OF THE COMPANY'S CUSTOMERS?

A.	Comparing the cost of self-insurance versus the cost of buying insurance establishes that it is more cost effective for CenterPoint Houston to self-insure.  As discussed in the testimony of Company witness Shane Kimzey, CenterPoint Houston’s risk manager has inquired about obtaining coverage for T&D assets damaged by storms.  The risk manager has been unable to find coverage at any cost reasonably close to the cost of self-insurance.  This is due to the extensive damage caused by hurricanes to electric utilities across the country in the past several years.

# CONCLUSION

Q.	WHAT DO YOU CONCLUDE REGARDING CENTERPOINT HOUSTON’S REQUEST FOR SELF-INSURANCE RESERVE TO T&D PROPERTY LOSSES?

A.	I have conducted an analysis that meets the Commission’s rule requirements and have demonstrated that self-insurance is necessary and desirable given the lack of reasonably priced commercial insurance.

Q.	DOES THIS CONCLUDE YOUR DIRECT TESTIMONY?

A.	Yes, at this time.